## Report-1996-02-21
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1996-02-21 | Drugs | II | d-086-6 | Dilantin, Extended Phenytoin Sodium Capsules, Usp), Kapseals, 100 Mg, Antiepileptic Drug, In Bottles Of 100 | Parke Davis | Warner Lambert Company, Fajardo, Puerto Rico | December 12, 1995 | Product May Not Meet Dissolution Specifications Through Expiration Date. | 39,846 bottles were distributed | Nationwide
1996-02-21 | Drugs | III | d-085-6 | Panama Jack Brand Dark Tanning Lotion, Waterproof, 4 Spf, In 3 Fluid Ounce Plastic Bottles | Manufacturer | Creative Cosmetics, Rockledge, Florida | April 3, 1995 | Product Does Not Meet Manufacturer's Microbial Specifications. | 7,344 units were distributed | Nationwide
1996-02-21 | Devices | II | z-326/329-6 | Multinex, A Breath-by Breath Gas Analyzer That Uses Microprocessor Technology To Calculate And Display: End-tidal Co2, Inspired Co2, Inspired And Expired N2o, Inspired 02, Inspired And Expired Anesthetic Agents, Respiration Rate, Sa)2, And Pulse Rate: (a) Multinex Plus, Model Number 0998-00-0071-13, 14, 15, 16; (b) Multinex Plus W/id, Model 0998-00-0071-17, 18, 19, 20; (c) Multinex, Model Number 0998-00-0071-01, 02, 03, 04; (d) Multinex Id, Model 0998-00-0071-09, 10, 11, 12 | Manufacturer | Datascope Corp | August 31, 1995 | The 4610 Gas Analyzer Board And The 4640 Gas Identification Board Have Been Found To Have Defects Which May Cause A Random And Intermittent Failure Message Along With Either A Temporary Loss Of Gas Monitoring Or A Disabling Of The Anesthesia Identification Function | 1,248 units were distributed | Nationwide And International
1996-02-21 | Devices | II | z-341-6 | Monogram Instrument Tibial Baseplate Impactor/extractor, Used To Install And Remove The Tibial Baseplate | Manufacturer | Howmedica, Inc | March 14, 1995 | The Product's Threaded Shaft Was Breaking During Impaction | 408 units were distributed | Nationwide And International
1996-02-21 | Devices | II | z- 344/345-6 | (a) Alta Tibial Rod Driver Locking Bolt (bolt Only), Used For The Insertion Of The Alta Tibial Rod; (b) Alta Tibial Rod Driver And Bolt (driver/bolt Assembly) Meant To Absorb The Impact Of The Blows From The Mallet During Insertion Of The Tibial Rod | Manufacturer | Howmedica, Inc | July 29, 1994 | The Locking Bolt Was Breaking Near The Threaded End - Smooth Shaft Interface During Surgical Procedures | 709 units were distributed; firm estimates none remains on the market | Nationwide And International
1996-02-21 | Devices | II | z-374/376-6 | Barrier Vu-thru Cardiovascular Pack: (a) Sterile Barrier Vu-thru Cardiovascular Pack Containing In Part A C-v Split Sheet, Product (reorder) Number 127; (b) Sterile Barrier Vu-thru Cardiovascular Pack Ii Containing In Part A C-v Split Sheet, Product (reorder) Number 0173, ( (c) Bulk Non-sterile Barrier Vu-thru C-v/split Sheet, Product (reorder) Number 9573 | Johnson & Johnson Medical (j&j;) | Johnson & Johnson Medical, Inc | December 8, 1995 | The Fabric Of The Clipping Tabs Are Subject To Tearing, Presenting Potential Harm To Patient | 569 cases (2,770 units) were distributed | Nationwide And International
1996-02-21 | Devices | II | z-379/380-6 | (a) Gesco Brand 3 | Medchem Products | Gesco International, Inc | May 19, 1995 | The Catheter Was Manufactured Without A Radiopaque Stripe, Thus Precluding Radiographic Confirmation | (a) 900 units; (b) 700 units were distributed; firm estimates none remains on market | Nationwide
1996-02-21 | Devices | II | z-408-6 | Rite-angle Disposable Prophy Angle With Soft Cup, Used In Performing Dental Prophylaxis | Dentsply International | Team Technologies, Inc | April 26, 1995 | In Some Cases The Device Has Demonstrated A Propensity For Stalling, Stopping, Falling Apart, Vibrating, Freezing-up, And Over- Heating During Usage | 112,320 were distributed | Nationwide
1996-02-21 | Devices | II | z-409-6 | Power Sonic Brand Battery Packs Used In Uro- View Or Uroview Model 2000 X-ray Imaging Systems | Manufacturer | Oec Medical Systems, Inc | December 14, 1995 | The Replacement Battery Pack Could Have Been Damaged During Shipment Which Could Possibly Lead To Premature Failure, And In The Worst Case, A Change Of A Battery Fire | 8 units | Florida, Illinois, Kentucky, North Carolina, New York, Ohio, Virginia, Washington, D
1996-02-21 | Devices | II | z-411-6 | Dextrolyte Peritoneal Dialysis 5-prong Cycler Set | National Medical Care | National Medical Care - Reynosa, Reynosa, Mexico | May 26, 1995 | The Connector Lines Are Misassembled | 2,990 sets were distributed | Nationwide
1996-02-21 | Devices | II | z-412-6 | Baxter Arterial Bloodline, Used For Dialysis | National Medical Care | National Medical Care - Reynosa, Reynosa, Mexico | June 2, 1995 | The Arterial Bloodlines Were Packaged In Cartons Labeled As Venous Bloodlines | 725 cases were distributed | Nationwide
1996-02-21 | Devices | II | z-429/430-6 | (a) Stryker Universal Cement Restrictor With Inserter, Part #206-701, Intended To Be Implanted During Total Joint Or Joint Revision Arthroplasty; (b) Stryker Sterile, Disposable Cement Sculps, Part #206-716, Intended To Be Used In Joint Or Joint Revision Arthroplasty To Remove Excess Bone Cement From Around The Prosthesis | Stryker Instruments | Biomedical Devices, Irvine, California | August 24, 1995 | The Sterility Of The Product Cannot Be Guaranteed Because The Packaging May Be Compromised | (a) 60 boxes (6 units per box); (b) 32 boxes (6 units per box) were distributed | Nationwide
1996-02-21 | Devices | II | z-433-6 | Belmont Acuray 071a Dental Periapical X-ray System | Belmont Equipment Corporation | Takara Medical Company, Kobe, Japan | September 20, 1995 | The Horizontal Arm Of The Device May Separate From Its Wall Mount Bracket And Fall | 3,851 units were distributed | Nationwide And Canada
1996-02-21 | Devices | II | z-435/440-6 | Radiographic Intensifying Screens, Intended To Expose Medical Radiographic Film: (a) Model Trimax T2; (b) Model Trimax T6; (c) Model Trimax T12; (d) Model Trimax T4; (e) Model Trimax T8; (f) Model Trimax T6/12 | 3m Medical Imaging Systems Division | 3m Italia Spa, Viale Della Liberta, Italy | November 3, 1995 | The Intensifying Screens Will Chemically React With Radiographic Film And Become Heavily Discolored | 39,150 screens were distributed | Nationwide And International
1996-02-21 | Devices | II | z-443-6 | Prospect(tm) Entamoeba Histolytic Microplate Assay Kit, Used For Detection Of Entamoeba Histolytica Specific Antigens | Manufacturer | Alekon Biomedical, Inc | March 23, 1995 | The Test Could Provide A False Positive Result For Entamoeba Histolytic In Pediatric Samples | 281 kits were distributed | Nationwide And International
1996-02-21 | Devices | III | z-385/386-6 | Ati Eo Gas Disposable Test Pack With Ati-test Biological Indicator, A Disposable Test Pack With A Self-contained Biological Indicator Used To Monitor Ethylene Oxide Sterilization Cycles: (a) Catalog #00234/00234bx; (b) Catalog #23404/23404bx | Pymah Corporation | Pymah Corporation, North Hollywood, California | March 27, 1995 | Devices Were Found Not To Meet Labeling Claims Of An 18-month Shelf Life | 677 | Nationwide, Canada, Germany, Spain, Ireland, Poland, Turkey
1996-02-21 | Devices | III | z-410-6 | Ektachem Clinical Chemistry Slides Digoxin (dgxn), For In-vitro Diagnostic Use To Quantitatively Measure The Drug Digoxin In Serum And Plasma | Manufacturer | Johnson & Johnson Clinical Diagnostics, Inc | July 17, 1995 | The Digoxin Slides May Exhibit A Positive Bias Overtime On The First Slide From Each Cartridge | 14,904 cartridges were distributed | Nationwide And International
1996-02-21 | Devices | III | z-434-6 | Caulk Friction Grip Carbide Super Burs, Used For Cutting Teeth | Manufacturer | Dentsply International Caulk Division, York, Pennsylvania | March 28, 1995 | The Device Is Subject To Dulling Of The Cutting Edges Or The Bur Tip, And Possible Breakage In Use At The Weld Location | 537,000 were distributed | Nationwide And International
1996-02-21 | Devices | III | z-444-6 | Ektachem Clinical Chemistry Slides For Cholesterol (chol), For In-vitro Diagnostic Use To Quantitatively Measure Cholesterol In Serum Plasma | Johnson & Johnson Clinical Diagnostics | Johnson & Johnson Clinical Diagnostics, Inc | November 29, 1993 | There Was A Drift In Cholesterol Results Within The Same Day Caused By Slide Temperature And Humidity | 1,336,000 cartridges were distributed | Nationwide And International
1996-02-21 | Devices | III | z-445-6 | Kodak Ektachem Clinical Chemistry Slides (trig), For In-vitro Diagnostic Use, For The Quantitative Measurement Of Triglycerides Concentration In Serum Or Plasma | Johnson & Johnson Clinical Diagnostics | Johnson & Johnson Clinical Diagnostics, Formerly Eastman Kodak Company, Clinical Diagnostics Division, Rochester, New York | May 18, 1995 | Triglyceride Slides On-analyzer Stability Did Not Support A Four Week Expiration Claim | approximately 760,000 cartridges were distributed | Nationwide And International
1996-02-21 | Devices | III | z-446-6 | Opus Total B-hcg Test Modules For In-vitro Diagnostic Use For The Quantitative Measurement Of Intact And Free Beta Subunits Of Human Chorionic Gonadotropin (hcg) In Serum, Plasma, And Urine | Manufacturer | Behring Diagnostics, Inc | January 30, 1996 | Insufficient Conjugate In The Wells May Cause False Negatives Or Lower Than Expected Results | 409 boxes (50 units per box) were distributed | Nationwide And International
1996-02-21 | Devices | III | z-447-6 | Ilab Il Test (tm) Albumin Reagent, Intended For The Quantitative In-vitro Diagnostic Determination Of Serum Albumin Using The Ilab Chemistry Systems | Instrumentation Laboratory Company | Instrumentation Laboratory Company, Orangeburg, New York (responsible Firm) | January 14, 1994 | The Albumin Reagent Had Mold Growth And Reagent Deterioration | 2 kits were distributed | Canada
1996-02-21 | Devices | III | z-448-6 | Monarch Il Test Albumin Reagent, For The Quantitative In-vitro Diagnostic Determination Of Serum Albumin Using The Il Monarch (r) Chemistry Systems | Instrumentation Laboratory Company | Instrumentation Laboratory Company, Ilc), Orangeburg, New York (responsible Firm) | January 19, 1994 | The Albumin Reagent Had Mold Growth And Reagent Deterioration | 704 kits were distributed | Florida, Oregon, Texas, Kansas, Louisiana, Wisconsin, Missouri, Pennsylvania, Ohio, Kentucky, Michigan, Arkansas