## Report-1996-02-28
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1996-02-28 | Drugs | III | d-087-6 | Guaifenesin/codeine Phosphate Cough Syrup, 100 Mg/10 Mg Per 5 Ml, Otc Schedule V Narcotic Expectorant Cough Suppressant, In 1 Pint Bottles, Under The Following Labels: Mgp Mytussin Ac Cough Syrup;, Gg Glydeine Cough Syrup | Manufacturer | Morton Grove Pharmaceuticals, Inc | February 20, 1996 | Potency Of The Codeine Ingredient Not Assured Through Expiration Date | 6,765 pints were distributed; firm estimated less than 200 pints remained on market at time of recall initiation | Nationwide
1996-02-28 | Drugs | III | d-088-6 | Goldline Brand Of Potassium Chloride Extended Release Tablets, Usp, 750 Mg, In 100 Count Bottles | Zenith Goldline Pharmaceuticals (formerly Goldline Labs) | Upsher-smith Laboratories, Inc | November 14, 1995 | Package Insert Incorrectly Declares Color Of Tablets As Yellow Instead Of White | approximately 3,800 boxes were distributed | Nationwide
1996-02-28 | Drugs | III | d-089-6 | Cetacaine Topical Anesthetic Spray, In 56 G | Manufacturer | Cetylite Industries, Inc | November 13, 1995 | Potency Of Tetracaine Ingredient Not Assured Through Expiration Date | approximately 12,249 units were distributed; firm estimated that 7,249 units remained on market at time of recall initiation | Nationwide And International
1996-02-28 | Drugs | III | d-090-6 | Arthritis Hot Pain Relief Cream, In A 3 Ounce Metal Tub, Otc Analgesic | Thompson Medical Company | G & W Laboratory, Inc | September 18, 1995 | Subpotenc | 73,896 tubs were distributed; firm estimates none remains on the market | Nationwide
1996-02-28 | Drugs | III | d-091-6 | Sublimaze (fentanyl Citrate), Rx Class Ii Controlled Drug For Injection, A Narcotic Analgesic | Janssen Pharmaceutica | Akorn Manufacturing Inc | November 28, 1995 | Product Does Not Meet Impurity Specifications | lot #53b007 - 21,965 ampoules (4,393 cartons) lot #53d020 - 23,795 ampoules (4,759 cartons) lot #54e100 - 28,155 ampoules (5,631 cartons) were distributed | Nationwide And Puerto Rico
1996-02-28 | Biologics | II | b-227/233-6 | (a) Red Blood Cells; (b) Platelet Concentrate; (c) Fresh Frozen Plasma; (d) Cryoprecipitated Ahf; (e) Recovered Plasma; (f) Red Blood Cells, For Further Manufacture; (g) Platelets, For Further Manufacture | Manufacturer | American Red Cross Blood Services, Portland, Oregon | August 10, 1994 | Blood Products Which Tested Repeatedly Reactive For The Antibody To The Human Immunodeficiency Virus Type 1 (anti-hiv-1) Or The Hepatitis B Surface Antigen (hbsag); Or Tested Negative For Anti-hiv-1 Or Hbsag, But Were Collected From Donors Who Previously Tested Repeatedly Reactive For Anti-hiv-1 Or Hbsag, Were Distributed | numerous units | Washington State, Oregon, Alaska, Florida, Illinois, New Jersey, New York, California, Switzerland
1996-02-28 | Biologics | II | b-236/237-6 | (a) Red Blood Cells; (b) Recovered Plasma | Manufacturer | American Red Cross Blood Services, Tulsa, Oklahoma | April 20, 1994 | Blood Product, Collected From A Donor Currently Taking The Drug, Proscar, Was Distributed | 1 unit of each component | (a) Oklahoma; (b) California
1996-02-28 | Biologics | II | b-240/241-6 | (a) Red Blood Cells; (b) Fresh Frozen Plasma | Manufacturer | Bloodcare, Dallas, Texas | August 30, 1995 | Blood Products, Which Tested Negative For The Antibody To The Hepatitis C Virus Encoded Antigen (anti-hcv), But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti-hcv, Were Distributed | 1 unit of each component | Texas
1996-02-28 | Biologics | II | b-242-6 | Red Blood Cells | Manufacturer | American Red Cross Blood Services, Tulsa, Oklahoma | February 23, 1995 | Blood Product, Collected From A Donor Who Had Traveled To An Area Designated As Endemic For Malaria, Was Distributed | 1 unit | Oklahoma
1996-02-28 | Biologics | II | b-252/253-6 | (a) Red Blood Cells; (b) Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services, Louisville, Kentucky | July 12, 1995 | Blood Products, Which Tested Initially Reactive For The Hepatitis B Surface Antigen (hbsag), And Were Not Retested In Duplicate, Were Distributed | 1 unit of each component | Indiana
1996-02-28 | Biologics | III | b-243-6 | Red Blood Cells | Manufacturer | East Texas Blood Center, Nacogdoches, Texas | August 9, 1995 | Blood Product, Labeled With An Extended Expiration Date, Was Distributed | 1 unit | Texas
1996-02-28 | Biologics | III | b-251-6 | Red Blood Cells | Manufacturer | American Red Cross Blood Services, Syracuse, New York | May 10, 1995 | Blood Products Stored At An Unacceptable Temperature Were Distributed | 5 units | New York
1996-02-28 | Devices | II | z-441/442-6 | Pacemaker Leads And Adapter Sleeves: (a) Accufix(tm) Pacing Lead, Models 033-201 And 033-202; Accufix(tm) Ii Dec Pacing Lead, Model 033-212; Encor(r) Pacing Lead, Models 033-301, 330-158, 330-258; Encor(r) Dec Pacing Lead, Models 033-159, 330-443, 033-448; Encor(r) Epicardial Pacing Lead, Model 033-452; Enguard(r) Pacing Lead, Models 040-068, 040-068-65; Hiflex(tm) Pacing Lead, Model 033-458; Laserdish(tm) Pacing Lead, Models 033-441, 033-442, 033-444 (b) Adapter Sleeves, Models 033-260, 033-320, 331-220, 331-270, 331-300 | Telectronics Pacing Systems | Telectronics Pacing Systems, Miami Lakes, Florida | January 10, 1996 | The Devices Have Been Manufactured By The Firm Knowingly Using Non-conforming Polyurethane Tubing Which Is Used As Insulation Material On The Leads And Adapters | (a) 1,274 unimplanted units in the us; (b) 117 unimplanted units in the us; and 30,034 units foreign | Nationwide, Canada, France, Germany, Australia
1996-02-28 | Devices | II | z-449/452-6 | Heat And Moisture Exchangers, Used To Preserve Humidity And Tracheal Cellular Morphology, Reduction Of Water And Heat Losses Through Bronchopulmonary Tree, And Telp To Prevent Thickened Secretions, Mucosal Damage And Changes In Lung Function During Long-term Anesthesia Or Ventilatory Support: (a) Catalog #002840; (b) Catalog #002840p; (c) Catalog #002841; (d) Catalog #vvc-1062 | Manufacturer | Intertech, Fort Myers, Florida | December 18, 1995 | The Foam Media Can Separate From Its Frame And Block The Breathing Circuit Airway | undetermined | Nationwide
1996-02-28 | Devices | II | z-453-6 | Bronchial Double Lumen Tube Set, Used In Lung Surgery | Rusch | Rusch, Inc | October 25, 1995 | The Bronchial And Tracheal Funnels Were Incorrectly Assembled | 78 sets were distributed | Nationwide And Canada
1996-02-28 | Devices | II | z-458/470-6 | Valleylab E2530 Series Sterile Disposable Flexible Argonplus Electrodes And E2580 Series Sterile Disposable Retractable Laparoscopic Argonplus Electrodes: (a) E2530-3, 3 Inch, Coagulation Only Electrode; (b) E2530-6, 6 Inch, Coagulation Only Electrode; (c) E2530-9, 9 Inch, Coagulation Only Electrode; (d) E2530-28, 11 Inch, Coagulation Only Electrode; (e) E2530-36, 14 Inch, Coagulation Only Electrode; (f) E2580-28, 11 Inch, Blade Electrode; (g) E2580-36, 14 Inch, Blade Electrode; (h) E2581-28, 11 Inch, Flat L Electrode; (i) E2581-36, 14 Inch, Flat L Electrode; (j) E2582-28, 11 Inch, Sharp Needle Electrode; (k) E2582-36, 14 Inch, Sharp Needle Electrode; (l) E2583-28, 11 Inch, Blunt Needle Electrode; (m) E2583-36, 14 Inch, Blunt Needle Electrode | Manufacturer | Valleylab, Inc | January 19, 1996 | The Slide Adjustment On The E2520h Disposable Handset Used With These Devices Is Not Adequately Described In The Labeling To Prevent A Potential Risk To Safety In That The Electrodes Can Be Pushed Forward On The Nose Of The Handset, Causing A Break In The Gas Seal Between The Electrode And The Handset Which Can Pose A Potential For An Unintended Current Path At The Site Of The Leak With A Risk Of Burns To The Patient Or Surgeon | 16,960 units were distributed | Nationwide And International
1996-02-28 | Devices | II | z-471-6 | Umbilical Cable, Part #72-20-02-296, For The Automix 3+3 Compounder | Clintec Nutrition Company | Baxter Healthcare, Largo, Florida (compounder); V-tron Electronics, Corporation, South Attleboro, Massachusetts (cable) | January 23, 1996 | A Faulty Cable Causes The Pump Motors To Run Out Of Sequence Which May Result In Incorrectly Prepared Admixtures | 1,800 pumps were distributed | Nationwide And International
1996-02-28 | Devices | III | z-413/414-6 | Asnis 2 Guided Screw System: (a) Asnis 2 Guided Screw, 5mm Diameter X 60 Mm Length, Catalog #3550-4-060; (b) Asnis 2 Guided Screw, 5mm Diameter X 36 Mm Length, Catalog #3550-4-036 | Manufacturer | Howmedica, Inc | September 18, 1994 | The Labels For The Screws Were Switched During Packaging | (a) 41 units; (b) 29 units were distributed; firm estimates none remains on the market | (a) California, New Jersey, New York, West Virginia, South Carolina, Georgia, Florida, Ohio, Indiana, Michigan, Missouri, Kansas, Colorado, Puerto Rico, Ireland, Argentina; (b) New Jersey, New York, North Carolina, Georgia, Florida, Indiana, Arizona, Alabama, Oregon, Washington State, Ireland
1996-02-28 | Devices | III | z-415-6 | Hex Drive Self Tapping Bone Screw 6 | Manufacturer | Howmedica, Inc | September 8, 1994 | The Package Label Does Not Reflect The Package Contents | 46 units were distributed; firm estimates none remains on the market | Massachusetts, Virginia, Indiana, Texas, Arizona, California, Rhode Island, New Jersey, Pennsylvania, Maryland, West Virginia, South Carolina, Florida, Indiana, Michigan, Nebraska, Texas, Ireland
1996-02-28 | Devices | III | z-416-6 | Small Alta Tibial Countersink, Used In Orthopedic Surgery | Manufacturer | Howmedica, Inc | April 17, 1995 | The Package Label Does Not Reflect The Package Contents | 9 units were distributed; firm estimates none remains on the market | New Jersey, Oklahoma, Alabama, Arkansas
1996-02-28 | Devices | III | z-417-6 | With The Label Date Code Of 90312 Is Labeled As A Small Alta Tibial Countersink But It Actually Contains A Large Alta Femoral Countersink | Manufacturer | Howmedica, Inc | April 17, 1995 | The Package Label Does Not Reflect The Package Contents | 5 units were distributed; firm estimates none remains on the market | Illinois, Colorado