## Report-1996-04-03
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1996-04-03 | Drugs | II | d-098-6 | Spacol Tablets, Rx Anti-cholinergic Agent In Bottles Of 100, Packaged Under The Dayton Laboratories Label | Propharma | Wildflower Pharmacal Corporation, Mineola, New York | March 12, 1996 | Product Does Not Meet Content Uniformity Specifications | firm estimates none remains on market | Florida, Puerto Rico
1996-04-03 | Drugs | II | d-101-6 | Tmp/smz Oral Suspension, Rx Synthetic Antibacterial Combination Product Repackaged In The Following Bottle Sizes: 100 Ml, 120 Ml, 150 Ml, 180 Ml, And 200 Ml | Repacker | Compumed, Inc | February 19, 1996 | Subpotency Of Trimethoprim Ingredient | 364 bottles were distributed; firm estimates none remains on the market | Louisiana
1996-04-03 | Drugs | III | d-102-6 | Oxygen, Usp, Refrigerated Liquid In A Cryogenic Cylinder | Manufacturer | National Welders Supply Company, Inc | March 23, 1996 | Unit Not Tested For Purity And Identity | 1 cylinder was distributed and retrieved | Tennessee
1996-04-03 | Drugs | III | d-099/100-6 | (a) Urodol Caplets, Containing Phenazopyridine Hcl, Usp 200 Mg Per Caplet, Used To Treat Urinary Tract Infections, In Bottles Of 100 And 30 Caplets, Rx Under The Dayton Laboratories Label; (b) Serenitas Tablets, In Bottles Of 60, Gives Indications For Aiding In Sleep, Otc Under The Propharma Label | Propharma | Wildflower Pharmacal Corporation, Mineola, New York | March 12, 1996 | Urodol Product Do Not Meet Assay And Content Uniformity Specifications | firm estimates none remains on the market | Florida And Puerto Rico
1996-04-03 | Drugs | III | d-103-6 | Do Not Meet Content Uniformity Specifications | Manufacturer | Banner Pharmacaps, Inc | November 12, 1995 | Discrepancy In Label And Carton Text In Directions Section | 12,492 bottles were distributed | New York, Arizona
1996-04-03 | Drugs | III | d-104-6 | Bactocill (oxacillin Sodium For Injection) 1 Gram In 20ml Vial, Rx Antibiotic | Manufacturer | Smithkline Beecham Pharmaceuticals, Piscataway, New Jersey | December 18, 1995 | Marginally Subpotent | 15,380 vials were distributed | Illinois
1996-04-03 | Drugs | III | d-105-6 | North O/h Pak Alcohol Wipes, Wound Cleanser, Antiseptic Containing 70% Isopropyl Alcohol, Packaged For North Health Care, 100 Foil Packed Wipes Per Carton | North Health Care | Professional Disposables, Inc | August 24, 1995 | Some Intermediate Packages Were Mislabeled As North O/h Cold-a-rest Nasal Decongestant, Pain Reliever Tablets | 57 cartons were distributed | Hawaii, Michigan, Pennsylvania, Texas, Illinois, Louisiana
1996-04-03 | Drugs | III | d-106-6 | Amphojel Suspension, Aluminum Hydroxide Gel, Without Flavor, Otc Antacid, In 12 Fluid Ounce Bottles | Whitehall Robbins | Wyeth-ayerst Laboratories, Rouses Point, New York | March 22, 1996 | Product Does Not Meet Potency Specifications | 31,668 units were distributed | Nationwide
1996-04-03 | Biologics | II | b-327-6 | (a) Platelets | Manufacturer | American Red Cross Blood Services, Huntington, West Virginia | September 6, 1994 | Blood Products, Corresponding To A Unit Of Red Blood Cells From Which Micrococcus Sp | 1 unit | West Virginia
1996-04-03 | Biologics | II | b-329-6 | Platelets | Manufacturer | American Red Cross Blood Services, Huntington, West Virginia | October 14, 1994 | Blood Products, Corresponding To A Unit Of Red Blood Cells Contaminated With Staphylococcus Aureus, Were Distributed | 1 unit | West Virginia
1996-04-03 | Biologics | II | b-336/340-6 | (a) Whole Blood; (b) Red Blood Cells; (c) Platelets; (d) Platelets, Pheresis; (e) Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services, Lansing, Michigan | May 10, 1994 | Blood Products, Which Were Incorrectly Tested For The Antibody To The Hepatitis C Virus Encoded Antigen (anti-hcv), Were Distributed | (a) 7 units; (b) 613 units; (c) 406 units; (d) 14 units; (e) 16 units | Michigan, California, Puerto Rico
1996-04-03 | Biologics | II | b-344/345-6 | (a) Red Blood Cells: (b) Platelets | Manufacturer | Blood Systems, Inc | January 23, 1996 | Blood Products, Collected From A Donor Who Received A Tattoo Within Twelve Months Of Donation | 1 unit of each component | New Mexico
1996-04-03 | Biologics | II | b-346-6 | Autologous Red Blood Cells | Manufacturer | Mississippi Valley Regional Blood Center, Davenport, Iowa | July 13, 1995 | Autologous Blood Product, Not Correctly Labeled "for Autologous Use Only," Was Distributed | 1 unit | Iowa
1996-04-03 | Biologics | II | b-351-6 | Platelets, Pheresis | Blood Systems | Blood Systems, Inc | January 23, 1996 | Blood Products, Collected From A Donor Whose Spouse Tested Positive For The Hepatitis B Surface Antigen (hbsag), Were Distributed | 4 units | California, Illinois, Missouri
1996-04-03 | Biologics | II | b-357-6 | Platelets | Blood Systems | Blood Systems, Inc | February 21, 1996 | Blood Product, Which Was Collected From A Donor Who Exceeded The Donation Collection Time, Was Distributed | 1 unit | Texas
1996-04-03 | Biologics | III | b-328-6 | Recovered Plasma | Manufacturer | American Red Cross Blood Services, Huntington, West Virginia | August 31, 1994 | Blood Products, Corresponding To A Unit Of Red Blood Cells From Which Micrococcus Sp | 1 unit | California
1996-04-03 | Biologics | III | b-330-6 | Recovered Plasma | Manufacturer | American Red Cross Blood Services, Huntington, West Virginia | October 14, 1994 | Blood Products, Corresponding To A Unit Of Red Blood Cells Contaminated With Staphylococcus Aureus, Were Distributed | 1 unit | California
1996-04-03 | Biologics | III | b-341/343-6 | (a) Red Blood Cells, For Further Manufacture; (b) Platelets, For Further Manufacture; (c) Recovered Plasma | Manufacturer | American Red Cross Blood Services, Lansing, Michigan | May 10, 1994 | Blood Products, Which Were Incorrectly Tested For The Antibody To The Hepatitis C Virus Encoded Antigen (anti-hcv), Were Distributed | (a) 1 unit; (b) 78 units; (c) 631 units | Michigan, California, Puerto Rico
1996-04-03 | Biologics | III | b-347-6 | Recovered Plasma | Manufacturer | Mississippi Valley Regional Blood Center, Davenport, Iowa | July 14, 1995 | Autologous Blood Product, Not Correctly Labeled "for Autologous Use Only," Was Distributed | 1 unit | California
1996-04-03 | Biologics | III | b-348/350-6 | (a) Red Blood Cells; (b) Platelets; (c) Recovered Plasma | Blood Systems | Blood Systems, Inc | December 28, 1995 | Blood Products, Which Tested Negative For The Hepatitis B Surface Antigen (hbsag), And The Antibody To The Hepatitis B Core Antigen (anti-hbc), But Were Collected From A Donor Who Previously Tested Positive For Hbsag, Were Distributed | (a) 12 units; (b) 3 units; (c) 12 units | Florida, Massachusetts, Virginia, Texas, North Carolina, Arizona, Switzerland
1996-04-03 | Devices | II |  | Latex Free Outlet Hoses For Use With Ohmeda Anesthesia Systems: (a) Latex Free Outlet Hoses For Part No | Manufacturer | Ohmeda Medical Systems Division, Madison, Wisconsin | March 1, 1996 | The Inner Wall Of This Hose May Be Cut During Insertion Of The Hose Connectors During Manufacturing Which Results In Restricted Gas Flow During The Oxygen Flush | 1,661 hoses were distributed | Nationwide And International
1996-04-03 | Devices | II | z-546/547-6 | Biad 89 And Triad 88 Whole Body Spect Nuclear Imaging Systems, Used By Technologists For Diagnostic And Research Purposes | Manufacturer | Trionix Research Laboratory, Inc | May 6, 1995 | Due To A Gantry Code Software Error In Calculating The Collimator Thickness, The Device's Detector Head May Move Closer To The Patient Than Necessary And May Even Touch The Patient, Which Could Result In Potential Injury To Patients | 133 units were distributed | Nationwide And International
1996-04-03 | Devices | II | z-551-6 | One-step Armboard Surgical Table Accessory, Part #426637-542, Model Numbers F-absa-a1, F- Absa-a2, F-absa-a3, Designed For Use On The Amsco 1080, Amsco 2080 And Amsco Quantum 3080 Surgical Tables | Amsco | Amatech Corporation, Acton, Massachusetts (armboard); Amsco, American Sterilizer Company, Montgomery, Alabama (tables) | December 18, 1995 | The Armboard May Detach From The Surgical Table, And Possibly Injure The Patient | 4,498 units were distributed | Nationwide And International
1996-04-03 | Devices | II | z-552-6 | Midmark Model 7100 General Surgical Tables | Midmark Corporation | M. Schaerer Ag | September 27, 1995 | There Is A Potential For The Surgical Table Become Unstable Due To Faulty Weld Of The Table Column | 2 units were distributed | Virginia
1996-04-03 | Devices | II | z-553/555-6 | Synergytm Anterior Spinal System Implants: (a) Part No | Manufacturer | Cross Medical Products, Inc | March 10, 1995 | The Package Insert, Part No | 5,726 implantable devices were distributed | Kentucky, Utah, Alabama, Georgia, Indiana, Minnesota, North Carolina, Florida, Italy, Japan, Turkey, Korea, Singapore, Belgium
1996-04-03 | Devices | II | z-556-6 | First-medic 710 Semi-automatic Defibrillator | Manufacturer | Physio Control Corporation, Redmond, Washington | February 2, 1996 | The Units May Inadvertently Switch From The Semi-automatic Mode To The Manual Mode During Operation Of The Device, Due To Defective Software | 109 units were distributed | Nationwide And International
1996-04-03 | Devices | III | z-532-6 | Il Testtm Pt-fibrinogen For The Acl System, Used For The Simultaneous Determination Of Prothrombin Time And Fibrinogenon The Acl (tm) System | Instrumentation Laboratory Company (ilc) | Instrumentation Laboratory Company, Orangeburg, New York | September 15, 1994 | The Recovery Values Were Not In The Expected Range | 4200 kits were distributed | Michigan, Missouri, Florida, Arkansas, Louisiana, Vermont, Arizona, Iowa, Texas, Virginia, New York, Oregon, California
1996-04-03 | Devices | III | z-533-6 | Referriltm 3/c Calibrator For The Il Genesis Analyzer, And The Il Monarch And Multistat Systems, For In-vitro Diagnostic Use | Instrumentation Laboratory Company (ilc) | Instrumentation Laboratory Company, Orangeburg, New York | May 15, 1995 | The | 1,745 packages were distributed | Nationwide
1996-04-03 | Devices | III | z-534/535-6 | Il Testtm Ise Reference And Buffer Solution For The Monarch And Phoenix Chemistry Systems, For In-vitro Diagnostic Use: (a) Ise Reference Catalog Numbers: 3337204; (b) Ise Buffer Catalog #3337404 | Instrumentation Laboratory Company (ilc) | Instrumentation Laboratory Company, Orangeburg, New York | April 11, 1995 | The Bacteriostat/fungistat Potency May Decrease After One Year Which Is Short Of The Expiration Date | lot no | Nationwide, Puerto Rico, Antigua, British West Indies
1996-04-03 | Devices | III | z-536/537-6 | (a) Il Testtm Aptt (activated Partial Thromboplastin Time), For In-vitro Diagnostic Use; (b) Il Testtm Pt-fibrinogen Reagents For The Aco System, For In-vitro Diagnostic Use | Instrumentation Laboratory Company (ilc) | Instrumentation Laboratory Company, Orangeburg, New York | January 25, 1995 | The Normal Range Values May Have An Upward Shift Of 0 | (a) kit lot #n0242975 = 817 kits kit lot #n0543374 = 4643 kit lot #n0742946 = 5045 kit lot #n0742947 = 5374 kit lot #n0742948 = 7851 kit lot #n1043312 = 8712 (b) pt-fib: lot #n0543405 = 3864 lot #n1143411 = 3831 lot #n1043409 = 3733 lot #n0743406 = 3791 | Nationwide
1996-04-03 | Devices | III | z-557/559-6 | Victory Series Orthodontic 2nd Bicuspid Brackets: (a) Miniature Metal Wing, Part# 017-433; (b) Mini Mesh Alexander Rx, Part# 2017-433; (c) Apc Miniature Metal Single, Part# 017-460 | Manufacturer | 3m Unitek, 3m Dental Products Division, Monrovia, California | November 17, 1995 | The Packaging Labels Were Labeled With A -17� Bracket Torque When The Packages Actually Contained Products With A -11� Bracket Torque | 3,162 brackets subject to recall | California, Colorado, Indiana, Missouri, Ohio, Oklahoma, South Dakota, Tennessee, Texas, Utah, And International
1996-04-03 | Devices | III | z-563-6 | Bacto Streptolysin O Reagent, Desiccated Streptolysin O, In Vials Labeled 10 Ml, An In- Vitro Diagnostic Used For Determining The Amount Of Antistreptolysin O Titers In Sera | Manufacturer | Difco Laboratories, Livonia, Michigan | November 20, 1995 | The 25 Ml Vials Containing Reagent Were Incorrectly Labeled To Rehydrate With 10 Ml Of Distilled Water | 135 packages were distributed | California, Delaware, Illinois, Kansas, Kentucky, Mississippi, Missouri, Ohio, Puerto Rico, Texas, Canada, England, Finland Honduras, Turkey
1996-04-03 | Devices | III | z-566-6 | Dade Actin Activated Cephaloplastin Reagent, An In-vitro Diagnostic, Under The Following Private Labels: Baxter Healthcare, Baxter Diagnostics, Baxter S | Manufacturer | Dade International Of Puerto Rico, Aguada, Puerto Rico | December 19, 1995 | The Activated Cephaloplastin Reagent Gave A Prolonged Activated Partial Thromboplastin Times With Normal And Abnormal Controls And Normal Patient Samples | 52,217 packages were distributed | Nationwide And International