## Report-1996-04-10
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1996-04-10 | Drugs | II | d-110/113-6 | Sterile Eye Wash Solutions And Sterile Eye Drops Packaged In Plastic Bottles With Plastic Screw On Lids: -3- (a) First Aid Pac-kit Eye Flush Solution, In 1 Ounce Bottles; (b) Medco Eye Wash Sterile Isotonic Buffered Solution, In 4 Fluid Ounce And 32 Fluid Ounce Bottles; Respond Eye Wash First Aid Treatment Ophthalmic Irrigating Solution, In 4 Fluid Ounce Bottles; Respond Eye & Skin Flushing Solution, Sterile And Isotonic, In 8 Fluid Ounce Bottles; (c) Masuentm Your First Aid Supply Source Eye & Body Wash, In 32 Fluid Ounce Bottles; (d) Life & Safety Eye & Skin Neutralizer For Acid And Alkali Burns Sterile First Aid Treatment, In 8 Fluid Ounce Bottles | Manufacturer | Medco Pharmaceuticals, Inc | March 19, 1996 | Some Units Have Loose Caps Resulting In Container Leakage. | 26,877 units were distributed | Nationwide
1996-04-10 | Drugs | III | d-107-6 | Dura-vent/a Capsules Packaged In Bottles Of 100, Rx Used For The Temporary Relief Of Symptoms Associated With Allergic, Rhinitis, Sinusitis, And The Common Cold | Manufacturer | Central Pharmaceuticals, Inc | March 1, 1996 | Product Does Not Meet Dissolution Specifications For Phenylpropanolamine Ingredient | 4,745 bottles were distributed; firm estimated that little or none of this lot remained on market at time of recall initiation | Nationwide
1996-04-10 | Drugs | III | d-108-6 | Coly-mycin S Otic With Neomycin And Hydrocortisone, Rx Antibacterial, In 10 Ml And 5 Ml Vials | The Parke-davis Division Of Warner-lambert Company | Warner-lambert Company, Parke-davis Sterile Products Division, Rochester, Michigan | March 25, 1996 | Product Does Not Meet Potency Specifications For Hydrocortisone | 32,178 vials of 03165p and 65,311 vials of lot 02185p were distributed | Nationwide
1996-04-10 | Drugs | III | d-109-6 | Hydromorphone Hydrochloride Usp, C-ii, Packaged In A 1-kg Drum And 1-gm Bottles, For Prescription Compounding Or Further Manufacturing, Processing, Or Repacking | Manufacturer | Mallinckrodt Chemical, Inc | March 22, 1996 | Inconsistent Assay Results | 1 1-kg drum and 126 1-gm bottles were distributed | Massachusetts, Oregon, Michigan, Alaska, Nevada
1996-04-10 | Drugs | III | d-114/115-6 | Loxitane (loxapine Succinate) 5 Mg And 10 Mg Capsules In Bottles Of 100 And 1000, And Blister Packs Of 10 (2 X 5) Capsules, Rx Antipsychotic Drug | Whitehall Robins Inc. | Wyeth-ayerst/lederle Laboratories, Inc | March 29, 1996 | Potency Not Assured Through Expiration Date | 5 mg | Nationwide And Puerto Rico
1996-04-10 | Biologics | II | b-358-6 | Red Blood Cells | Manufacturer | American Red Cross Blood Services, St | June 30, 1995 | Blood Product Collected From A Donor Who Traveled To An Area Designated As Endemic For Malaria, Was Distributed | 1 unit | Missouri
1996-04-10 | Biologics | II | b-360-6 | Platelets | Manufacturer | American Red Cross Blood Services, St | July 19, 1995 | Blood Product Collected From A Donor Who Had A History Of High Risk Behavior Was Distributed | 1 unit | Missouri
1996-04-10 | Biologics | II | b-361-6 | Platelets | Blood Systems | Blood Systems, Inc | January 30, 1996 | Platelets Manufactured From Whole Blood Units With Excessive Bleed Times | 10 units | Texas
1996-04-10 | Biologics | III | b-356-6 | As-1 Red Blood Cells | Manufacturer | American Red Cross, St | September 22, 1994 | Blood Product Mislabeled With The Incorrect Expiration Date Was Distributed | 1 unit | Missouri
1996-04-10 | Biologics | III | b-359-6 | Red Blood Cells, Irradiated | Manufacturer | American Red Cross Blood Services, St | February 20, 1995 | Blood Products Irradiated And Labeled With An Extended Expiration Date Were Distributed | 5 units | Missouri
1996-04-10 | Biologics | III | b-362-6 | Red Blood Cells, Leukocytes Removed By Filtration | Manufacturer | American Red Cross Blood Services, St | April 15, 1995 | Blood Product, Which Was Leukodepleted Greater Than Five Days After Collection, Was Distributed | 1 unit | Missouri
1996-04-10 | Devices | II | z-564-6 | Olympus Brand Lubricated Condoms | Manufacturer | Custom Services International, Inc | November 8, 1995 | Product Failed The Fda Water Leak Test | undetermined | Undetermined
1996-04-10 | Devices | II | z-565-6 | Lifestyles Lubricated Condoms With Nonoxynol- 9, In Boxes Of 1,000 | Ansell | Ansell, Inc | February 2, 1996 | Product Failed The Firm's Water Leak Test Apparently Due To Deterioration Of The Latex | 43 boxes were distributed | California, Georgia, Texas, Wyoming
1996-04-10 | Devices | II | z-567-6 | Labeling | Datascope Corporation | Bimba Manufacturing Company, Monee, Illinois (cylinder) | March 22, 1994 | The Device's Volume Cylinder Was Found To Malfunction During The Autofill Process Mode At The Self Test Stage | 114 units were distributed; firm estimates none remains on the market | Nationwide And International
1996-04-10 | Devices | II | z-570-6 | Triad Xlt-20 Nuclear Imaging Systems, Used By Technologists For Diagnostic And Research Purposes | Manufacturer | Trionix Research Laboratory, Twinsburg, Ohio | November 19, 1994 | The Detector Head May Drop On A Patient Or Healthcare Provider Because Of Metal Fatigue At The Device's Ball Screw Assembly | 6 units were distributed | Connecticut, Tennessee, New York, Maryland, Texas
1996-04-10 | Devices | II | z-571-6 | Bear Ventilator, Model 1000, Indicated For Ventilation Of Adult And Pediatric Patients | Allied Healthcare Systems | Precision Dynamics, Inc | October 30, 1995 | Device Is Constructed With A Defective Solenoid Valve With May Cause Patient Breathing Difficulties | 1,868 units were distributed | Nationwide And International
1996-04-10 | Devices | II | z-573-6 | New Star Model 600 Ho:yag Laser, Used In Cardiovascular Surgery | Manufacturer. Fda Approved The Firm's Corrective Action Plan March 27 | New Star Lasers, Inc | March 27, 1996 | The Device Failed To Comply With 21 Cfr 1040 | 6 units | Nationwide
1996-04-10 | Devices | II |  | Sysmex Automated Coagulation Analyzers, For In-vitro Diagnostic Use: (a) Model Ca-1000; (b) Model Ca-5000 | Sysmex Corporation Of America | Toa Medical Electronics Company, Ltd | November 20, 1995 | The Analyzers May Report Incorrect Coagulation Times Due To Flat Coagulation Curves Without The Presence Of Appropriate Error Code Messages Or Flagging | (a) 592 units; (b) 59 units were distributed | Nationwide And International
1996-04-10 | Devices | II | z-577/578-6 | Novametric Handheld Pulse Oximeter, Used To Measure And Display, On An Ongoing Continuous Basis, The Respiration (heart Beat) And Saturation (oxygen Level In A Patient's Blood) Of A Patient: (a) Model 510 Domestic, Part Numbers 5950-00 And 6350-00; (b) Model 511 International, Part #6116-00 | Manufacturer | Novametrix Medical Systems, Inc | January 16, 1996 | There Is A Potential Of A System Lock-up, Holding The Last Saturation And Pulse Display, But Not Alarming When An Alarm Condition Occurs | 2,193 units of part #5950-00; 572 units of part #6350-00; 2,387 units of part #6116-00 were distributed | Nationwide And International
1996-04-10 | Devices | II | z-579/580-6 | Titanium Cp Obutment Antirotational Implant, Non-coated With 2mm Collars: (a) Catalog #3516te; (b) Catalog #4012te | Manufacturer | The O'company, Albuquerque, New Mexico | February 1, 1996 | The Product Has Not Undergone The Sterilization Process | 5 implants were distributed; all have been returned | New Mexico, West Virginia
1996-04-10 | Devices | III | z-572-6 | 3m Sarns Turbo Membrane Oxygenator, Used In Blood Profusion Procedures | Manufacturer | Sarns/3m Health, Ann Arbor, Michigan | October 4, 1995 | The Oxygenators Contain Blocked Fibers That Resulted In Reduced Gas Transfer Between Fibers And The Blood | 37 units were distributed | Nationwide And International
1996-04-10 | Devices | III | z-576-6 | Disposable Mouthpiece, 7/8" Outside Diameter, A Single Use Device Used With Pulmonary Function Equipment | Manufacturer | A-m Systems, Inc | March 20, 1995 | The Product Was Contaminated With A Red Substance | 10 cases of 500 mouthpieces were distributed | Georgia, Michigan, Wyoming, California, Minnesota, Massachusetts