## Report-1996-04-17
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1996-04-17 | Drugs | II | d-117-6 | Children's Cherry Flavored Acetaminophen Suspension Liquid, In 4 Ounce Bottles, Under The Following Brand Names: American Fare, Brooks, Chateau, Cvs, Food Lion, Goldline, Good Sense, Health Life, Homebest, Kroger, Marquee, The Medicine Shoppe, Meijer, Nex, Osco, Pathmark, The Pharxm, Phar-mor, Revco, Smiths, Thrifty, Topcare, Walgreens | Manufacturer | Perrigo Company, Allegan, Michigan | February 21, 1996 | Precipitate Of Active Ingredient Which May Result In Non-uniform Dosage. -4- | 3,979 dozen bottles were distributed | Nationwide
1996-04-17 | Drugs | III | d-116-6 | Gelusil Liquid Antacid Anti-gas Peppermint Flavor 355 Ml, In 12 Fluid Ounce Bottles | Warner Lambert Company | Warner Lambert Company, Brockville, Ontario, Canada | December 11, 1995 | Some Units Exhibited Off-odor, Off-taste And Presence Of A Bacillus Species | 293,046 bottles were distributed; firm estimated that 290,000 bottles remained on market at time of recall initiation | Nationwide
1996-04-17 | Drugs | III | d-118-6 | Sterile Triamcinolone Diacetate Suspension, Usp, 40 Mg/ml, Injectable Rx Drug For Intramuscular, Intra-articular Or Soft Tissue Use, For Endocrine And Rheumatic Disorders | Steris Laboratories | The Upjohn Company, Kalamazoo, Michigan (raw Material); Steris Laboratories, Inc | November 17, 1995 | Product Contains Trace Quantities Of Decabromdiphenylether Resulting From Synthesis Reagent Used To Manufacture Raw Material | approximately 14,500 units were distributed; firm estimated that little, if any, product remained on market at time of recall initiation | Nationwide
1996-04-17 | Biologics | III | b-363/365-6 | (a) Platelets; (b) Fresh Frozen Plasma; (c) Cryoprecipitated Ahf | Manufacturer | Flushing Hospital Medical Center, Flushing, New York | January 26, 1996 | Blood Products Which Were Misbranded, Were Distributed For Further Manufacture. | 66 units; (b) 459 units; (c) 10 units | Pennsylvania
1996-04-17 | Devices | I = | z-562-6 | Siemens 3-gas Model 962 Anesthesia Mixer, Part #906588, Designed For Use With The Siemens Servo Ventilator And May Be Used For Mixing 02 (oxygen) With Either N20 (nitrous Oxide) Or Air | Siemens Medical Systems | Servo Ventilator, Siemens-elma, Germany (mixer) | March 11, 1996 | A Manufacturing Process Error In Which The Oxygen Hose Was Connected To The Nitrous Oxide Outlet And Vice Versa. | 15 units were distributed | California, Washington, D
1996-04-17 | Devices | II | z-560-6 | Hunter High Performance Air Purifiers, Model #30300, For Home And Business Use | Manufacturer | Hunter Fan Company, Memphis, Tennessee | January 30, 1996 | There Is A Potential Fire Hazard Due To High Voltage Arcing | 42,283 units were distributed; firm estimated that 39,146 units remained on market at time of recall initiation | Nationwide And Puerto Rico
1996-04-17 | Devices | II | z-561-6 | Ivac I | Ivac Corporation | Ensembles Medicos, S | October 17, 1995 | The Device Is Labeled As Containing 60 Drops/ml Sets, Whereas It Contains 20 Drops/ml Sets | 475 cases were distributed; firm estimates none remains on the market | Nationwide And Canada
1996-04-17 | Devices | II | z-568/569-6 | Nuclear Imaging Systems, Used In Organ And Whole Body Scans: (a) Biad, Two Head Detector Spect System; (b) Monad, Single Head Detector Spect System | Manufacturer | Trionix Research Laboratory, Twinsburg, Ohio | April 3, 1995 | The Detector Head May Drop On A Patient Or Healthcare Provider Because Of Metal Fatigue At The Device's Ball Screw Assembly | 80 biad units were distributed | Nationwide, Korea, Australia, Egypt, Switzerland
1996-04-17 | Devices | II | z-582-6 | P300 Power Wheelchair With Airless Solid Casters And P300 Power Wheelchair With Pneumatic Casters Using Labac Specialized Seating System | Manufacturer | Quickie Designs, Inc | December 6, 1995 | The Forks Holding The Front Caster Assemblies In Place May Be Subject To Cracking Which Could Cause The Caster Assembly To Collapse And The User To Potentially Fall Out Of The Wheelchair | 3,762 units | Nationwide
1996-04-17 | Devices | II | z-588/591-6 | Medline Custom Procedural Trays Which Contain Johnson & Johnson Barrier Vu-thru Cardiovascular Split Sheets: (a) Cardiovascular Packs 1) Catalog No | Medline Industries | Medline Industrues, Waukegan, Illinois (kit); Johnson & Johnson Medical, Inc | January 4, 1996 | The Fabric Of The Clipping Tabs Are Subject To Tearing, Presenting Potential Harm To Patient | firm estimates none remains on the market | Florida, Georgia, Kansas, Kentucky, Pennsylvania, South Carolina, Texas, Utah, Virginia
1996-04-17 | Devices | II | z-592/593-6 | Nezhat-dorsey Smokevac Trumpet Valve For Pump Ii, A Laparoscopic Suction/irrigation System With Metered Smoke Evacuation Mechanism: (a) Nezhat-dorsey Smokevac Trumpet Valve And Pump Ii Cartridge, Catalog No | Davol | Prent Thermoforming Janesville, Wisconsin (component) | June 13, 1995 | The Sterility Of The Device May Be Compromised Due To Loss Of Package Integrity, Caused By Cracks | (a) 7,112 units; (b) 1,134 units were distributed | Nationwide And International
1996-04-17 | Devices | II | z-594-6 | Television Projectors Incorporated In The Moving Target Simulators (mts), Used To Project Target Images On A Screen | Manufacturer. Fda Approved The Firm's Corrective Action Plan April 1 | Aai Corporation, Cockeysville, Maryland | April 1, 1996 | The Television Projectors Incorporated In The Moving Target Simulators Failed To Comply With The X-radiation Emission Limit Of The Federal Performance Standard For Television Receivers, 21 Cfr 1020 | 16 units | Nationwide And Germany
1996-04-17 | Devices | II | z-595-6 | Model Ws 2200 Laser System, Used In Metal Cutting | Manufacturer. Fda Approved The Firm's Corrective Action Plan April 1 | Convergent Energy, Sturbridge, Massachusetts | April 1, 1996 | The Product Was Found To Be Noncompliance With The Federal Performance Standard For Laser Products 21 Cfr 1040 | 1 unit | Mississippi
1996-04-17 | Devices | II | z-596-6 | Cordis Trakstar 18, Long Balloon Catheters, Catalog #535-303 | Manufacturer | Cordis Corporation, Miami, Florida | January 15, 1996 | Small Axially Oriented Abrasions Present On Some Balloons Could Cause A Burst Pressure Below That Of The Rated One | 50 units were distributed | Nationwide
1996-04-17 | Devices | III | z-583-6 | Stratus Cardiac Troponin-i Fluorometric Enzyme Immunoassay Kit, Catalog #b5700-64, Used In An Automated Procedure For The Quantitative Determination Of Troponin-i Levels In Serum And Heparinized-plasma | Manufacturer | Dade International, Inc | January 10, 1996 | Calibrator Lot Xtn-215 Was Incorrectly Shipped To Be Used With Kit Lot No | 118 kits were distributed | Texas, California, Florida, Georgia, Kentucky, Louisiana, Michigan, Minnesota, Missouri, New York, Ohio, Pennsylvania, South Carolina, Wisconsin, And International
1996-04-17 | Devices | III | z-584-6 | S/p Boiling Water Bath Used For All Laboratory Procedures Requiring 100 Degree C Incubation | Manufacturer | Dade International, Inc | February 19, 1996 | The Water Bath Has Water Leakage In The Rear Of The Unit Which Could Cause A Fire Or Electrical Shock Hazard | 109 units | Illinois
1996-04-17 | Devices | III |  | Medtronic Cardiorhythm Atakr Ablation System, Model 0610, Intended Primarily For Use In Intracardiac Radiofrequency Ablation Procedures |  | Medtronic Cardiorhythm, San Jose, California | N/A | Device Does Not Turn Off When The Foot Is Released From The Foot Pedal | 430 units were distributed | Nationwide And International