## Report-1996-05-22
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1996-05-22 | Drugs | III | d-139/140-6 | Doxycycline Hyclate, Rx Broad-spectrum Antibiotic In Bottles Of 50 And 500, Under The Lederle Label: (a) Doxycycline Capsules, Usp, 100 Mg; (b) Doxycycline Tablets, 100 Mg | Danbury Pharmacal | Danbury Pharmacal, Inc | April 11, 1996 | Products Distributed With Non-current Package Insert. | (a) 500's - 3,214 bottles to lederle 5/20/94 & 12/16/94; 50's - 5,000 bottles to lederle 12/13/94; (b) 500's - 6,849 bottles to lederle 12/23/94 & 3/13/96; 50's - 10,000 bottles to lederle 12/23/94 and 3/13/96 | Pennsylvania
1996-05-22 | Devices | II | z-716/721-6 | Calibration Gases Under The Scott And/or Kontron Labels: (a) 4% Isoflurane, Balance Argon, (b) 1% Isoflurane, 5% Co2, 65% N2o, 21% O2, Balance N2 (c) 2% Isoflurane, 21% O2, Balance N2, (d) 2% Isoflurane, Balance N2, (e) 2% Enflurane, Balance N2 | Manufacturer | Scott Specialty Gases, Inc | February 5, 1996 | Devices Do Not Meet Their Concentration Specifications As Stated On The Labeling Because Of A Defect In A Certain Sealing Gasket | 633 units were distributed | Colorado, New Jersey, Virginia, Sweden, England
1996-05-22 | Devices | II | z-747-6 | Multitask Operating System Version 2 | Clintec Nutrition Company | Compdisk, Morton Grove, Illinois | April 12, 1996 | A Software Bug In The Automatic Additive Selector Option May Result In Dispensing An Inaccurate Measure Of Electrolytes | 658 software units were distributed | Nationwide
1996-05-22 | Devices | II | z-758-6 | Image Amplification Surgical Table Model 2080 I | Amsco American Sterilizer Company | Amsco American Sterilizer Company, Montgomery, Alabama | January 6, 1989 | There Is A Tipping Hazard When Positioning Obese Patients In The Reverse Orientation | 1,395 tables were distributed | Nationwide And International
1996-05-22 | Devices | II | z-759/760-6 | (a) Plv-100 Ventilators; (b) Plv-102 Ventilators | Manufacturer | Lifecare International, Inc | March 27, 1996 | There Is A Potential For Alarm Malfunction And/or Unit Shutdown With No Alarm | (a) 72 units; (b) 80 units were distributed | Nationwide And International
1996-05-22 | Devices | II | z-766-6 | Sperti Brand Sunlamp, Model P-164-rt, Riviera (table Model), Used For Skin Tanning | Kbd | Time Teck, Whitewater, Wisconsin (component Supplier/responsible Firm) | April 9, 1996 | The Nut, Which Secures The Timer To The Shell Of The Sunlamp, Can Break The Plastic Timer Casing When It Is Tightened | 38 units were distributed | Illinois, Arizona, Oregon, Colorado, Florida, Nevada, Maryland
1996-05-22 | Devices | II | z-788-6 | Ubm Model 840 Scanhead Joint Assembly, Ophthalmic Ultrasound System | Carl Zeiss | Humphery Instruments, Inc | January 17, 1996 | The System's Scanhead May Drop On A Patient Because Of Metal Fatigue At The Device's Scanhead Joint Assembly | 34 units were distributed | Nationwide And Canada
1996-05-22 | Devices | II | z-789-6 | Equipment Manuals For Amsco 3080 Rl/sp Surgical Table | Amsco American Sterilizer Company | Amsco American Sterilizer Company, Montgomery, Alabama (tables) | August 10, 1995 | The Manuals Specify An Erroneous Patient Weight Limitation Of 500 Pounds Instead Of 400 Pounds | 1,901 tables were distributed | Nationwide And International
1996-05-22 | Devices | II | z-790-6 | Sterile E-z Clean Cautery Tip, Catalog #0012, An Electrode Used In Electrosurgical Pencils | Manufacturer | Megadyne Medical Products, Inc | April 3, 1996 | The Sterility Of The Device Has Been Compromised Due To Loss Of Package Integrity | approximately 190,000 units were distributed; firm estimated that a majority of the product had already been used at time of recall initiation | Nationwide, Japan, Italy
1996-05-22 | Devices | III | z-728-6 | Stratus Brand Ck-mb Fluorometric Enzyme Immunoassay, A Rapid And Sensitive Automated Procedure For The Quantitative Determination Of Ck-mb In Human Serum | Manufacturer | Dade International, Inc | January 26, 1996 | The Above Lot Of Material May Have Units Which Do Not Contain Dulbecco's Phosphate Buffered Saline But Contain Water | 116 kits were distributed | Nationwide
1996-05-22 | Devices | III | z-767-6 | Inhibitory Mold Agar Media Plates, Catalog #01-505, An In-vitro Diagnostic Packaged 10 Plates Per Box | Manufacturer | Remel Limited Partnership, Lenexa, Kansas | August 2, 1995 | The Plates Inside The Box Were Labeled As Bhi (blood Heart Infusion) Agar, But The Box Was Labeled As Inhibitory Mold Agar (ima) | 2,710 units were distributed; firm estimates none remains on the market | Nationwide
1996-05-22 | Devices | III | z-768-6 | Bactidrop Spot Indole, Catalog #21-550, A Reagent Used To Determine The Ability Of An Organism To Split Indole From The Tryptophan Molecule, Packaged 50 - | Manufacturer | Remel Limited Partnership, Lenexa, Kansas | June 5, 1995 | The Device Did Not Give The Expected Blue Color Reaction, Because Ampule Contained Kovac's Indole Reagent Instead Of Spot Indole | 203 boxes were distributed; firm estimates none remains on the market | Georgia, Florida, Virginia, Connecticut, Wisconsin, Oklahoma, Kansas, California, Alaska, New Jersey, Pennsylvania, Missouri
1996-05-22 | Devices | III | z-771-6 | Mrl Yellow Agar (double Pour) Media Plates, Catalog #01-543, An In-vitro Diagnostic, Packaged 10 Units Per Box | Manufacturer | Remel Limited Partnership, Lenexa, Kansas | December 28, 1995 | Several Packages Labeled Mrl Yellow Agar Contained D'nase Test Agar | 40 units were distributed; firm estimates none remains on the market | Missouri
1996-05-22 | Devices | III | z-772-6 | Mrl Red (double Pour) Plates, Catalog #01-541, An In-vitro Diagnostic, Packaged 10 Plates Per Box | Manufacturer | Remel Limited Partnership, Lenexa, Kansas | November 13, 1995 | The Packages Labeled As Mrl Red Contained Mrl Green | 140 units were distributed; firm estimates none remains on the market | Missouri
1996-05-22 | Devices | III | z-778-6 | Brain Heart Infusion (bhi) Agar With Blood With Chloramphenicol With Gentamicin, Media Plates, Catalog #10-248, An In-vitro Diagnostic | Manufacturer | Remel Limited Partnership, Lenexa, Kansas | August 17, 1995 | The Individual Plates Were Labeled As "bhi With Blood" Instead Of "bhi With Blood With Chloramphenicol With Gentamicin | 140 units were distributed; firm estimates none remains on the market | Illinois, California, Utah