## Report-1996-05-29
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1996-05-29 | Drugs | II | d-142-6 | Dilantin (extended Phenytoin Sodium), Usp, 30 Mg, In Bottles Of 100, Anticonvulsant | Manufacturer | Warner Lambert Company, Lititz, Pennsylvania | May 6, 1996 | Product Does Not Meet Dissolution Specifications | 28,397 bottles were distributed | Nationwide
1996-05-29 | Drugs | II | d-143/144-6 | Puritan Bennett (a) Carbon Dioxide, Usp, 99% In The Following Cylinder Sizes: B, D, E, P, F, M, G, T, And Xl-45 Refrigerated Liquid Container; (b) Carbon Dioxide 5%, Oxygen 95% Mixture In The Following Cylinder Sizes: E, G, And H | Puritan-bennett Corporation | S Puritan-bennett Corporation, A Subsidiary Of Nellcor Puritan Bennett Inc | April 19, 1996 | Presence Of Trace Quantities Of Hcn (hydrogen Cyanide) | the baltimore branch distributed 1,253 cylinders or xl-45's co2 between philadelphia 1/29/96-4/19/96; branch distributed 5 cylinders co2 between 4/11-15/96 | Pennsylvania, Maryland, New Jersey, Washington, D
1996-05-29 | Drugs | III | d-141-6 | Pharmics Brand Polytinic, Rx Diet Supplement, In Bottles Of 100 | Pharmics | Gull Laboratories, Inc | March 25, 1996 | Subpotency Of The Folic Acid Ingredient | 646 bottles were distributed; firm estimated that less than 100 bottles remained on market at time of recall initiation | Missouri, Utah, Idaho, Nevada, Colorado, Iowa, Ohio, Florida, Wyoming
1996-05-29 | Drugs | III | d-145/146-6 | (a) Caffeine Tablets, Manufactured For Specialty Products Co | Manufacturer | Ion Labs, Inc | March 18, 1996 | Caffeine Product Does Not Meet Content Uniformity Specifications | (a) 2,300 bottles; (b) 468 bottles were distributed | New Jersey
1996-05-29 | Drugs | III | d-147-6 | Is Subpotent | Whitehall Robins | Wyeth-ayerst/lederle Laboratories, Inc | May 8, 1996 | Potency Not Assured Through Expiration Date | 29,093 bottles were distributed | Nationwide And Australia
1996-05-29 | Drugs | III | d-148-6 | Tricolan Antimicrobial Soap, In 32 Ounce Bottles | Manufacturer | Perfecto Products Manufacturing, Inc | April 8, 1996 | Subpotenc | 1,365 bottles were distributed; firm estimated that 30-40% of the lot remained on market at time of recall initiation | Nationwide
1996-05-29 | Drugs | III | b-410-6 | Human Tissues For Transplant: Human Eye Tissues | Manufacturer | Mid-south Eye Bank, Memphis, Tennessee | January 23, 1996 | Human Tissues, Not Tested For Hiv-2 Were Distributed | 112 shipments | Tennessee, Arkansas
1996-05-29 | Biologics | II | b-402-6 | Platelets, Pheresis | Manufacturer | Irwin Memorial Blood Center, San Francisco, California | January 11, 1994 | Blood Product Was Collected From A Donor Who Previously Tested Repeat Reactive For Hbsag And Was Not Properly Reentered | 1 unit | California
1996-05-29 | Biologics | II | b-411/412-6 | (a) Red Blood Cells; (b) Fresh Frozen Plasma | American Red Cross Blood Services | American Red Cross Blood Services, Rock Falls, Illinois | October 17, 1995 | Blood Products, Collected From A Donor Who Travelled To An Area Designated As Endemic To Malaria, Were Distributed | (a) 4 units; (b) 1 unit | Illinois, Missouri, California, Tennessee
1996-05-29 | Biologics | II | b-414-6 | Red Blood Cells | Manufacturer | American Red Cross, Detroit, Michigan | October 24, 1995 | Blood Product, Which Was Collected From A Donor With A Medical History Of Hepatitis, Was Distributed | 1 unit | Michigan
1996-05-29 | Biologics | II | b-415/417-6 | (a) Red Blood Cells; (b) Platelets; (c) Fresh Frozen Plasma | Manufacturer | American Red Cross, Fort Wayne, Indiana | November 21, 1995 | Blood Products, Which Tested Negative For All Infectious Diseases, But Were Collected From A Donor Who Previously Tested Repeat Reactive For Anti-hiv-1, And Was Never Properly Reentered, Were Distributed | (a) 2 units; (b) 1 unit; (c) 1 unit | Indiana
1996-05-29 | Biologics | II | b-418/420-6 | (a) Red Blood Cells; (b) Platelets; (c) Fresh Frozen Plasma | Manufacturer | American Red Cross, Detroit, Michigan | October 26, 1995 | Blood Products, Collected From A Donor Taking The Drug, Proscar Were Distributed | 1 unit of each component | Michigan
1996-05-29 | Biologics | II | b-421-6 | Source Plasma | Manufacturer | Community Bio-resources, Inc | October 16, 1995 | Blood Products, Which Were Collected From A Donor Who Reported His Lips Pierced, Were Distributed | 11 units | Austria
1996-05-29 | Biologics | II | b-422/424-6 | (a) Red Blood Cells; (b) Platelets; (c) Recovered Plasma | Manufacturer | Carlisle Hospital Blood Bank, Carlisle, Pennsylvania | August 21, 1995 | Blood Products, Collected From Donors Taking The Drug, Proscar Were Distributed | (a) 2 units; (b) 2 units; (c) 3 units | Pennsylvania
1996-05-29 | Biologics | III | b-403-6 | As-1 Red Blood Cells | Manufacturer | Irwin Memorial Blood Center, San Francisco, California | January 11, 1994 | Blood Product Was Shipped With An Extended Expiration | 1 unit | California
1996-05-29 | Biologics | III | b-404/405-6 | (a) As-1 Red Blood Cells; (b) Platelets | Manufacturer | Lifesource, Glenview, Illinois | September 29, 1995 | Blood Products, Collected From A Donor Who Had Received A Mmr Vaccination, Twenty-five Days Prior To The Donation, Were Distributed | 1 unit of each component | Illinois
1996-05-29 | Biologics | III | b-426-6 | Red Blood Cells | Blood Services | United Blood Service, Mcallen, Texas | February 20, 1996 | Red Blood Cells, Remained At Room Temperature For An Unknown Amount Of Time, Were Distributed | 1 unit | Texas
1996-05-29 | Devices | I = | z-709-6 | Synthetic Serum Substitute, Catalog #99193, In 12 Ml Vials, Designed For Use As A Tissue Culture Protein Supplement | Manufacturer | Irvine Scientific Sales Company, Inc | December 14, 1995 | The Device Is Contaminated With Penicillium Sp. Mold. The Device Labeling Does Not Meet The Labeling Requirements For In Vitro Diagnostic Devices In 21 Cfr 809. 10. | 1,669 vials were distributed | Alabama, California, Connecticut, Florida, Hawaii, Illinois, Massachusetts, Missouri, New Jersey, Nevada, New York, Ohio, Pennsylvania, Tennessee, Texas, Washington State, Japan
1996-05-29 | Devices | II | z-725-6 | Harvey Vapo-steril Solution, A Sterilizing Compound For Use With Harvey Chemiclave Sterilizers, For Sterilizing Dental And Surgical Instruments | Manufacturer | Mdt Biologics Company, Rancho Dominguez, California | February 1, 1996 | The Product May Not Adequately Sterilize Since An Active Ingredient, Formaldehyde, Was Found To Be Less Than Declared In Some Lots, And Some Bottles In One Lot Contained No Formaldehyde At All | 82,606 bottles were distributed | Nationwide, New Zealand, Taiwan
1996-05-29 | Devices | II | z-761/763-6 | Transducer Protector In Custom Sterile Trays, A Component Of A Sterile Custom Tray Identified With The User's Name And A Unique Work Order Number: (a) Dualex Transducer Protector; (b) Dualex Plus Transducer Protector; (c) Dualex Ultra Transducer Protector | Sterile Design | Millipore Corporation, Bedford, Massachusetts (transducers) | February 21, 1995 | The Transducer Protectors May Exhibit Air Leakage At The Female Luer Lock Connection To The Male Luer Of The Hemodialysis Machine Under Normal Operating Conditions | 490,578 custom kits were distributed | New Jersey
1996-05-29 | Devices | II | z-779-6 | Bacticard Neisseria, A Test Kit For Use In The Rapid, Presumptive Identification Of Pathogenic Neisseria Species Isolated From Primary Culture Of Clinical Specimens On Selective Media | Manufacturer | Remel Limited Partnership, Lenexa, Kansas | July 28, 1995 | The Tests Resulted In A Positive Glut Reaction With Neisseria Gonorrhoeae | 84 units were distributed | California, Oklahoma, Michigan, Virginia, Georgia, Wisconsin, Vermont, Tennessee, Minnesota, South Carolina, Ohio, Missouri, Maryland, Florida, New Mexico, Louisiana, New York, Illinois, Rhode Island
1996-05-29 | Devices | II | z-791/808-6 | Orthopedic Bone Screws With Cancellous Or Cortical Thread Designs: (a) Cortical Locking Screw, All Lengths, Part No | Manufacturer | Ace Medical Company, El Segundo, California | June 20, 1995 | The Device Labels Did Not Contain The Following Required Warning Statement: "warning: This Device Is Not Approved For Screw Attachment Or Fixation To The Posterior Elements (pedicles) Of The Cervical, Thoracic, Or Lumbar Spine | approximately 105,195 bone screws were distributed; firm estimates none of the misbranded product remains on the market reason the device labels did not contain the following required warning statement: "warning: this device is not approved for screw attachment or fixation to the posterior elements (pedicles) of the cervical, thoracic, or lumbar spin | Nationwide
1996-05-29 | Devices | II | z-809/810-6 | Stryker Rugged Ambulance Cot Models 6060 And 6070, For Ambulance Loading/unloading | Manufacturer | Stryker Medical, Division Of Stryker Corporation, Kalamazoo, Michigan | April 2, 1996 | The Siderail Mounting Holes On The Outer Support Rail Were Drilled Incorrectly | 99 cots | Nationwide And Canada
1996-05-29 | Devices | II | z-815-6 | Serachem Plus Clinical Chemistry Control Serum (bovine), Unassayed Level Ii, Intended For Monitoring The Precision Of Assays For Digoxin, Theophylline, Phenobarbital, Phenytoin, Gentamicin, And Tobramycin | Instrumentation Laboratory Company (ilc) | Instrumentation Laboratory Company, Orangeburg, New York | September 25, 1996 | The Reconstituted Control Serum Had Turbidity And A Drop In Calcium, Creatine And Other Analytes | approximately 1,051 units were distributed | Pennsylvania, Kentucky, Tennessee, Florida, Washington State, Oregon, Montana, Texas, California, Idaho, Michigan, Missouri, Connecticut, Wisconsin
1996-05-29 | Devices | II | z-816/818-6 | Hip Prosthesis Stem: (a) Apollo Hip Non Porous Stem, Size 2, Catalog Number 7370-00-02, (b) Natural Hip Non Porous Cocr Stem, Size 1, Catalog Number 7352-35-001, (c) Natural Hip Porous Collarless Stem, Size 2 Left, Catalog Number 7354-01-102 | Manufacturer | Intermedics Orthopedics, Inc | April 17, 1996 | The Devices Were Mislabeled | 19 units were distributed; firm estimates none remains on the market | Missouri, Ohio, Pennsylvania, South Dakota, Tennessee
1996-05-29 | Devices | II | z-819/830-6 | Disposable Steri-shield Togas, Used During Surgical Procedures In Order To Help Protect The Wearer Against Contamination And/or Exposure To Body Fluids And Microorganisms: (a) Part No | Stryker Instruments | Biomedical Devices, Irvine, California | April 16, 1996 | The Sterility Of The Devices Have Been Compromised Due To Loss Of Package Integrity | 79,530 togas were distributed | Nationwide And International
1996-05-29 | Devices | II | z-831-6 | Ecg Pre Amp Pc Board Assembly For The Ecg Option Of The Siemens Gamma Camera System | Siemens Medical Systems | Solectron Technology, Inc | April 9, 1996 | The Circuit Board Exceeds The Maximum Leakage Current Safety Requirement For Patient Connected Devices | 67 units were distributed | Nationwide And International
1996-05-29 | Devices | II | z-832/834-6 | 7200 Series Microprocessor Ventilators, Indicated For Delivery Of Gas To Patients Dependent On Artificial Respiration: (a) Model No | Manufacturer | Nellcor Puritan Bennett (npb), Carlsbad, california | October 2, 1995 | Ventilators Can Enter The Svo State (stopped Ventilating) When They Are First Turned On Due To Defective Software | 8,402 ventilators were distributed | Nationwide And International
1996-05-29 | Devices | II | z-835/840-6 | Power Wheelchairs Marketed Under The Following Brand Names: (a) Ranger X Power Wheelchair; -14- (b) Ranger Ii Power Wheelchair; (c) Arrow Power Wheelchair; (d) Arrow Xt Power Wheelchair; (e) Jaguar Power Wheelchair; (f) Power 9000 Action Cat | Invacare Corporation | Invacare Corporation, Elyria, Ohio (wheelchairs); Gould Electronics, Mexico (component) | November 22, 1994 | A Wire Harness Connecting The Battery To The Controller Contains A Fuse Holder That May Cause The Wheelchair To Lose Power Due To A Faulty Soldering Weld | 4,761 chairs were distributed | Nationwide
1996-05-29 | Devices | II | z-850/851-6 | Laser Systems, Used As Optical Oscillators For Highly Specialized Laboratory Applications: (a) Model Kerbbqs-eafb Laser System; (b) Model Cylf-ktp1 Optical Parametric Oscillator (opo) | Manufacturer. Fda Approved The Firm's Corrective Action Plan On May 3 | Schwartz Electro-optics, Inc | May 3, 1996 | The Laser Systems Were Found To Be In Noncompliance With 21 Cfr 1010 | 1 unit each | Southeast And Southwest Region Of The United States
1996-05-29 | Devices | III | z-769-6 | Urea Broth For Afb, 1 | Manufacturer | Remel Limited Partnership, Lexena, Kansas | November 7, 1995 | The Broth Was Pink In Color While Being Stored In Refrigeration At 2-8 Centigrade Compared To Another Lot That Was Yellow | 540 units were distributed; firm estimates none remains on the market | California, Virginia, Connecticut, Wisconsin, Michigan, Pennsylvania, Arkansas, Kansas, New York, Florida, Ohio, Indiana, Puerto Rico
1996-05-29 | Devices | III | z-770-6 | Phenol Red Broth With 1% Sucrose, Tubed Media, For In-vitro Diagnostic Use | Manufacturer | Remel Limited Partnership, Lexena, Kansas | February 7, 1996 | The Product Appeared As A Semi-solid That Was Light Pink In Color | 260 units were distributed; firm estimates none remains on the market | Ohio, California, Nebraska, Illinois, New York, Missouri
1996-05-29 | Devices | III | z-773-6 | Is As A Broth That Is Orange-red In Color | Manufacturer | Remel Limited Partnership, Lexena, Kansas | October 4, 1995 | The Device Does Not Support Growth, Including Growth Of The Positive Control Organism S | approximately 2,030 units were distributed; firm estimates none remains on the market | Texas, Ohio, Georgia, Florida, Colorado, California, Virginia, Connecticut, Wisconsin, Kansas
1996-05-29 | Devices | III | z-774-6 | Cystine Heart Agar Without Blood, 20 Ml Tubed Media, For In-vitro Diagnostic Use | Manufacturer | Remel Limited Partnership, Lexena, Kansas | November 7, 1995 | The Device Was Made With Heart Infusion Broth Instead Of Heart Infusion Agar Causing It To Be Liquid Instead Of A Solid | 40 units were distributed | Kansas, Oklahoma
1996-05-29 | Devices | III | z-775/776-6 | Glycerol Buffered Saline, For In-vitro Diagnostic Use In Qualitative Procedures For The Preservation Of Enteric Pathogens And The Transportation Of Fecal Specimens To The Laboratory: (a) Glycerol Buffered Saline, Fecal Transport System, 15ml Vials, Packaged 12 Vials Per Box Product/catalog No | Manufacturer | Remel Limited Partnership, Lenexa, Kansas | January 23, 1996 | The Devices Contained Black Particles Within The Saline Solution | (a) 39 boxes; (b) 2 boxes were distributed | Nebraska, Indiana, Oklahoma
1996-05-29 | Devices | III | z-777-6 | Buffered Cye With Ccvc (charcoal Yeast Extract Agar With Cycloheximide, Cephalothin, Vancomycin, And Colistin), For In-vitro Diagnostic Use | Manufacturer | Remel Limited Partnership, Lenexa, Kansas | October 9, 1995 | The Bcye With Ccvc Was Inadvertently Released Into Distribution With Poor Growth Of Legionella Pheumophila | 70 units were distributed | Illinois, New York
1996-05-29 | Devices | III | z-780-6 | Surecaltm 1 Calibrator, For Use In The Calibration Of The Il Phoenixtm Chemistry/eletrolyte Analyzer, For In-vitro Diagnostic Use | Instrumentation Laboratory Company (ilc) | Instrumentation Laboratory Company, Orangeburg, New York | October 23, 1995 | Chloride Channel For The Il Phoenix Analyzer Would Not Calibrate, Or The Chloride Recoveries Were High For Patient Values | approximately 103 cartons (12 5-ml bottles) were distributed | New York, New Jersey, North Carolina, South Carolina, Mississippi, Florida, Minnesota, Missouri
1996-05-29 | Devices | III | z-787-6 | Cutter Perfourm Light C | Heraeus Kulzer | Heraeus Kulzer Gmbh & Company, Kg, Dormagen, Germany | April 3, 1996 | The Device Fails To Set Within The Specified Time Frame | 1,327 kits were distributed | Nationwide And Canada
1996-05-29 | Devices | III | z-811/812-6 | Referril B Calibrator And Il Test Tco2 Reagent: (a) Referril B Calibrators, Catalog No | Instrumentation Laboratory Co. | (a) Instrumentation Laboratory Company, Orangeburg, New York; (b) Medical Analysis Systems, Inc | March 11, 1996 | The Tco2 Recoveries Were Lower Than Labeled On The Monarch System Using A New Liquid Form Of Reagents | approximately 2,046 units of referril b and 502 units of tc02 reagent (monarch) were distributed | Nationwide And International
1996-05-29 | Devices | III | z-813/814-6 | Serachem Assayed Control Sera For Monitoring The Ilab 500, Ilab 900, Ilab 1800, Monarch, And Phoenix Chemistry Systems And The Il 943 Flame Photometer: (a) Level 1, Catalog No | Instrumentation Laboratory Company | Instrumentation Laboratory Company, Orangeburg, New York | November 22, 1995 | The Label Inserts Had The Incorrect Amylase And Triglyceride Values | approximately 21 (12 5-ml vials) packages were distributed | New York, New Jersey, Massachusetts, Florida, Wisconsin, California, Maryland, Virginia, Arkansas, Oklahoma
1996-05-29 | Devices | III | z-846-6 | Dade Protein C Clotting Assay Kit, In-vitro Diagnostic Product Used For The Quantitative Determination Of The Anticoagulant Activity Of Protein C In Plasma | Manufacturer | Dade International, Inc | February 19, 1996 | The Kit Was Packaged Using Actin Activated Cephaloplastin Reagent, Which Has Been Found To Perform Outside Its Specifications | 82 kits were distributed | Texas, Maryland, Wisconsin, Illinois, Kentucky, Michigan, Ohio, California, Australia
1996-05-29 | Devices | III | z-847/849-6 | Isolab's Hemocard S And A&s; Kits, In-vitro Diagnostic Test Kits For The Detection Of Hemoglobin Variants (hb A & S) Or (hb S) | Manufacturer | Isolab, Inc | April 15, 1996 | The Signal For Hb A And Hb S Has Weakened And May Produce A Negative Signal On A Positive Control Or Patient Sample Prior To The Kits' Expiration Date | 186 kits were distributed | Nationwide, Puerto Rico, Belgium, Israel, Portugal, Canada, England
1996-05-29 | Devices | III |  | Fresenius Hemodialysis Machines, 2008 Series: (a) A2008 Dialysis System (models 2008c And 2008d); (b) A1008d Dialysis System (not Sold In U |  | Fresenius Usa, Inc | N/A | The Heaters Have Been Found To Have Pit Corrosion Problems, Resulting In Cracks Sufficient To Cause The Ground Fault Interrupter (gfi) To Trip | approximately 25,000 units were distributed | Nationwide And International
1996-05-29 | Devices | III |  |  |  |  | N/A