## Report-1996-06-12
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1996-06-12 | Drugs | III | d-149-6 | Nitrostat Sublingual Tablets (nitroglycerin Tablets, Usp), 0 | Parke-davis Division Of Warner Lambert Company | Warner Lambert Company, Fajardo, Puerto Rico | May 3, 1996 | Potency Not Assured Through Expiration Date | 24,257 bottles of 100 tablets and 70,115 bottles of 25 tablets were distributed | Nationwide
1996-06-12 | Drugs | III | d-151-6 | Acetaminophen And Codeine Phosphate Oral Solution, Usp, In 5 Ml Unit Dose Cups | Manufacturer | Pharmaceutical Associates, Inc | February 7, 1996 | Some Trays Were Mislabeled As To Unit Dose Volume | 255 | Nationwide
1996-06-12 | Drugs | III | d-152-6 | Cheetah Barium Sulfate Suspension, In 250, 450 Ml, And 1900 Ml Bottles, Used For Gastro Intestinal Tomography | Manufacturer | Lafayette Pharmaceuticals, Inc | May 7, 1995 | Presence Of Mold In Some Units | approximately 166,000 units were distributed | Nationwide quantity Approximately 166,000 Units Were Distributed
1996-06-12 | Biologics | II | b-223-6 | Platelets, Pheresis | Manufacturer | Central California Blood Center, Fresno, California | October 18, 1995 | Blood Product, Collected From A Donor Who Had Traveled To An Area Designated As Endemic For Malaria, Was Distributed | 1 unit | California
1996-06-12 | Biologics | II | b-224/226-6 | (a) Red Blood Cells; (b) Platelets; (c) Recovered Plasma | Manufacturer Notified The Consignees On October 26 | Michigan Community Blood Center, Grand Rapids, Michigan | October 26, 1994 | Blood Products, Collected From A Donor With A History Of Nose Piercing, Were Distributed | 1 unit of each component | Michigan, California
1996-06-12 | Biologics | II | b-396/401-6 | (a) Red Blood Cells; (b) Platelets; (c) Fresh Frozen Plasma; (d) Cryoprecipitated Ahf; (e) Recovered Plasma; (f) Platelets, For Further Manufacture | Manufacturer | American Red Cross Blood Services, Rochester, New York | October 24, 1995 | Blood Products, Which Tested Repeatedly Reactive For Antibody To The Human Immunodeficiency Virus Type 1 (anti-hiv-1), Or Which Tested Negative For Anti-hiv-1, But Were Collected From Donors Who Previously Tested Repeatedly Reactive For Anti-hiv-1, Were Distributed | (a) 32 units; (b) 20 units; (c) 3 units; (d) 9 units; (e) 26 units; (f) 2 units | New York, Pennsylvania, California, Switzerland
1996-06-12 | Biologics | II | b-406/409-6 | (a) Red Blood Cells; (b) Whole Blood; (c) Fresh Frozen Plasma; (d) Recovered Plasma | American Red Cross | American Red Cross, Buffalo, New York | October 25, 1995 | Blood Products, Collected From Donors Who Tested Repeat Reactive For Hbsag And Were Distributed | (a) 5 units; (b) 1 unit; (c) 1 unit; (d) 5 units | New York, Ohio, California, Switzerland
1996-06-12 | Biologics | II | b-430/432-6 | (a) Red Blood Cells; (b) Fresh Frozen Plasma; (c) Platelets | Manufacturer | American Red Cross, Ft | October 20, 1995 | Blood Products, Collected From A Donor Who Traveled To Areas Designated As Endemic To Malaria, Were Distributed | 1 unit of each component | Indiana
1996-06-12 | Biologics | II | b-441-6 | Red Blood Cells | Manufacturer | Bloodcare, Also Known As J | August 23, 1995 | Blood Product, Collected From A Donor Exposed To Hepatitis, Was Distributed | 1 unit | Texas
1996-06-12 | Biologics | II | b-443-6 | Red Blood Cells | Manufacturer | American Red Cross Blood Services, Missoula, Montana | May 25, 1995 | Blood Products, Which Were Collected From A Donor Who Had Traveled To An Area Considered Endemic For Malaria Within One Year Of Donation, Were Distributed | 2 units | Michigan, Montana
1996-06-12 | Biologics | II | b-455-6 | Alphanate Brand Antihemophilic Factor (human), Factor Viii | Manufacturer | Alpha Therapeutic Corporation, Los Angeles, California | May 1, 1996 | Factor Viii Product May Contain Hepatitis A Virus (hav), Was Distributed | 1,169 units were distributed | California, Illinois, Pennsylvania, New York, Tennessee
1996-06-12 | Biologics | III | b-425-6 | Platelets, Pheresis | Manufacturer | American Red Cross Blood Services, Wichita, Kansas | July 21, 1995 | Blood Products, Which Were Not Subjected To Continuous Agitation During Storage And For Which The Storage Temperature Was Not Monitored, Were Distributed | 3 units | Kansas
1996-06-12 | Biologics | III | b-436/437-6 | Fresh Frozen Plasma, Cryoprecipitated Ahf | Blood Systems | Blood Systems, Inc | September 27, 1995 | Blood Products, Which Were Exposed To Unacceptable Temperatures, Were Distributed | (a) 22 units; (b) 9 units | Texas
1996-06-12 | Biologics | III | b-442-6 | Forma Scientific - Temperature Controls On Laboratory And Platelet Incubators, And Plasma Thawing Baths | Manufacturer | Forma Scientific, Inc | February 13, 1995 | Forma Scientific Determined That The 8200 Ohm Carbon Composition Resistor Used In Units Manufactured Between May 13, 1989 And July 31, 1993 May Degrade After Two Years | 14,799 temperature controls were distributed | Nationwide And International
1996-06-12 | Devices | II | z-483-6 | Siemens 800 Series Gas Column Cleat Assemblies, Used With Siemens Ceiling Stands 800, 810, And 800f For Mounting The Sirecust 1280/1281 And Sirecust 960/961 (patient Monitors) In Positioning Monitors For Constant Observation In The Or | Manufacturer | Siemens Medical Systems, Inc | December 8, 1995 | Cleat Assemblies Were Found To Be Manufactured From Out-of-spec Material | 157 units were distributed | Nationwide
1996-06-12 | Devices | II | z-868-6 | Tv Monitor Suspension, Model 46-240838g2, A Support For A Tv Monitor Used With Advantx Rfx R&f; X-ray Equipment | General Electric Company | Ge Medical Systems S | May 10, 1995 | The Pivot Support Screw Of A Tv Monitor Suspension Can Become Loose Allowing The Tv Monitor To Fall | 33 units were distributed | Nationwide
1996-06-12 | Devices | II | z-869-6 | 80 Tube Stand, Model 46-162705p1, Used With Monitrol 15 Or 73 Horizontal X-ray Tables | General Electric Company | Ge Medical Systems S | January 3, 1996 | The Main Cable Of The Tube Stand Can Rupture And The Safety Mechanism Fail To Actuate, Allowing The Collimator To Fall Onto The Table Top | 116 units were distributed | Nationwide
1996-06-12 | Devices | II | z-870-6 | Advantx Afm Angio System, Model No | General Electric Company | Ge Medical Systems, S | December 11, 1995 | There Is A Risk Of Unintended Motions And Loss Of Collision Sensors That Can Result In Injury To The Patient Or User | 7 units were distributed | Nationwide
1996-06-12 | Devices | II | z-873-6 | Disposable Umbilical Cord Cutter And Shield, Catalog #ducs/crd-100, May Be Used After Delivery Of The Fetus, While The Mother And Child Are Still Attached By The Umbilical Cord, But Blood Flow Is Clamped Off | Utah Medical Products | Foremed, Chonbuk, Korea | August 3, 1994 | Sterility May Be Compromised Due To A Defective Packaging Seal | 1,521 units were distributed; firm estimates none remains on the market | Nationwide And International
1996-06-12 | Devices | II | z-874-6 | Biad Whole Body Spect Nuclear Imaging Systems, Biad 89 Dual Headed Camera, Used Mainly For Whole Body Imaging, Cardiac, Renal, Brain And Bone Scans | Manufacturer | Trionix Research Laboratory, Inc | April 29, 1996 | The Detector Head Has The Potential To Fall During A Scanning Procedure, Which Can Result In Injury To The Patient Or User | 81 systems were distributed | Nationwide And International
1996-06-12 | Devices | III | z-852-6 | Cardiofocal Collimator System, Designed For Use With Integrated And Analog Orbiter, Diacam, Multispect 2 And Multispect 3 Gamma Camera Systems To Conduct Cardiac Spect Studies Utilizing Technetium And Thallium Radionuclides | Manufacturer | Siemens Medical Systems, Inc | March 28, 1995 | The Gamma Camera Systems Did Not Have Adequate Instructions And Positioning Aids To Assure That The Patient's Heart Was Centered For Cardiofocal Scans | 66 units were distributed | Nationwide
1996-06-12 | Devices | III | z-875/882-6 | Cardiofocal And/or Fan Beam Collimator Systems Used With Multispect 2 And Multispect 3 Gamma Cameras Shipped Prior To 7/14/95: (a) Kit 2995897; Cardiofocal Collimator Set For Multispect 3; (b) Kit 3567372; Multispect 3 Cardiofocal Collimator Set W/ultra High Sens, W/o Phantom; (c) Kit 3567380; Multispect 3 Fan Beam Collimator Set W/o Phantom; (d) Kit 3567406; Multispect 2 Cardiofocal Set (1 Cardiofocal, 1 Lehr Collimator) W/o Phantom; (e) Kit 3567414; Multispect 2 Foil Fan Beam Set (2 Fan Beam Collimators) W/o Phantom; (f) Kit 3567356; Set Cardiofocal Collimator For M3 W/o Phantom; (g) Kit 3567364; Multispect 3 High Res/cardiofocal Collimator Set W/o Phantom; (h) Kit 3567398; Set Cardiofocal Collimator For M2 W/o Phantom | Manufacturer | Siemens Medical Systems, Inc | July 00, 0016 | The Kits Did Not Include All Of The Operator's Manuals And/or Installation Procedures | 38 units required manuals and were corrected as of may 11, 1996 | Nationwide, Germany, Belgium, Switzerland, Colombia