## Report-1996-06-26
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1996-06-26 | Drugs | II | d-162-6 | Aristocort Forte Suspension, 40 Mg/ml, 5 Ml Per Vial, Rx Corticosteroid | Manufacturer | Lederle Parenterals, Inc | June 10, 1996 | Some Units May Exhibit Non-uniform Potency. | 3,780 vials were distributed | Nationwide
1996-06-26 | Devices | II | z-863-6 | Franklin Drug Collector Ii (temperature Sensor Components), Used To Measure The Temperature Of Freshly Voided Urine To Determine If The Urine Has Been Adulterated, Substituted Or Tampered By The Participant | Franklin Diagnostics | Medical Indicators, Inc | August 20, 1993 | The Temperature Sensors Were Reading 2 | 3,775 units were distributed | Nationwide
1996-06-26 | Devices | II | z-891/894-6 | Table Pad For Angix M200-4 Patient Tables: (a) Model No | General Electric Company | G. e. Medical Systems | June 20, 1996 | The Devices Were Found Noncompliant With The Requirements Of 21 Cfr 1020 | 37 units were distributed | Nationwide
1996-06-26 | Devices | II | z-898-6 | Model E523 Laser System, Used As A Source Of Colored Light In The Production Of Laser Light Shows | Manufacturer. Fda Approved The Firm's Corrective Action Plan May 20 | Sls Laser Systems, Pennsauken, New Jersey | May 20, 1996 | The Laser Product Failed To Comply With 21 Cfr 1040 | 2 units | Florida