## Report-1996-07-10
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1996-07-10 | Drugs | II | d-169-6 | Dilantin (extended Phenytoin Sodium Capsules, Usp) Kapseals, 100 Mg, In Bottles Of 100, Anticonvulsant | Parke-davis Division Of Warner Lambert Company | Warner Lambert Company, Fajardo, Puerto Rico | June 11, 1996 | Potency Not Assured Through Expiration Date. | 39,372 bottles were distributed | Nationwide
1996-07-10 | Biologics | II | b-467/468-6 | (a) Red Blood Cells; (b) Recovered Plasma | Manufacturer | Permian Basin Blood Institute, Midland, Texas | September 30, 1995 | Blood Products Collected From A Donor Taking The Drug Accutane Were Distributed | 1 unit of each component | Texas, Colorado
1996-07-10 | Biologics | II | b-469-6 | Platelets | Blood Systems | Blood Systems, Inc | January 29, 1996 | Blood Product, Which Tested Nonreactive From A Donor Who Previously Tested Repeatedly Reactive For Anti-hiv, Western Blot Indeterminate, Donor Was Deferred, Were Distributed | 1 unit | New Mexico
1996-07-10 | Biologics | II | b-470/472-6 | (a) Red Blood Cells; (b) Platelets, Expired; (c) Recovered Plasma | Manufacturer | Permian Basin Blood Institute, Also Known As Permian Basin Regional Blood Center, Midland Texas | September 30, 1995 | Blood Products, Which Tested Non-reactive To Anti-hiv-1, But Collected From Donors Who Previously Tested Repeatedly Reactive For Anti-hiv-1, Western Blot Indeterminate, And Were Never Properly Reentered, Were Distributed | (a) 3 units; (b) 2 units; (c) 3 units | Texas
1996-07-10 | Biologics | II | b-473/474-6 | (a) Red Blood Cells; (b) Cryoprecipitate | Manufacturer | American Red Cross, Columbus, Ohio | November 7, 1995 | Blood Products Collected From A Donor Taking The Drug Methotrexate Were Distributed | 1 unit of each component | Ohio
1996-07-10 | Biologics | II | b-476/478-6 | (a) Red Blood Cells; (b) Platelets; (c) Fresh Frozen Plasma | Manufacturer | Permian Basin Regional Blood, Center, Midland, Texas | September 30, 1995 | Blood Products Collected From Donors With A History Of Cancer Were Distributed | (a) 13 units; (b) 6 units; (c) 3 units | Texas, Colorado
1996-07-10 | Biologics | II | b-490-6 | Platelets, Pheresis | Manufacturer | Northern Illinois Blood Bank, Rockford, Illinois | November 15, 1995 | Blood Product, Mislabeled With The Incorrect Expiration Date Was Distributed | 1 unit | Illinois
1996-07-10 | Biologics | II | b-491-6 | Source Plasma | Manufacturer | North American Biological, Inc | April 4, 1996 | Blood Product, Which Was Collected From A Donor Who Reported His Ear Pierced Within The Last Three Months, Was Distributed | 1 unit | Michigan
1996-07-10 | Biologics | II | b-492/493-6 | (a) Red Blood Cells; (b) Platelets | Manufacturer | American Red Cross, Tulsa, Oklahoma | April 10, 1995 | Blood Products Which Were Collected From A Donor Who Had A Medical History Of Cancer Were Distributed | (a) 3 units; (b) 1 unit | Texas, Oklahoma
1996-07-10 | Biologics | II | b-495/496-6 | (a) Red Blood Cells; (b) Platelets | Manufacturer | Permian Basin Regional Blood Center, Also Known As Permian Basin Blood Institute, Midland, Texas | September 30, 1995 | Blood Products, Which Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 (anti-hiv 1), The Hepatitis B Surface Antigen (hbsag), The Antibody To The Hepatitis B Core Antigen (anti-hbc), The Antibody To The Hepatitis C Virus Encoded Antigen (anti-hcv), The Antibody To The Human T-lymphotropic Virus Type 1 (anti-htlv-1), And Syphilis But Were Collected From Donors In Which Donor Suitability Was Not Adequately Determined, Were Distributed | (a) 5 units; (b) 1 unit | Texas
1996-07-10 | Biologics | II | b-499/506-6 | (a) Red Blood Cells; (b) Red Blood Cells, Frozen; (c) Red Blood Cells, Leukocytes Removed; (d) Platelets; (e) Platelets, Pheresis; (f) Fresh Frozen Plasma; (g) Cryoprecipitate (ahf); (h) Recovered Plasma | Manufacturer | Memorial Blood Center Of Minnesota, Minneapolis, Minnesota | August 11, 1995 | Blood Products, Which Were Collected From Donors: Who Were Tested Reactive For Separate Anti-hiv-2 Eia Test And Were Reentered; Who Were Not Tested For Separate Anti-hiv-2 Eia Test And Were Entered; Who Were Tested Western Blot Indeterminent And Were Reentered; And Donors Not Retested And Were Reentered, Were Distributed | 156 units | North Dakota, South Dakota, Wisconsin, California, Florida, Pennsylvania, Switzerland
1996-07-10 | Biologics | II | b-507-6 | Source Plasma | Manufacturer | Simi Biological Resources, Inc | November 15, 1994 | Blood Product Found To Be Reactive For Anti- Hcv Was Distributed | 1 unit | California
1996-07-10 | Biologics | II | b-508-6 | 5 Red Blood Cells | American Red Cross | American Red Cross, Galesburg, Illinois | November 14, 1995 | Blood Product Incorrectly Tested For Anti-hbc, Was Distributed | 1 unit | Iowa
1996-07-10 | Biologics | III | b-355-6 | Platelets | Manufacturer | American Red Cross, Toledo, Ohio | November 21, 1994 | Blood Products Labeled As Cp2d Platelets Instead Of Cpd Platelets Were Distributed | 85 units | Idaho And Ohio
1996-07-10 | Biologics | III | b-392-6 | Gammar-p | Centeon | Centeon, A Company Of Armour And Behring, Bradley, Illinois | February 29, 1996 | Blood Product For Which The Reconstitution Time Exceeds Specifications Was Distributed | 2,802 vials were distributed; firm estimated that 300 vials remained on market at time of recall initiation | Nationwide
1996-07-10 | Biologics | III | b-452-6 | Data-cyte Plus Reagent Red Blood Cells | Manufacturer | Dade International, Miami, Florida | February 29, 1996 | Jkb Positive Reagent Red Blood Cells, Labeled As Jkb Negative, Were Distributed | 437 kits were distributed | Nationwide
1996-07-10 | Biologics | III | b-454-6 | Platelets, Pheresis | Manufacturer | Community Blood Center, Dayton, Ohio | October 18, 1995 | Blood Product Which Was Labeled With Incorrect Expiration Date Was Distributed | 1 unit | Ohio
1996-07-10 | Biologics | III | b-475-6 | Recovered Plasma (cryosupernatent) | Manufacturer | American Red Cross, Columbus, Ohio | November 7, 1995 | Blood Products Collected From A Donor Taking The Drug Methotrexate Was Distributed | 1 unit | Ohio
1996-07-10 | Biologics | III | b-479/480-6 | (a) Recovered Plasma; (b) Platelets, Expired | Manufacturer | Permian Basin Regional Blood Center, Midland, Texas | September 30, 1995 | Blood Products Collected From Donors With A History Of Cancer Were Distributed | (a) 9 units; (b) 2 units | Texas, Colorado
1996-07-10 | Biologics | III | b-494-6 | Recovered Plasma | Manufacturer | American Red Cross, Tulsa, Oklahoma | April 10, 1995 | Blood Product Which Was Collected From A Donor Who Had A Medical History Of Cancer Was Distributed | 3 units | Texas, Oklahoma
1996-07-10 | Biologics | III | b-497/498-6 | (a) Platelets, Expired; (b) Recovered Plasma | Manufacturer | Permian Basin Regional Blood Center, Also Known As Permian Basin Blood Institute, Midland, Texas | September 30, 1995 | Blood Products, Which Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 (anti-hiv 1), The Hepatitis B Surface Antigen (hbsag), The Antibody To The Hepatitis B Core Antigen (anti-hbc), The Antibody To The Hepatitis C Virus Encoded Antigen (anti-hcv), The Antibody To The Human T-lymphotropic Virus Type 1 (anti-htlv-1), And Syphilis But Were Collected From Donors In Which Donor Suitability Was Not Adequately Determined, Were Distributed | (a) 1 unit; (b) 4 units | Colorado
1996-07-10 | Devices | II | z-864/867-6 | Chemdi Ethylene Oxide Chemical Indicator Strips, For Use In 100% Ethylene Oxide Sterilizers: -8- (a) Order Number Nb002; 8�", Standard Pack, Box Of 200; (b) Order Number Nb110; 8�", Bulk Pack, Box Of 800; (c) Order Number Nb035; 4", Standard Pack, Box Of 200; (d) Order Number Nb223; 4", Sample Pack, Box Of 20 | Amsco International | Ati-pymah Corporation, Flemington, New Jersey | May 6, 1996 | The Chemical Indicator Strips Appear To Lack Sensitivity In Determining Exposure Of Chemical Ethylene Oxide During 100% Ethylene Oxide Sterilization Cycles | 10,536 boxes of product are subject to recall | Nationwide And International
1996-07-10 | Devices | II | z-902/903-6 | Hydrajust Iv Urological Table, Used To Perform Clinical Evaluations Or Diagnosis Of The Urological Functions Of Selected Patients Utilizing Tomographic Studies: (a) Model No | Manufacturer. Fda Approved The Firm's Corrective Action Plan July 2 | Liebel-flarshiem, Cincinnati, Ohio | July 2, 1996 | The Devices Were Found To Be Non-compliant With The Requirements Of 21 Cfr 1003 | 7 units were distributed | Nationwide And Japan
1996-07-10 | Devices | II |  | Be105-10 Multi-use Adapter (fio2 Adapter) | Manufacturer | Instrumentation Industries, Inc | April 24, 1996 | A Loose Fit Between The Adapter Body And The Component Port Allowed Leakage And Breakage Of The Device | 502 adapters were distributed | Nationwide
1996-07-10 | Devices | II | z-928/930-6 | Diagnostic X-ray System Prestilix 1600, General Purpose Fluoroscopy And Radiography: (a) Model 827300g015 Prestilix 1600 Av (b) Model 827300g025 Prestilix 1600 Av (c) Model 838461g015 Prestilix 1600 X | Manufacturer. Fda Approved The Firm's Corrective Action Plan July 2 | General Electric Medical Systems, Milwaukee, Wisconsin | July 2, 1996 | The Diagnostic X-ray Devices Were Found Noncompliant With 21 Cfr 1020 | 13 units were distributed in the united states | Nationwide
1996-07-10 | Devices | II | z-931/934-6 | Senographe And Senix Hf Mammography Systems Installed In Mammo Mobile Vans: (a) Senographe 500t; (b) Senographe 600t; (c) Senographe 500t Senix Hf; (d) Senographe 600t Senix Hf | General Electric Company | Ge Medical Systems S | December 22, 1995 | Vibration Of The Tube Housing Assembly Of The Device During Transportation Can Result In Cracking Of The Welding Of The Arm And Column And Damage To The Screws | 40 units | Nationwide
1996-07-10 | Devices | II | z-941/942-6 | Gamma Camera Systems With Mmcp Firmware Revisions Lower Than 14: (a) Multispect 2; (b) Multispect 3 | Manufacturer | Siemens Medical Systems, Inc | April 00, 0015 | The Mmpc Eproms Contain Bugs Which Cause "bed Too Low" Error Messages When Setting Up Larger Patients For Cardio-90 Scans On The Multispect 3 System; There Is Insufficient Clearance Between The Lower Detector And The Patient Pallet When Operated In The Manual Non-circular Orbit (nco) Mode In The Multispect 2 Gantries Which Did Not Have The Extended Radius Option Installed; And Emergency Stop Test Procedures Occur More Frequently Than 23 Hours Which Potentially Cause Patient Data Loss | 303 units were distributed | Nationwide And International
1996-07-10 | Devices | II | z-943-6 | Quanta Lite Aca Igm (hrp) Kit, An In-vitro Diagnostic, Catalog #708630 | Manufacturer | Inova Diagnostics, Inc | March 13, 1996 | The Kits Contained Igg Conjugate Instead Of Igm Conjugate | 32 kits were distributed; firm estimates none remains on the market | Nationwide, Germany, The Netherlands
1996-07-10 | Devices | II | z-945-6 | Amo Phacoflex Ii Model Si-40nb Intraocular Lenses | Manufacturer | Allergan, Inc | April 22, 1996 | The Sterility Of The Device May Be Compromised Due To A Change In The Packaging System Which Can Cause Pin Holes And Creases In The Packaging Seal | 484 lenses were distributed | Nationwide
1996-07-10 | Devices | III | z-899/900-6 | Senographe 500t And 600t Mammography Systems Equipped With Stereotix Systems, Three- Dimensional Stereotactic Puncture Accessories For Diagnostic Mammographic Investigation | General Electric Company | Ge Medical Systems S | December 19, 1995 | The Drive Cables Of The Tube Support Arm Can Break,or Come Off The Counterbalance Drum, Causing The Arm To Fall Slowly Or Only A Short Distance | 8 units | Nationwide
1996-07-10 | Devices | III | z-909-6 | Linvatex 2-pin Passer With Trocar Tip, Used In Knee Surgery For The Acl Cruciate Ligament Repair | Manufacturer | Linvatec Corporation, Largo, Florida | April 29, 1996 | The Tip Has The Potential To Break Off During Use Because The Tip May Not Be Adequately Welded To The Shaft | 4,500 units were distributed | Nationwide, Australia, Singapore
1996-07-10 | Devices | III | z-910/911-6 | P. f. c. Modular Tibial Trays | Manufacturer | Johnson & Johnson Professional, Inc | May 13, 1996 | The Hole In The Tibial Tray Is Too Shallow, Due To A Manufacturing Error | (a) 41 units; (b) 84 units were distributed | North Carolina, Pennsylvania, Nevada, Michigan, Rhode Island, Texas, Washington State, New York, Connecticut, Virginia, Tennessee, Iowa, Thailand
1996-07-10 | Devices | III | z-927-6 | Centrysystem2 Pediatric Blood Tubing Set (pre- Pump Drip Chamber), Used With The Firm's Centrysystem2 Dialysis Machine When A Child Or An Infant Is Undergoing Hemodialysis | Gambro Healthcare | Cobe Renal Care, Inc | May 24, 1996 | The Wrong Drip Chamber Was Used In Assembly | 23 cases (10 sets per case) were distributed | California, Oklahoma, Oregon
1996-07-10 | Devices | III | z-936/937-6 | Stratus Digitoxin Fluorometric Enzyme Immunoassay Controls: (a) Catalog No | Manufacturer | Dade International, Inc | April 19, 1996 | The Expected Values Given In The Insert Labeling Was Incorrect, Also The Mean Values For The Controls Were Listed Incorrectly | 270 kits were distributed | Nationwide
1996-07-10 | Devices | III | z-938-6 | Instrument Replacement Part #98116 For S/p Boiling Water Bath | Manufacturer | Dade International, Miami, Florida | May 19, 1996 | The 1/4 Inch Nylon Tubing In This Replacement Part Kit Does Not Meet Temperature Specifications And May Cause Water Leakage, Which Could Cause An Electrical Shock Hazard | 51 units were distributed | Nationwide
1996-07-10 | Devices | III | z-939/940-6 | Stratus Vitamin B-12 Fluorometric Enzyme Linked Assay, Used For The Quantitative Determination Of Vitamin B12 Levels In Human Serum Or Plasma To Aid In The Diagnosis Of Vitamin B12 Deficiency: (a) Catalog #b5700-67; (b) Catalog #b5700-67s | Manufacturer | Dade International, Inc | February 19, 1996 | Unexpected High Control Recoveries In The Level Iii Range Were Reported | 764 kits were distributed | Nationwide, Canada
1996-07-10 | Devices | III | z-947-6 | Bindazyme Brand Binding Site Ige Nl Eia Diagnostic Kit | The Binding Site | The Binding Site, Ltd | April 5, 1996 | The Use Of The Above Device May Result In A Normal Reading For Total Ige In A Patient Serum Sample When The Patient Actually Has A Higher Than Normal Total Ige Level | 80 kits were distributed | Ohio, California, South Carolina, Minnesota, Tennessee, Colorado, Missouri, Indiana, Massachusetts, Texas, North Carolina, New Jersey, Florida, New York, Idaho, Mexico
1996-07-10 | Devices | III | z-948/949-6 | Iltm Multi-4 Co-oximeter Control, A Quality Control Material Designed To Simulate Conditions Of Tissue Oxygenation: (a) Multi -4 Co -oximeter Control Level -1; (b) Multi -4 Co -oximeter Control Levels 1,2 & 3 (multipack) | Instrumentation Laboratory Company (ilc) | Instrumentation Laboratory Company, Orangeburg, New York | June 10, 1996 | A Portion Of The Vials In Lot No | (a) 30,800 ampules; (b) 17,100 ampules were distributed | Nationwide, Canada, Australia, Japan
1996-07-10 | Devices | III |  | Biliblanket Phototherapy System: (a) Biliblanket, Used To Treat Neonatal Hyperbilirubinemia, Also Known As Jaundice; (b) Biliblanket Plus, Newer Model Of The Biliblanket |  | Ohmeda, Division Of The Boc Group, Inc | N/A | Reports Of Various Skin Injuries To Premature Infants Caused By The Prophylactic Use Of The Biliblanket System | 3,999 units were distributed | Nationwide And International