## Report-1996-08-14
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1996-08-14 | Biologics | II | b-578/581-6 | (a) Red Blood Cells; (b) Platelets; (c) Fresh Frozen Plasma; (d) Recovered Plasma | Manufacturer | Central Kentucky Blood Center, Lexington, Kentucky | April 26, 1995 | Blood Products Were Collected From A Donor With A History Of Jaundice | (a) 3 units; (b) 1 unit; (c) 1 unit; (d) 1 unit | Kentucky, Massachusetts, Maryland
1996-08-14 | Biologics | II | b-582/583-6 | (a) Red Blood Cells; (b) Recovered Plasma | Manufacturer | American Red Cross Blood Services, Peoria, Illinois | April 19, 1996 | Blood Products, Tested Repeatedly Reactive For Antibody To The Human Immunodeficiency Virus Type 1 (anti-hiv-1), And Were Subjected To Additional Retesting, Were Distributed | 1 unit of each component | Illinois, California
1996-08-14 | Biologics | II | b-591/592-6 | (a) Red Blood Cells; (b) Recovered Plasma | Manufacturer | Inova Health Systems, Annandale, Virginia | June 17, 1996 | Blood Products, From A Donor Who Had An Accidental Needlestick Within The Previous 12 Months, Were Distributed | 1 unit of each component | Virginia, New Jersey
1996-08-14 | Devices | II | z-988-6 | 3/8" Proximal Barb T-connector, Part #20688 Found In The Following Fem-flex Femoral Arterial Cannulae | Manufacturer | Research Medical, Inc | July 3, 1996 | The T-connectors Are Leaking And Cracking | 19,428 units were distributed | Nationwide And International
1996-08-14 | Devices | II | z-1004-6 | Prolog Cardiac Pulse Generator, Model 688, Indicated For Sensing/pacing In The Ventricle And Atrium | Pacesetter | Pacesetter, Ab (formerly Siemens-elema), Solna, Sweden | June 21, 1996 | The Pacemaker May Exhibit A Sudden Loss Of Output Due To A Corrosion Bridge That Forms Across The Feedthrough Inside The Battery | 4 units were distributed | California, Pennsylvania, New York
1996-08-14 | Devices | II | z-1013-6 | Dms-250 Dual Monitor Chemical Indicator Strip, For Use In Steam Or Eo Gas Sterilization | Sps Medical Supply Corporation | Sps Medical Supply Corporation, Rush, New York (device); Tempil Division, Air Liquide America Corporation, South Plainfield, New Jersey (ink) | April 29, 1996 | The Indicator Turns Yellow (instead Of Orange) When Processed In Eo Gas | 380 cases of lot 9403 and 96 cases of lot 9402 were distributed | Nationwide
1996-08-14 | Devices | II | z-1014/1019-6 | Ni-med Suction Catheter Kits: (a) 6 Fr | Manufacturer | Ni-med, Inc | April 8, 1996 | Products Were Marketed Without An Approved 510(k) | the following amounts were distributed: 6 fr | Missouri, Illinois
1996-08-14 | Devices | II | z-1020-6 | Percutaneous Stoma Measuring Device (psmd) Tray, Used To Measure The Stoma Or Opening Created For Direct Patient Feeding | Applied Medical Technology | Plastofilm Industries, Inc | June 27, 1996 | A Rough Spot Or Burr In The Psmd Tray Could Potentially Cause A Hole In The Tray, Thus Compromising The Sterility Of The Device | 6,200 kits were distributed; firm estimated that approximately 4,199 kits may still have been in use at time of recall initiation | Massachusetts, Wisconsin, Japan, France, Israel, England, Portugal, Sweden, Belgium
1996-08-14 | Devices | II | z-1021-6 | Manuals For Vax-d Therapeutic Table | Manufacturer | Vat-tech Inc | May 15, 1996 | The Firm Marketed The Device Without An Approved 510(k) For The New Intended Use Of Decompression Of The Intervertebral Disc Identified In The Device Users Manual | undetermined | Nationwide
1996-08-14 | Devices | II |  | Monoplace Hyperbaric System, Model 2500b, Used For Hyperbaric Oxygen Therapy To Treat Ailments Caused By Insufficient Oxygen Supply |  | Sechrist Industries, Inc | N/A | Failure To Follow Labeled Safety Procedures Resulted In An Explosion With Fatalities | 662 chambers were distributed | Nationwide And International
1996-08-14 | Biologics | II | b-578/581-6 | (a) Red Blood Cells; (b) Platelets; (c) Fresh Frozen Plasma; (d) Recovered Plasma | Manufacturer | Central Kentucky Blood Center, Lexington, Kentucky | April 26, 1995 | Blood Products Were Collected From A Donor With A History Of Jaundice | (a) 3 units; (b) 1 unit; (c) 1 unit; (d) 1 unit | Kentucky, Massachusetts, Maryland
1996-08-14 | Biologics | II | b-582/583-6 | (a) Red Blood Cells; (b) Recovered Plasma | Manufacturer | American Red Cross Blood Services, Peoria, Illinois | April 19, 1996 | Blood Products, Tested Repeatedly Reactive For Antibody To The Human Immunodeficiency Virus Type 1 (anti-hiv-1), And Were Subjected To Additional Retesting, Were Distributed | 1 unit of each component | Illinois, California
1996-08-14 | Biologics | II | b-591/592-6 | (a) Red Blood Cells; (b) Recovered Plasma | Manufacturer | Inova Health Systems, Annandale, Virginia | June 17, 1996 | Blood Products, From A Donor Who Had An Accidental Needlestick Within The Previous 12 Months, Were Distributed | 1 unit of each component | Virginia, New Jersey
1996-08-14 | Devices | II | z-988-6 | 3/8" Proximal Barb T-connector, Part #20688 Found In The Following Fem-flex Femoral Arterial Cannulae | Manufacturer | Research Medical, Inc | July 3, 1996 | The T-connectors Are Leaking And Cracking | 19,428 units were distributed | Nationwide And International
1996-08-14 | Devices | II | z-1004-6 | Prolog Cardiac Pulse Generator, Model 688, Indicated For Sensing/pacing In The Ventricle And Atrium | Pacesetter | Pacesetter, Ab (formerly Siemens-elema), Solna, Sweden | June 21, 1996 | The Pacemaker May Exhibit A Sudden Loss Of Output Due To A Corrosion Bridge That Forms Across The Feedthrough Inside The Battery | 4 units were distributed | California, Pennsylvania, New York
1996-08-14 | Devices | II | z-1013-6 | Dms-250 Dual Monitor Chemical Indicator Strip, For Use In Steam Or Eo Gas Sterilization | Sps Medical Supply Corporation | Sps Medical Supply Corporation, Rush, New York (device); Tempil Division, Air Liquide America Corporation, South Plainfield, New Jersey (ink) | April 29, 1996 | The Indicator Turns Yellow (instead Of Orange) When Processed In Eo Gas | 380 cases of lot 9403 and 96 cases of lot 9402 were distributed | Nationwide
1996-08-14 | Devices | II | z-1014/1019-6 | Ni-med Suction Catheter Kits: (a) 6 Fr | Manufacturer | Ni-med, Inc | April 8, 1996 | Products Were Marketed Without An Approved 510(k) | the following amounts were distributed: 6 fr | Missouri, Illinois
1996-08-14 | Devices | II | z-1020-6 | Percutaneous Stoma Measuring Device (psmd) Tray, Used To Measure The Stoma Or Opening Created For Direct Patient Feeding | Applied Medical Technology | Plastofilm Industries, Inc | June 27, 1996 | A Rough Spot Or Burr In The Psmd Tray Could Potentially Cause A Hole In The Tray, Thus Compromising The Sterility Of The Device | 6,200 kits were distributed; firm estimated that approximately 4,199 kits may still have been in use at time of recall initiation | Massachusetts, Wisconsin, Japan, France, Israel, England, Portugal, Sweden, Belgium
1996-08-14 | Devices | II | z-1021-6 | Manuals For Vax-d Therapeutic Table | Manufacturer | Vat-tech Inc | May 15, 1996 | The Firm Marketed The Device Without An Approved 510(k) For The New Intended Use Of Decompression Of The Intervertebral Disc Identified In The Device Users Manual | undetermined | Nationwide
1996-08-14 | Devices | II |  | Monoplace Hyperbaric System, Model 2500b, Used For Hyperbaric Oxygen Therapy To Treat Ailments Caused By Insufficient Oxygen Supply |  | Sechrist Industries, Inc | N/A | Failure To Follow Labeled Safety Procedures Resulted In An Explosion With Fatalities | 662 chambers were distributed | Nationwide And International