## Report-1996-08-28
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1996-08-28 | Drugs | II | d-227-6 | Esgic Tablets Containing 50-mg Butalbital, 325-mg | Forest Pharmaceuticals | Graham Labs | July 29, 1996 | 11 Of The 24 Recalled Lots Failed Dissolution On Stability Test | 218,004 bottles were distributed | Nationwide
1996-08-28 | Drugs | II | d-228-6 | Mylanta, Double Strength Cherry Cream Antacid Tablets, Chewable, Packaged In 70 Tablet Boxes | Johnson & Johnson Merck | Johnson & Johnson Merck, Lancaster, Pennsylvania | July 31, 1996 | One Lot Was Found To Contain Metal Wire | firm estimated that little, if any product remained on market at time of recall initiation | Nationwide
1996-08-28 | Drugs | II |  | Albuterol Sulfate (generic And Trade Name) Syrup, 2 Mg/5 Ml, In 1 Pint (16 Fluid Ounce) Bottles, Under The Duramed And Dey Labels, Used For The Relief Of Bronchospasm | Manufacturer | Mova Pharmaceuticals, Caguas, Puerto Rico | August 9, 1996 | Three Lots (all Portions Of One Mova Manufactured Batch) Under Three Labels Were Found To Be Contaminated With Pseudomonas Cepacia | (a) 8,901; (b) 9,385); (c) 9,345 bottles were distributed; firm estimated that 25 percent of product remained on market at time of recall initiation | Nationwide
1996-08-28 | Drugs | III | d-229-6 | Rugby Brand Bacitracin Ointment, Usp 500 Units/gram, Net Weight 1 Pound, Otc Used To Help Prevent Infections In Minor Cuts, Burns, And Scrapes | Manufacturer | Nmc Laboratories, Glendale, New York (responsible Firm) | August 7, 1996 | Subpotent (86. 9%) Of Label Strength At The 20- Month Timepoint; Product Is Labeled To Have A 24-month Expiration Period. | 224 1-pound units were distributed; firm estimates none remains on the market | New York
1996-08-28 | Devices | II | z-981-6 | Tapsystem 2a Esophageal Pacing System, Also Called Esophageal Pulse Generator, Indicated For The Treatment Of Cardiac Disorders That Require Alteration Of Rate Rhythm And For Alteration Of Rate As Required For Certain Diagnostic Studies | Arzco Medical Systems | Seecor, Inc | May 9, 1996 | Devices Malfunction When Subjected To Electromagnetic Interference (emi) From Electrosurgical (esu) Units Used In Surgical Environment | 487 units were distributed | Nationwide And International
1996-08-28 | Devices | II | z-982-6 | Sat-pace Ii Esophageal Pacing System, Also Called Esophageal Pulse Generator, Indicated For The Treatment Of Cardiac Disorders That Require Alteration Of Rate Rhythm Of Certain Diagnostic Studies | Manufacturer | Seecor, Inc | June 21, 1996 | Devices Malfunction When Subjected To Electromagnetic Interference (emi) From Electrosurgical (esu) Units Used In Surgical Environment | 61 units were distributed | Nationwide And International
1996-08-28 | Devices | II | z-1035-6 | Synchromed Programmable Pump, Model 8617l-18, A Drug Infusion Pump | Medtronic | Medtronic, Inc | July 3, 1996 | Traceability Records For Two Pumps Were Incomplete | 2 units were distributed and recovered | California And Oregon
1996-08-28 | Devices | II | z-1036/1038-6 | Disetronic Rapid Subcutaneous Infusion Sets: (a) Product Code 300 | Disetronic Incorporated | Maersk Medical, A/s, Roskildee, Denmark | June 14, 1996 | Inadequate Manufacturing May Cause The Needle To Break During Use | 14,175 units were distributed; firm estimated that 13,071 units remained in commerce at time of recall initiation | Nationwide
1996-08-28 | Devices | II | z-1039-6 | Triad Whole Body Spect Nuclear Imaging Systems, Also Known As Triad 88 Triple Headed Camera, Used Primarily For Whole Body Imaging, Cardiac, Renal, Brain And Bone Scans | Manufacturer | Trionix Research Laboratory, Twinsburg, Ohio | May 14, 1996 | The Detector Head May Drop On A Patient Or Healthcare Provider Because Of Metal Fatigue At The Devices' Ball Screw Assembly And An Inadequately Designed Limit Switch | 38 systems were distributed | Nationwide, Belgium, England, Korea, Australia, Egypt
1996-08-28 | Devices | II | z-1040-6 | Home Uterine Activity Monitor, Model Carefone 2001 | Carelink Corporation | Carelink Corporation, Irvine, California | May 10, 1993 | The Disk Drive May Fail Resulting In Failure Of The Units To Boot And Possible Loss Of Recorded Information | 180 units were distributed | California, Neveda, Illinois, Texas, New York, Washington State
1996-08-28 | Devices | II | z-1042-6 | Sterile Cytology Brushes, Used In Combination With Bronchoscope For The Collection Of Cell Samples From Bronchi Tracts | Manufacturer | Cox Medical Enterprises, Inc | October 8, 1993 | The Bristle Component Can Be Separated From The Bronchoscope During The Collection Of Cell Samples From The Bronchi Tract | 1,221 units were distributed from january 1993 to may 1993 | Nationwide And Canada
1996-08-28 | Devices | II | z-1043/1051-6 | Davis-geck Valtrac Bar Biofragmentable Anastomosis Ring, Rx Device Designed To Facilitate Anastomosis Of The Inverted Ends Of The Bowel And Then To Fragment And Pass Out Of The Body: (a) Product No | Sherwood Medical Company | Davis & Geck, Danbury, Connecticut | May 22, 1996 | The Scalloped Edges Of The Device Edges May Be Oriented Peak-to-peak Rather Than Peak-to-valley As Intended | 12,000 units were distributed | Nationwide, Canada And International
1996-08-28 | Devices | II | z-1055/1094-6 | Sceptor System Panels For Use With Sceptor Broths For Identification And/or Susceptibility Testing Of Bacteria From Clinical Specimens | Manufacturer | Becton Dickinson Microbiology Systems, Cockeysville, Maryland | June 9, 1995 | A Cap Proficiency Test Survey Strain Gave False Susceptible Results | approximately 29,096 units were distributed; firm estimates none remains on the market | Nationwide, Belgium, Mexico, Singapore, Taiwan, Japan, Canada
1996-08-28 | Devices | III | z-1041-6 | Wrist Blood Pressure Monitor, Model #1090, An Otc Device And An Auto Inflating Unit With Pulse Meter, Digital Lcd With Memory And "fuzzy Logic", Designed For Portable Use By The Lay Person | The Lumiscope Company | Rossmax International, Ltd | January 12, 1996 | The Instruction Manual Shipped With The Device Was Printed Partially In English And Partially In French | 900 units were distributed | Nationwide
1996-08-28 | Devices | III | z-1052-6 | Single Use Y-set With Qdc (quick Disconnect Clamp), Rx Device Used In Peritoneal Dialysis Treatment | National Medical Care | National Medical Care, Reynosa, Mexico | December 21, 1994 | The Male Connector May Develop Visible Cracks Resulting In Breakage Or Leakage During Use | 17,550 units were distributed; firm estimates none remains on the market | Florida, Georgia, Massachusetts, Maine, Mississippi, North Carolina, Puerto Rico, Rhode Island, South Carolina, Tennessee, Virginia, Kentucky
1996-08-28 | Devices | III | z-1053-6 | Amicon Diafilter-30 Hemoconcentrators, Catalog #18-3170-0, Used For Extracorporeal Circulation | National Medical Care | Amicon Ireland Limited | December 21, 1994 | There Is No Assurance That The Devices Are Pyrogen Free | 1,241 units were distributed | Nationwide
1996-08-28 | Drugs | II | d-227-6 | Esgic Tablets Containing 50-mg Butalbital, 325-mg | Forest Pharmaceuticals | Graham Labs | July 29, 1996 | 11 Of The 24 Recalled Lots Failed Dissolution On Stability Test | 218,004 bottles were distributed | Nationwide
1996-08-28 | Drugs | II | d-228-6 | Mylanta, Double Strength Cherry Cream Antacid Tablets, Chewable, Packaged In 70 Tablet Boxes | Johnson & Johnson Merck | Johnson & Johnson Merck, Lancaster, Pennsylvania | July 31, 1996 | One Lot Was Found To Contain Metal Wire | firm estimated that little, if any product remained on market at time of recall initiation | Nationwide
1996-08-28 | Drugs | II |  | Albuterol Sulfate (generic And Trade Name) Syrup, 2 Mg/5 Ml, In 1 Pint (16 Fluid Ounce) Bottles, Under The Duramed And Dey Labels, Used For The Relief Of Bronchospasm | Manufacturer | Mova Pharmaceuticals, Caguas, Puerto Rico | August 9, 1996 | Three Lots (all Portions Of One Mova Manufactured Batch) Under Three Labels Were Found To Be Contaminated With Pseudomonas Cepacia | (a) 8,901; (b) 9,385); (c) 9,345 bottles were distributed; firm estimated that 25 percent of product remained on market at time of recall initiation | Nationwide
1996-08-28 | Drugs | III | d-229-6 | Rugby Brand Bacitracin Ointment, Usp 500 Units/gram, Net Weight 1 Pound, Otc Used To Help Prevent Infections In Minor Cuts, Burns, And Scrapes | Manufacturer | Nmc Laboratories, Glendale, New York (responsible Firm) | August 7, 1996 | Subpotent (86. 9%) Of Label Strength At The 20- Month Timepoint; Product Is Labeled To Have A 24-month Expiration Period. | 224 1-pound units were distributed; firm estimates none remains on the market | New York
1996-08-28 | Devices | II | z-981-6 | Tapsystem 2a Esophageal Pacing System, Also Called Esophageal Pulse Generator, Indicated For The Treatment Of Cardiac Disorders That Require Alteration Of Rate Rhythm And For Alteration Of Rate As Required For Certain Diagnostic Studies | Arzco Medical Systems | Seecor, Inc | May 9, 1996 | Devices Malfunction When Subjected To Electromagnetic Interference (emi) From Electrosurgical (esu) Units Used In Surgical Environment | 487 units were distributed | Nationwide And International
1996-08-28 | Devices | II | z-982-6 | Sat-pace Ii Esophageal Pacing System, Also Called Esophageal Pulse Generator, Indicated For The Treatment Of Cardiac Disorders That Require Alteration Of Rate Rhythm Of Certain Diagnostic Studies | Manufacturer | Seecor, Inc | June 21, 1996 | Devices Malfunction When Subjected To Electromagnetic Interference (emi) From Electrosurgical (esu) Units Used In Surgical Environment | 61 units were distributed | Nationwide And International
1996-08-28 | Devices | II | z-1035-6 | Synchromed Programmable Pump, Model 8617l-18, A Drug Infusion Pump | Medtronic | Medtronic, Inc | July 3, 1996 | Traceability Records For Two Pumps Were Incomplete | 2 units were distributed and recovered | California And Oregon
1996-08-28 | Devices | II | z-1036/1038-6 | Disetronic Rapid Subcutaneous Infusion Sets: (a) Product Code 300 | Disetronic Incorporated | Maersk Medical, A/s, Roskildee, Denmark | June 14, 1996 | Inadequate Manufacturing May Cause The Needle To Break During Use | 14,175 units were distributed; firm estimated that 13,071 units remained in commerce at time of recall initiation | Nationwide
1996-08-28 | Devices | II | z-1039-6 | Triad Whole Body Spect Nuclear Imaging Systems, Also Known As Triad 88 Triple Headed Camera, Used Primarily For Whole Body Imaging, Cardiac, Renal, Brain And Bone Scans | Manufacturer | Trionix Research Laboratory, Twinsburg, Ohio | May 14, 1996 | The Detector Head May Drop On A Patient Or Healthcare Provider Because Of Metal Fatigue At The Devices' Ball Screw Assembly And An Inadequately Designed Limit Switch | 38 systems were distributed | Nationwide, Belgium, England, Korea, Australia, Egypt
1996-08-28 | Devices | II | z-1040-6 | Home Uterine Activity Monitor, Model Carefone 2001 | Carelink Corporation | Carelink Corporation, Irvine, California | May 10, 1993 | The Disk Drive May Fail Resulting In Failure Of The Units To Boot And Possible Loss Of Recorded Information | 180 units were distributed | California, Neveda, Illinois, Texas, New York, Washington State
1996-08-28 | Devices | II | z-1042-6 | Sterile Cytology Brushes, Used In Combination With Bronchoscope For The Collection Of Cell Samples From Bronchi Tracts | Manufacturer | Cox Medical Enterprises, Inc | October 8, 1993 | The Bristle Component Can Be Separated From The Bronchoscope During The Collection Of Cell Samples From The Bronchi Tract | 1,221 units were distributed from january 1993 to may 1993 | Nationwide And Canada
1996-08-28 | Devices | II | z-1043/1051-6 | Davis-geck Valtrac Bar Biofragmentable Anastomosis Ring, Rx Device Designed To Facilitate Anastomosis Of The Inverted Ends Of The Bowel And Then To Fragment And Pass Out Of The Body: (a) Product No | Sherwood Medical Company | Davis & Geck, Danbury, Connecticut | May 22, 1996 | The Scalloped Edges Of The Device Edges May Be Oriented Peak-to-peak Rather Than Peak-to-valley As Intended | 12,000 units were distributed | Nationwide, Canada And International
1996-08-28 | Devices | II | z-1055/1094-6 | Sceptor System Panels For Use With Sceptor Broths For Identification And/or Susceptibility Testing Of Bacteria From Clinical Specimens | Manufacturer | Becton Dickinson Microbiology Systems, Cockeysville, Maryland | June 9, 1995 | A Cap Proficiency Test Survey Strain Gave False Susceptible Results | approximately 29,096 units were distributed; firm estimates none remains on the market | Nationwide, Belgium, Mexico, Singapore, Taiwan, Japan, Canada
1996-08-28 | Devices | III | z-1041-6 | Wrist Blood Pressure Monitor, Model #1090, An Otc Device And An Auto Inflating Unit With Pulse Meter, Digital Lcd With Memory And "fuzzy Logic", Designed For Portable Use By The Lay Person | The Lumiscope Company | Rossmax International, Ltd | January 12, 1996 | The Instruction Manual Shipped With The Device Was Printed Partially In English And Partially In French | 900 units were distributed | Nationwide
1996-08-28 | Devices | III | z-1052-6 | Single Use Y-set With Qdc (quick Disconnect Clamp), Rx Device Used In Peritoneal Dialysis Treatment | National Medical Care | National Medical Care, Reynosa, Mexico | December 21, 1994 | The Male Connector May Develop Visible Cracks Resulting In Breakage Or Leakage During Use | 17,550 units were distributed; firm estimates none remains on the market | Florida, Georgia, Massachusetts, Maine, Mississippi, North Carolina, Puerto Rico, Rhode Island, South Carolina, Tennessee, Virginia, Kentucky
1996-08-28 | Devices | III | z-1053-6 | Amicon Diafilter-30 Hemoconcentrators, Catalog #18-3170-0, Used For Extracorporeal Circulation | National Medical Care | Amicon Ireland Limited | December 21, 1994 | There Is No Assurance That The Devices Are Pyrogen Free | 1,241 units were distributed | Nationwide