## Report-1996-09-18
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1996-09-18 | Drugs | II | d-263/265-6 | Thiothixene Hcl Capsules, Usp, 1 Mg, 2 Mg And 5 Mg Strength, Packed In Bottles Of 100, Under The Schein And Rugby Labels, An Antipsychotic | Danbury Pharmacal | Danbury Pharmacal, Inc | July 31, 1996 | Dissolution Failure. | 28,710 bottles (1 mg); 9,513 bottles (2 mg); 26,752 bottles (5 mg) were distributed | Nationwide
1996-09-18 | Biologics | III | b-625-6 | Red Blood Cells | Manufacturer | South Bend Medical Foundation, Inc | July 21, 1995 | Blood Products Were Mislabeled With An Incorrect Expiration Date | 2 units were distributed | Indiana
1996-09-18 | Biologics | III | b-626-6 | Red Blood Cells | Manufacturer | American Red Cross, Fort Wayne, Indiana | April 13, 1995 | Blood Products Were Mislabeled With An Incorrect Expiration Date | 6 units were distributed | Ohio, Tennessee, Indiana
1996-09-18 | Devices | II | z-1101/1102-6 | Mobile/portable General Purpose Units, Used In Radiographic Studies: (a) Model Hp200; (b) Hp300 | Manufacturer. Fda Approved The Firm's Corrective Action Plan On September 9 | Mikasa X-ray Co Ltd | September 9, 1996 | Noncompliance With Performance Standards For Diagnostic X-ray Products In That The Units Failed To Meet Light Illuminance Requirement At A Source To Image Distance (sid) Of 40 Inches And They Failed To Meet Edge Contrast Ratio Requirement At An Sid Of 40 Inches | 40 units | Nationwide
1996-09-18 | Devices | II | z-1133/1134-6 | Transmucosal Implant Extensions, Endosseous Implant Accessories Used For Dental Restoration Surgery: (a) Second Phase Set, Catalog No | Manufacturer | Interpore International, Irvine, California | January 31, 1995 | The Packaging Labels Were Labeled As 4 | 1,926 units were distributed; firm estimated that little if any product remained on market at time of recall initiation | Nationwide, Mexico, Lebanon, Canada, Taiwan
1996-09-18 | Devices | II | z-1144-6 | S With A 4 | Manufacturer | Becton Dickinson Diagnostic Instrument Systems, Sparks, Maryland | N/A | The Manual For The Device Contains Inadequate Instructions Of Use | 657 manuals were distributed | Nationwide, Canada, Puerto Rico
1996-09-18 | Devices | III | z-984-6 | Human Albumin, 30% Solution Nonsterile, Catalog #3110, For Use In Laboratory Research Or Manufacturing Non-injectable Products Only | Manufacturer | Biocell Laboratories, Inc | June 11, 1993 | The Device Fails To Meet It's Labeling Specification Of 3 Ml | 40 50-ml vials were distributed; firm estimates none remains on the market | California
1996-09-18 | Devices | III | z-1127/1130-6 | Hip Stem Endoprosthesis: (a) Sentry, Catalog No | Manufacturer | Howmedica, Inc | November 17, 1995 | Packaging, Labeling, And Sizing Mix-ups Led To Packages With Incorrect Labeling Or Product | amount shipped: (a) lot code: atmnb - 4 units, cckfa - 0 units, (b) lot code: chxza - 2 units; (c) lot code: chtza - 1 unit; (d) lot code: okyva - 2 units | (a) Massachusetts, New Jersey, Virginia; (b) Minnesota, California, (c) Virginia; (d) Minnesota
1996-09-18 | Devices | III | z-1131-6 | Head And Neck Replacement (hnr) Log Stem, Catalog #6257-2-300 | Manufacturer | Howmedica, Inc | February 21, 1996 | Instead Of Containing A 200 Mm X 43 Mm Long Stem As Labeled, The Package May Contain A 225 Mm X 43 Mm Long Stem | 8 units were distributed | Pennsylvania, West Virginia, Georgia, Michigan, Washington State, Ohio
1996-09-18 | Devices | III | z-1135/1138-6 | Package Insert Associated With Dade Immunoassay Control Comprehensive Tri-level Kit, In-vitro Diagnostic Kit Used To Assist In Monitoring Accuracy And Precision In Clinical Assays: (a) Catalog Nos | Manufacturer | Dade International, Inc | June 19, 1996 | The Package Insert Had Multiple Inconsistencies That Included An Incorrect Assay Range | 10,776 kits were distributed | Nationwide And Italy
1996-09-18 | Devices | III | z-1139/1142-6 | Incstar Fta-abs Flouro Test Kit, In-vitro Diagnostic For Detecting Antibodies In Human Serum To Syphilis: (a) - Catalog No | Manufacturer | Incstar Corporation, Stillwater, Minnesota | August 12, 1996 | Some Negative Samples May Yield A Positive Assay Response | incstar fta-abs fluoro test kits, product numbers 1910, 1910g and 6910: 587 of the test kits were distributed | Nationwide And International
1996-09-18 | Devices | III | z-1149-6 | C. Albicans Growth Promotion Test Suspension | Manufacturer | North American Science Associates (namsa), Northwood, Ohio | August 28, 1996 | There Was A Reduction In Spore Population Below The Labeled Range | 110 vials were distributed | Nationwide, Ireland, Japan, Singapore
1996-09-18 | Devices | III | z-1150/1152-6 | Ep Medical Electrophysiology Catheters 2mm And 2, 5, 2mm Electrode Spacing Intended For Ecg Recording, Intercardiac Pacing, Stimulation And Sensing In Sterile Form: (a) Model Epm-64-sc-252; (b) Model Epm-64-hd-2; (c) Model Epm-64-sc-2 | Manufacturer | Procath Corporation Subsidiary Of Ep Medical, Inc | October 17, 1995 | The Tubing Weld Joints May Separate If Handled Forcefully Prior To Insertion | 21 catheters were distributed | Nationwide
1996-09-18 | Devices | III | z-1145-6 | Vai Cultureset Herpes Simplex Virus (hsv) Identification Kit 501020, Immunoperoxidase Staining Kit For Use With Viral Tissue Culture Isolation, For In-vitro Diagnostic Use | Manufacturer | Vai Diagnostic, Memphis, Tennessee | June 21, 1996 | The Device Has Exhibited An Unexpected Drop In The Reactivity Of The Labeling Reagent, Included In The Kit | 224 kits were distributed | Nationwide
1996-09-18 | Devices | III | z-1153/1154-6 | Osteonics Omnifit Cup Insert Series, Sterile, Implantable, Non-critical Rx Devices: (a) Osteonic Omnifit 10 Degree Cup Insert Series I, 28 Mm, Catalog #2002-2854; (b) Osteonics Omnifit 20 Degree Cup Insert Series Ii, 26 Mm, Catalog #2042-2654 | Manufacturer | Osteonics Corporation, Allendale, New Jersey | April 22, 1996 | The 20 Degree Labeled Package May Contain The 10 Degree Unit, And Vice-versa | (a) 24 units; (b) 11 units were distributed | Nationwide And International
1996-09-18 | Drugs | II | d-263/265-6 | Thiothixene Hcl Capsules, Usp, 1 Mg, 2 Mg And 5 Mg Strength, Packed In Bottles Of 100, Under The Schein And Rugby Labels, An Antipsychotic | Danbury Pharmacal | Danbury Pharmacal, Inc | July 31, 1996 | Dissolution Failure. | 28,710 bottles (1 mg); 9,513 bottles (2 mg); 26,752 bottles (5 mg) were distributed | Nationwide
1996-09-18 | Biologics | III | b-625-6 | Red Blood Cells | Manufacturer | South Bend Medical Foundation, Inc | July 21, 1995 | Blood Products Were Mislabeled With An Incorrect Expiration Date | 2 units were distributed | Indiana
1996-09-18 | Biologics | III | b-626-6 | Red Blood Cells | Manufacturer | American Red Cross, Fort Wayne, Indiana | April 13, 1995 | Blood Products Were Mislabeled With An Incorrect Expiration Date | 6 units were distributed | Ohio, Tennessee, Indiana
1996-09-18 | Devices | II | z-1101/1102-6 | Mobile/portable General Purpose Units, Used In Radiographic Studies: (a) Model Hp200; (b) Hp300 | Manufacturer. Fda Approved The Firm's Corrective Action Plan On September 9 | Mikasa X-ray Co Ltd | September 9, 1996 | Noncompliance With Performance Standards For Diagnostic X-ray Products In That The Units Failed To Meet Light Illuminance Requirement At A Source To Image Distance (sid) Of 40 Inches And They Failed To Meet Edge Contrast Ratio Requirement At An Sid Of 40 Inches | 40 units | Nationwide
1996-09-18 | Devices | II | z-1133/1134-6 | Transmucosal Implant Extensions, Endosseous Implant Accessories Used For Dental Restoration Surgery: (a) Second Phase Set, Catalog No | Manufacturer | Interpore International, Irvine, California | January 31, 1995 | The Packaging Labels Were Labeled As 4 | 1,926 units were distributed; firm estimated that little if any product remained on market at time of recall initiation | Nationwide, Mexico, Lebanon, Canada, Taiwan
1996-09-18 | Devices | II | z-1144-6 | S With A 4 | Manufacturer | Becton Dickinson Diagnostic Instrument Systems, Sparks, Maryland | N/A | The Manual For The Device Contains Inadequate Instructions Of Use | 657 manuals were distributed | Nationwide, Canada, Puerto Rico
1996-09-18 | Devices | III | z-984-6 | Human Albumin, 30% Solution Nonsterile, Catalog #3110, For Use In Laboratory Research Or Manufacturing Non-injectable Products Only | Manufacturer | Biocell Laboratories, Inc | June 11, 1993 | The Device Fails To Meet It's Labeling Specification Of 3 Ml | 40 50-ml vials were distributed; firm estimates none remains on the market | California
1996-09-18 | Devices | III | z-1127/1130-6 | Hip Stem Endoprosthesis: (a) Sentry, Catalog No | Manufacturer | Howmedica, Inc | November 17, 1995 | Packaging, Labeling, And Sizing Mix-ups Led To Packages With Incorrect Labeling Or Product | amount shipped: (a) lot code: atmnb - 4 units, cckfa - 0 units, (b) lot code: chxza - 2 units; (c) lot code: chtza - 1 unit; (d) lot code: okyva - 2 units | (a) Massachusetts, New Jersey, Virginia; (b) Minnesota, California, (c) Virginia; (d) Minnesota
1996-09-18 | Devices | III | z-1131-6 | Head And Neck Replacement (hnr) Log Stem, Catalog #6257-2-300 | Manufacturer | Howmedica, Inc | February 21, 1996 | Instead Of Containing A 200 Mm X 43 Mm Long Stem As Labeled, The Package May Contain A 225 Mm X 43 Mm Long Stem | 8 units were distributed | Pennsylvania, West Virginia, Georgia, Michigan, Washington State, Ohio
1996-09-18 | Devices | III | z-1135/1138-6 | Package Insert Associated With Dade Immunoassay Control Comprehensive Tri-level Kit, In-vitro Diagnostic Kit Used To Assist In Monitoring Accuracy And Precision In Clinical Assays: (a) Catalog Nos | Manufacturer | Dade International, Inc | June 19, 1996 | The Package Insert Had Multiple Inconsistencies That Included An Incorrect Assay Range | 10,776 kits were distributed | Nationwide And Italy
1996-09-18 | Devices | III | z-1139/1142-6 | Incstar Fta-abs Flouro Test Kit, In-vitro Diagnostic For Detecting Antibodies In Human Serum To Syphilis: (a) - Catalog No | Manufacturer | Incstar Corporation, Stillwater, Minnesota | August 12, 1996 | Some Negative Samples May Yield A Positive Assay Response | incstar fta-abs fluoro test kits, product numbers 1910, 1910g and 6910: 587 of the test kits were distributed | Nationwide And International
1996-09-18 | Devices | III | z-1149-6 | C. Albicans Growth Promotion Test Suspension | Manufacturer | North American Science Associates (namsa), Northwood, Ohio | August 28, 1996 | There Was A Reduction In Spore Population Below The Labeled Range | 110 vials were distributed | Nationwide, Ireland, Japan, Singapore
1996-09-18 | Devices | III | z-1150/1152-6 | Ep Medical Electrophysiology Catheters 2mm And 2, 5, 2mm Electrode Spacing Intended For Ecg Recording, Intercardiac Pacing, Stimulation And Sensing In Sterile Form: (a) Model Epm-64-sc-252; (b) Model Epm-64-hd-2; (c) Model Epm-64-sc-2 | Manufacturer | Procath Corporation Subsidiary Of Ep Medical, Inc | October 17, 1995 | The Tubing Weld Joints May Separate If Handled Forcefully Prior To Insertion | 21 catheters were distributed | Nationwide
1996-09-18 | Devices | III | z-1145-6 | Vai Cultureset Herpes Simplex Virus (hsv) Identification Kit 501020, Immunoperoxidase Staining Kit For Use With Viral Tissue Culture Isolation, For In-vitro Diagnostic Use | Manufacturer | Vai Diagnostic, Memphis, Tennessee | June 21, 1996 | The Device Has Exhibited An Unexpected Drop In The Reactivity Of The Labeling Reagent, Included In The Kit | 224 kits were distributed | Nationwide
1996-09-18 | Devices | III | z-1153/1154-6 | Osteonics Omnifit Cup Insert Series, Sterile, Implantable, Non-critical Rx Devices: (a) Osteonic Omnifit 10 Degree Cup Insert Series I, 28 Mm, Catalog #2002-2854; (b) Osteonics Omnifit 20 Degree Cup Insert Series Ii, 26 Mm, Catalog #2042-2654 | Manufacturer | Osteonics Corporation, Allendale, New Jersey | April 22, 1996 | The 20 Degree Labeled Package May Contain The 10 Degree Unit, And Vice-versa | (a) 24 units; (b) 11 units were distributed | Nationwide And International