## Report-1996-09-25
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1996-09-25 | Drugs | II | d-266-6 | Dilantin Kapseals (extended Phenytoin Sodium), Usp, 100 Mg, Antiepileptic | Warner-lambert Company | Warner Lambert Company, Fajardo, Puerto | August 12, 1996 | Stability Test Dissolution Failure | 40,403 bottles of lot 05685f, 40,320 bottles of lot 02595f, 3,900 bottles of lot 02895f, 4,044 bottles of lot 012n5f, 3,879 bottles of lot 00626f were distributed | Nationwide
1996-09-25 | Drugs | II | d-267-6 | Nitrostat (nitroglycerin, Usp), 0 | Parke-davis | Warner-lambert Company, Fajardo, Puerto Rico | August 13, 1996 | Stability Test Assay Failure | 22,817 bottles were distributed | Nationwide
1996-09-25 | Drugs | III | d-268-6 | Congess Sr | Manufacturer | Fleming & Company, Fenton, Missouri | September 6, 1996 | Stability Test Release Rate Failure | 129 bottles were distributed | Nationwide
1996-09-25 | Drugs | III | d-269-6 | Beta-hc 1/4% Topical Lotion (hydrocortisone Cream Usp), Antipruritic (anti-itch) Lotion, In 4 Fluid Ounce Bottles | Manufacturer | Beta Dermaceuticals, Inc | August 20, 1996 | Fda Analysis Found Product To Be Subpotent | 1,189 bottles were distributed; firm estimated that 642 bottles remained on market at time of recall initiation | Nationwide
1996-09-25 | Biologics | III | b-638-6 | Source Plasma | Manufacturer | Sera-tec Biologicals, Inc | November 11, 1992 | Blood Products Were Collected From A Donor Who Previously Tested Positive For Syphilis. | 3 units | North Carolina
1996-09-25 | Devices | II | z-1132-6 | Model 5000 Head Spring, A Component Used In Invacare's Mobilite Full And Semi Electric Bed Models 5410, 5310, 5210, 5110, 5307, 5207, And 5107 | Manufacturer | Invacare Corporation, Sanford, Florida | March 11, 1996 | A Rear Weld On The Center Mounting Latch Of The Head Spring Can Fracture During Use | 1,538 units were distributed with the defective head springs | Nationwide
1996-09-25 | Devices | II | z-1143-6 | Advantx Lca Angiography System, Model #s5800yb, Used For Medical Imaging During General Angiography And Interventional Procedures | Manufacturer | General Electric Company, Medical Systems Division, Waukesha, Wisconsin | August 1, 1996 | Failure Of A Gantry Motor Control Board May Cause The Gantry To Move At Unexpectedly High Speeds, Which Can Result In A Collision Between The Gantry And The Patient Or Operator | 57 units were distributed | Nationwide And Canada
1996-09-25 | Devices | II | z-1155/1156-6 | Cozy/headrest Retaining Strap, Part #451220 And Posterior Headrest Pads, Part #450100 And #450102 | Manufacturer | Quickie Designs, Inc | July 19, 1996 | The Strap Of The Headrest May Slip Down The Head Of The User Which Could Cause Neck Strain, Choking, Or Asphyxiation | 184 straps were distributed | Pennsylvania, Illinois, Connecticut, Kansas, Kentucky, Massachusetts, California, Texas, Florida
1996-09-25 | Devices | II | z-1157/1159-6 | Laser Systems, Used For Cutting Of Process Material With Focused Laser Radiation: (a) Model Lpl-103; (b) Model Lpl-104; (c) Model Lpls-001 | Manufacturer. Fda Approved The Firm's Corrective Action Plan September 10 | Lpl Systems, Inc | September 10, 1996 | Noncompliance With Performance Standards For Laser Products In That The Systems Failed To Have The Correct Wording On Warning Labels; The Interlock Switches Failed To Included An Indication Of Defeat; User Information Failed To Include Required Information Concerning The Maximum Output Of Laser Radiation And To Include Reproductions Of Required Warning Labels | 7 units | New Jersey And Minnesota
1996-09-25 | Devices | II | z-1160/1162-6 | Fresenius A 2008 Hemodialysis Systems: (a) Model C Dialysis Delivery System (b) Model D Dialysis Delivery System (c) Model E Dialysis Delivery System | Fresenius Usa | Fresenius Ag (formerly Called Mts), W | April 15, 1996 | An Increased Resistance Load On The Power Supply Coupled With A Capacitor Failure Leads To Excess Fluid Removal | (a) 796 units; (b) 4,537 units; (c) 992 units were distributed | Nationwide And International
1996-09-25 | Devices | II | z-1164/1191-6 | Sterile Procedural Trays Labeled As Containing X-ray Detectable Gauze | Manufacturer | Deroyal Industries, Inc | August 12, 1996 | The Devices May Not Contain X-ray Detectable Gauze As Labeled | 446 cases were distributed | Connecticut, Delaware, Georgia, Indiana, Kansas, New Hampshire, Oklahoma, Pennsylvania, Utah, Illinois, Missouri, Ohio, New Jersey
1996-09-25 | Devices | II | z-1199/1201-6 | Terumo Hypodermic Needles: (a) Terumo Hypodermic Needles, Product Code 3nn*1938r; (b) Terumo Hypodermic Needles, Product Code 3nn*2038r; (c) Terumo Hypodermic Needles, Product Code 3nn*2338r | Manufacturer | Terumo Medical Corporation, Elkton, Maryland | July 2, 1996 | A Hole Was Found In The Bottom Web Where The Needle Protector Attaches To The Needle Hub, Therefore, Compromising The Sterility Of The Product Packaging | 98,000 pieces were distributed | Nationwide
1996-09-25 | Devices | II | z-1203-6 | Software Version 4 | Manufacturer | Trionix Research Laboratory, Twinsburg, Ohio | August 16, 1996 | The Computer Software Version 4 | 202 systems were distributed | Nationwide, Belgium, England, Korea, Australia, Egypt
1996-09-25 | Devices | II | z-1204/1211-6 | Vacu-aide Suction Units, Used As A Portable Medical Suction Device For Removal Of Fluids, Distributed Under Devilbiss Health Care, Inc | Manufacturer | Devilbiss Health Care, Inc | August 6, 1996 | The Piston Rods May Break During Normal Operation, Rendering The Units Unusable | 8,257 units were distributed | Nationwide And International
1996-09-25 | Devices | II | z-1216/1219-6 | Invacare Oxygen Concentrators Mobilaire Iii/v, And Invacare Iii/v Oxygen Concentrators: (a) Mobilaire Iii Oxygen Concentrator, Model No | Manufacturer | Invacare Corporation, Sanford, Florida | March 8, 1996 | Kinked Oxygen Transfer Hoses In The Units Caused By Defective Exterior Foam Insulation May Affect The Flow Of Oxygen, And Therefore, Affect The Concentration Of Oxygen The Patient Receives | 122 units were distributed | Nationwide
1996-09-25 | Devices | II |  |  |  |  | N/A
1996-09-25 | Devices | III | z-1146-6 | Render-plan 3-d Treatment Planning System, Computer Programs Intended For Planning Of Radiotherapy Procedures | Manufacturer | Precision Mathematics, Inc | February 22, 1996 | Software Errors May Cause Hard Copy Errors When Drawing The Beam Edges, When An Aperture Is Present | approximately 100 units were distributed | Nationwide And International
1996-09-25 | Devices | III | z-1147-6 | Render-plan 3-d Treatment Planning System, Computer Programs Intended For Planning Of Radiotherapy Procedures | Manufacturer | Precision Mathematics, Inc | May 2, 1996 | Software Errors In The Irregular Field Program May Cause Unexpected Results | approximately 100 units | Nationwide And International
1996-09-25 | Devices | III | z-1148-6 | Render-plan 3-d Treatment Planning System, Computer Programs Intended For Planning Of Radiotherapy Procedures | Manufacturer | Precision Mathematics, Inc | December 28, 1995 | Unexpected Computational Results Due To Software Errors | approximately 100 units | Nationwide And International
1996-09-25 | Devices | III | z-1192/1198-6 | Electron Microscopes, Used For Visualization Of Microscopic Objects: (a) Philips Sem 515 (b) Philips Sem 525 (c) Philips Sem 535 (d) Philips Sem 545 (e) Philips Xl20 (f) Philips Xl30 (g) Philips Xl40 | Manufacturer. Fda Approved The Firm's Corrective Action On August 21 | Philips Electronic Instruments Company, Mahwah, New Jersey | August 21, 1996 | Under Unlikely Circumstances, The Leakage Specification For X-radiation Is Exceeded | 128 units | Nationwide
1996-09-25 | Devices | III | z-1214-6 | Model 5348 Single Chamber Temporary Pacemakers (aai/vvi) | Medtronic | Medtronic Milaca, Inc | August 19, 1996 | The Keypad Shorts Can Result In Device Failure | 1,381 units were distributed | Nationwide And International
1996-09-25 | Devices | III | z-1215-6 | Lifepak 10 Defibrillator/monitor/pacemaker | Manufacturer | Physio Control Corporation, Redmond, Washington | August 19, 1996 | There Is Potential For Pacing Function To Cease Operation | 13 units were distributed | Iowa, Massachusetts, North Carolina, New York, Ohio, Pennsylvania, Rhode Island, Wisconsin
1996-09-25 | Drugs | II | d-266-6 | Dilantin Kapseals (extended Phenytoin Sodium), Usp, 100 Mg, Antiepileptic | Warner-lambert Company | Warner Lambert Company, Fajardo, Puerto | August 12, 1996 | Stability Test Dissolution Failure | 40,403 bottles of lot 05685f, 40,320 bottles of lot 02595f, 3,900 bottles of lot 02895f, 4,044 bottles of lot 012n5f, 3,879 bottles of lot 00626f were distributed | Nationwide
1996-09-25 | Drugs | II | d-267-6 | Nitrostat (nitroglycerin, Usp), 0 | Parke-davis | Warner-lambert Company, Fajardo, Puerto Rico | August 13, 1996 | Stability Test Assay Failure | 22,817 bottles were distributed | Nationwide
1996-09-25 | Drugs | III | d-268-6 | Congess Sr | Manufacturer | Fleming & Company, Fenton, Missouri | September 6, 1996 | Stability Test Release Rate Failure | 129 bottles were distributed | Nationwide
1996-09-25 | Drugs | III | d-269-6 | Beta-hc 1/4% Topical Lotion (hydrocortisone Cream Usp), Antipruritic (anti-itch) Lotion, In 4 Fluid Ounce Bottles | Manufacturer | Beta Dermaceuticals, Inc | August 20, 1996 | Fda Analysis Found Product To Be Subpotent | 1,189 bottles were distributed; firm estimated that 642 bottles remained on market at time of recall initiation | Nationwide
1996-09-25 | Biologics | III | b-638-6 | Source Plasma | Manufacturer | Sera-tec Biologicals, Inc | November 11, 1992 | Blood Products Were Collected From A Donor Who Previously Tested Positive For Syphilis. | 3 units | North Carolina
1996-09-25 | Devices | II | z-1132-6 | Model 5000 Head Spring, A Component Used In Invacare's Mobilite Full And Semi Electric Bed Models 5410, 5310, 5210, 5110, 5307, 5207, And 5107 | Manufacturer | Invacare Corporation, Sanford, Florida | March 11, 1996 | A Rear Weld On The Center Mounting Latch Of The Head Spring Can Fracture During Use | 1,538 units were distributed with the defective head springs | Nationwide
1996-09-25 | Devices | II | z-1143-6 | Advantx Lca Angiography System, Model #s5800yb, Used For Medical Imaging During General Angiography And Interventional Procedures | Manufacturer | General Electric Company, Medical Systems Division, Waukesha, Wisconsin | August 1, 1996 | Failure Of A Gantry Motor Control Board May Cause The Gantry To Move At Unexpectedly High Speeds, Which Can Result In A Collision Between The Gantry And The Patient Or Operator | 57 units were distributed | Nationwide And Canada
1996-09-25 | Devices | II | z-1155/1156-6 | Cozy/headrest Retaining Strap, Part #451220 And Posterior Headrest Pads, Part #450100 And #450102 | Manufacturer | Quickie Designs, Inc | July 19, 1996 | The Strap Of The Headrest May Slip Down The Head Of The User Which Could Cause Neck Strain, Choking, Or Asphyxiation | 184 straps were distributed | Pennsylvania, Illinois, Connecticut, Kansas, Kentucky, Massachusetts, California, Texas, Florida
1996-09-25 | Devices | II | z-1157/1159-6 | Laser Systems, Used For Cutting Of Process Material With Focused Laser Radiation: (a) Model Lpl-103; (b) Model Lpl-104; (c) Model Lpls-001 | Manufacturer. Fda Approved The Firm's Corrective Action Plan September 10 | Lpl Systems, Inc | September 10, 1996 | Noncompliance With Performance Standards For Laser Products In That The Systems Failed To Have The Correct Wording On Warning Labels; The Interlock Switches Failed To Included An Indication Of Defeat; User Information Failed To Include Required Information Concerning The Maximum Output Of Laser Radiation And To Include Reproductions Of Required Warning Labels | 7 units | New Jersey And Minnesota
1996-09-25 | Devices | II | z-1160/1162-6 | Fresenius A 2008 Hemodialysis Systems: (a) Model C Dialysis Delivery System (b) Model D Dialysis Delivery System (c) Model E Dialysis Delivery System | Fresenius Usa | Fresenius Ag (formerly Called Mts), W | April 15, 1996 | An Increased Resistance Load On The Power Supply Coupled With A Capacitor Failure Leads To Excess Fluid Removal | (a) 796 units; (b) 4,537 units; (c) 992 units were distributed | Nationwide And International
1996-09-25 | Devices | II | z-1164/1191-6 | Sterile Procedural Trays Labeled As Containing X-ray Detectable Gauze | Manufacturer | Deroyal Industries, Inc | August 12, 1996 | The Devices May Not Contain X-ray Detectable Gauze As Labeled | 446 cases were distributed | Connecticut, Delaware, Georgia, Indiana, Kansas, New Hampshire, Oklahoma, Pennsylvania, Utah, Illinois, Missouri, Ohio, New Jersey
1996-09-25 | Devices | II | z-1199/1201-6 | Terumo Hypodermic Needles: (a) Terumo Hypodermic Needles, Product Code 3nn*1938r; (b) Terumo Hypodermic Needles, Product Code 3nn*2038r; (c) Terumo Hypodermic Needles, Product Code 3nn*2338r | Manufacturer | Terumo Medical Corporation, Elkton, Maryland | July 2, 1996 | A Hole Was Found In The Bottom Web Where The Needle Protector Attaches To The Needle Hub, Therefore, Compromising The Sterility Of The Product Packaging | 98,000 pieces were distributed | Nationwide
1996-09-25 | Devices | II | z-1203-6 | Software Version 4 | Manufacturer | Trionix Research Laboratory, Twinsburg, Ohio | August 16, 1996 | The Computer Software Version 4 | 202 systems were distributed | Nationwide, Belgium, England, Korea, Australia, Egypt
1996-09-25 | Devices | II | z-1204/1211-6 | Vacu-aide Suction Units, Used As A Portable Medical Suction Device For Removal Of Fluids, Distributed Under Devilbiss Health Care, Inc | Manufacturer | Devilbiss Health Care, Inc | August 6, 1996 | The Piston Rods May Break During Normal Operation, Rendering The Units Unusable | 8,257 units were distributed | Nationwide And International
1996-09-25 | Devices | II | z-1216/1219-6 | Invacare Oxygen Concentrators Mobilaire Iii/v, And Invacare Iii/v Oxygen Concentrators: (a) Mobilaire Iii Oxygen Concentrator, Model No | Manufacturer | Invacare Corporation, Sanford, Florida | March 8, 1996 | Kinked Oxygen Transfer Hoses In The Units Caused By Defective Exterior Foam Insulation May Affect The Flow Of Oxygen, And Therefore, Affect The Concentration Of Oxygen The Patient Receives | 122 units were distributed | Nationwide
1996-09-25 | Devices | II |  |  |  |  | N/A
1996-09-25 | Devices | III | z-1146-6 | Render-plan 3-d Treatment Planning System, Computer Programs Intended For Planning Of Radiotherapy Procedures | Manufacturer | Precision Mathematics, Inc | February 22, 1996 | Software Errors May Cause Hard Copy Errors When Drawing The Beam Edges, When An Aperture Is Present | approximately 100 units were distributed | Nationwide And International
1996-09-25 | Devices | III | z-1147-6 | Render-plan 3-d Treatment Planning System, Computer Programs Intended For Planning Of Radiotherapy Procedures | Manufacturer | Precision Mathematics, Inc | May 2, 1996 | Software Errors In The Irregular Field Program May Cause Unexpected Results | approximately 100 units | Nationwide And International
1996-09-25 | Devices | III | z-1148-6 | Render-plan 3-d Treatment Planning System, Computer Programs Intended For Planning Of Radiotherapy Procedures | Manufacturer | Precision Mathematics, Inc | December 28, 1995 | Unexpected Computational Results Due To Software Errors | approximately 100 units | Nationwide And International
1996-09-25 | Devices | III | z-1192/1198-6 | Electron Microscopes, Used For Visualization Of Microscopic Objects: (a) Philips Sem 515 (b) Philips Sem 525 (c) Philips Sem 535 (d) Philips Sem 545 (e) Philips Xl20 (f) Philips Xl30 (g) Philips Xl40 | Manufacturer. Fda Approved The Firm's Corrective Action On August 21 | Philips Electronic Instruments Company, Mahwah, New Jersey | August 21, 1996 | Under Unlikely Circumstances, The Leakage Specification For X-radiation Is Exceeded | 128 units | Nationwide
1996-09-25 | Devices | III | z-1214-6 | Model 5348 Single Chamber Temporary Pacemakers (aai/vvi) | Medtronic | Medtronic Milaca, Inc | August 19, 1996 | The Keypad Shorts Can Result In Device Failure | 1,381 units were distributed | Nationwide And International
1996-09-25 | Devices | III | z-1215-6 | Lifepak 10 Defibrillator/monitor/pacemaker | Manufacturer | Physio Control Corporation, Redmond, Washington | August 19, 1996 | There Is Potential For Pacing Function To Cease Operation | 13 units were distributed | Iowa, Massachusetts, North Carolina, New York, Ohio, Pennsylvania, Rhode Island, Wisconsin