## Report-1996-12-03
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1996-12-03 | Drugs | II | d-046-7 | Mpi Maa Kit, For The Preparation Of Technetium Tc 99m Albumin Aggregated Injection, In Multidose Vials Containing 2 | Medi-physics | Merck Frosst Canada, Inc | November 12, 1996 | Lack Of Adequate Assurance Of Sterility Of The Human Albumin Component Manufactured By Centeon, Kankakee, Illinois. -5- | 2,423 kits were distributed; firm estimated that very little, if any, product remained on market at time of recall initiation | Nationwide And Hong Kong
1996-12-03 | Drugs | III | d-047-7 | Congess Sr, Packaged In Bottles Of 100, Rx Decongestant | Manufacturer | Fleming & Company, Fenton, Missouri | November 18, 1996 | Fda Analysis Found This Lot Failed The Release Rate Test -- The 4th Hour Release Interval For Pseudoephedrine Was Found To Be 90%; The Specification Is Not More Than 88%. | 800 bottles were distributed | Nationwide
1996-12-03 | Biologics | II | b-549/550-6 | (a) Red Blood Cells; (b) Recovered Plasma | Manufacturer | American Red Cross, Peoria, Illinois | October 3, 1995 | Blood Products Tested Initially Reactive For Anti-hiv, Units Then Tested Into Compliance With No Confirmatory Test | 1 unit of each component was distributed | New York
1996-12-03 | Biologics | II | b-551/552-6 | (a) Red Blood Cells; (b) Fresh Frozen Plasma | Manufacturer | American Red Cross, Peoria, Illinois | March 18, 1996 | Blood Products Tested Initially Reactive For Anti-hiv, Units Then Retested Only Once With No Confirmatory Testing | 1 unit of each component was distributed | Illinois And Iowa
1996-12-03 | Devices | III | z-145-7 | Condylar Bone Screws, Catalog #cs027-08/10 | Tmj Implants | Komet Medical, Savannah, Georgia (supplier Of Screws) | October 7, 1996 | Some Condylar Bone Screws Were In Packages Labeled As Fossa-eminence Bone Screws, And Some Fossa-eminence Bone Screws Were Incorrectly Labeled As Condylar Bone Screws. | 8 packages of 7 screws each were distributed | Pennsylvania, Tennessee, Texas