## Report-1997-01-15
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1997-01-15 | Biologics | II | b-220/221-7 | (a) Red Blood Cells; (b) Recovered Plasma | Manufacturer | American Red Cross Blood Services, Peoria, Illinois | June 28, 1996 | Blood Products Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 (anti-hiv-1) Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti-hiv-1, Western Blot Negative | 1 unit of each component | Illinois And California
1997-01-15 | Biologics | II | b-222/223-7 | (a) Red Blood Cells; (b) Recovered Plasma | Manufacturer | American Red Cross Blood Services, Peoria, Illinois | July 3, 1996 | Blood Products Tested Repeatedly Reactive For The Antibody To The Human Immunodeficiency Virus Type 1 (anti-hiv-1), Or Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti-hiv-1 | 3 units of each component were distributed | Illinois, New York, California
1997-01-15 | Biologics | II | b-224/225-7 | (a) Red Blood Cells; (b) Recovered Plasma | Manufacturer | American Red Cross Blood Services, Peoria, Illinois | May 23, 1996 | Blood Products Tested Repeatedly Reactive For The Antibody To The Human Immunodeficiency Virus Type 1 (anti-hiv-1) Were Subjected To Additional Retesting | 1 unit of each component was distributed | Illinois And California
1997-01-15 | Biologics | II | b-227/228-7 | (a) Red Blood Cells; (b) Platelets | Manufacturer | The Blood Center Of Central Iowa, Des Moines, Iowa | February 8, 1996 | Blood Products Were Collected From A Donor Who Traveled To Areas Designated As Endemic For Malaria | 1 unit of each component was distributed | Iowa And Pennsylvania
1997-01-15 | Biologics | II | b-229/230-7 | (a) Red Blood Cells; (b) Platelets | Manufacturer | Lorain County Blood Bank, Inc | August 26, 1996 | Blood Products Were Collected From A Donor Who Traveled To An Area Designated As Endemic For Malaria | 1 unit of each component was distributed | Ohio And Massachusetts
1997-01-15 | Biologics | II | b-231/232-7 | (a) Red Blood Cells; (b) Platelets | Manufacturer | Spartanburg Blood Bank, Inc | March 1, 1996 | Blood Products Were Collected From A Donor Who Traveled To An Area Designated As Endemic For Malaria | (a) 1 unit; (b) 2 units were distributed | South Carolina
1997-01-15 | Biologics | II | b-233/234-7 | (a) As-1 Red Blood Cells; (b) Platelets | Manufacturer | American Red Cross Blood Services, Toledo, Ohio | February 27, 1996 | Blood Products Were Collected From A Donor Who Traveled To An Area Designated As Endemic For Malaria | 1 unit of each component was distributed | Ohio
1997-01-15 | Biologics | II | b-237/238-7 | (a) Red Blood Cells; (b) Platelets | Manufacturer | Blood Center Of Southeast Texas, Inc | March 1, 1996 | A Unit Of Red Blood Cells Was Incorrectly Labeled As Irradiated And A Unit Of Platelets Was Prepared From Whole Blood With An Extended Collection Time | 1 unit of each component was distributed | New York And Texas
1997-01-15 | Biologics | III | b-258/259-7 | (a) Red Blood Cells; (b) Platelets | Manufacturer | American Red Cross, Cleveland, Ohio | October 6, 1995 | Blood Products Containing Positive Antibodies Screen, Were Labeled As Negative For Unexpected Antibodies. | (a) 3 units; (b) 1 unit was distributed | Ohio
1997-01-15 | Devices | II | z-202-7 | Phoenix Px115 Powerlofttm Alternating Pressure Pump, A Component For The Phoenix Alternating Air Floatation Mattress System, Designed To Provide A Combination Of Alternating Pressure And Ventilation Air Therapy To Prevent Pressure Sores | Mason Medical Products | Cathay Consolidated Inc | November 15, 1996 | The Timing Mechanism Would Freeze Up Causing The Unit To Run Continuously Until Manually Shut Off | 4,694 pumps were distributed | Nationwide And Puerto Rico
1997-01-15 | Devices | II | z-204-7 | Sabratek Model 6060 Homerun Volumetric Infusion Pump, For The Delivery Of Enteral, Epidural, Subcutaneous, Arterial, And Intravenous Fluids To The Patient | Manufacturer | Sabratek Corporation, Niles, Illinois | October 15, 1996 | There Is A Possibility That The Device Can Bypass The Delay Delivery Mode When The Infusion Pump Is Programmed In The Continuous, 25 Period, Intermittent Or Auto-ramp Profile, Delivering The Solution As Programmed Without The Delayed Delivery | 487 units were distributed | Illinois, Massachusetts, Ohio, Florida, Texas, Missouri, North Carolina, Pennsylvania, Indiana, California, Washington State, Louisiana, Ireland, Brazil, Canada
1997-01-15 | Devices | III | z-198-7 | Vitros Lipase Slides, For Use With Vitros Chemistry Systems To Quantitatively Measure Lipase Activity In Serum And Plasma, For In- Vitro Diagnostic Use | Manufacturer | Johnson & Johnson Clinical Diagnostics, Inc | November 15, 1996 | Some Cartridges Within Affected Lots May Contain Slides That Exhibit Significant Biases In Lipase Results. | 4,355 cartridges (15 slides each) were distributed; firm estimated that 3,500 cartridges remained on market at time of recall initiation | Nationwide