## Report-1997-02-26
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1997-02-26 | Drugs | II | d-118-7 | Doxycycline Hyclate, 100 Mg Capsules, Usp, In Bottles Of 50 And 500, Rx, A Broad Spectrum Antibiotic | Manufacturer | Houba, Inc | January 3, 1997 | Stability Is Not Assured Through Expiration Date (capsules May Be Excessively Brittle). | 12 million capsules were distributed | Nationwide
1997-02-26 | Drugs | III | d-119-7 | Nitrostat Sublingual Tablets, 0 | Parke-davis | Warner Lambert Company, Fajardo, Puerto Rico | January 28, 1997 | Product Lacks Stability (failed Content Assay At The 15-month Stability Timepoint -- 86. 6%; Spec Is 90-110%). | 23,750 bottles were distributed | Nationwide
1997-02-26 | Biologics | II |  | (a) Red Blood Cells; (b) Platelets; (c) Fresh Frozen Plasma; (d) Recovered Plasma | Manufacturer | American Red Cross Blood Services, Peoria, Illinois | July 23, 1996 | Blood Products Tested Repeatedly Reactive For The Antibody To The Human Immunodeficiency Virus Type 1 (anti-hiv-1), But Were Subjected To Additional Retesting | (a) 2 units; (b) 1 unit; (c) 1 unit; (d) 1 unit was distributed | Illinois And Iowa
1997-02-26 | Biologics | II |  | (a) Red Blood Cells; (b) Recovered Plasma | Manufacturer | American Red Cross Blood Services, Peoria, Illinois | July 23, 1996 | Blood Products Tested Repeatedly Reactive For The Antibody To The Human Immunodeficiency Virus Type 1 (anti-hiv-1), But Were Subjected To Additional Retesting | 1 unit of each component was distributed | New York, California
1997-02-26 | Biologics | II | b-400-7 | Platelets, Pheresis | Manufacturer | American Red Cross Blood Services, Peoria, Illinois | August 17, 1996 | Blood Product Tested Repeatedly Reactive For The Antibody To The Human Immunodeficiency Virus Type 1 (anti-hiv-1) | 1 unit was distributed | New York
1997-02-26 | Biologics | II | b-401-7 | Platelets, Pheresis | Manufacturer | American Red Cross Blood Services, Peoria, Illinois | August 28, 1996 | Blood Product Tested Initially Reactive For The Antibody To The Human Immunodeficiency Virus Type 1 (anti-hiv-1), And Was Not Retested In Duplicate | 1 unit was distributed | Illinois
1997-02-26 | Biologics | II | b-402/403-7 | (a) Red Blood Cells; (b) Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services, Peoria, Illinois | July 23, 1996 | Blood Products Tested Repeatedly Reactive For The Antibody To The Human Immunodeficiency Virus Type 1 (anti-hiv-1), But Were Subjected To Additional Retesting | 1 unit was distributed | Illinois
1997-02-26 | Biologics | II | b-410-7 | Red Blood Cells | Manufacturer | American National Red Cross, Norman, Oklahoma | October 22, 1996 | Blood Products Were Collected From A Donor Who Lived In An Area Designated As Endemic For Malaria | 4 units were distributed | Texas And Oklahoma
1997-02-26 | Biologics | III | b-381-7 | Platelets | Manufacturer | United Community Blood Center, Middleburg Heights, Ohio | June 2, 1994 | Blood Product Tested Positive For Antibodies Screen And Was Labeled As Negative For Unexpected Antibodies | 1 unit was distributed | Ohio
1997-02-26 | Biologics | III | b-398/399-7 | (a) Red Blood Cells; (b) Recovered Plasma | Manufacturer | American Red Cross Blood Services, Peoria, Illinois | August 17, 1996 | Blood Products Tested Repeatedly Reactive For The Hepatitis B Surface Antigen (hbsag), But Were Subjected To Additional Retesting | 1 unit of each component was distributed | New York, California
1997-02-26 | Biologics | III | b-404-7 | Platelets, Pheresis | Manufacturer | American Red Cross Blood Services, Norfolk, Virginia | January 31, 1996 | Blood Product Was Collected From A Donor Who Had Been Immunized With Measles, Mumps, And Rubella (mmr) Vaccine | 1 unit was distributed | West Virginia
1997-02-26 | Biologics | III | b-405-7 | Red Blood Cells | Manufacturer | American Red Cross Blood Services, Portland, Oregon | June 21, 1996 | Unlicensed Blood Product Was Shipped Interstate | 1 unit was distributed | Washington State
1997-02-26 | Biologics | III | b-406-7 | Red Blood Cells | Manufacturer | American Red Cross Blood Services, Portland, Oregon | July 9, 1996 | Blood Products Remained At Room Temperature For An Unacceptable Length Of Time | 2 units were distributed | Oregon
1997-02-26 | Biologics | III | b-408-7 | Red Blood Cells | Manufacturer | Blood Systems, Inc | October 30, 1996 | Blood Products Remained At Room Temperature For An Unacceptable Length Of Time | 8 units were distributed | Louisiana
1997-02-26 | Devices | II | z-253-7 | Leep Foot Pedal Accessory, Part Number 6032, Used With The Leep System 1000 Generator | Cooper Surgical | Alsa Apparecchi, Bologna, Italy (foot Pedal) | November 11, 1996 | The Foot Pedal Air Bladder May Crack And Prevent Activation Of The Leep Device | 132 units were distributed | Nationwide
1997-02-26 | Devices | II | z-270/273-7 | Diagnostic X-ray System - Superstand, General Purpose Radiography: (a) Model No | Manufacturer. Fda Approved The Firm's Corrective Action Plan On February 18 | Wuestec Medical, Inc | February 18, 1997 | The Diagnostic X-ray Devices Were Found Noncompliant With 21 Cfr 1010 | all units produced | Nationwide
1997-02-26 | Devices | II | z-274/281-7 | Royal Flush Plug Angiographic Catheters With Beacon Enhanced Radiopaque Tips, Sold As Part Of The Following Sets: (a) Cook Brand Digital Subtraction Angiography Set 4 | Cook | Sabin Corporation, Bloomington, Indiana | January 16, 1997 | There Has Been An Increase Frequency Of Catheter Tip Separation | 68,345 sets were distributed | Nationwide And International
1997-02-26 | Devices | II | z-282-7 | All Promotional Material For Electromedia Air Cleaners, Model Numbers 50c, 100c, And 35f, A Medical Recirculating Air Cleaner Which Can Be Used In Industrial Settings, But Is Also Used By Medical Facilities | Manufacturer | It's All About Clean Air, Inc | January 27, 1997 | The Firm's Advertisements/promotional Material Contain Medical Claims For Which The Firm Does Not Have An Approved 510(k) | approximately 1,500 to 2,000 pieces of literature and/or brochures were distributed | Nationwide
1997-02-26 | Devices | II | z-285-7 | 72" Adult Heated Wire Breathing Circuits, Used To Provide Heat To The Humidified Air Passing To The Patient's Trachea Through A Breathing Tube Attached To A Ventilator | Manufacturer | Marquest Medical Products, Inc | November 1, 1996 | A Manufacturing Process Error In Which The Electrical Insulation Of The Wire Was Scored During Assembly, Exposing The Metallic Conductor To The Environment Within The Breathing Circuit | 1,001 units were distributed | Nationwide
1997-02-26 | Devices | II | z-286-7 | Model I/o 104 Rev A Laser Ablation System, Used For Ablation Of Material From A Surface Laving A Graphic Image Or Letters On That Surface | Manufacturer. Fda Approved The Firm's Corrective Action Plan On February 19 | Imaginative Optics, Beverly, Massachusetts | February 19, 1997 | The Laser Product Failed To Comply With The Following Provisions Of The Federal Laser Product Performance Standard For: Labeling Requirements -- Product Failed To Have The Correct Warning Logotype Affixed To It; -12- Information Requirements -- Product User Manual Failed To Include A Reproduction Of The Required Warning Logotype And The Statement "cautions - Use Of Controls | 35 units were distributed | Nationwide
1997-02-26 | Devices | III | z-250-7 | Branemark System Sterile Mk Ii 5 X 13 Mm Wide Platform Fixture, Catalog #sdca 668, A Self- Tapping Endosseous Implant Fixture | Nobel Biocare Usa | Nobel Biocare Ab, Gothenburg, Sweden | December 20, 1996 | The Vials Labeled As Containing A 5 X 13 Mm Wide Platform Fixture Actually Contain A 3 | 22 fixtures were distributed | California, New York, Florida, Pennsylvania, Texas, New Mexico, Illinois
1997-02-26 | Devices | III | z-254/269-7 | Branemark System Sterile Carbon Steel Drills, Single Use Drills, Countersinks And Pilot Drills Used To Prepare The Bone For Endosseous Implant Fixtures: (a) Catalog #sdib 001 - Drill Kit, 7-10 Mm (b) Catalog #sdib 004 - Drill Kit, 7-15 Mm (c) Catalog #sdib 133 - Drill Kit, Long Shaft, L 7-15 Mm (d) Catalog #sdib 091 - Twist Drill, D 2 | Nobel Biocare Usa | Nobel Biocare Ab, Fka Nobelpharma Ab, Gothenburg, Sweden | May 17, 1996 | The Carbon Steel Surface Of The Devices May Have Oxidized | 9,689 units were distributed | Nationwide
1997-02-26 | Devices | III | z-283/284-7 | Autoclavable Retractor Systems, Non-sterile: (a) Model 3404; (b) Model 3407 | Manufacturer | Lone Star Medical Products, Inc | August 23, 1995 | The Inner Insert Label Was Labeled As "sterile", While The Outer Label Was Correctly Labeled As "non-sterile" | (a) 3 units; (b) 7 units were distributed | Maine, New York, Michigan, Connecticut