## Report-1997-11-05
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1997-11-05 | Drugs | II | d-026-8 | esgic Tablets (butalbital 50 Mg/acetaminophen 325 Mg/caffeine 40 Mg), In 500 Count Bottles, rx For The Relief Of The Symptom Complex Of tension (or Muscle Contraction) Headache, | forest Pharmaceuticals | Graham Laboratories, Inc | July 30, 1997 | dissolution Failure | 6,559 bottles were distributed | Nationwide
1997-11-05 | Drugs | II | d-029-8 | aspirin Tablets, 325 Mg, Packed In Blister cards Of 31 Tablets Per Card, Otc Analgesic (ndc #6139289931) | heartland Healthcare Services | Lnk International, Hauppauge, New York | October 17, 1997 | mislabeling - Uncoated Tablets Labeled As "enteric Coated" | 198 blister cards containing 31 individual unit dose aspirin tablets were distributed | Ohio
1997-11-05 | Drugs | III | d-024-8 | ativan Injection (lorazepam), 2 Mg/ml, 1 Ml In 2 Ml Syringes, Packages Of 10, Rx Indicated for Use In Adult Patients For Preanesthetic medication, Producing Sedation, Relief Of anxiety, And A Decreased Ability To Recall events Related To The Day Of Surgery (ndc #0008-0581-06) | Manufacturer | Wyeth Ayerst Laboratories, West Chester, Pennsylvania | September 3, 1997 | product Leakage From Syringe | 60 packages were distributed | Kentucky And Indiana
1997-11-05 | Drugs | III | d-025-8 | betuline Lotion (methyl Salicylate, Camphor, menthol), In 2 Fluid Ounce Bottles, Otc indicated For Temporary Relief From Minor aches And Pains (ndc 0496-0509-06) | Manufacturer | Ferndale Laboratories, Inc | October 14, 1997 | superpotency - Methyl Salicylate (stability) | 17,792 bottles were distributed | Nationwide
1997-11-05 | Drugs | III | d-027-8 | senna Gen Tablets (laxative-senna concentrate/sennosides), Packaged As 30, 32, or 60 Individual Unit Dosages Per Blister Card (ndc #00182100910, Ndc #6139200839, Ndc #613900832, Ndc #6139200835) | Heartland Healthcare Services | concord Labs, Fairfield, New Jersey | October 17, 1997 | incorrectly Declared Potency - Product Labeled as Containing 187 Mg Senna Concentrate (5 | a total of 113/60 tablet unit dose blister cards; 351/30 tablet unit dose blister cards; and 273/32 tablet unit dose blister cards, were distributed | Connecticut, Illinois, Washington, Oregon, Kansas, Ohio, Massachusetts, Missouri, Oklahoma, Iowa
1997-11-05 | Drugs | III | d-028-8 | estring (estradiol Vaginal Ring), 2 Mg, Rx, indicated For The Treatment Of Urogenital symptoms Associated With Post-menopausal atrophy Of The Vagina And/or The Lower Urinary tract (ndc 0013-2150-36) | pharmacia & Upjohn | Ferring Ab, Malmo, Sweden (contract Manufacturer) | October 27, 1997 | stability Cannot Be Assured Through Expiry date | 6,011 units were distributed between january 27 and may 5, 1997 | nationwide
1997-11-05 | Biologics | II | b-050-8 | source Plasma | manufacturer | bio-blood Components, Inc | July 18, 1997 | blood Product Was Collected From A Donor Who had Ear Piercing Within Twelve Months Of donation | 1 unit was distributed | California
1997-11-05 | Biologics | II | b-065/066-8 | A) Red Blood Cells; B) Recovered Plasma | Manufacturer | American Red Cross Blood Services, Columbus, Ohio | May 20, 1997 | blood Products Were Collected From A Donor Who received A Measles, Mumps And Rubella (mmr) vaccine Within Two Weeks Of Donation | 1 unit of each component was distributed | Ohio And California
1997-11-05 | Biologics | II | b-070-8 | a) Red Blood Cells | Manufacturer | Sylvan N | December 12, 1995 | blood Products Were Prepared From Units Of whole Blood Which Remained At Room Temperature for An Unacceptable Length Of Time | 2 units were distributed | Oklahoma
1997-11-05 | Biologics | II | b-072/076-8 | a) Red Blood Cells; B) Platelets; c) Fresh Frozen Plasma; d) Cryoprecipitated Ahf e) Recovered Plasma | Manufacturer | American Red Cross Blood Services, Louisville, Kentucky | October 16, 1995 | blood Products Tested Repeatedly Reactive For the Antibody To The Human Immunodeficiency virus Type 1 (anti-hiv-1), Or Which Tested negative For Anti-hiv-1, But Were Collected from A Donor Who Previously Tested Repeatedly reactive For Anti-hiv-1, Western Blot indeterminate | a) 20 units; b) 12 units; c) 8 units d) 4 units; e) 12 units were distributed | Kentucky, Illinois, Switzerland
1997-11-05 | Biologics | II | b-080-8 | red Blood Cells | Manufacturer | American Red Cross Blood Services, Dedham, Massachusetts | October 10, 1996 | blood Product Was Collected From A Donor Who traveled To An Area Considered Endemic For malaria | 1 unit was distributed | New Hampshire
1997-11-05 | Biologics | II | b-082-8 | platelets, Pheresis | Blood Systems | united Blood Services, Scottsdale, Arizona | October 7, 1996 | Blood Products Had An Elevated Platelet Count | 31 units were distributed | Illinois, Missouri, Arizona
1997-11-05 | Biologics | III | b-035-8 | fresh Frozen Plasma | Blood Systems | United Blood Services, El Paso, Texas | June 3, 1997 | blood Product Was Prepared From A Unit Of whole Blood With An Extended Collection Time and Designated As A Difficult Collection | 1 unit was distributed | Texas
1997-11-05 | Biologics | III | b-051-8 | fresh Frozen Plasma | Manufacturer | American Red Cross, Lansing, Michigan | April 23, 1996 | blood Products Were Stored At Unacceptable temperature | 4 units were distributed | Michigan
1997-11-05 | Biologics | III | b-052/054-8 | a) Red Blood Cells; B) Platelets; C) Fresh frozen Plasma | manufacturer | American Red Cross Blood Services, Toledo, Ohio | July 1, 1997 | blood Products Were Collected From A Donor who Received A Tissue Transplant (surgery) within A Year Of Donation | 1 unit of each component was distributed | Ohio And Michigan
1997-11-05 | Biologics | III | b-071-8 | recovered Plasma | Manufacturer | Sylvlan N | December 12, 1995 | blood Products Were Prepared From Units Of whole Blood Which Remained At Room Temperature for An Unacceptable Length Of Time _______________ Product irradiated Red Blood Cells | 2 units were distributed | Texas
1997-11-05 | Biologics | III | b-083-8 | Was Labeled With An Extended expiration Date After Irradiation, Was distributed | Manufacturer | American Red Cross Blood Services, Dedham, Massachusetts | January 14, 1997 | blood Product Remained At Room Temperature For greater Than 30 Minutes During Irradiation | 1 unit was distributed | Massachusetts
1997-11-05 | Biologics | III |  |  |  |  | N/A
1997-11-05 | Devices | II | z-012-8 | maxx 250 Ml Reservoir With Attached 200 Ml/hr tubing, 1 | baiter Healthcare Corporation | Medication Delivery Devices, Inc | September 29, 1997 | the Units Labeled With A Flow Rate 200 Ml/hr may Actually Have A 100 Ml/hr Flow Restrictor In The Disposable Tubing | 116 cases were distributed | nationwide And Canada
1997-11-05 | Devices | II | z-032/035-8 | mini Lead Aprons, Aprons, Lead Sheeting, mobile Protective Shield, Protecta Pad And thyroid Shields: a) Aprons alimed Item Numbers 9-080, 9-081, 9-082, 9-083 9-203, 9-207, 9-221, 9-222, 9-223, 9-227, 9-316, 9-332 920117, 920118, 920119, 920121 b | alimed | the Kennedy Company, Scottsboro, Alabama (supplier Of Contaminated Lead Vinyl) | June 23, 1997 | the Radiation Protection Devices Contain Lead contamination With Small Amounts Of radioactive Substances | 437 units were distributed | nationwide, Canada, Japan
1997-11-05 | Devices | II | z-043/046-8 | portable Oxygen Units, Used To Provide A portable Source Of Oxygen To The Patient For extended Periods Of Time: A) Caire Top Fill 50 Psi Stroller (portable) Oxygen Unit, 1 | manufacturer | caire, Inc | October 9, 1997 | too Small Of An Orifice Prior To The Primary relief Valves Can Result In Flow Of Liquid oxygen Into The Nasal Canula And frostbite/burns To The Patient | 5,646 units | nationwide
1997-11-05 | Devices | II | z-048-8 code none | laser Lancet Lb100 Er:yag Laser Perforator, A skin Perforator | manufacturer. Fda Approved The Firm's Corrective Action Plan On October 7 | transmedica International, Little Rock, Arkansas | October 7, 1997 | the Devices Failed To Comply With 21 Cfr 1040 | 11 units were distributed | nationwide
1997-11-05 | Devices | II | z-049/153-8 | Ultra-flex Adult Anesthesia Breathing Circuits | Manufacturer | King Systems Corporation, Noblesville, Indiana | August 11, 1997 | The Expandable Tube Is Breaking Around The Circumference Of The Tube | 2,965 cases of 30 units each were distributed | Nationwide And International
1997-11-05 | Devices | III | z-028-8 | Stratus Hcg Fluorometric Enzyme Immunoassay, Catalog No | Manufacturer | Dade International, Inc | March 14, 1997 | The Calibrator Produces High Control Recovery And A Shift Up In Hcg Values | approximately 200 kits were distributed | Nationwide
1997-11-05 | Devices | III | z-029/030-8 | Stratus Ck-mb Fluorometric Enzyme Immunoassay Catalog Nos | Manufacturer | Dade International Inc | July 9, 1997 | The Conjugate Is Producing High Calibrator A Rates And High Control Recovery For The Low Level Control | 11,943 kits were distributed | Nationwide And International
1997-11-05 | Devices | III |  | Technicon H Systems Rbc Dil, Product No | Manufacturer | Bayer Corporation, Middletown, Virginia | August 19, 1997 | There Is Particulate Matter In Some Bottles Of This Lot | 779 units were distributed | Nationwide And Canada
1997-11-05 | Devices | III | z-037-8 | Bartels Epstein-barr Virus Igg Enzyme Immunoassay, Catalog #b1029-360, Intended For The Qualitative Detection Of Igg Antibody To The Viral Capsid Antigen Of Epstein-barr Virus In Human Serum | Bartels Inc. | Gull Laboratories, Inc | September 18, 1997 | The Conjugate Is Losing Stability Resulting In Absorbance Values For The Reference, And Positive Control That Are Lower Than The Limits Specified In The Product Insert | 200 were distributed between 6/16/97 and 9/9/97 | California, Ohio, Pennsylvania, Iowa, Kentucky, New York, Delaware, Washington State, Illinois, Puerto Rico
1997-11-05 | Devices | III | z-154-8 | Stratus Beta Hcg Fluorometric Enzyme Immunoassay, Catalog #b5700-59, Intended For Use In The Determination Of Total Beta Human Chorionic Gonadotropin Levels In Serum Or Plasma | Manufacturer | Dade International, Inc | February 14, 1997 | The Calibrator Produces High Control Recovery And A Shift Up In Beta Hcg Values | 93 kits were distributed | Nationwide And New Zealand
1997-11-05 | Devices | III | z-155-8 | Bartels Cytomegalovirus Igm Enzyme Immunoassay, Catalog No | Bartels | Gull Laboratories, Inc | October 10, 1997 | The Conjugate Is Losing Stability Resulting In Absorbance Values For Reference And Positive Control That Are Lower Than The Limits Specified In The Product Insert | 45 kits were distributed | Nationwide And Australia