## Report-1997-11-12
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1997-11-12 | Drugs | II | d-030-8 | Oxygen, Compressed, Usp, In High Pressure Cylinders, Size C, D, E, And M6 | Manufacturer | American Access And Mobility, Inc | October 16, 1997 | Current Good Manufacturing Practice Deficiencies Including But Not Limited To Failure To Document Testing Prior To Release | 690 units were distributed; firm estimated that 36 units were still in possession of customers as of 10/28/97 | New York
1997-11-12 | Drugs | II | d-032-8 | Oxygen Usp, In Aluminum High Pressure Cylinders, M-6, M-7, And M-9 | Victor Medical | Victor Medical, A Thermadyne Company, Denton, Texas | May 5, 1997 | Chlorine Odors | undetermined | Nationwide
1997-11-12 | Drugs | III | d-031-8 | Phenadex Pediatric Cough & Cold Drops, Phenylpropanolamine Hydrochloride 6 | Manufacturer | Alpharma, U | October 16, 1997 | Failure To Apply Tamper Evident Seals. | 8,648 units were distributed; firm estimated that 1,000 units remained on market at time of recall initiation | Nationwide
1997-11-12 | Biologics | III | b-046-8 | Platelets, Pheresis | Manufacturer | American Red Cross Blood Services, Dedham, Massachusetts | April 9, 1996 | Blood Products Were Shipped At An Unacceptable Temperature | 3 units were distributed | Maine
1997-11-12 | Biologics | III | b-091-8 | Red Blood Cells | Manufacturer | American Red Cross, Lansing, Michigan | March 6, 1997 | Blood Products, For Which Temperature After Shipment Was Not Recorded Upon Receipt, Were Distributed | 2 units | Michigan
1997-11-12 | Biologics | III | b-096-8 | Red Blood Cells | Manufacturer | American Red Cross Blood Services, Dedham, Massachusetts | August 23, 1996 | Blood Product Was Shipped At An Unacceptable Temperature | 1 unit was distributed | Massachusetts
1997-11-12 | Biologics | III | b-098-8 | Red Blood Cells | Manufacturer | American Red Cross Blood Services, Dedham, Massachusetts | May 15, 1996 | Blood Products May Have Been Shipped At An Unacceptable Temperature | 3 units were distributed | Massachusetts
1997-11-12 | Biologics | III | b-099-8 | Red Blood Cells | Manufacturer | American Red Cross Blood Services, Dedham, Massachusetts | March 14, 1996 | Blood Products May Have Been Shipped At An Unacceptable Temperature | 17 units were distributed | Massachusetts
1997-11-12 | Biologics | III | b-104-8 | Platelets, For Further Manufacture | Manufacturer | American Red Cross Blood Services, Baltimore, Maryland | May 1, 1997 | Blood Products Were Collected From A Donor Who Traveled To An Area Considered Endemic For Malaria | 1 unit was distributed | Massachusetts
1997-11-12 | Biologics | III | b-106-8 | Data-cyte Plus Reagent Red Blood Cells | Dade International | Dade Ag, Switzerland | June 7, 1996 | Reagent Red Blood Cells, Which: 1) Were Positive For The Kell Antigen, But Labeled As Kell Negative; 2) Were Negative For The V Antigen, But Labeled As V Positive; Or 3) Weak Or Negative Reactions Were Obtained With An Lea Positive Cell Using Anti-lea Antisera | firm estimates none remains on the market | Nationwide And International
1997-11-12 | Biologics | III | b-110-8 | Platelets, Pheresis | Manufacturer | American Red Cross Blood Services, St | May 19, 1997 | Unlicensed Blood Product Was Distributed In Interstate Commerce | 1 unit was distributed | Wisconsin
1997-11-12 | Devices | II | z-162/163-8 | Vacuum Relief Valves: A) Model No | Manufacturer | Quest Medical, Inc | October 1, 1997 | The Product May Contain Partially Or Completely Occluded One-way Valve Components. | 38,609 units | Nationwide And International
1997-11-12 | Devices | III | z-156/159-8 | Dade Moni-trol Chemistry Control And Carbonate Diluent, Intended For Use As Unassayed Quality Control Material In Quantitative Clinical Chemistry Quality Control Programs: A) Catalog #b5106-10, Dade Moni-trol Gold Level 1x Chemistry Control And Carbonate Diluent 1 -11- B) Catalog #b5106-20, Dade Moni-trol Gold Level 2x Chemistry Control And Carbonate Diluent 2 C) Catalog #b5106-75, Dade Moni-trol Es Level I | Manufacturer | Dade International, Inc | November 25, 1996 | Stability Failure | approximately 8,291 units | Nationwide And International
1997-11-12 | Devices | III | z-164/165-8 | Dade Actin Activated Cephaloplastin Reagent, For Use In The Determination Of The Activated Partial Thromboplastin Time And Other Coagulation Procedures Requiring An Activated Partial Thromboplastin Reagent: A) Catalog #b4218-1, 10 X 2 Ml | Manufacturer | Dade Diagnostics Of Puerto Rico, Inc | May 19, 1997 | This Reagent Produces Prolonged Activated Partial Thromboplastin Times With Normal And Abnormal Controls And Patient Samples | several thousand units were distributed | Nationwide And International