## Report-1998-1-21
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1998-1-21 | Drugs | I | d-062-8 | Glycyrrhizic Acid (extract) Injection, 8 Mg, 30ml Vials, Rx | Manufacturer | Apothe'cure, Inc | November 25, 1996 | Microbial Contamination - Mold In Product-aspergillus Versicolor. | 257 vials were distributed | Nationwide And Canada
1998-1-21 | Drugs | III | d-059-8 | Polymyxin B Sulfate, Usp, (for Prescription Compounding), 100 Million Units Per Bottle, In Bottles Of 10 | Paddock Laboratories | Repacked For Coulter Foods | December 11, 1997 | Mislabeling - Product Potency Labeled As 9282 Polymyxin B Units/mg, But Actually Contains 7891 Units/mg. | 25 bottles were distributed | Alabama, California, Florida, Maryland, Michigan, Minnesota, New York, Texas
1998-1-21 | Biologics | II | b-442-8 | Red Blood Cells | Manufacturer | American Red Cross, Portland, Oregon | October 30, 1997 | Blood Product Was Collected From A Donor Who Traveled To A Malarial Endemic Area | 1 unit was distributed | Washington State
1998-1-21 | Biologics | II | b-447-8 | Red Blood Cells | Manufacturer | Vector Healthsystems, Inc | April 10, 1997 | Blood Product Was Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 1 unit was distributed | Rhode Island
1998-1-21 | Biologics | III | b-443/444-8 | A) Red Blood Cells; B)platelets | Manufacturer | Virginia Blood Services, Richmond, Virginia | October 27, 1997 | Blood Products Were Collected From A Donor Whose Hemoglobin/hematocrit Was Not Determined. | 1 unit of each component was distributed | Virginia
1998-1-21 | Devices | II | z-238-8 | Tomoscan Av-#1 Ct Scanner, Used In Ct Radiography | Manufacturer. Fda Approved The Firm's Corrective Action Plan On January 9 | Phillips Medical Systems, Shelton, Connecticut | January 9, 1998 | The Units Are Defective Under 21 Cfr 1003 | 21 units were distributed | Nationwide
1998-1-21 | Devices | II | z-246-8 | Model No | Manufacturer. Fda Approved The Firm's Corrective Action Plan January 9 | J. Morita Corporation | January 9, 1998 | The Units Are Defective Under 21 Cfr 1010 | 22 units were distributed | Nationwide
1998-1-21 | Devices | II | z-276/277-8 | General Radiographic Film: A) Kodak Insight Thoracic Imaging Film, 35 X 43 Cm, Cat | Eastman Kodak Company | Eastman Kodak Company, Windsor, Colorado | November 26, 1997 | The Product Was Finished Incorrectly, Resulting In A Orientation Error During Exposure | 5,923 packs were distributed | Nationwide
1998-1-21 | Devices | III | z-280-8 | Cdc Anaerobe Laked Sheep Blood Agar With Kanamycin And Vancomycin, For In-vitro Diagnostic Use | Becton Dickinson Microbiology Systems | Becton Dickinson Microbiology Systems, Cockeysville, Maryland | August 19, 1996 | Product Is Contaminated With Cryptococcus Albicus | 106,440 units were distributed | Nationwide
1998-1-21 | Devices | III | z-281-8 | Cdc Anaerobe 5% Sheep Blood Agar With Phenylethyl Alcohol, For In-vitro Diagnostic Use | Becton Dickinson Microbiology Systems | Becton Dickinson Microbiology Systems, Cockeysville, Maryland | September 23, 1997 | Product Is Contaminated With Enterococcus Faecium | 8,000 units were distributed; firm estimated that 2,276 units remained on market at time of recall initiation, however, the product is now expired | Nationwide And Canada
1998-1-21 | Devices | III | z-282-8 | Trypticase Soy Agar With 5% Sheep Blood (tsa Ii), For In-vitro Diagnostic Use | Manufacturer | Becton Dickinson Microbiology Systems, Cockeysville, Maryland | September 23, 1997 | Product Is Contaminated | 11,590 units were distributed | Nationwide