## Report-1998-10-07
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1998-10-07 | Drugs | II | d-242-8 | octreoscan, Kit For The Preparation Of Indium In-111 pentetreotide, 10 Mcg | manufacturer | mallinckrodt, Inc | July 31, 1998 | poor Radiolabeling (70%) While The Specification Requires 95% minimum | 85 kits were distributed; firm estimates none remains on the market | nationwide Canada, Mexico
1998-10-07 | Drugs | II | d-243/245-8 | methylphenidate Hydrochloride, Rx, Usp, Used In The Treatment Of attention Deficit Disorder And Narcolepsy: A) 5 Mg In 1,000 tablet Bottles; B) 10 Mg, In 1,00 Tablet Bottles; C) 20 Mg, In 100 And 1,000 Tablet Bottles | manufacturer | md Pharmaceutical Inc | September 4, 1998 | product Failed Content Uniformity Testing | md label: lot m532r01 - 960 bottles; lot m531r05 1,956 bottles; apothecon label: lot p532e01 - 9,648 bottles; lot m530t11 - 2,940 bottles were distributed | nationwide
1998-10-07 | Drugs | II | d-246-8 and d-263/264-8 | levothyroxide Sodium Tablets, 25, 50 And 300 Microgram, Rx Used as Replacement Or Supplemental Therapy In Patients With hypothyroidism, Under The Qualitest And Vintage Labels | manufacturer | vintage Pharmaceuticals, Inc | May 18, 1998 | firm Has No Assurance Levothyroxide Sodium Products Will Maintain potency Through Expiry | 25 mcg: 895 bottles; 50 mcg: 557 bottles of lot 027027a, 284 bottles of lot 027027b and 952 bottles of lot 027027c; 300 mcg: 1,852 bottles were distributed | nationwide
1998-10-07 | Drugs | III | d-247-8 | tricosal (salicylic Acid 750 Mg) Tablets, In 100 Tablet Bottles, rx Used For Pain Relief, Under The Qualitest And Vintage Label | manufacturer | vintage Pharmaceuticals, Inc | April 17, 1998 | product Failed To Meet Dissolution Specifications | 2,826 bottles were distributed | nationwide
1998-10-07 | Drugs | III | d-248-8 | clorfed Capsules Extended Release Product, Each Capsule Contains 8 Mg Chlorpheniramine Maleate, 125 Mg Pseudoephedrine hydrochloride, In 100 Capsule Bottles And In 2 Count Physician sample Foil Packs, Rx Indicated For Relief Of Upper Respiratory tract And Bronchial Congestion | manufacturer | schwarz Pharma Manufacturing, Inc | July 17, 1998 | product Failed Dissolution Testing | 3,010 bottles of 100 tablet bottles, and approximately 187,063 capsules in two count foil packs were distributed | alabama, Arkansas, California, Florida, Indiana, Kentucky, michigan, Mississippi, Missouri, New Jersey, North Carolina, ohio, Pennsylvania, Tennessee, Texas
1998-10-07 | Drugs | III | d-249/262-8 | A) Aconite And Iodine Solution (41 | manufacturer | moyco Technologies, Inc | May 13, 1998 | current Good Manufacturing Practice Deviations | undetermined | nationwide And International
1998-10-07 | Biologics | II | b-1520-8 | platelets, Pheresis | manufacturer | central California Blood Center, Fresno, California | March 27, 1996 | blood Products Were Incorrectly Tested For The Hepatitis B surface Antigen, (hbsag) | 8 units were distributed | california
1998-10-07 | Biologics | II | b-1595-8 | red Blood Cells | manufacturer | michigan Community Blood Centers, Grand Rapids, Michigan | February 26, 1998 | blood Product Was Collected In A Manner That Compromises The sterility Of The Unit | 1 unit was distributed | michigan
1998-10-07 | Biologics | II | b-1540/1542-8 | a) Red Blood Cells; B) Platelets, Pheresis; C) Recovered Plasma | manufacturer | american Red Cross Blood Services, Baltimore, Maryland | June 23, 1998 | blood Products Tested Negative For The Antibody To The Human immunodeficiency Virus Type 1 (hiv-1), But Were Collected From A donor Who Previously Tested Reactive For The Antibody | a) 3 units; b) 1 unit; c) 3 units were distributed | maryland And District Of Columbia
1998-10-07 | Biologics | II | b-1599-8 | red Blood Cells | american Red Cross Blood Services | american Red Cross - National Testing Laboratory, Dedham, massachusetts (testing Laboratory) | August 18, 1997 | blood Product Was Not Tested In Accordance With The Manufacturers instructions For Either Hbsag Or Anti-htlv-1 | 1 unit was distributed | connecticut
1998-10-07 | Biologics | II | b-1601/1602-8 | a) Red Blood Cells; B) Recovered Plasma | manufacturer | central California Blood Center, Fresno, California | September 29, 1997 | blood Products Were Collected From A Donor Whose Donor History screening Was Incomplete | 1 unit of each component was distributed | california
1998-10-07 | Biologics | II | b-1606-8 | platelets, Pheresis | manufacturer | central Indiana Regional Blood Center, Inc | July 29, 1998 | blood Product Tested Repeatedly Reactive For The Antibody To The hepatitis B Core Antigen (anti-hbc) | 1 unit was distributed | indiana
1998-10-07 | Biologics | II | b-1607/1610-8 | a) Red Blood Cells; B) Platelets; C) Platelets For Further manufacture; D) Recovered Plasma | manufacturer | central Indiana Regional Blood Center, Inc | June 26, 1998 | blood Products Were Collected From A Donor Taking The Drug methotrexate | 3 units; b) 1 unit; c) 1 unit; d) 2 units were distributed | indiana, New Jersey, Switzerland
1998-10-07 | Biologics | II | b-1611/1612-8 | a) Red Blood Cells; B) Recovered Plasma | manufacturer | central California Blood Center, Fresno, California | August 21, 1997 | blood Products Were Collected From A Donor Whose Suitability Was not Adequately Determined | 1 unit of each component was distributed | california
1998-10-07 | Biologics | II | b-1613/1614-8 | a) Red Blood Cells; B) Fresh Frozen Plasma | manufacturer | central Indiana Regional Blood Center, Inc | July 15, 1998 | autologous Use Only Blood Products Were Labeled And Distributed for Homologous Use | 1 unit of each component was distributed | indiana
1998-10-07 | Biologics | II | b-1615/1617-8 | a) Red Blood Cells; B) Platelets; C) Recovered Plasma, Frozen | manufacturer | community Blood Center, Dayton, Ohio | January 30, 1998 | blood Products Were Collected From A Donor With A History Of jaundice | 1 unit of each component was distributed | ohio
1998-10-07 | Biologics | II | b-1618/1619-8 | a) Red Blood Cells; B) Recovered Plasma | manufacturer | american Red Cross Blood Services, Tulsa, Oklahoma | August 3, 1998 | blood Products Were Collected From A Donor With A History Of cancer | 1 unit of each component was distributed | texas And California
1998-10-07 | Biologics | II | b-1620/1621-8 | a) Ana-sal Hiv 1+2 Saliva Test Kits (version 2) b) Ana-sal Hiv 1+2 & Type O Saliva Test Kits Hiv-2 (version 3) | manufacturer | americare Biologicals, Inc | June 2, 1998 | unapproved Hiv Saliva Test Kits, That Contain Non Functional components, Were Distributed For Promotional/display Use Without labeling Indicating That They Should Not Be Used For Hiv testing | a) approximately 94 kits; b) approximately 6 kits were distributed | california, Florida, Illinois, Nevada, New York And international
1998-10-07 | Biologics | II | b-1622-8 | sunquest Blood Bank And Blood Donor System Computer Software program | manufacturer | sunquest Information Systems, Tucson, Arizona | August 7, 1998 | computer Software Contains Programing Errors Which Could potentially Result In The Release Of Unacceptable Test Results for Blood Products | 343 sunquest clients have this product | nationwide, Canada, Saudi Arabia, Great Britain, Ireland
1998-10-07 | Biologics | II | b-1623-8 | source Plasma | nabi | nabi Biomedical Center, San Antonio, Texas | November 25, 1995 | blood Products Tested Negative For Hbsag, But Were Collected From a Donor Who Previously Tested Reactive For Hbsag | 9 units were distributed | california
1998-10-07 | Biologics | II | b-1625-8 | red Blood Cells | manufacturer | michigan Community Blood Centers, Grand Rapids, Michigan | June 8, 1998 | blood Products Were Stored At Unacceptable Temperatures | 24 units were distributed | michigan
1998-10-07 | Biologics | III | b-1592-8 | red Blood Cells, Leukocytes Reduced | manufacturer | central California Blood Center, Fresno, California | January 29, 1998 | red Blood Cells Failed Red Cell Recovery Ratio | 1 unit was distributed | california
1998-10-07 | Biologics | III | b-1600-8 | platelets | american Red Cross Blood Services | american Red Cross - National Testing Laboratory, Dedham, massachusetts (testing Laboratory) | August 11, 1997 | blood Product Was Not Tested In Accordance With The Manufacturers instructions For Either Hbsag Or Anti-htlv-1 | 1 unit was distributed | connecticut
1998-10-07 | Biologics | III | b-1603/1604-8 | a) Platelets; B) Fresh Frozen Plasma | manufacturer | american Red Cross Blood Services, Louisville, Kentucky | July 30, 1998 | blood Product Was Collected From A Unit Of Whole Blood With An extended Collection Time | 1 unit of each component was distributed | kentucky
1998-10-07 | Biologics | III | b-1605-8 | platelets | manufacturer | american Red Cross, Detroit, Michigan | July 22, 1998 | platelets Were Not Stored Under Continuous Agitation, And Stored at Unmonitored Temperatures | 5 units were distributed | michigan
1998-10-07 | Biologics | III | b-1624-8 | red Blood Cells | manufacturer | central Indiana Regional Blood Center, Inc | August 5, 1998 | blood Products Were Exposed To Unacceptable Shipping temperatures | 2 units were distributed | indiana
1998-10-07 | Biologics | III | b-1626-8 | red Blood Cells, Leukocytes Reduced | blood Systems | united Blood Services, Billings, Montana | August 24, 1998 | blood Products Were Stored At Unacceptable Temperatures | 3 units were distributed | montana
1998-10-07 | Devices | III | z-958-8 | via Medical Glucose Calibration Kit | manufacturer | via Medical Corporation, San Diego, California | June 25, 1998 | some Of The Kits Contain Sodium Chloride Instead Of Dextrose solution | 570 kits were distributed | arkansas, California, Florida, Illinois, Indiana, Kansas, oklahoma, South Carolina, Texas
1998-10-07 | Devices | III | z-001/008-9 | Disposable Polypectomy Snares, Sterile, Used In Polypectomy procedures To Remove Polyps As Follows: a) Model 4562 Crescent Loop Snare (5 | manufacturer | hobbs Medical, Inc | September 23, 1998 | snare Loop Separates From The Snare Wire | 1,130 units were distributed | alabama, Connecticut, Florida, New Hampshire, Michigan, Montana, iowa, Massachusetts, Texas