## Report-1998-12-16
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1998-12-16 | Drugs | II | d-024/028-9 | a) Levothyroxine Sodium, Usp, Tablets, 25 Mcg (0 | manufacturer | vintage Pharmaceuticals, Inc | August 14, 1998 | a-d) Inability To Assure Potency Throughout Expiration Date | 1,872 bottles of levothyroxine sodium 0 | alabama
1998-12-16 | Drugs | II | d-037-9 | vecuronium Bromide For Injection, 20 Mg Vial (20ml Lyophilized powder), Rx, Under The Marsam Pharmaceuticals Label | manufacturer | steris Laboratories, Inc | October 26, 1998 | cross Contamination With Triamcinolone Acetonide In Trace Amounts (7ppb) | 8,930 vials were distributed | nationwide
1998-12-16 | Drugs | III | d-029\030-9 | a) Oxycodone/acetaminophen, Usp 5/500mg Rx Capsules, In Bottles of 100, Indicated For The Relief Of Moderate To Moderately Severe pain; B) Tricosal Tablets (choline Magnesium Trisalicylate), 750 mg, In 100 Tablet Bottles, Rx, Indicated For The Relief Of The sings And Symptoms Of Rheumatoid Arthritis, Osteoarthritis, And other Arthritides | manufacturer | vintage Pharmaceuticals, Inc | August 14, 1998 | a) Lack Of Assurance Of Blend Uniformity | a) 4,121 bottles of lot #049097a and 4,843 bottles of lot #049097b; b) 2,909 bottles were distributed | alabama
1998-12-16 | Drugs | III | d-035/036-9 | a) Arthoflex Max Topical Pain Relief For Arthritis, Joints & Sore muscles, (capsaicin 0 | manufacturer | panef Corporation, Milwaukee, Wisconsin | November 24, 1998 | subpoten | 123,000 tubes were distributed | nationwide
1998-12-16 | Biologics | II | b-122-9 | various Human Tissues For Transplant: Right Fibula, Left Fibula, whole Right Femur, Whole Left Femur, Left Hemi-pelvis, Right hemi-pelvis, Left Facia Lata, Right Facia Lata, Right achilles+cancellous+talus, Left Achilles+cancellous+talus, Whole left Tibia With Btb, And Whole Right Tibia With Btb | musculoskeletal Transplant Foundation (mtf) | osteotech, Inc | June 30, 1998 | various Human Tissues For Transplant, Procured From A Donor Who tested Repeatedly Reactive For The Hiv-p24 Antigen | 45 tissue units were distributed | nationwide
1998-12-16 | Biologics | II | b-262/268-9 | A) Immune Globulin Intravenous (human) Venoglobulin-s 10% solution; b) Immune Globulin Intravenous (human) Venoglobulin-s 5% solution; c) Antihemophilic Factor (human) Detergent/heat Treated; d) Coagulation Factor Ix (human), Alphanine; e) Factor Ix Complex, Profiline Sd; f) Albumin (human), U | manufacturer | alpha Therapeutic Corporation, Los Angeles, California | November 2, 1997 | intravenous Drug Products, Produced Under Conditions Whereby They may Have Become Contaminated With Fungi, Mold, Or Other microorganisms, Or May Contain Particulate Matter | a) 42 lots; b) 28 lots; c) 51 lots; d) 36 lots; e) 3 lots; f) 2 lots; g) 15 lots | nationwide And International
1998-12-16 | Biologics | II | b-283/285-9 | a) Red Blood Cells; B) Platelets; C) Platelets, Pheresis | manufacturer | american Red Cross, Dedham, Massachusetts | August 7, 1998 | blood Products Were Mislabeled As Cmv Antibody Negative | a) 1 unit; b) 3 units; c) 3 units were distributed | maine, Massachusetts, Vermont, West Virginia
1998-12-16 | Biologics | II | b-287-9 | platelets, Pheresis | manufacturer | american Red Cross, Dedham, Massachusetts | February 13, 1998 | blood Products Had Unacceptable Platelet Counts | 18 units were distributed reason blood products had unacceptable platelet count | massachusetts
1998-12-16 | Biologics | II | b-304-9 | red Blood Cells | manufacturer | lifeshare, Inc | September 14, 1998 | blood Product Was Collected From A Donor Who Reported Travel To an Area Designated As Endemic For Malaria | 1 unit was distributed | ohio
1998-12-16 | Biologics | II | b-305-9 | platelets, Pheresis | manufacturer | lifeshare, Inc | July 7, 1998 | blood Product Was Collected From A Donor Who Reported Use Of The drug Proscar After Donation | 1 unit was distributed | missouri
1998-12-16 | Biologics | II | b-308-9 | fresh Frozen Plasma | manufacturer | lifeshare, Inc | June 15, 1998 | blood Product Was Incorrectly Labeled With The Wrong Abo typing | 1 unit was distributed | massachusetts
1998-12-16 | Devices | II | z-185/186-9 | bremer Brand Adjustable Ring Used In The Halo Traction Set (classification Name Is "skull Tongs", Intended To Provide stability To The Cervical Spine To Aid In Healing: a) Catalog #ht001; B) Caalog #ht002 | manufacturer | bremer Medical, Inc | October 25, 1998 | inadequate Threads In The Holes May Strip And Result In Loose Fit when Adjustment Bolts Are Tightened | 253 adjustable rings were distributed | nationwide And International
1998-12-16 | Devices | II | z-211-9 | philips Bucky Diagnost Ts-x-ray System | manufacturer. Fda Approved The Firm's Corrective Action Plan On december 1 | philips Medical Systems, Shelton, Connecticut | December 1, 1998 | noncompliance With Performance Standards For X-ray Products In that The Type Number 9848-600-00171 Uncertified Beam Limiting device Was Installed In The Device | 8 units were distributed | nationwide
1998-12-16 | Devices | II | z-225/227-9 | vicom Central Station Monitor Software Program: a) Product Code No | manufacturer | vitalcom, Inc | September 25, 1998 | when The System Is Placed Into Certain Modes Some Arrhythmias And other Events May Not Be Detected Due To Software Error | 82 version 8 | arizona, California, Indiana, Kansas, Louisiana, Michigan, missouri, New Jersey, Oregon, Pennsylvania, Utah, Virginia, district Of Columbia
1998-12-16 | Devices | II | z-247/249-9 | punctur-guard(tm) Blood Collection Needle | manufacturer | bio-plexus, Inc | November 18, 1998 | bunting Mechanism May Not Function As Intended Throughout Labeled shelf Life | 9,694,278 units were distributed | nationwide And International
1998-12-16 | Devices | II | z-253-9 | heartport Endovenous Drainage Cannula, Indicated For Use In patients Undergoing Cardiac Surgery Requiring Cardiopulmonary bypass | manufacturer | heartport, Inc | September 2, 1998 | the Products Sterility Barrier May Become Compromised To Tears In the Mylar | 7,122 units were distributed | nationwide And International
1998-12-16 | Devices | III | z-230\246-9 | impla-med Titanium, Hex Cylinder Implant Devices: catalog Numbers: A) 901201, ; B) 901204 C) 901207; D) 901210; e) 901213; F) 901216; G) 901219; H) 901222; I) 901225; J) 901228; k) 901231; L) 901232; M) 901234; N) 901237; O) 901240; P) 901243, q) 901246 | sterngold/implamed | steingold/implamed, Attelboro, Massachusetts | November 13, 1998 | fragments Of The Sterile Plastic Holder A Component Used To package The Hex Cylinder Implants May Detach (fragment) From The holder Before Or During Placement | 512 units were distributed | pennsylvania, Florida, New York, Missouri, Maryland, Virginia, international
1998-12-16 | Devices | III | z-254-9 | system 1000 And Tina Single Patient Hemodialysis Delivery Systems with Double Pump Single Needle (dpsnd) Option And/or Hemavision options, Used To Provide Hemodialysis Treatments In The Acute And chronic Setting, Including High Flux Dialysis | althin Medical | althin Medical, Inc | November 2, 1998 | software Error Which May Cause The Arterial/venous Pressure limits To Open And Remain Open | 704 devices were distributed | international