## Report-1998-4-08
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1998-4-08 | Biologics | II | b-514-8 | Red Blood Cells | Manufacturer | National Naval Medical Center, Bethesda, Maryland | February 5, 1997 | Blood Products Were Not Tested For Hiv-1 Ag | 9 units were distributed | New Jersey
1998-4-08 | Biologics | II | b-618/619-8 | A) Red Blood Cells; B) Recovered Plasma | Manufacturer | Central Texas Regional Blood And Tissue Center, Austin, Texas | September 23, 1997 | Blood Products Were Collected From A Donor With A History Of Exposure To Hepatitis | 1 unit of each component was distributed | Texas And Florida
1998-4-08 | Biologics | II | b-645/647-8 | A) Red Blood Cells; B) Platelets; C) Platelets, Pheresis | Manufacturer | American Red Cross Great Lakes Region, Fort Wayne, Indiana | August 19, 1997 | Blood Products Were Mislabeled As Cmv Antibody Negative, Were Distributed | 9 units; b) 4 units; c) 3 units were distributed | Indiana And Ohio
1998-4-08 | Biologics | II | b-657/661-8 | A) Red Blood Cells; B) Cryoprecipitated Ahf; C) Plasma; D) Platelets, For Further Manufacture; E) Recovered Plasma | Manufacturer | American Red Cross Blood Services, Baltimore, Maryland | October 21, 1997 | Blood Product Were Collected From A Donor Who Reported Previously Testing Positive For Hepatitis | a) 2 units; b) 1 unit; c) 1 unit; d) 1 unit; e) 1 unit was distributed | Maryland, District Of Columbia, Pennsylvania, Switzerland
1998-4-08 | Biologics | II | b-693-8 | Source Leukocytes, For Manufacturing Use Only | Manufacturer | American Red Cross Blood Services, Syracuse, New York | May 30, 1997 | Blood Product Was Collected From A Donor Taking The Drug Methotrexate | 1 unit was distributed | New Jersey
1998-4-08 | Biologics | II | b-830/834-8 | A) Red Blood Cells; B) Fresh Frozen Plasma; C) Source Leukocytes; D) Recovered Plasma; E) Platelets For Further Manufacture | Manufacturer | Central Indiana Regional Blood Center, Inc | September 8, 1997 | Blood Products Were Collected From Donors Taking The Drug Proscar | a) 2 units; b-e) 1 unit of each component was distributed | Indiana, New Jersey, Switzerland
1998-4-08 | Biologics | II | b- -8 | Recovered Plasma | Manufacturer | American Red Cross Southeastern Regional, Detroit, Michigan | January 14, 1998 | Blood Product Was Collected From A Donor With A History Of Cancer | 1 unit was distributed | California
1998-4-08 | Biologics | II | b-854-8 | Red Blood Cells | Manufacturer | American Red Cross Southeastern Region, Detroit, Michigan | October 10, 1997 | Blood Product Was Collected From A Donor Who Traveled To An Area Designated As Endemic For Malaria | 1 unit was distributed | Michigan
1998-4-08 | Biologics | II | b-856/857-8 | A) Red Blood Cells; B) Platelets | Manufacturer | Michigan Community Blood Centers, Midland, Michigan | March 7, 1997 | Blood Products Were Collected From A Donor With A History Of Hashimoto's Disease | 1 unit of each component was distributed | Michigan
1998-4-08 | Biologics | II | b-861/862-8 | A) Recovered Plasma; B) Platelets For Further Manufacture | Manufacturer | American Red Cross, Lansing, Michigan | September 8, 1997 | Blood Products Were Collected From A Donor Whose Spouse Tested Positive For Hepatitis C | 1 unit was distributed | California
1998-4-08 | Biologics | II | b-865-8 | Red Blood Cells | Manufacturer | Ashford Blood Bank, Inc | September 2, 1997 | Blood Product Tested Initially Reactive For The Antibody To The Hepatitis B Core Antigen (hbc), With Neither Duplicate Nor Confirmatory Test Performed | 1 unit was distributed | Puerto Rico
1998-4-08 | Biologics | III | b-515-8 | Fresh Frozen Plasma | Manufacturer | National Naval Medical Center, Bethesda, Maryland | February 5, 1997 | Blood Products Were Not Tested For Hiv-1 Ag | 1 unit was distributed | New Jersey
1998-4-08 | Biologics | III | b-560-8 | Red Blood Cells | Manufacturer | United Blood Services, Mcallen, Texas | September 17, 1997 | Blood Product May Have Remained At Room Temperature For An Unacceptable Length Of Time | 1 unit was distributed | Texas
1998-4-08 | Biologics | III | b-855-8 | Red Blood Cells | Manufacturer | American Red Cross - Fort Wayne Region, Fort Wayne, Indiana | December 19, 1997 | Blood Product Was Exposed To Unacceptable Temperatures | 1 unit was distributed | Ohio
1998-4-08 | Devices | II | z-474/475-8 | A) Vapr Side Effect Electrode, Sterile, Disposable, Catalog No | Mitek Products | Gyrus Medical Ltd | March 23, 1998 | Electrode May Crack And Fragment Resulting In Medical Intervention | a) 5677 units; b) 729 units were distributed | Nationwide, Austria, France, Italy, Spain Japan, United Kingdom, Scotland
1998-4-08 | Devices | II | z-480/481-8 | Suture Retrievers, Packaged Individually In Sterile Tyvek Pouches, A Component Of The Bts Mini-laparotomy Mmk Set, Model Um-250, And The Bts Urethropexy Suture Placement Set, Model Um-300, A Sterile, Disposable Device (for Single Patient Use Only) Used To Capture And Retrieve The Suture Tails During A Urethropexy, Or An Mmk Surgical Procedure, Included As A Component Of Urethropexy Sets, And Of Mini-laparotomy Mmk Kits, And Is Not Sold Separately | Medworks Corporation | Louisville Laboratories, Inc | March 6, 1998 | Lack Of Assurance Of Sterility Of The Devices Due To Possible Puncture Of The Packaging By Sharp Tip Of Suture Retriever | 56 surgical sets were distributed | Pennsylvania, New Jersey, Virginia, Illinois, Nevada, Oklahoma, Washington State
1998-4-08 | Devices | III | z-423/473-8 | Stone Extractor Baskets, Used For Endoscopic Removal Of Stones And Foreign Bodies | Manufacturer | Wilson-cook Medical, Inc | November 5, 1997 | The Sheath May Separate From The Handle Rendering The Device Inoperable | 1,363 units were distributed | Nationwide
1998-4-08 | Devices | III | z-482-8 | Roche Calibrator Serum A Class Ii Device, Is An In Vitro Diagnostic Calibrator Intended For Use On Cobas Chemistry Instruments With Roche Clinical Chemistry Reagents | Roche Diagnostic Systems | Chiron Diagnostics, Irvine, California | October 19, 1996 | The Device Does Not Meet Its Labeling Claim For Six Days Of Stability After Reconstitution | 1,987 kits (lot 0005) and 493 kits (lot 005a) were distributed; firm estimates none remains on the market | Nationwide, Israel, Australia, Switzerland
1998-4-08 | Devices | III | z-483/485-8 | Roche Control Serum And Calibrator: A) Control Serum N, A Lyophilized Preparation Of Human Serum Used To Monitor The Accuracy And Precision Of Clinical Chemistry Assay Procedures; B) Control Serum P, A Lyophilized Preparation Of Human Serum Used To Monitor The Accuracy And Precision Of Clinical Chemistry Assay Procedures; C) Calibrator (human), A Human Serum-based Calibrator With Lot Specific Established Values For The Major Constituents Of Diagnostic Interest Commonly Measured In Clinical Laboratories | Roche Diagnostic Systems | Boehringer Mannheim, Mannheim, Germany | March 31, 1997 | These Control Sera And Calibrators Were Calibrated Against An Incorrect Standard And Yielded Results That Were 10-15 % Higher Than Expected | amount shipped: control serum n lot n3041 - 36 kits lot n3041a2 - 25 kits lot n3041b - 62 kits control serum p lot n3141 - 25 kits lot n3141a - 67 kits roche calibrator lot t1237 - 100 kits lot t0941 - 24 kits | Nationwide And International