## Report-1998-4-22
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1998-4-22 | Drugs | III | d-116-8 | Resacol Tablets, Otc Analgesic Product That Is Supposed To Contain 325 Mg Of Acetaminophen And 65 Mg Of Caffeine, In Bottles Of 30 | Lyren Pharmaceutical Corporation | Lex Pharmaceutical Corporation, Medly, Florida | N/A | Misbranding - Active Ingredient Strength Incorrectly Labeled: Acetaminophen Declared At . 325 Mg Per Tablet Sand Caffeine At . 65 Mg (decimal Point Incorrectly Added In Front Of Each Active Ingredient). | approximately 2,862 bottles were distributed | Puerto Rico
1998-4-22 | Biologics | II | b-519/521-8 | A) Red Blood Cells; B) Platelets; C) Recovered Plasma | Manufacturer | American Red Cross Blood Services, Cleveland, Ohio | January 8, 1996 | Blood Products Were Incorrectly Tested For The Human Immunodeficiency Virus Type 1 (anti-hiv-1 | 1 unit of each component was distributed | Ohio And California
1998-4-22 | Biologics | II | b-816-8 | Red Blood Cells | Manufacturer | Central Texas Regional Blood And Tissue Center, Austin, Texas | October 28, 1997 | Blood Product Was Collected From A Donor Who Had No Hematocrit Check Recorded During Screening | 1 unit was distributed | Texas
1998-4-22 | Biologics | II |  | A) Red Blood Cells; B) Red Blood Cells, Leukocytes Removed; C) Platelets; D) Fresh Frozen Plasma; E) Source Leukocytes; F) Recovered Plasma | Manufacturer | Central Indiana Regional Blood Center, Inc | June 30, 1997 | Blood Products Tested Negative For Hbsag, Hivag, Htlv, Or Hbc But Collected From Donors Who Initially Tested Reactive For Hbsag, Hivag, Htlv, Or Hbc, With Units Not Retested In Duplicate, And Donors Were Incorrectly Reentered | a) 31 units; b) 1 units; c) 20 units; d) 5 units; e) 3 units; f) 26 units were distributed | Indiana, Massachusetts, Utah, New Jersey, Switzerland
1998-4-22 | Biologics | II | b-847-8 | Red Blood Cells | Manufacturer | Michigan Community Blood Centers, Saginaw, Michigan | June 26, 1997 | Blood Product Was Collected From A Donor With A History Of Hashimoto's Disease | 1 unit was distributed | Michigan
1998-4-22 | Biologics | II | b-851/852-8 | Allergenic Extracts: A) Birch Mix Prw B) Mold Mix #4 | Manufacturer | Bayer Corporation, Bayer Pharmaceutical Division, Allergy Products, Spokane, Washington | March 19, 1998 | Allergenic Extract Products Were Mislabeled In That Birch Prw Contained Mold Mix #4, And Mold Mix #4 Contained Birch Mix Prw | a) 18 50-ml vial; b) 18 50-ml vials were distributed | Delaware, Georgia, Iowa, Illinois, Indiana, Michigan, Missouri, Nevada, New York, Ohio, Pennsylvania, Virginia, Washington State, Wisconsin, Maryland, Spain
1998-4-22 | Biologics | II | b-863-8 | Platelets | Manufacturer | Ashford Blood Bank, Inc | July 11, 1997 | Blood Product Tested Initially Reactive For The Antibody To The Hepatitis B Surface Antigen (hbsag), And Antibody To The Hepatitis B Core Antigen (hbc), With No Confirmatory Test | 1 unit was distributed | Puerto Rico
1998-4-22 | Biologics | II | b-864-8 | Fresh Frozen Plasma | Manufacturer | Ashford Blood Bank, Inc | October 30, 1996 | Blood Product Tested Initially Reactive For The Antibody To The Hepatitis B Surface Antigen (hbsag), And Antibody To The Hepatitis B Core Antigen (hbc), With No Confirmatory Test | 1 unit was distributed | Puerto Rico
1998-4-22 | Biologics | II | b-869-8 | Platelets | Manufacturer | Central Kentucky Blood Center, Lexington, Kentucky | January 9, 1998 | Platelets Were Prepared From A Unit Collected From A Donor Who Had Taken Aspirin Within 24 Hours Of Donation | 1 unit was distributed | Kentucky
1998-4-22 | Biologics | II | b-870-8 | Red Blood Cells | Manufacturer | Central Kentucky Blood Center (ckbc), Lexington, Kentucky | January 9, 1998 | Blood Product Was Collected From A Donor Who Traveled To An Area Designated As Endemic For Malaria | 1 unit was distributed | Kentucky
1998-4-22 | Biologics | II | b-879-8 | Red Blood Cells | Manufacturer | Ashford Blood Bank, Inc | September 2, 1997 | Blood Product Was Collected From A Donor In Which Viral Marker Testing (hiv-1/2, Hbsag, Htlv-1, Hbc Hcv) Was Not Conducted | 1 unit was distributed | Puerto Rico
1998-4-22 | Biologics | II | b-880/881-8 | A) Red Blood Cells; B) Recovered Plasma | Manufacturer | American Red Cross, Los Angeles, California | August 28, 1996 | Blood Products Were Collected From A Donor With A History Of Cancer | 1 unit of each component was distributed | California
1998-4-22 | Biologics | II | b-882-8 | Source Plasma | Manufacturer | Bio-blood Components, Inc | February 3, 1998 | Blood Product Was Not Quarantined After The Donor Provided Information Regarding A Previous Positive Test For Hiv | 1 unit was distributed | California
1998-4-22 | Biologics | II | b-883/884-8 | A) Red Blood Cells; B) Platelets | Manufacturer | American Red Cross, Los Angeles, California | August 26, 1996 | Blood Products Were Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | a) 2 units; b) 1 unit was distributed | California
1998-4-22 | Biologics | II | b-885-8 | Platelets | Manufacturer | American Red Cross, Los Angeles, California | September 27, 1996 | Platelets Were Prepared From A Unit Collected From A Donor Who Had Taken Aspirin Or Piroxicam Within Three Days Of Donation | 1 unit was distributed | Puerto Rico
1998-4-22 | Biologics | II | b-886-8 | Red Blood Cells | Manufacturer | Ashford Blood Bank, Inc | July 5, 1996 | Blood Product Was Collected From A Autologous Donor In Which Viral Marker Testing (hiv-1/2, Hbsag, Htlv-1, Hbc, Hcv) Was Not Conducted, And Was Distributed For Homologous Use | 1 unit was distributed | Puerto Rico
1998-4-22 | Biologics | II |  | Recovered Plasma | Manufacturer | Ashford Blood Bank, Inc | December 30, 1996 | Blood Product Was Incorrectly Labeled As Fresh Frozen Plasma And Distributed For Transfusion | 1 unit was distributed | Puerto Rico
1998-4-22 | Biologics | II | b-890-8 | Recovered Plasma | Manufacturer | American Red Cross Blood Services, Baltimore, Maryland | December 19, 1997 | Blood Product Tested Negative For The Hepatitis B Surface Antigen (hbsag), But Was Collected From A Donor Who Previously Tested Repeat Reactive For Hbsag, With No Confirmatory Testing | 1 unit was distributed | California
1998-4-22 | Biologics | II | b-891-8 | Platelets, Pheresis | Manufacturer | American Red Cross, Los Angeles, California | January 13, 1997 | Blood Product Had An Unacceptable Platelet Count | 1 unit was distributed | California
1998-4-22 | Biologics | II | b-892/893-8 | A) Red Blood Cells; B) Fresh Frozen Plasma | Manufacturer | American Red Cross, Los Angeles, California | March 4, 1997 | Blood Products Were Collected From A Donor With A History Of Cancer | 1 unit of each component was distributed | California
1998-4-22 | Biologics | II | b-894-8 | Platelets, Pheresis | Manufacturer | American Red Cross, Los Angeles, California | March 13, 1997 | Blood Product Was Collected From A Donor Who Received A Tattoo Within 12 Months Of Donation | 1 unit was distributed | California
1998-4-22 | Biologics | II | b-895/898-8 | A) Red Blood Cells; B) Platelets; C) Fresh Frozen Plasma; D) Recovered Plasma | Manufacturer | American Red Cross, Los Angeles, California | August 11, 1997 | Blood Products Were Collected From A Donor With A History Of Cancer | a) 2 units; b) 2 units; c) 1 unit; d) 1 unit was distributed | California, Idaho, Texas
1998-4-22 | Biologics | III | b-775-8 | Platelets | Manufacturer | American Red Cross Blood Services, Cleveland, Ohio | July 2, 1996 | Blood Product Was Prepared From A Unit Of Whole Blood Identified As A Difficult Draw | 1 unit was distributed | Ohio
1998-4-22 | Biologics | III | b-860-8 | Red Blood Cells | Manufacturer | American Red Cross, Lansing, Michigan | January 8, 1998 | Blood Product Was Collected From A Donor Who Exceeded The Donation Acceptance Criteria For Body Temperature | 1 unit was distributed | Michigan
1998-4-22 | Biologics | III | b-888-8 | Red Blood Cells | Manufacturer | Ashford Blood Bank, Inc | July 18, 1997 | Blood Product With An Extended Expiration Date Was Distributed | 1 unit was distributed | Puerto Rico
1998-4-22 | Biologics | III | b-908/909-8 | A) Fresh Frozen Plasma; B) Cryoprecipitated Ahf | Manufacturer | American Red Cross Blood Services, Los Angeles, California | April 1, 1997 | Blood Products Were Stored At An Unacceptable Temperature | a) 46 units; b) 17 units were distributed | California
1998-4-22 | Biologics | III | b-911/913-8 | A) Red Blood Cells; B) Platelets; C) Recovered Plasma | Manufacturer | American Red Cross Blood Services, Baltimore, Maryland | August 21, 1997 | Blood Products Were Incorrectly Tested For The Hepatitis B Surface Antigen (hbsag) | 1 unit of each component was distributed | Pennsylvania, District Of Columbia, California
1998-4-22 | Devices | I = | z-491-8 | Plazlyte Sterilization System, A Low Temperature Gas Plasma Sterilization System Used To Sterilize Flat Surgical Stainless Steel Medical Instruments In Tyvek And Tyvek/mylar Packaging, Marketed As An Alternative To Eto Sterilization | Manufacturer | Abtox, Inc | March 31, 1998 | The Sterilization System Can Leave Copper And Zinc Salt Residues On Ophthalmic Devices Sterilized In The System. These Compounds Are Corrosive To Mucous Membranes And The Human Cornea. The Device Defect Presents A High Risk Of Serious Adverse Health Consequences. | 163 units were distributed | Nationwide
1998-4-22 | Devices | III | z-501-8 | Cobas Integra Reagent Creatine Kinase-mb, In-vitro Diagnostic Regent System Intended For Use On Cobas Integra For The Quantitative Determination Of Catalytic Activity Of Ck-mb In Serum And Plasma | Roche Diagnostic Systems | Roche Diagnostic Systems, Kaiseraugst, Switzerland | July 28, 1997 | This Lot Was Showing A Decreased Recovery For The Control Serum Of About 20% | 18 units were distributed; firm estimates none remains on the market | Massachusetts, Pennsylvania, Florida, Texas
1998-4-22 | Devices | III | z-502-8 | Roche Brand Integra Ethanol Reagent, In-vitro Diagnostic Reagent System | Roche Diagnostic Systems | Roche Diagnostics, Kaiseraugst, Switzerland | January 28, 1997 | The Ethanol Reagent Was Unstable Causing Patient Data To Be Outside The Normal Ranges | 425 kits were distributed; firm estimates none remains on the market | Massachusetts, Rhode Island, New Jersey, New York, Pennsylvania, District Of Columbia, South Carolina, Georgia, Iowa, Texas, Israel, Australia, Switzerland
1998-4-22 | Devices | III | z-503-8 | Onsite ( | Roche Diagnostic Systems | Toxilab, Inc | February 3, 1997 | An Incorrect Desiccant Packet Was Placed In The Test Kits That May Have Caused False Positive Results If Exposed To High Heat And Humidity | 407 kits were distributed; firm estimates none remains on the market | Nationwide And International
1998-4-22 | Devices | III | z-504-8 | Synergy Quad Media Plates, An Agar Screen Recommended For Use In Predicting The Synergistic Contribution Of An Amino Glycoside And Vancomycin When Testing Enterococcal Isolates Requiring Combination Therapy | Manufacturer | Remel Limited Partnership, Lenexa, Kansas | April 2, 1997 | The Vancomycin Used In The Agar Was Subpotent | 20 units were distributed | Michigan And Virginia
1998-4-22 | Devices | III | z-505-8 | Staph Latex Kit, A Rapid Slide Latex Agglutination Test For Detection Of Coagulase Associated With S |  | Remel Limited Partnership, Immunodiagnostics Division, Augusta, Georgia (now Closed) | N/A | Some Quality Control And Patient Isolates Gave False Negative Results | 61 units were distributed | Oklahoma, California, Illinois, Massachusetts, Michigan, Iowa, Florida, Utah, Missouri, Texas, Virginia, Pennsylvania, Georgia, Tennessee, New York, Maryland, Kansas, Alabama And Australia
1998-4-22 | Devices | III | z-506-8 | Brain Heart Infusion Agar With Vancomycin Media Plates, For Use As An Agar Screen For The Detection Of Vancomycin Resistance In Enterococci | Manufacturer | Remel Limited Partnership, Lexena, Kansas | May 30, 1996 | The Plates May Have Growth Of Enteroccus Faecalis Which May Interfere With The Test | 3,850 units were distributed | Nationwide
1998-4-22 | Devices | III | z-507/508-8 | Roche Reagent For Bun, In-vitro Diagnostic Liquid Reagent Intended For Use On Cobas Chemistry Systems For The Quantitative Determination Of Blood Urea Nitrogen In Serum: A) Product Code 47380; B) Product Code 47381 | Roche Diagnostic Systems | Medical Analysis Systems, Inc | February 14, 1997 | That There Was A Carryover From The Previous Test That Falsely Depressed The Bun Results | amount shipped: a) lot 001 - 2195 kits lot 002 - 2195 kits lot 003 - 1086 kits lot 004 - 17 kits b) lot 001 - 394 kits lot 002 - 398 kits lot 003 - 1390 kits | Nationwide And International
1998-4-22 | Devices | III | z-509-8 | Immulite Anti-tpo Ab Test Kit, Indicated For In-vitro Diagnostic Use In The Clinical Diagnosis Of Thyroid Disease | Diagnostic Products Corporation | Euro/dpc Ltd | February 2, 1998 | Patient Samples Had Falsely Elevated Positives | 17 kits were distributed | California