## Report-1998-7-01
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1998-7-01 | Biologics | II | b-843-8 | platelets | manufacturer | american Red Cross - Penn Jersey Region, Philadelphia, pennsylvania | January 22, 1998 | blood Products, Which Were Exposed To Unacceptable Shipping temperatures And Not Relabeled Appropriately | 6 units were distributed | pennsylvania
1998-7-01 | Biologics | II | b-1089/1091-8 | a) Red Blood Cells; B) Platelets, For Further Manufacture; c) Recovered Plasma | manufacturer | american Red Cross Blood Services, Lansing, Michigan | January 28, 1998 | blood Products, Collected From A Donor Whose Spouse Was Receiving clotting Factor Concentrates | a) 3 units; b) 1 unit; c) 4 units were distributed | michigan And California
1998-7-01 | Biologics | II | b-1249/1254-8 | a) Whole Blood; B) Red Blood Cells; C) Fresh Frozen Plasma; d) Plasma, Frozen Within 24 Hours After Phlebotomy; E) Red Blood cells For Further Manufacture; F) Recovered Plasma, Frozen | manufacturer | american Red Cross Blood Services, Peoria, Illinois | September 1, 1997 | blood Products Tested Negative For The Antibody To The Human immunodeficiency Virus Type 1 (hiv-1), But Were Collected From A donor Who Previously Tested Repeatedly Reactive For The Antibody, and Was Subjected To Additional Retesting | a) 1 unit; b) 33 units; c) 3 units; d) 1 unit; e) 5 units; f) 32 units were distributed | arkansas, Florida, Illinois, Missouri, Michigan, Tennessee, california
1998-7-01 | Biologics | II | b-1259-8 | red Blood Cells | manufacturer | american Red Cross Blood Services, Fort Wayne, Indiana | February 11, 1998 | blood Product Was Collected From A Donor Who Had Dental Surgery on The Day Of Donation | 1 unit was distributed | indiana
1998-7-01 | Biologics | II |  | a) Red Blood Cells; B) Recovered Plasma | blood Systems | united Blood Services, Mcallen, Texas | March 3, 1998 | blood Products Were Collected From A Donor Who Was Currently deferred For Receiving A Tattoo | 1 unit of each component was distributed | texas And North Carolina
1998-7-01 | Biologics | II |  | a) Red Blood Cells; B) Recovered Plasma | blood Systems | united Blood Services, El Paso, Texas | December 16, 1997 | blood Products Were Collected From A Donor Who Had Surgery Within five Months Of Donation | 1 unit of each component was distributed | texas And Switzerland
1998-7-01 | Biologics | II | b-1264/1267-8 | a) Red Blood Cells; B) Platelets, Pheresis; c) Fresh Frozen Plasma; D) Recovered Plasma | manufacturer | coffee Memorial Blood Center, Amarillo, Texas | March 20, 1998 | blood Products Were Collected From A Donor Who Previously Tested cmv Positive | a) 3 units; b) 28 units; c) 1 unit; d) 5 units were distributed | texas, Arkansas, Tennessee, Colorado, California
1998-7-01 | Biologics | II | b-1268-8 | platelets, Pheresis | manufacturer | american Red Cross Blood Services, Savannah, Georgia | January 12, 1998 | blood Product Had A High Platelet Count | 1 unit was distributed | georgia
1998-7-01 | Biologics | II | b-1269/1271-8 | a) Red Blood Cells; B) Fresh Frozen Plasma; C) Recovered Plasma, frozen | manufacturer | american Red Cross Blood Services, Peoria, Illinois | September 1, 1997 | blood Products Tested Negative For The Antibody To The Human immunodeficiency Virus Type 1 (hiv-1), But Were Collected From A donor Who Previously Tested Repeatedly Reactive For The Antibody, and Was Subjected To Additional Retesting | a) 28 units; b) 5 units; c) 23 units were distributed | florida, Illinois, Iowa, California
1998-7-01 | Biologics | II |  | source Leukocytes, For Further Manufacturing | manufacturer | american Red Cross, Columbus, Ohio | April 3, 1998 | blood Product Was Not Quarantined And Released Despite The donor's Use Of A Positive Confidential Unit Exclusion (cue) sticker | 1 unit was distributed | new Jersey
1998-7-01 | Biologics | II | b-1278-8 | red Blood Cells, Leukocyte Reduced | manufacturer | northern Illinois Blood Bank, Rockford, Illinois | January 12, 1998 | blood Products Were Leukoreduced Using Filters Associated With post Transfusion Conjunctivitis | 419 units were distributed | illinois
1998-7-01 | Biologics | II | b-1279-8 | cryoprecipitated Ahf | manufacturer | american Red Cross Blood Services, Atlanta, Georgia | November 21, 1997 | blood Product Was Prepared From A Unit Of Whole Blood With An extended Collection Time, Was Distributed | 1 unit was distributed | georgia
1998-7-01 | Biologics | II |  | cryoprecipitated Ahf | manufacturer | american Red Cross Blood Services, Atlanta, Georgia | December 2, 1997 | blood Product Was Prepared From A Unit Of Whole Blood With An extended Collection Time, Was Distributed | 1 unit was distributed | georgia
1998-7-01 | Biologics | III | b-1104-8 | reagent Red Blood Cells, Referencells For Abo Serum Grouping kits | manufacturer | immucor, Inc | September 25, 1997 | reagent Red Blood Cells Were Accompanied By An Incorrect direction Circular | 3,105 kits were distributed | nationwide
1998-7-01 | Biologics | III | b-1258-8 | fresh Frozen Plasma | manufacturer | american Red Cross Blood Services, St | May 27, 1997 | blood Product Tested Negative For Unexpected Antibodies, But Was collected From A Donor Who Tested Positive For Unexpected antibodies On A Previous Donation | 1 unit was distributed | missouri
1998-7-01 | Biologics | III | b-1273/1277-8 | a) Red Blood Cells; B) Platelets; C) Platelets, Pheresis; d) Fresh Frozen Plasma; E) Recovered Plasma | manufacturer | blood Bank Of Alaska, Inc | May 23, 1994 | firm Failed To Follow Manufacturer's Product Insert For Hbsag testing | a) 34 units; b) 23 units; c) 2 units; d) 1 unit; e) 33 units were distributed | alaska, California, Florida
1998-7-01 | Devices | II | z-602-8 | 3m Precise Rsh-100 Reusable Skin Stapler Handle, Product Numbers: ds-5, Ds-15, Ds-25, Ms-5, Ms-15, Ms-25, And Ms-35, An Accessory to 3m Disposable Multi-shot Skin Staplers | 3m Health Care | thermotech, Hopkins, Minnesota | June 3, 1998 | a Product Defect Could Cause The Skin Stapler Anvil Or Plastic detent Tab To Break | 1,944 handles were distributed | florida, Georgia, Minnesota, Missouri, Pennsylvania, Texas
1998-7-01 | Devices | II | z-623-8 | laparoscopic Insufflation Tube, Model C2001, Single Patient Use for Delivering Carbon Dioxide Gas Into The Abdomen During laparoscopic Surgery | manufacturer | applied Medical Resources (amr), Laguna Hills, California | May 13, 1998 | the Pouch Seals Were Defective, Thereby, Compromising The sterility Of The Device | 200 boxes (10 units per box) were distributed | california, Florida, Hawaii, Illinois, Maryland, Michigan, missouri, Nebraska, New York, Ohio, Pennsylvania, South Carolina, texas, Virginia, Washington State, England
1998-7-01 | Devices | II | z-625/626-8 | in-vitro Diagnostic Products, Used For The Quantitative, Serial determination Of Prostate-specific Antigen (p | manufacturer | chiron Diagnostics Corporation, East Walpole, Massachusetts | June 18, 1997 | the Lite Reagent Exhibited Bottle To Bottle Variation In Relative light Units (rlu) Due To Excessive Exposure To Light In The warehouse | a) 180 kits; b) 1,921 kits were distributed | nationwide
1998-7-01 | Devices | II | z-627-8 | acs:180 Gentamicin, In-vitro Diagnostic, Used For The quantitative Determination Of Gentamicin In Serum Or Plasma Using the Ciba Corning Acs, Part Numbers 570021 And 570020 | manufacturer | chiron Diagnostics Corp | June 30, 1997 | the Lite Reagent Exhibited Bottle To Bottle Variation In Relative light Units (rlu) Due To Excessive Expose To Light In The warehouse | 175 kits were distributed | nationwide
1998-7-01 | Devices | II | z-635-8 | natural-knee Ii Non-porous Femoral, Size 1, Right | manufacturer | sulzer Orthopedics, Inc | April 30, 1998 | the Device Packages Contained A Natural-knee 1 Porous Femoral, size 3 Left Device Instead Of The Labeled Size 1, Right | 5 units were distributed | florida, Michigan, Wisconsin
1998-7-01 | Devices | II | z-648-8 | capture Cytomegalovirus (cmv) Solid Phase System, For The detection Of Igg And Igm Antibodies To Cmv | manufacturer | immucor, Inc | December 13, 1996 | the Indicator Cells No Longer Meet Their Specifications With respect To Detection Of Igm Antibody | 57 kits were distributed | nationwide And Italy
1998-7-01 | Devices | II | z-651-8 | model Series Dr | manufacturer. Fda Approved The Firm's Corrective Action Plan On june 15 | aegis International Services, Inc | June 15, 1998 | the Sunlamp Product Failed To Comply With 21 Cfr 1040 | 4 units were distributed | nationwide
1998-7-01 | Devices | II |  | S Maximum Timer Interval Exceeded The Maximum Recommended exposure Time And The Required Warning Label Failed To Include An adequate Recommended Exposure Schedule | manufacturer | medtronic Micro Interventional Systems (mis), Sunnyvale, california | May 15, 1998 | the Premarket Notifications Were Withdrawn By Medtronic, Based On the Determination That The Data Supporting The 510(k) Were submitted Improperly, Prior To The Acquisition Of Mis In 1995 | 22,789 units were distributed | nationwide
1998-7-01 | Devices | III | z-606-8 | alexon-trend Prospect Cryptosporidium Microplate Assay Kits, product Numbers 540-24 (24 Tests) And 540-96 (96 Tests), An In vitro Diagnostic Test Kit For The Qualitative Detection Of cryptosporidium Specific Antigen In Aqueous Extracts Of Fecal specimens | manufacturer | alexon-trend, Inc | March 25, 1998 | false Positive Test Results For Cryptosporidiosis | 1,196 assay kits were distributed | nationwide And International
1998-7-01 | Devices | III | z-633/634-8 | diagnostic X-ray System Components: A) Diagnostic X-ray System component (fst-10 Freestanding Tube Stand); b) Diagnostic X-ray System Component (ms-7917 Cassette Tray upright Support Structure) | manufacturer | trex Medical Corporation, Bennett Division, Copiague, New york | April 24, 1998 | the Counter Weight Cables Were Manufactured With Methods That resulted In Defective Crimps |  | nationwide And International