## Report-1999-1-13
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1999-1-13 | Drugs | II | d-057-9 | udl Brand Sucralfate Suspension, 1 G/10 Ml, 10 Ml Unit Dose Cups | udl Laboratories | hoechst Marion Roussel (hmr), Kansas City, Missouri (responsible firm) | December 9, 1998 | bottle Defects And/or Glass Fragments In The Bulk Drug | 9,684 cases were distributed | nationwide
1999-1-13 | Drugs | II | d-060-9 | liquid Oxygen, Usp In Cryogenic Vessels, Used For Respiratory therapy | homecare Concepts | airweld, Inc | December 8, 1998 | failure To Perform Finished Product Assays | 69 vessels were distributed | new York
1999-1-13 | Drugs | II | d-061-9 | diethylpropion Hydrochloride Controlled-release Tablets 75 Mg, In bulk | 3m Pharmaceuticals | 3m Pharmaceuticals Inc | December 3, 1998 | product Contains Higher Than Normal Levels Of Residual benzene | lot 980151 - 1 | nationwide
1999-1-13 | Drugs | II | d-067-9 | triple Antibiotic Plus Ointment (bacitracin Zinc 500 Units, neomycin Sulfate 3 | manufacturer | g&w Laboratories, Inc | May 4, 1998 | subpotent (18 Month Stability) Bacitracin Zinc-58% Declared neomycin Sulfate-87% Declared Polymyxin B Sulfate-84% declared | 42,840 1-ounce tubes were distributed; firm estimated that less than 5% of product remained on market at time of recall initiation | nationwide
1999-1-13 | Drugs | III | d-021-9 | nitroglycerin Extended Release (er) Capsules, 2 | manufacturer | time-cap Labs, Inc | October 1, 1998 | product Fails Content Uniformity Testing | 15,918 100-count bottles and 353,940 bulk capsules were distributed | alabama, Arkansas, Florida, Illinois, Kentucky, Louisiana, michigan, New Jersey, New York, Pennsylvania
1999-1-13 | Drugs | III | d-043-9 | fluorescein Sodium Injection, 250 Mg/ml,in 2 Ml Sterile Single dose Vials, Sold Under The Label Angiofluor 25% Injection (ndc 59449-010-02) And Ak-fluor 25% Injection Label (ndc 17478-250-20, rx Indicated For Ophthalmic Angiography And Angioscopy In diagnostic Examination Of The Fundus, In Evaluation Of The iris Vasculature; To Differentiate Between Diagnosis Of malignant And Non-malignant Tumors; And In Determination Of circulation Time And Adequacy Of The Circulation | manufacturer | luitpold Pharmaceuticals, Inc | November 24, 1998 | crystal Formation | angiofluor: lot 5914al: 16,248 units were distributed lot 6202al: 55,308 units were distributed lot 6590al: 50,112 units were distributed lot 7020al: 10,868 units were distributed lot 7869al: 104,016 units were distributed lot 8625al: 99,372 units were distributed ak-fluor: lot 5836ak: 54,168 units were distributed lot 6299ak: 52,260 units were distributed lot 6356ak: 54,348 units were distributed lot 6590ak: 49,116 units were distributed | tennessee And Illinois
1999-1-13 | Drugs | III | d-044-9 | doxepin Hydrochloride Capsules, Usp, 10 Mg, In Unit Doses packages Of 100, Oral Rx Psychotherapeutic Agent | udl Laboratories | mylan, Inc | December 14, 1998 | product Failed Moisture Limits Testing (6 Month Stability) | 1,503 unit cartons were distributed; firm estimated that 25% of product remained on market at time of recall initiation | nationwide
1999-1-13 | Drugs | III | d-045-9 | colgate Cool-mint Phos-flur Anti-cavity Fluoride Rinse, In 500 ml/16 | manufacturer | colgate Oral Pharmaceuticals, Dallas, Texas | November 11, 1998 | product Cross Contamination With Alcohol And Sodium Cyclamate containing Product | 30,414 bottles were distributed | nationwide
1999-1-13 | Drugs | III | d-046/056-9 | Various Rx Drugs: a) Metoprolol Tartrate Injection, 5 Mg/5ml, In 5 Ml Single Dose vials, Ndc #0364-3036-25 (schein); B) Hydrocortisone Acetate injectable Suspension, Usp, 25 Mg/ml, In 10 Ml Multiple Dose vials, Ndc #0402-0051-10 (steris), Ndc 0364-6624-54 (schein); c) Dexamethasone Acetate Injectable Suspension, Usp, 8 Mg/ml, In 5 Ml Multiple Dose Vials, Ndc 0402-0092-05 (steris) ndc 0364-6699-53 (schein) ndc 0588-5344-75 (keene) ndc 0456-1075-05 (forest) ndc 0182-0928-62 (goldline) ndc 52384-068-05 (teregen Labs) ndc 63252-7644-3 (radford Therapeutics); d) Pentamidine Isethionate For Injection, Lyophilized, 300 Mg, In single Dose Vials, Ndc 0209-8560-20 (marsam); e) Methylprednisolone Acetate Injectable Suspension, Usp, 40 mg/ml, In 10 Ml Multiple Dose Vials, Ndc 0402-1069-10 (steris) ndc 0364-3064-54 (schein) ndc 57699-069-10 (a & G Pharmaceutical) 63252-1111-1 (radford Therapeutics); f) Methylprednisolone Acetate Injectable Suspension, Usp, 80 mg/ml, In 5 Ml Multiple Dose Vials, Ndc 0402-1070-05 (steris) ndc 0364-3065-53 (schein) ndc 55553-070-05 (clint Pharmaceuticals) ndc 63252-1112-5 (radford Therapeutics) ndc 0677-1539-20 (united Research Laboratories); g) Estrone Injectable Suspension, Usp, 5 Mg/ml, In 10 Ml Multiple dose Vials, Ndc 0402-0041-10 (steris) ndc 0364-6601-54 (schein) ndc 57699-041-10 (a&g Pharmaceutical) ndc 0677-0274-21 (united Research Laboratories); h) Testosterone Injectable Suspension, Usp, 100 Mg/ml, In 30 Ml multiple Dose Vials, Ndc 0402-0084-30 (steris) din 00616931 (univet Pharmaceuticals); i) Triamcinolone Diacetate Injectable Suspension, Usp, 40 Mg/ml, in 5 Ml Multiple Dose Vials, Ndc 0402-1071-05 (steris) ndc 0364-3081-53 (schein) ndc 0677-0981-20 (united Research Laboratories) ndc 0182-3064-62 (goldline) ndc 0456-1060-05 (forest) ndc 11001-071-05 (san Jose Surgical Supply); j) Vercuronium Bromide For Injection, Lyophilized Powder, 10 Mg, in 10 Ml Vials, Ndc 0209-9140-22 (marsam) ndc 0209-9140-92 (marsam) ndc 0209-9141-26 (marsam); k) Vecuronium Bromide For Injection, Lyophilized Powder, 20 Mg, in 20 Ml Vials, Ndc 0209-9143-22 (marsam) ndc 0209-9143-92 (marsam) | manufacturer | steris Laboratories, Inc | October 30, 1998 | possible Cross Contamination With Triamcinolone Acetate | a) 231,465 vials; b) 9,044 vials; c) 168,557 vials; d) 6,088 vials; e) 35,934 vials; f) 173,188 vials; g) 3,484 vials; h) 1,925 vials; i) 138,733 vials; j) 674,440 vials; k) 67,730 vials were distributed | nationwide, Puerto Rico, Kenya, Africa, Nova Scotia, Canada
1999-1-13 | Drugs | III | d-058-9 | cardizem Tablets (diltiazem Hcl) 90 Mg, In 100 Tablet Bottles, Rx for Use In The Management Of Chronic Stable Angina And Angina Due to Coronary Artery Spasm | manufacturer | hoechst Marion Roussel, Inc | October 19, 1998 | some Of The Tablets Are Missing Identification (name/strength) | 5,969 bottles were distributed | nationwide
1999-1-13 | Drugs | III | d-059-9 | copaxone Injection (glatiramer Acetate) 20 Mg, In 2 Ml Vials, Rx, for Subcutaneous Use | hoechst Marion Roussel | teva Pharmaceutical Industries, Ltd | November 4, 1998 | incorrect Lot Number And Expiration Date On A Portion Of Outer shipping Cases | 2,343 32-vial patient packs were distributed | nationwide
1999-1-13 | Drugs | III | d-063-9 | phazyme Maximum Strength Anti-gas Soft Gelatin Capsules (simethicone), 166 Mg, In Bottles Of 60, Otc For The Relief Of bloating, Pressure And Discomfort Of Gas | block Drug Company | intergel, Irvington, New Jersey | June 11, 1998 | batch Mix-up - Some Capsules Are Imprinted As 'sample' From A validation Lot Which Was Mixed With The Distributed Production lot | 38,448 bottles were distributed | nationwide
1999-1-13 | Drugs | III | d-065-9 | sudafed(r) Non-drowsy 12 Hour Extended-release (capsule Shaped) tablets, (pseudoephedrine 120 Mg), In Bottles Of 10 And 20, Otc for Temporary Relief Of Nasal Congestion Due To The Common Hold, hay Fever Or Other Upper Respiratory Allergies, And Nasal congestion Associated With Sinusitis | warner-lambert Company | catalytica Pharmaceuticals, Inc | February 16, 1998 | dissolution Failure | firm estimated that little if any product remain on the market | nationwide
1999-1-13 | Drugs | III | d-066-9 | sidmak Brand Cyproheptadine Hcl Tablets, Usp, 4 Mg, In 100 And 1,000 Unit Bottles, Rx, Seasonal Allergic Rhinitis, Colds, Mild allergic Skin Manifestations | manufacturer | sidmak Laboratories, Inc | July 13, 1998 | superpotent (112 | 19,658 bottles of 100 and 1 bottle of 1000 tablets were distributed | nationwide
1999-1-13 | Drugs | III | d-068/070-9 | various Rx Drugs: A) Sus-phrine Injectable Suspension (epinephrine), 1 | manufacturer | steris Laboratories, Inc | November 6, 1998 | current Good Manufacturing Practice Deviations (lack Of Or incomplete Process Validation) | a) 87,610 ampuls; b) 2,648 ampuls; c) 16,750 ampuls were distributed | a) Missouri; B) Arizona, California, Colorado, Connecticut, florida, Iowa, Massachusetts, Michigan, Minnesota, New Jersey, new York, Ohio, Texas, Virginia, Wisconsin, West Virginia; C) nationwide
1999-1-13 | Biologics | II | b-377/378-9 | source Plasma; B) Cryoprecipitate | alpha Therapeutic Corporation (atc) | alpha Therapeutic Corporation (atc), Long Beach, California | May 14, 1998 | blood Products Tested Negative For The Antibody To The Human immunodeficiency Virus Type 1 (hiv-1), But Were Collected From A donor Who Previously Tested Repeatedly Reactive For The antibody | a) 5 units; b) 1 unit was distributed | virginia And Spain
1999-1-13 | Biologics | II | b-386-9 | red Blood Cells | manufacturer | american Red Cross Blood Services, Cleveland, Ohio | November 12, 1998 | blood Product Was Collected From A Donor Who Reported Living In an Area Designated As Endemic For Malaria | 1 unit was distributed | ohio
1999-1-13 | Biologics | IFIE | b-350/351-9 | a) Fresh Frozen Plasma; B) Frozen Plasma | manufacturer | american Red Cross Blood Services, Roanoke, Virginia | September 1, 1998 | blood Products Were Prepared From Whole Blood Units That Had discrepant Start And End Times Documented. _______ update rochester Eye And Human Parts Bank, Rochester, New York Recall Of corneas, Tissue Donor Numbers: 96-2-4514, 96-4-4737, 95-8-4028, 95-12-4337, Which Appeared In The December 30,, 1998 Enforcement has Been Reclassified As A Class Iii Recall. Quantity Should read: 7 Corneas Were Distributed. | a) 1 unit; b) 5 units were distributed | virginia, West Virginia, Georgia
1999-1-13 | Devices | II | z-187-9 | information Management System For Mammography Practices | manufacturer | lumisys, Inc | April 16, 1998 | the Software Was Manufactured With Methods That Resulted In defective Information Being Provided To The Physician, And therefore, The Patients With Positive Mammograms May Not follow-up With A Biopsy Exam | approximately 483 units were distributed | nationwide
1999-1-13 | Devices | II | z-188-9 | mcgaw Stratus Ambulatory Infusion System Model 550 And Alphamed ez Pump, Model 550 With Software Version 2 | manufacturer | alphamed, Inc | June 19, 1997 | the Pump Could Under Infuse Or Blood Could Back Up Into Iv Lines when The Pumps Are Running At A Slow Flow Rate With A Large infusion Set | 28 pumps with software version 2 | texas
1999-1-13 | Devices | II | z-341/348-9 | Depuy Steri-cuff Disposable Tourniquet Cuffs a) Steri-cuff, 12 In | depuy Orthopaedics | depuy Albuquerque, Inc | October 26, 1998 | the Velcro Strap Is Failing At The Seam To the Cuff Causing The Cuff To Loosen During Use | 10,931 units were distributed | nationwide And Canada
1999-1-13 | Devices | II | z-349/354-9 | Zimmer Statak Soft Tissue Attachment Devices: a) Catalog No | zimmer | linvatec, Largo, Florida | November 18, 1998 | open Seals Were Found On The Outer Or Inner Pouches , Thereby, compromising The Sterility Of The Devices | 35,138 packets of 5 were distributed | nationwide And International
1999-1-13 | Devices | II | z-359-9 | ciba Corning Acs 180 Plus Analyzers, Used For Numerous Assays | manufacturer | chiron Diagnostics Corporation, Oberlin, Ohio | June 9, 1998 | a Software Error For Troponin I Analysis Caused Erroneous results | 38 acs 180 plus analyzers were distributed | nationwide
1999-1-13 | Devices | II | z-360-9 | centaur Sample Pipette Tips Used With Acs:centaur Automated chemiluminescence System, To Aspirate Patient Samples And To place The Samples Into Reaction Cuvettes | chiron Diagnostics Corporation | chiron Diagnostics Corporation, Oberlin, Ohio | May 24, 1998 | a Defect Was Found In The Flange Of The Disposable Sample pipette Tips (part #572491) Which Are Used On The Acs:centaur analyzer | 7 centaur units which use the affected sample pipette tips | international
1999-1-13 | Devices | II | z-363-9 | acs:centaur Automated Chemiluminescence System, Used To Conduct various Laboratory Diagnostic Tests | manufacturer | chiron Diagnostics Corporation, Oberlin, Ohio | March 25, 1998 | software Errors For V1 | 6 units were distributed | germany And Italy
1999-1-13 | Devices | II | z-364-365-9 | multi-calibrator Used With The Express Analyzer To Establish A master Calibration Curve For Determination Of Specific Assay concentrations In Unknown Patient Samples: A) Catalog #132342; b) Catalog #112507 | chiron Diagnostics Corporation | chiron Diagnostics Corporation, Irvine, California (calibrator) | February 5, 1998 | the Value Assignments For Co2 And Ca Are Incorrect | 2,000 vials and 29,459 kits were distributed | nationwide And International
1999-1-13 | Devices | II | z-368-9 | ciba Corning Acs:180 And Acs:180 Plus Analyzers, Used To Conduct various Laboratory Diagnostic Tests | manufacturer | chiron Diagnostics Corp | June 14, 1996 | due To A Software Error, The Acs Folate And Acs T-uptake Assays may Run Without The Required Conditioning Solution | 1,015 units were distributed | nationwide And International
1999-1-13 | Devices | II | z-369-9 | ciba Corning Acs:180 Se Analyzer, Used To Conduct Various laboratory Diagnostic Tests | manufacturer | chiron Diagnostics Corporation, Oberlin, Ohio | November 25, 1997 | software Error Causes 16 Different Assays To Not Calculate Si units Correctly | 15 units were distributed | texas, Virginia, Massachusetts, Kentucky, New York, New Jersey, maryland, Astralia,belgium, France, Uk, Spain
1999-1-13 | Devices | II | z-375/376-9 | vision Fx Series Digital Nuclear Imaging System, Models Fx-40 And fx-80 Series, Used In Hospitals And Diagnostic Centers To Produce tomographic Images Of The Body Which Can Aid In The Diagnosis Of aliments Such As Cancer And Heart Disease | manufacturer | smv America Twinsburg, Ohio | September 21, 1998 | the Published Specification For The Maximum Imaging Count Rate Is 250 Kcps; However, The Units Can Only Achieve 215 Kcps | 78 units were distributed | nationwide And Guatemala
1999-1-13 | Devices | II |  | : Tdx\tdxflx Flecainide Reagent Pack, list No | manufacturer | abbott Laboratories, Diagnostics Division, Abbott Park, illinois | November 11, 1998 | the Flecainide Fluorescein Tracer Has Caused Problems With Assay calibration And Controls Out Of Range | 1,173 kits were distributed; firm estimated that 60 percent of the product remained on market at time of recall initiation | nationwide
1999-1-13 | Devices | III | z-330-9 | 90 Degree Child Osteotomy Plate 9 | synthes Usa | synthes (usa), West Chester, Pennsylvania | November 19, 1998 | product Was Labeled As 9 | 113 units | pennsylvania, Texas, Missouri, Tennessee
1999-1-13 | Devices | III | z-355/357-9 | Bayer Immuno 1 System Pinch Valve Wash Tubing, Sold Separately and As A Component Of Kits (note: Tubing In Bags That Do Not contain A Piece Of Paper With The Part #156-2217-01 Printed On It are Subject To Recall: a) Bayer Immuno 1 System Pinch Valve Wash Tubing (part No | manufacturer | bayer Corporation, Elkhart, Indiana | September 17, 1998 | the Devices May Fail Prematurely | approximately 25,000 bags were distributed | nationwide And International
1999-1-13 | Devices | III | z-358-9 | rotalink Exchange Catheter, Catalog No | manufacturer | heart Technology Manufacturing, Inc | October 20, 1998 | some Of The Burr Blanks Had An Out-of-specification Inside dimension That Will Not Allow Passage Of A Guide Wire Through The lumen Of The Burr And Driveshaft Coil, Preventing Use Of The device | 124 units were distributed | nationwide
1999-1-13 | Devices | III | z-361/362-9 | apo A-1 & Apo B Calibrator Sets, Used To Calibrate Express reagents For Accessing Cardiac Risk By Measuring Apolipoprotein | manufacturer | chiron Diagnostics Corporation, Oberlin, Ohio | June 3, 1996 | apo A1 And Apo B Value Assignments Contain A Transcription error | 34 apo a1 kits and 35 apo b kits were distributed | new Jersey, Michigan, California, Massachusetts And France
1999-1-13 | Devices | III | z-366-9 | ciba Corning Acs:180 Analyzer, Catalog #1458x3xx, Used To Conduct various Laboratory Diagnostic Test | manufacturer | chiron Diagnostics Corporation, Oberlin, Ohio | April 18, 1996 | the Probe May Miss The Sample Tube If The 12 X 75 Size Patient tubes Are Used | 3,673 units were distributed | nationwide And International
1999-1-13 | Devices | III | z-367-9 | express Cuvettes For Models 550 And 560 Express Analyzer, Used To conduct Various Laboratory Diagnostic Tests | manufacturer | chiron Diagnostics Corporation, Oberlin, Ohio | January 29, 1997 | some Of The Reaction Cuvettes, Cavity 84, May Have Small Holes In the Bottom Allowing Sample Fluid To Leak Out Which May Possibly lead To False Test Results | 40 boxes (100 cuvette magazines per box) were distributed | nationwide And Brazil
1999-1-13 | Devices | III | z-370-9 | multi-calibrators 1 & 2 Used With The Express System, To calibrate Numerous Chemical Assays | chiron Diagnostics Corporation | chiron Diagnostics Corporation, Oberlin, Ohio | June 30, 1997 | the Urea/urease Si Units Were Printed Incorrectly On The Assay values Sheet For The Multi-calibrator Kits | 1,422 kits were distributed | nationwide And International
1999-1-13 | Devices | III | z-371-9 | ammonia Reagent Kit Used With Express Analyzer For Determination of Ammonia In Blood Serum | manufacturer | chiron Diagnostics Corporation, Oberlin, Ohio | March 17, 1997 | the Gldh Enzyme Was Contaminated With Urease Which Caused The serum Ammonia Assay Values To Be Out Of Linear Range | 35 kits were distributed | international
1999-1-13 | Devices | III | z-372-9 | immunoglobulin (ig) Calibrator Which Is Used With The Express analyzer To Calibrate Immunogloblin Assays On The Express analyzer | chiron Diagnostics Corporation | chiron Diagnostics Corporation, Oberlin, Ohio | December 6, 1996 | the Ig Calibrator Level 1, Lot #a8422c; And Ig Calibrator Level 3, Lot #a8422e, Labeled October 09, 1996, Were Mis-labeled | 1 kit was distributed | hong Kong