## Report-1999-10-13
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1999-10-13 | Biologics | III | b-1153-9 | immune Globulin Intravenous (human) Venoglobulin-s 10% | manufacturer | alpha Therapeutic Corporation, Los Angeles, California | July 1, 1999 | blood Products Were Labeled With Expiration Dates That Exceeds product Stability | 128,127 vials were distributed; firm estimated that 32,032 vials remained on market at time of recall initiation | nationwide And Guam
1999-10-13 | Biologics | III | b-1206/1207-9 | a) Red Blood Cells; B) Platelets | manufacturer | american Red Cross Blood Services, Philadelphia, Pennsylvania | February 16, 1998 | blood Product Was Collected From A Donor Whose Arm Inspection prior To Phlebotomy Was Not Documented | 1 unit of each component was distributed | pennsylvania, New Jersey
1999-10-13 | Biologics | III | b-1218-9 | red Blood Cells | blood Systems | united Blood Services, Fargo, North Dakota | March 3, 1999 | blood Products Remained At Room Temperature For An Unacceptable length Of Time During Shipment | 6 units were distributed | north Dakota
1999-10-13 | Biologics | III | b-1219-9 | red Blood Cells, Leukoreduced | blood Systems | united Blood Services, Fargo, North Dakota | October 13, 1998 | blood Product Failed The Requirement For Red Blood Cell Recovery | 1 unit of each component was distributed | north Dakota
1999-10-13 | Biologics | III | b-1223-9 | red Blood Cells | manufacturer | the Blood Center Of Southeastern Wisconsin, Inc | July 6, 1999 | unlicensed Blood Products Were Distributed In Interstate commerce | 1 unit was distributed | illinois
1999-10-13 | Biologics | III | b-1236-9 | recovered Plasma | manufacturer | the Blood Center Of Southeastern Wisconsin, Inc | December 17, 1998 | blood Product Was Collected From A Donor Taking The Drug Cytotec (misoprostol) | 1 unit was distributed | switzerland
1999-10-13 | Biologics | III | b-1249-9 | platelets, Pheresis | manufacturer | the Blood Center Of Southeastern Wisconsin, Inc | December 23, 1998 | blood Product Had An Unacceptable White Blood Count Was distributed Labeled As Leukoreduced | 1 unit was distributed | wisconsin
1999-10-13 | Biologics | III | b-1254-9 | red Blood Cells, Leukoreduced | manufacturer | the Blood Center Of Southeastern Wisconsin, Inc | July 6, 1999 | unlicensed Blood Product | 1 unit was distributed | texas
1999-10-13 | Biologics | III | b-1274-9 | recovered Plasma | manufacturer | american Red Cross Blood Services, St | October 12, 1998 | blood Products Tested Negative For The Human T Lymphotropic Virus types I And Ii (anti-htlv-i/ii), But Were Collected From A Donor who Previously Tested Indeterminate For Htlv-i/ii | 1 unit was distributed | california
1999-10-13 | Biologics | III | b-1281-9 | platelets | manufacturer | american Red Cross Blood Services, Philadelphia, Pennsylvania | May 19, 1998 | blood Product With A Positive Antibody Screen, Was Distributed, labeled As Negative For Unexpected Antibodies | 1 unit was distributed | pennsylvania
1999-10-13 | Biologics | III | b-1284-9 | red Blood Cells | manufacturer | aurora Area Blood Bank, Aurora, Illinois | June 14, 1999 | blood Product Was Labeled With Extended Expiration Date | 1 unit was distributed | illinois
1999-10-13 | Biologics | III | b-1285 | red Blood Cells, Washed | blood Systems | united Blood Services, Las Vegas, Nevada | September 2, 1997 | blood Product Was Labeled With An Extended Expiration Time | 1 unit was distributed | nevada
1999-10-13 | Biologics | III | b-1289-9 | recovered Plasma | blood Systems | united Blood Services, Bismarck, North Dakota | June 2, 1999 | blood Products Were Collected From Donors Whose Donor History screening Was Inadequately Performed | 392 units were distributed | california, Florida, New York, Texas, Alabama, Arkansas, massachusetts, Mississippi, New Jersey, North Carolina, North dakota, South Carolina, South Dakota, Texas, And Switzerland
1999-10-13 | Devices | II | z-004-0 | cryovalve Allograft Heart Valve | manufacturer | cryolife, Inc | September 13, 1999 | the Firmís Quality Assurance Has Identified Donor 23718, Received prior To 1/26/98, Who Does Not Meet The Current Guidelines regarding Serodilution Of Plasma Because Of The Amount Of transfused/infused Fluids Administered | 1 unit | illinois
1999-10-13 | Devices | II | z-005/006-0 | cryovalve Allograft Heart Valve: A) Model Avoo; B) Model Pvoo recall #z-005/006-0 | manufacturer | cryolife, Inc | August 12, 1999 | additional Donor Information On Donor Number 20995, Not Available at The Time Of Release Of The Allografts, Revealed That The donorís Mother Had Tested Positive For Hepatitis B Surface antigen | 2 valves | maine And Utah
1999-10-13 | Devices | II | z-009-0 | precision Current Source Device, Used In The Dental Field To stimulate Bone Growth And To Act As An Antibacteria Agent | manufacturer | t. h. Charters | September 14, 1999 | product Was Distributed Without A 510(k) Or Pma | 8 units were distributed | texas
1999-10-13 | Devices | II | z-010/011-0 | oxygen Concentrators: Models As005-xx And As006-xx note: "xx" = Any 2-digit Number | manufacturer | airsep Corporation, Buffalo, New York | September 27, 1999 | the Plastic Capacitor May Overheat, Posing A Fire Hazard In The unit | 135,470 units were distributed | nationwide And International
1999-10-13 | Devices | III | z-026-0 | architect Lh Reagent Kit; A Chemiluminescent Microparticle immunoassay For Quantitative Determination Of Human Leutenizing hormone In Human Serum And Plasma For The Prediction Of ovulation, In The Evaluation Of Infertility, And Diagnosis Of pituitary And Gonadal Disorders | manufacturer | abbott Diagnostics, Division Of Abbott Laboratories, Abbott Park, illinois | September 8, 1999 | results Generated With These Lots May Exhibit An Over Recovery. end Of Enforcement Report For October 13, 1999. #### | 274 100-test kits and 503 400-test kits were distributed | nationwide And International