## Report-1999-10-20
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1999-10-20 | Drugs | II | d-001/003-0 | a) Cefazolin Sodium, Usp, Rx, Sterile,10 Grams, 100 Ml Vial; b) Cefazolin Sodium, Usp, Rx, Sterile,1 Gram, 100 Ml Vial, c) Ampicillin Sodium, Usp, Rx, Sterile, In 10g, 100 Ml Vial | manufacturer | marsam Pharmaceuticals, Inc | June 7, 1999 | potency Problems; Super And/or Subpotent. | lot# 9801005 (control #8m92223)- 5,810 trays, 10 vials per tray lot# 9901006 (control no | nationwide
1999-10-20 | Drugs | III | d-004-0 | lorazepam Injection, Usp, 2 Mg/ml, In 10 Ml Multiple Dose Vial, rx, Indicated In Adult Patients For Preanesthetic Medication, producing Sedation, Relief Of Anxiety, And A Decreased Ability To recall Events Related To The Day Of Surgery | manufacturer | marsam Pharmaceuticals, Inc | June 8, 1999 | superpotency. | 10,591 cartons, 1 multiple dose vial per carton were distributed | nationwide
1999-10-20 | Biologics | II | b-1143-9 | platelets, Pheresis | manufacturer | gateway Community Blood Program, St | March 4, 1999 | blood Product Was Collected From A Donor With An Elevated Alt | 1 unit was distributed | missouri
1999-10-20 | Biologics | II | b-1275-9 | various Human Tissue For Transplant: a) Femoral Head W/o Cartilage; B) Fascia Lata; c) Tricortical Ilium Wedge; D) Cancellous Chips; E) Cortical strut Units; F) Na Shaft | manufacturer | allosource, Denver, Colorado | July 20, 1998 | the Tissues For Transplant Were Collected From A Donor Who Tested repeatedly Reactive For The Antibody To The Hepatitis B Core antigen (anti-hbc) | a) 2 units; b) 2 units; c) 5 units; d) 15 units; e) 4 units; f) 2 units were distributed | alabama, Colorado, Florida, Illinois, Indiana, Oklahoma, pennsylvania, New York, Texas
1999-10-20 | Biologics | II | b-1287/1289-9 | a) Red Blood Cells; B) Fresh Frozen Plasma; Recovered Plasma | blood Systems | united Blood Services, Bismarck, North Dakota | June 2, 1999 | blood Products Were Collected From Donors Whose Donor History screening Was Inadequately Performed | a) 388 units; b) 2 units; c) 392 units were distributed | california, Florida, New York, Texas, Alabama, Arkansas, massachusetts, Mississippi, New Jersey, North Carolina, North dakota, South Carolina, South Dakota And Switzerland
1999-10-20 | Biologics | II | b-1291-9 | fresh Frozen Plasma | manufacturer | ashford Blood Bank, Inc | April 23, 1997 | blood Product Containing Positive Antibodies, But Labeled As negative For Unexpected Antibodies | 1 unit was distributed | puerto Rico
1999-10-20 | Biologics | II | b-1292/1293-9 | a) Platelets, Pheresis; B) Platelets Pheresis, Irradiated | blood Systems | united Blood Services, Scottsdale, Arizona | June 16, 1999 | blood Products Had Unacceptable Platelet Counts | 2 units of each component were distributed | nevada, Arizona
1999-10-20 | Biologics | II | b-1297/1299-9 | a) Red Blood Cells; B) Red Blood Cells, Leukocytes reduced; C) Platelets, Pooled | manufacturer | the Blood Center Of Southeastern Wisconsin, Milwaukee, Wisconsin | August 10, 1999 | blood Products Were Collected From A Donor Who Reported Travel To an Area Designated As Endemic For Malaria | a) 1 unit; b) 1 unit; c) 2 units were distributed | wisconsin
1999-10-20 | Biologics | II | b-1300/1301-9 | a) Red Blood Cells; B) Plasma | manufacturer | american Red Cross Blood Services, Baltimore, Maryland | March 31, 1999 | blood Products Were Collected From An Unsuitable Donor | 1 unit of each component was distributed | washington, D
1999-10-20 | Biologics | III | b-1290-9 | red Blood Cells | manufacturer | ashford Blood Bank, Inc | September 2, 1997 | blood Product Was Not Tested For Hiv �, Prior To Release, And subsequently Tested Non-reactive For Hiv �. | 1 unit was distributed | puerto Rico
1999-10-20 | Devices | II | z-001/003-0 | bld Peep-flo Resuscitator Devices: a) Peep-flo Positive Expiratory Pressure Valve; b) Pulmanex Manual Resuscitator With A Peep-flo Valve c) Cpap Chsuion-flex Mask Packaged With Bld�s Peep-flo valvevalve | manufacturer | bld Medical Products, Dallas, Texas | August 5, 1999 | the Peep-flo Valve Values Are Out Of Specification | a total of 62,018 peep-flo valves were distributed: a) 10,808 units; b) 51,090; c) 120 | nationwide And Canada
1999-10-20 | Devices | II | z-013-0 | sabraset 560112-l Administration Set With Spike And Cassette For use With The Sabratek 6060 Homerun Volumetric Infusion Pump Only | sabratek Corporation | pacific Device De Mexico, S | September 24, 1999 | tubing May Separate From The Filter | 2,790 sets were distributed | iowa, Arizona, Indiana, Massachusetts, California, Oregon, South carolina, Tennessee, Wisconsin, Virginia, Colorado, Florida, illinois And England
1999-10-20 | Devices | II | z-014/016-0 | arrow Percutaneous Sheath Introducer Kit | manufacturer | arrow International, Inc | September 27, 1999 | potential For Separation Of Sheath From Hemostasis Valve Body In use | 8,860 kits | nationwide
1999-10-20 | Devices | II | z-027-0 | ats 2000 Pneumatic Tourniquet, Intended Use Is To Temporarily occlude Blood Flow In A Patient's Extremities During Surgical procedures On Those Extremities | zimmer Patient Care Inc. | zimmer, Inc | August 27, 1999 | the Buttons On The Touch Panel Component May Stick In Position during Use | 35 units were distributed | nebraska, Minnesota, Connecticut, California, Maine, Arizona, illinois, Massachusetts, Wisconsin, Washington State, Texas, pennsylvania
1999-10-20 | Devices | III | z-012-0 | abbott Axsym Troponin-i Reagent Pack; A Microparticle Enzyme immunoassay (meia), To Assist In The Diagnosis Of Acute myocardial Infarction | manufacturer | abbott Laboratories, Inc | September 21, 1999 | calibration Failures. end Of Enforcement Report For October 20, 1999. Blank Pages May Follow. #### | 47,010 kits were distributed | nationwide And International