## Report-1999-10-6
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1999-10-6 | Drugs | II | d-424-9 | Pre-penæ Skin Test Antigen, (benzylpenicilloyl Polylysine Injection, Usp), In Single Dose Ampuls (5 Per Carton), Rx Used In Assessing A Patient's Allergy Status To Penicillin | Manufacturer | Hollister-stier Laboratories Llc, Spokane, Washington | September 3, 1999 | Subpotency (30 Month Stability Testing). | 500 units of lot 33911, 4,716 units of lot 33912 and 200 units of lot 33913 were distributed | Nationwide And International
1999-10-6 | Devices | II | z-1242-9 | Visualizer 2000 Diagnostic X-ray System | Manufacturer. Fda Approved The Firm's Corrective Action Plan On September 27 | Vf-works, Inc | September 27, 1999 | All Units Are In Noncompliance With 21 Cfr 1020 | 62 units | Nationwide
1999-10-6 | Devices | II | z-1254-9 | Aztech 70 X-ray System, Intended For Use In Dental Radiography | The Aztech Group | Villa Sistemi Medicali S | September 27, 1999 | The Diagnostic X-ray Devices Were Found Defective Under 21 Cfr 1003 | 19 units were distributed | Nationwide
1999-10-6 | Devices | II | z-1260-9 | Codman Surgical Patties (size 1/2 X 1/2 Inch), Sterile, Indicated Use Is Protection Of Tissue, Including Brain And Other Tissues Of The Central Nervous System, During Surgery | Codman - A Johnson & Johnson Company | Codman - A Johnson & Johnson Company, Norton, Massachusetts | August 20, 1999 | Surgical Patties Incorrectly Assembled Without A Radiopaque Marker And String | 67,200 patties were distributed | Nationwide And International
1999-10-6 | Devices | II | z-1261-9 | Model 35040 Keithley Therapy Dosimeter, Intended Use For Calibration Of Dosimetry Of Therapeutic Radiation Treatment Machine For High Energy Accelerators, Cobalt 60, And Brachytherapy Equipment | Manufacturer | Inovision Radiation Measurements, Cleveland, Ohio | July 8, 1999 | An Incorrect Fuse Was Installed On Units Causing Power Failures From Flown Fuse | 89 units | Nationwide And International
1999-10-6 | Devices | II | z-1262-9 | The Tracker Display Model #35360a Is Sold With The Detector Model #35300a And Marketed Together As The Keithley Model #90100 Tracker System, A Radiation Measurement System Intended For Use In Quality Assurance Programs For High Energy Accelerators, And Cobalt 60 Machines | Manufacturer | Inovision Radiation Measurements, Cleveland, Ohio | July 8, 1999 | An Incorrect Fuse Was Installed On Units Causing Power Failures From Blown Fuse | 40 units | Nationwide And International
1999-10-6 | Devices | III | z-1239-9 | The Kid Kart 19-inch Lap Belts, A Component Of Mechanical Chair With Casters | Sunrise Medical | Sunrise Mobility Products Division, Kid Kart Operations, Belgrade, Montana | August 17, 1999 | The Lap Belts Were Assembled Incorrectly | 68 units were distributed | Nationwide And International
1999-10-6 | Devices | III | z-1259-9 | Port-a-cath Implantable Access System, Designed To Permit Repeated Access To The Vascular System For The Parenteral Delivery Of Medications, Nutritional Solutions, And Other Fluids And For The Sampling Of Venous Blood | Manufacturer | Sims Deltec, Inc | August 30, 1999 | Product Equipped With An Incorrect Size Catheter Introducer Component | 122 units were distributed | Europe
1999-10-6 | Devices | III |  | Olympic Mini Bili-lite, Model 70 And 71 |  | Burton Medical Products, Chatsworth, California | N/a | Interior Casting In Bili-lites May Fracture Causing Light To Fall | 314 units were distributed | Nationwide And International