## Report-1999-12-29
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1999-12-29 | Drugs | II | d-146/152-0 | forest Levothroid Tablets (levothyroxine Sodium Tablets, Usp), rx, Indicated As Replacement Or Substitution Therapy For diminished Or Absent Thyroid Function: a) Levothroidæ Tablets (levothyroxine Sodium), 75 Mcg, 100 Count | forest Pharmaceuticals | forest Pharmaceuticals, Inc | November 3, 1999 | subpoten | 251,347 100-count bottles were distributed | nationwide
1999-12-29 | Drugs | II | d-153-0 | ethex Disopyramide Phosphate Extended-release Capsules, Usp, 150 mg, In 100 Capsule Bottles, Rx For The Treatment Of Documented ventricular Arrhythmias | ethex Corporation | kv Pharmaceutical Company, Maryland Heights, Missouri | November 9, 1999 | dissolution Failure (6 Month Stability-12th Hour) | 6,338 100-capsule bottles were distributed | nationwide
1999-12-29 | Devices | II | z-264-0 | elastic Head Strap, Sold As A Standard Accessory In The Laerdal pocket Mask With Oxygen Inlet And Headstrap, Used To Facilitate exhaled Air Ventilation In Emergencies, Whereby The Rescuer exhales Air Through The Mask And Into The Lungs Of The Patient | laerdal Medical Corporation | laerdal Medical As, Stavanger, Norway | December 1, 1999 | the Headstrap Of The Device Contains Latex Which Is Not Declared on The Label | 3,775 units | nationwide And 1 International Facility
1999-12-29 | Devices | II | z-265/266-0 | ancure Endograft System, An Endovascular Catheter Designed To deliver The Endograft And Is Completely Removed From The Patient once Endograft Is Implanted | manufacturer | origin Medsystems, Inc | November 17, 1999 | the Monofilament Tie, Used In The Manufacturing Process, Is Not removed From The Endograft Prior To Completion Of The manufacturing Process The Attachment System Cannot Deploy, leaving The Implant In A Partial Deployed State | 278 units were distributed | nationwide And International
1999-12-29 | Devices | II | z-267-0 | abbott Alcyon Analyzers With Alcyon System Software Version 1 | manufacturer | abbott Laboratories, Inc | May 18, 1999 | the Device May Give Incorrect Tests Results Or Reference Ranges when Printing The "complete Report (header)", "incomplete Report (draft)", And The "control Results Printout | 55 units were distributed | nationwide And Japan
1999-12-29 | Devices | II | z-276/278-0 | nellcor Puritan Bennett Ventilator, All Model #7200 Series Types, prescription Microprocessor Mechanical Ventilator Which Combines microprocessor Technology With A pneumatic System To Achieve Gas Delivery And Patient Monitoring: a) 7200a Series 4-026700-00 7200a Domestic English 4-026701-00 7200a International English 4-026702-00 7200a International English 4-026703-00 7200a International French 4-026704-00 7200a International French 4-026705-00 7200a International German 4-026706-00 7200a International Spanish 4-026707-00 7200a International Spanish 4-026708-00 7200a International Japanese 4-026709-00 7200a International Japanese 4-026710-00 7200a International Saudi Arabia 4-026712-00 7200a International Italian b) 7200sp/spi 4-026720-00 7200sp Domestic English 4-026721-00 7200sp 220v/50hz English 4-026722-00 7200sp 240v/50hz English 4-026724-00 7200sp 220v/50hz French 4-026725-00 720spi 220v/50hz German 4-026726-00 720spi 115v/60hz Spanish 4-026727-00 720spi 220v/50hz Spanish 4-026728-00 720spi 100v/50hz Japanese 4-026729-00 720spi 100v/60hz Japanese 4-026730-00 720spi 220v/50hz Saudi Arabia 4-026731-00 720spi 115v/60hz French 4-026732-00 720spi 220v/50hz Italian c) 7200ae Series 4-pb7200-dl 7200ae Demo Loaner 4-pb7200-ds 7200ae Demo Sale 4-026734-dp 7200ae W/display 4-026734-00 7200ae W/o Display 4-026735-dp 7200 Spe W/display 4-026735-00 7200spe W/o Display 4-026741-00 7200e | manufacturer | nellcor Puritan Bennett, Inc | June 4, 1999 | the Ventilators May Deliver An Unexpected High Inspiratory pressure And Flow When The Following Set Of Parameters Are selected At One Time: Mode - Simv, Rate 15, Tidal Volume 0 | 46,468 units were distributed | nationwide And International
1999-12-29 | Devices | II | z-284/285-0 | various Types Of Human Tissue And Bone Allografts, Contained In either Plastic Bags Or Bottles With Screw On Caps With A Computer generated Label: a) Dura Mater; B) Dura Strips | manufacturer | lifelink Tissue Bank, Tampa, Florida | November 5, 1999 | the Firm Did Not Adequately Evaluate The Combination Of Blood And colloids Used In Viral Market Testing And Based The Hemodilution determination On The Donor's Serum Total Protein | 4 allografts from one donor are involved | florida And Alabama
1999-12-29 | Devices | II | z-281/283-0 | bio-laser Systems, Used For Biostimulation: a) Model 1000; B) Model 2000; C) Model Tuco | manufacturer. Fda Approved The Firm's Corrective Action Plan On december 14 | bio-laser Response Corporaton, Dr | December 14, 1999 | the Devices Failed To Comply With 21 Cfr 1040 | a) 9 units; b) 1 unit; c) undetermened number units were distributed | nationwide
1999-12-29 | Devices | III | z-268/271-0 | patient Cables Used In Models: Hp M1770a, M1771a, M1772a pagewriter Electrocardiographs And Model 2488a Stresswriter testing System | agilent Technologies (formerly Hewlett-packard Co. ) | china Hewlett-packard Company, Ltd | November 12, 1999 | damaged Cables May Lead To Distorted Ecg Waveforms | 28,700 units were distributed | nationwide And International
1999-12-29 | Devices | III | z-272-0 | psa Reagent Pack, For The In Vitro Quantitative Measurement Of psa (prostate Specific Antigen) In Serum And Plasma | ortho-clinical Diagnostics | fujirebio Diagnostics, Inc | June 10, 1999 | microbial Contamination Of Reagent | lot 30: 371 units; lot 40: 26 units | virginia And International
1999-12-29 | Devices | III | z-273/274-0 | architect Free T3 Reagent Kit; A Chemiluminescent Microparticle immunoassay (cmia) For The Quantitative Determination Of Free triiodothyronine(free T3) In Human Serum And Plasma: A) List6c48- 25 - 1 X 100 Tests; b) List 6c48-30 - 4 X 500 Tests | manufacturer | abbott Laboratories, Inc | December 1, 1999 | single Analyte High Control Goes Out Of Specification Low, falling Below The Concentration Range Listed In The Package insert | 1,830 kits were distributed | nationwide, Canada, And International
1999-12-29 | Devices | III | z-275-0 | greer Dia-kit, A Diagnostic Aid For Hypersensitivity Pneumonitis | manufacturer | greer Laboratories, Inc | October 11, 1999 | when Freeze Dried Product Was Reconstituted, The Bulk manufacturing Date Was Not Added To The Manufacturing Record | 42 vials | california, Florida, Idaho, Illinois, Massachusetts, North carolina, Utah, Virginia
1999-12-29 | Devices | III | z-279-0 | Was Given An Incorrect Expiration Date | manufacturer | vasamedics, L | November 16, 1999 | the Devices Contain A Chip At Main Circuit Board Position U47 that Does Not Meet Performance Specifications Due To A Chip substitution Error Made By A Vendor | 10 units | california, Colorado, Indiana, Missouri, Tennessee, Canada, japan, Turkey
1999-12-29 | Devices | III | z- 280-0 | erythropoietin Quantikine Ivd Human Epo Immunoassay (elisa Kit), catalog Number Dep00, Used For The In Vitro Diagnostic determination Of Erythropoietin Concentration In Human Serum As an Aid In The Diagnosis Of Anemia And Polycythemia | manufacturer | r&d; Systems, Inc | December 9, 1999 | deterioration Of Kit Components Leads To Incorrect Erythropoietin assays | 546 units were distributed | nationwide And International