## Report-1999-4-28
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1999-4-28 | Drugs | I _ | d-195-9 | firewater Brand Liquid, (2 (3h) Furanone Di-hydro), Otc In 2 And 16 Fluid Ounce Bottles, Reportedly Intended To Be Used As A Sleep aid | nutritional Concepts | phillips Pharmatech Labs, Inc | February 6, 1999 | product Is An Unapproved New Drug. | 4,499 16-ounce bottles and 945 2-ounce bottles were distributed | california, Florida, Nevada, New Jersey, New Mexico, Texas, washington State
1999-4-28 | Drugs | II | d-174/184-9 | levothyroxine Sodium Tablets, Usp, 0 | manufacturer | mova Pharmaceutical Corporation, Caguas, Puerto Rico | February 25, 1999 | superpotenc | 487,275 bottles were distributed | nationwide And Canada
1999-4-28 | Drugs | II | d-188/191-9 | rx Dental Anesthetics, In Blister Packed Cartridges: a) Lidocaine Hydrochloride 2% And Epinephrine Injection, usp 1:50,000; b) Lidocaine Hydrochloride 3% And Epinephrine Injection, usp 1:100,000; c) Mepivacaine Hydrochloride Injection, Usp 3%; d) Mepivacaine Hydrochloride 2% And Levonordefrin injection, Usp | novocol Pharmaceutical Of Canada | novocol Pharmaceutical Of Canada, Inc | February 19, 1999 | lack Of Assurance Of Sterility | undetermined | nationwide
1999-4-28 | Drugs | II | d-194-9 | oxygen, Usp, In D And E Size Compressed Cylinders, Rx | manufacturer | convacare, Inc | January 20, 1999 | current Good Manufacturing Practice Violations Including But Not limited To Lack Of Calibration For Test Equipment, Odor Testing, and Production Records | less than 100 cylinders | south Carolina
1999-4-28 | Drugs | II |  | trichloroacetic Acid 25% W/v In Purified Water, In 1 Fluid Ounce containers, For Prescription Compounding Or Repackaging | manufacturer | dermatologic Lab & Supply, Inc | March 15, 1999 | superpotenc | 52 bottles were distributed | new York, Maryland, New Jersey, Ohio, California, Michigan, florida, Puerto Rico, Oregon, Tennessee, Texas, Canada
1999-4-28 | Drugs | III | d-192-9 | horizon Pharmaceutical Brand Protuss-dm Tablets (dextromethorphan Hbr 30 Mg, Pseudoephedrine Hcl 60mg, guaifenesin 600 Mg), Sustained-release, In 100 Tablet bottles, Rx Antitussive/decongestant/ Expectorant | manufacturer | anabolic Laboratories, Inc | January 18, 1999 | mislabeling - Immediate Bottle Label Incorrectly Declares pseudoephedrine Hcl At 120mg Per Tablet (correctly labeled Insert Shows 60 Mg Per Tablet) | approximately 2,739 bottles were distributed; firm estimates none remains on the market | undetermined
1999-4-28 | Drugs | III | d-193-9 | kaodene Non-narcotic Liquid For Upset Stomach And diarrhea, (30ml Kaolin 3888 Mg, Pectin 194 | manufacturer | sss/pfeiffer Pharmaceuticals, Atlanta, Georgia | March 18, 1999 | mislabeling - Immediate Bottle Label Declares Incorrect lot Number And Expiration Date (52201 Exp 5 98) Bottom Of bottle Bears Correct Lot Number And Expiration Date (82201 Exp 6/00) | 3,467 units were distributed; firm estimated that 1,500 units remained on market at time of recall initiation | nationwide
1999-4-28 | Drugs | III | d-197-9 | schein Pharmaceutical Brand Valproic Acid Capsules, Usp, 250 Mg, In 100 Capsule Bottles, Rx Antiepileptic Agent | r. p. Scherer Corporation | international Labs, Inc | March 18, 1999 | mislabeling - One Bottle Was Found Lacking Any Immediate bottle Label | 39,728 bottles were distributed | undetermined
1999-4-28 | Drugs | III | d-198-9 | haloperidol Oral Solution, Usp, Rx For Dropper Dosage only, 2 Mg Per Ml, In 120 Ml Units, Indicated For The management Of Manifestations Of Psychotic Disorders, For tourette's Disorder In Children And Adults, And For treatment Of Severe Behavior Problems And Hyperactivity in Children, Under The Rugby And Barre Labels | manufacturer | alpharma, U | January 20, 1999 | microbial Contamination - Product Failed Specification for Microbial Limits Test At 12 Month Stability Test station | 29,580 units were distributed | nationwide
1999-4-28 | Biologics | II | b-601-9 | blood Grouping Reagent Anti-jka (monoclonal) Bioclone For Tube and Microplate Tests, 1 X 3 Ml | manufacturer | ortho-clinical Diagnostics, Inc | April 17, 1998 | anti-jka Blood Grouping Reagent Exhibited Weakened Reactivity Or nonreactivity With Some Jk(a+b+) Red Blood Cells | 1,654 units were distributed | nationwide And International
1999-4-28 | Biologics | II | b-642-9 | oncaspar (pegaspargase), In 5 Ml Vials | rhone-poulenc Rorer Pharmaceuticals (rpr) | enzon, Inc | October 26, 1998 | injectable Drugs Showed An Increase In Visible Particulates In the Product | 3,230 vials were distributed | nationwide And International
1999-4-28 | Biologics | II | b-655-9 | red Blood Cells | blood Systems | united Blood Services, Hot Springs, Arkansas | January 12, 1999 | blood Product Was Collected From A Donor With A History Of cancer | 1 unit was distributed | arkansas
1999-4-28 | Biologics | II | b-683-9 | source Plasma | nabi | nabi Biomedical Center, San Antonio, Texas | November 12, 1998 | blood Product Was Collected From A Donor Who Had A Tattoo Within 12 Months Of Donation | 1 unit was distributed | california
1999-4-28 | Biologics | II | b-685-9 | rhogam, Rho(d) Immune Globulin (human) In Pre-filled Single Dose syringes | manufacturer | ortho-clinical Diagnostics, Inc | October 15, 1997 | rho(d) Immune Globulin Demonstrated Anti-d Levels Below The minimum Dose Specifications For This Product, And Were Found To not Meet Potency Specifications | phase i: lot rhl289a: 78 packages (100 vials x 1 package) 921 packages (25 vials x 1 package) lot rhl289b: 1206 packages (25 vials x 1 package) phase ii: 211,925 syringes were distributed | nationwide, Austria, England, Hong Kong, Israel
1999-4-28 | Biologics | II | b-687-9 | red Blood Cells | manufacturer | united Blood Services, Scottsdale, Arizona | December 1, 1997 | blood Product Was Collected From A Donor Whose Hematocrit exceeded The Acceptable Level | 1 unit was distributed | arizona
1999-4-28 | Biologics | II | b-688-9 | plasma, Cryo Poor | blood Systems | united Blood Services, Scottsdale, Arizona | September 9, 1996 | blood Product Was Collected In A Manner That Compromised The sterility Of The Unit | 1 unit was distributed | arizona
1999-4-28 | Biologics | II | b-689-9 | source Plasma | alpha Therapeutic Corporation | alpha Therapeutic Corporation, San Diego, California | July 27, 1998 | blood Product Was Collected From A Donor With A History Of hepatitis | 4 units were distributed | spain
1999-4-28 | Biologics | II | b-690-9 | red Blood Cells | blood Systems | united Blood Services, Scottsdale, Arizona | September 16, 1996 | blood Product Was Not Quarantined After Receiving Information concerning A Post Donation Illness | 1 unit was distributed | arizona
1999-4-28 | Biologics | II | b-693/694-9 | a) Red Blood Cells; B) Recovered Plasma | blood Systems | united Blood Services, Scottsdale, Arizona | December 11, 1998 | blood Products Were Collected From A Donor With A History Of hepatitis | 1 unit of each component was distributed | arizona And Switzerland
1999-4-28 | Biologics | II | b-695-9 | red Blood Cells | manufacturer | american Red Cross Blood Services, Columbus, Ohio | June 9, 1998 | blood Products Were Collected From Donors Whose Hematocrits Were below The Acceptable Level | 3 units were distributed | ohio
1999-4-28 | Biologics | II | b-696-9 | red Blood Cells | manufacturer | american Red Cross Blood Services, Columbus, Ohio | June 10, 1998 | blood Products Were Collected From Donors Whose Hematocrits Were below The Acceptable Level | 2 units were distributed | ohio
1999-4-28 | Biologics | II | b-697/698-9 | a) Red Blood Cells; B) Platelets | manufacturer | community Blood Center, Dayton, Ohio | September 25, 1998 | blood Products Were Collected From A Donor Who Had Traveled To An area Designated As Endemic For Malaria | a) 4 units; b) 2 units were distributed | ohio
1999-4-28 | Biologics | II | b-699/700-9 | a) Red Blood Cells; B) Platelets | manufacturer | community Blood Center, Dayton, Ohio | July 13, 1998 | blood Products Were Collected From A Donor Who Reported Travel To an Area Designated As Endemic For Malaria | 1 unit of each component was distributed | ohio
1999-4-28 | Biologics | II | b-701-9 | carticel (autologous Cultured Chondrocytes) | manufacturer | genzyme- Tissue Repair, Cambridge, Massachusetts | November 25, 1998 | tissue Repair Product Was Contaminated With Staphylococcus epidermis (staepi) | 1 vial was distributed | norway
1999-4-28 | Biologics | II | b-703/704-9 | a) Red Blood Cells; B) Recovered Plasma | manufacturer | central Kentucky Blood Center (ckbc), Lexington, Kentucky | March 18, 1999 | blood Products Were Collected From A Donor Who Had Been incarcerated | 1 unit of each component was distributed | kentucky And Maryland
1999-4-28 | Biologics | II | b-708-9 | source Plasma | centeon Bio-services | collection Facility: Centeon Bio-services, Inc | April 6, 1998 | blood Products Were Collected From An Unsuitable Donor | 3 units were distributed | illinois
1999-4-28 | Biologics | III | b-691-9 | red Blood Cells | blood Systems | united Blood Services, Scottsdale, Arizona | September 7, 1998 | blood Products Were Stored At Unacceptable Temperatures | 3 units were distributed | arizona
1999-4-28 | Biologics | III | b-692-9 | red Blood Cells | blood Systems | united Blood Services, Scottsdale, Arizona | April 15, 1998 | blood Product Was Labeled With An Extended Expiration Date | 1 unit was distributed | arizona
1999-4-28 | Biologics | III | b-705-9 | red Blood Cells | manufacturer | lifeshare, Inc | February 1, 1999 | blood Product Was Labeled With An Extended Expiration Date | 1 unit was distributed | ohio
1999-4-28 | Biologics | III | b-706-9 | red Blood Cells | manufacturer | lifeshare, Inc | February 26, 1999 | blood Product Was Labeled With An Extended Expiration Date | 1 unit was distributed | ohio
1999-4-28 | Biologics | III | b-707-9 | red Blood Cells | manufacturer | american Red Cross Blood Services, Columbus, Ohio | March 9, 1999 | blood Product Was Labeled With An Extended Expiration Date | 1 unit was distributed | ohio
1999-4-28 | Biologics | III | b-711-9 | gamma-clone Anti-d (monoclonal-polyclonal Blend) Blood Grouping reagent | manufacturer | gamma Biologicals, Inc | N/a | blood Grouping Reagents Have Progressively Lost Potency During storage | 26,880 vials of lots dm80-1 and dm80-2; 26,489 vials of lots dm81-1 and dm81-2 were distributed | nationwide And International
1999-4-28 | Devices | II | z-806/816-9 | poly Per-q-cath Single Lumen Catheters: a) Catalog No | bard Access Systems | gesco International, Inc | March 24, 1999 | the Catheters May Leak Near The Hub In The Area Of Skin insertion | 1,815 units were distributed | nationwide, Canada, Asia
1999-4-28 | Devices | II | z-818/819-9 | hamilton Disposable Precision Tips, A Microlab At Series instrument, A Pipette Used To Aspirate And Dispense Fluid including Blood Products: A) Model 235300; B) 235400 | hamilton Company | hamilton Company, Reno, Nevada | April 5, 1999 | there Is A Defect In The Molding Of The Plunger | 1,954 cases were distributed | nationwide And International
1999-4-28 | Devices | II | z-820/821-9 | mxr-2000 Flowmeter, Used To Administer An Analgesic Agent For conscious Sedation: A) Model 2050; B) Model 2055 | manufacturer | porter Instrument Company, Inc | March 18, 1999 | mounting Screws Were Defective And Found To Have Brittle fractures After Final Assembly And Testing | 238 units were distributed | nationwide
1999-4-28 | Devices | II | z-822/828-9 | jackson Esophageal Dilator 14f, Catalog Numbers: 50-7808, 50- 7809, 50-7810, 50-7812, 50-7814, 50-7816, 50-7818 | pilling Weck Surgical | device Resources Corporations, Lake Bluff, Illinois | December 11, 1998 | esophageal Dilator Tips Come Off The Metal Shaft | 407 devices were distributed | nationwide, Canada, Singapore