## Report-1999-6-29
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1999-6-29 | Drugs | II | d-272-9 | Compressed Medical Oxygen, Usp, Rx Product Stored In D, N, And M6 Size Metal Type Cylinders | Manufacturer | Homecare Concepts, Inc | May 13, 1999 | Incomplete Testing For Strength And Identity | 65 cylinders were distributed | New York
1999-6-29 | Drugs | II | d-274-9 | Cephradine Capsules Usp, 250 Mg In Bottles Of 100, Rx Indicated In The Treatment Of Respiratory Tract Infection, Otitis Media, Skin And Skin-structure Infections, And Urinary Tract Infections | Manufacturer | Teva Pharmaceuticals, Usa, Inc | June 15, 1999 | Subpotency (stability) | approximately 10,852 bottles were distributed; firm estimated that 2,700 bottles remained on market at time of recall initiation | Nationwide
1999-6-29 | Drugs | III | d-269/271-9 and d-273-9 | Rx Controlled-substance Cough Syrups: A) Endotuss Hd(tm) Syrup, (hydrocodone Bitartrate 1 | Manufacturer | Signature Pharmaceuticals, Inc | June 8, 1999 | Lack Of Data To Support Labeled Expiration Date | a) endotuss hd: 16,165/one pint (473 ml) bottles b) polytine d: 9,103/one pint (473 ml) bottles c) polytine cs: 5,293/one pint (473 ml) bottles d) cotussin: 13,410/one pint (473 ml) bottles were distributed | Nationwide
1999-6-29 | Drugs | III | d-275-9 | Supac Analgesic Tablets (acetaminophen 160 Mg, Aspirin 230 Mg, Caffeine 33 Mg), In 100 And 1,000 Tablet Bottles, Otc Analgesic | Manufacturer | Mission Pharmacal Company (mpc), San Antonio, Texas | April 6, 1999 | Free Salicylic Acid Values Exceed Usp Limit And/or Content Uniformity Failures For Caffeine | 7,703 100-tablet bottles and 784 1,000-tablet bottles were distributed | Nationwide
1999-6-29 | Drugs | III | d-276-9 | Tilade Inhaler (nedocromil Sodium Inhalation Aerosol) 1 | Rhone Poulenc Rorer | Fisons Plc Pharmaceutical Division, United Kingdom | April 27, 1999 | Failure To Meet Dose Uniformity Requirements | 16 inhalers were distributed; firm estimates none remain on the market | Missouri And Arkansas
1999-6-29 | Biologics | II | b-892-9 | Red Blood Cells | Manufacturer | Healthcare Provider Services, Inc | January 13, 1999 | Blood Product Was Collected From A Donor Who Traveled To An Area Considered Endemic For Malaria | 1 unit was distributed | Rhode Island
1999-6-29 | Biologics | II | b-893/894-9 | A) Red Blood Cells; B) Platelets | Manufacturer | Healthcare Provider Services, Inc | January 4, 1999 | Blood Products Were Collected From A Donor Who Traveled To An Area Considered Endemic For Malaria | 1 unit of each component was distributed | Rhode Island
1999-6-29 | Biologics | II | b-896-9 | Red Blood Cells | Manufacturer | American Red Cross Blood Services, Dedham, Massachusetts | February 3, 1999 | Blood Product Was Collected From A Donor With No Hemoglobin Results Documented During Screening | 1 unit was distributed | Massachusetts
1999-6-29 | Biologics | II | b-898-9 | Red Blood Cells, Leukocytes Reduced | Manufacturer | American Red Cross Blood Services, Madison, Wisconsin | March 20, 1998 | Blood Product For Which Documentation Of Irradiation Was Incomplete | 1 unit was distributed | Wisconsin
1999-6-29 | Biologics | II | b-899-9 | Platelets | Manufacturer | American Red Cross Blood Services, Madison, Wisconsin | August 10, 1998 | Blood Product Was Collected From A Donor Who Had Traveled To An Area Designated As Endemic For Malaria | 1 unit was distributed | Wisconsin
1999-6-29 | Biologics | II | b-918/919-9 | > A) Red Blood Cells; B) Platelets | Manufacturer | American Red Cross Blood Services, Atlanta, Georgia | February 27, 1999 | Blood Products May Have Been Contaminated During Collection Of Sample Tubes | 1 unit of each component was distributed | Georgia And Pennsylvania
1999-6-29 | Biologics | II | b-922-9 | Platelets, Pheresis | Manufacturer | Long Island Blood Services, Melville, New York | May 23, 1999 | Blood Product Had An Unacceptable Platelet Yield | 1 unit was distributed | New York
1999-6-29 | Biologics | II | b-923/924-9 | A) Red Blood Cells; B) Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services, Columbia, South Carolina | November 16, 1998 | Blood Products Were Collected From A Donor Taking The Drug, Methotrexate | a) 3 units; b) 1 unit was distributed | South Carolina, North Carolina, Georgia
1999-6-29 | Devices | II | z-985-9 | Synthes Sterile Drill Bits, Part #356 | Synthes Usa | Synthes (usa), Monument, Colorado | April 1, 1998 | Package Insert Was Not Placed In Packaging When The Product Was Sent Out | 283 units were distributed | Nationwide, Canada, Switzerland
1999-6-29 | Devices | II | z-986-9 | Synthes Mandibular Modular Fixation System, Part #449 | Synthes Usa | Synthes (usa), Monument, Colorado | March 25, 1998 | Package Insert Was Not Placed In Packaging When The Product Was Sent Out | 21 units were distributed | California, Pennsylvania, North Carolina, New York, Tennessee, Texas
1999-6-29 | Devices | II | z-987-9 | Synthes Spine Anterior Thoracolumbar Rod Clamp | Synthes Usa | Synthes (usa), West Chester, Pennsylvania | August 25, 1998 | The Connector Is Not Compatible With Ventrofix System | 46 units were distributed | California, Colorado, Florida, Georgia, Illinois, Massachusetts, Maryland, Minnesota, North Carolina, New Hampshire, New Jersey, New York, Pennsylvania, Texas, Utah, Virginia, Washington State
1999-6-29 | Devices | II | z-990/993-9 | Sk (sterile Kits) Kits, Consisting Of Replacement Seals And Valves For Cannulas: Model Sk1, Sk2, Sk3, Sk4 | Manufacturer | Gibbons Surgical Corporation, Virginia Beach, Virginia | May 17, 1999 | Devices Were Dosed At A Different Level Than That Documented In Validation Study | 17,439 kits were distributed | Alabama, California, Pennsylvania, Texas, Michigan, Massachusetts, Missouri, Austria, Germany
1999-6-29 | Devices | II | z-1003/1004-9 | Liftmaster Patient Hoist, Models 160 And 190 (catalog Numbers Aa8940/aa8945) | Smith & Nephew | Smith & Nephew Homecraft, Ltd | June 7, 1999 | A Bolt Attaching The Load-spreader To The Boom Of The Lift Can Fracture Due To Metal Fatigue Over Time And Allow The Patient To Fall To The Floor | 24 lifts | Nationwide
1999-6-29 | Devices | II |  | Bard Cardiopulmonary Extracorporeal Cannulae, Intended For Use In Cardiovascular Surgery To Cannulate Vessels Or Perfuse Arteries: Z-1012-9 -- Models: 007300, 007301, 007302,007303 | C. R. Bard | C. R. Bard Puerto Rico | June 7, 1999 | Sterile Barrier May Be Compromised | 46,539 units were distributed | Nationwide
1999-6-29 | Devices | II | z-1019-9 | Argyle Delee Suction Catheter W/mucous Trap, Intended To Aspirate Liquids Or Semisolids From A Patient's Upper Airway | Kendall Healthcare Products Company | Kelsar, S | May 28, 1999 | Product May Be Non-sterile | 85 cases (50 units per case) were distributed | Nationwide And Canada
1999-6-29 | Devices | II | z-1022/1024-9 | Laser Systems And Communication Lasers: A) Model No | Manufacturer. Fda Approved The Firm's Corrective Action Plan On June 15 | Power Technology, Inc | June 15, 1999 | The Model Dy And Dyh Laser Systems Were Introduced Into Commerce Uncertified And Did Not Comply With The Performance Standard (section 538 Of The Federal Food, Drug, And Cosmetic Act And 21 Cfr 1010 | 23 units were distributed | Nationwide
1999-6-29 | Devices | II | z-1025-9 | Vitros Eci Immunodiagnostic System, A Random Access Immunodiagnostic Analyzer For Use In Clinical Laboratories | Manufacturer | Ortho-clinical Diagnostics, Rochester, New York | March 22, 1999 | The Shear Valves In The Reagent Monitoring System May Seize And Stop Dispensing Reagent | approximately 105 units are affected | Nationwide And International
1999-6-29 | Devices | II | z-1026-9 | Mhs Manual Hexdriver, Part #10150, Used To Screw In Or Out The Appropriate 10010-xx Size Bone Screws That Secure The Alphatec Modular Barrel Plate Extensions Against The Proximal Femur | Manufacturer | Alphatec Manufacturing Inc | May 21, 1999 | The Hexdriver Shaft Was Not Heat Treated As Indicated In The Specifications | 27 units | Michigan, Georgia, Florida
1999-6-29 | Devices | II | z-1027-9 | Ivac Medsystem Iii Infusion System, A Three-channel Microprocessor Based Fluid Delivery Device For Use To Control And Monitor Infusion Via Intravenous, Intra- Arterial Or Subcutaneous Routes: A) Model 2860: Three-channel, General Purpose, Infusion Pump, 110v; B) Model 2863: Three-channel, General Purpose, Infusion Pump, 110v; C) Model 2866: Three-channel, General Purpose, Infusion Pump, 220v (international), And A Power Supply Board Kit For Use As A Replacement Power Supply Board For The Medsystem Iii Pump | Manufacturer | Alaris Medical Systems, Inc | May 28, 1999 | Capacitors In The Power Supply Board Are Failing Causing The Pumps To Shut Down/stop Infusing Without An Alarm Notifying The User | 2,851 pumps and 466 power supply board kits were distributed | Nationwide, Canada, The Netherlands, Japan, American Somoa
1999-6-29 | Devices | III | z-988/989-9 | 1. 5 Mm Ti Cortex Screw Self Tapping 8 Mm And 12 Mm | Synthes Usa | Synthes (usa), Monument, Colorado | April 8, 1998 | Product Was Mislabeled | 496 units were distributed | Nationwide
1999-6-29 | Devices | III | z-999-9 | Ortho Chlamydia Antigen Elisa Test, Diagnostic Test Kits | Meridian Diagnostics | Meridian Diagnostics, Inc | October 6, 1998 | Opd Substrate Tablets Have Deteriorated Resulting In Inaccurate Test Results | 310 kits were distributed | Nationwide
1999-6-29 | Devices | III | z-1000-9 | Ortho Hsv Antigen Elisa Test, Modification, Diagnostic Test Kits For The Detection Of Herpes Simplex Virus | Manufacturer | Meridian Diagnostics, Inc | October 6, 1998 | The Opd Substrate Tablets Have Deteriorated Resulting In Inaccurate Test Results | 433 kits were distributed | Nationwide And Italy
1999-6-29 | Devices | III | z- 1005/1006-9 | Synthes (usa) Midfacial System Part Numbers 446 | Synthes Usa | Synthes (usa), Monument, Colorado | July 22, 1998 | Product Was Mislabeled | 27 units were distributed | California, Florida, Michigan, Oregon, Texas
1999-6-29 | Devices | III | z-1011-9 | One Shots Hdl Precipitating Reagent, For In-vitro Diagnostic Use In 0 | Manufacturer | Data Medical Associates, Inc | October 2, 1997 | The Reagent Tubes Contain Less Reagent Volume Than Indicated On The Label | 2,241 pails were distributed | Nationwide And International
1999-6-29 | Devices | III | z-1020-9 | Acufex Tibial Anchor Screw & Spiked Washer, Indicated For Use In Fixation Of Soft Tissue In Orthopedic Procedures | Manufacturer | Smith & Nephew, Inc | May 17, 1999 | The Head Of The Screw May Break During Insertion | 182 units were distributed | Arkansas, Colorado, Massachusetts, Pennsylvania, Texas, Wisconsin, Africa, Belgium, Singapore, France, Denmark
1999-6-29 | Devices | III | z-1021-9 | Imx Estradiol Reagent Pack, List #2215-22, 100 Tests,an In-vitro Diagnostic Microparticle Enzyme Immunoassay For The Quantitative Measurement Of Estradiol In Human Serumand Plasma On The Imx Analyzer | Manufacturer | Abbott Laboratories, Abbott Park, Illinois | June 11, 1999 | Lots May Show Underrecovery Of Estradiol With Undiluted Patient Specimens | 3,037 packs were distributed | Nationwide And International