## Report-1999-7-21
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1999-7-21 | Drugs | II | d-278-9 | Trihexyphenidyl Hydrochloride Tablets, 5 Mg, In 100 Tablet Blister Strips Of 10 Tablets, Rx Oral Antispasmodic Tablet Used As An Adjunct In The Treatment Of All Forms Of Parkinsonism | Udl Laboratories | Lederle Pharmaceutical, Division Of American Cyanamid, Pearl River, New York | June 14, 1999 | Mislabeling - Some Blister Strips Are Held In Shelf Unit Cartons (100's) Labeled As Allopurinol Tablets, 300 Mg. The Blister Strips Are Correctly Labeled. | 3,624 unit cartons were distributed; firm estimated that 25 percent of the product remained on market at time of recall initiation | Nationwide
1999-7-21 | Biologics | II | b-950/951-9 | A) Red Blood Cells; B) Platelets | Blood Systems | United Blood Services, Las Vegas, Nevada | September 24, 1997 | Blood Products Were Collected From A Donor Who Traveled To An Area Considered Endemic For Malaria | 1 unit of each component was distributed | Nevada And Florida
1999-7-21 | Biologics | II | b-952-9 | Red Blood Cells | Manufacturer | Mississippi Valley Regional Blood Center, Davenport, Iowa | November 12, 1998 | Blood Product Was Collected From A Donor Who Traveled To An Area Considered Endemic For Malaria | 1 unit was distributed | Iowa
1999-7-21 | Biologics | II | b-955-9 | Red Blood Cells | Manufacturer | Mississippi Valley Regional Blood Center, Davenport, Iowa | March 30, 1998 | Blood Product May Have Been Contaminated During Collection | 1 unit was distributed | Iowa
1999-7-21 | Biologics | II | b-959-9 | Fresh Frozen Plasma | Manufacturer | Barnes-jewish Hospital, St | March 8, 1998 | Blood Products Were Labeled With Extended Expiration Dates | 5 units were distributed | Missouri
1999-7-21 | Biologics | II | b-960/962-9 | A) Red Blood Cells; B) Cryoprecipitated Ahf; C) Recovered Plasma | Manufacturer | American Red Cross Blood Services, Columbus, Ohio | February 3, 1999 | Blood Products Were Collected From A Donor With A History Of Iv Drug Use And Sex With Another Male | 1 unit of each component was distributed | Ohio And Switzerland
1999-7-21 | Biologics | II | b-978-9 | Platelets, Pheresis | Manufacturer | Community Blood Center, Dayton, Ohio | March 26, 1999 | Blood Product Was Collected From A Donor Who Received Body Piercing Within 12 Months Of Donation | 1 unit was distributed | Ohio
1999-7-21 | Biologics | II | b-979/982-9 | A) Red Blood Cells; B) Rd Blood Cells, Leukocytes Removed; C) Platelets; D) Recovered Plasma | New York Blood Center | New York Blood Services (center West), New York, New York | September 8, 1998 | Blood Products Initially Tested Negative For The Human Immunodeficiency Virus Type 1 (hiv-1) P24 Antigen, But Retrospectively Tested Repeatedly Reactive For Hiv-p24, With An Indeterminate Neutralization Test | a) 2 units; b) 1 unit; c) 2 units; d) 3 units were distributed | New York And Switzerland
1999-7-21 | Biologics | II | b-994-9 | Platelets, Pheresis, Leukocytes Reduced | Manufacturer | Lifesource, Glenview, Illinois | February 22, 1999 | Blood Product Was Mislabeled As Cmv Antibody Negative | 1 unit was distributed | Illinois
1999-7-21 | Biologics | II | b-995-9 | Platelets, Pheresis, Leukocytes Reduced | Manufacturer | Lifesource, Glenview, Illinois | December 10, 1998 | Blood Product Had An Unacceptable Platelet Count | 1 unit was distributed | Illinois
1999-7-21 | Biologics | II | b-996/997-9 | A) Red Blood Cells; B) Platelets | Manufacturer | Northern Illinois Blood Bank, Rockford, Illinois | May 10, 1999 | Blood Products Were Collected From A Donor Who Was Not Asked Some Of The Pre-donation Donor Screening Questions | 1 unit of each component was distributed | Illinois
1999-7-21 | Biologics | II | b-1000/1002-9 | A) Red Blood Cells; B) Platelets; C) Recovered Plasma | Manufacturer | Community Blood Center, Dayton, Ohio | December 21, 1998 | Blood Products Were Collected From A Donor With A History Of Cancer | 1 unit of each component was distributed | Ohio And Switzerland
1999-7-21 | Biologics | II |  | A) Red Blood Cells; B) Platelets | Manufacturer | Aurora Area Blood Bank, Aurora, Illinois | June 3, 1999 | Blood Products Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 (anti-hiv-1), But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti-hiv-1, Western Blot Negative | a) 4 units; b) 1 unit | Illinois And Indiana
1999-7-21 | Biologics | III | b-953-9 | Red Blood Cells | Manufacturer | Mississippi Valley Regional Blood Center, Davenport, Iowa | August 8, 1998 | Blood Products Were Labeled With Extended Expiration Dates | 2 units were distributed | Illinois
1999-7-21 | Biologics | III | b-954-9 | Red Blood Cells | Manufacturer | Mississippi Valley Regional Blood Center, Davenport, Iowa | July 1, 1998 | Blood Product Was Leukoreduced By Filtration Greater Than Seven Days After Collection | 1 unit was distributed | Illinois
1999-7-21 | Biologics | III | b-983/987-9 | A) Red Blood Cells; B) Red Blood Cells, Leukocytes Reduced C) Platelets; D) Cryoprecipitated Ahf; E) Recovered Plasma | Manufacturer | New York Blood Services (center West), New York, New York | September 8, 1998 | Blood Products Initially Tested Negative For The Antibody To The Human T-lymphotropic Virus Type I (anti-htlv-i), But Retrospectively Tested Repeatedly Reactive For Anti-htlv-i/ii, Pcr Negative | a) 19 units; b) 2 units; c) 6 units; d) 2 units; e) 21 units were distributed | New York, New Jersey, Switzerland
1999-7-21 | Biologics | III | b-1008-9 | Red Blood Cells | Manufacturer | American Red Cross Blood Services, Little Rock, Arkansas | April 30, 1999 | Blood Products Were Returned After Receipt At An Unacceptable Temperature And Were Redistributed | 10 units were distributed | Arkansas
1999-7-21 | Biologics | III | b-1009-9 | Red Blood Cells | Manufacturer | Bloodcare, Dallas, Texas | January 25, 1999 | Blood Product Was Collected From A Donor Whose Hemoglobin Results Were Not Documented During Screening | 1 unit was distributed | Texas
1999-7-21 | Biologics | III | b-1010-9 | Platelets, Pheresis | Manufacturer | Community Blood Center, Dayton, Ohio | October 21, 1998 | Blood Product Was Positive For Propionibacterium Acnes | 1 unit was distributed | Ohio
1999-7-21 | Biologics | III | b-1011/1012-9 | Red Blood Cells; B) Recovered Plasma | Manufacturer | Bloodcare, Dallas, Texas | December 14, 1998 | Blood Products Were Collected From A Donor Whose Arm Inspection Was Not Documented | 1 unit of each component was distributed | Texas And Switzerland
1999-7-21 | Devices | II | z-685-9 | Bubble Suction Tubing, Catalog #116740 | Manufacturer | Conmed Corporation, El Paso, Texas | February 19, 1999 | Non-sterilit | 12 cases (50 units per case) were distributed | Florida And North Carolina
1999-7-21 | Devices | II | z-1038-9 | Venturi Ventilators With Crt Monitor Part Number 1248 | Cardiopulmonary Corporation | Microvitech, United Kingdom (manufacturer Of Crt) | June 14, 1999 | Crt Monitor Does Not Meet The Mean-time-between-failure (mtbf) Specification | 43 units were distributed | Russia, United Kingdom, Italy
1999-7-21 | Devices | II | z-1039-9 | Venturi Ventilator With Hard Drive Part Number 230012 | Cardiopulmonary Corporation | Cardiopulmonary Corporation, Milford, Connecticut (ventilator); Segate, San Jose, California (hard Drive) | June 14, 1999 | User Interface Software Will Not Load When Unit Is First Powered On | 59 units were distributed | Alabama, Connecticut, Florida, North Carolina, Italy, Russia, United Kingdom
1999-7-21 | Devices | II | z-1068-9 | Ge Millennium Mpr/mps Single Detector Nuclear Medicine System (emission Computed Tomography System), Model 2151300 | Manufacturer | General Electric Medical System, Waukesha, Wisconsin | June 10, 1998 | An Unintended Detector Tilt Motion Can Occur When The Operator Selects The Table Up/down Motion | 167 units were distributed | Nationwide And International
1999-7-21 | Devices | II | z-1069-9 code catalog numbers: 6209-1-205 (package of 5 units) 6209-1-201 (single unit) sterility lot codes: 9902144, 9902145, 9902146, 9902147, 9902203, 9902204, 9902501, 9902542, 9902543, 9902544, 9902545, 9902744, 9902747, 9902748, 9902845, 9902846, 9902847, 9902848, 9902849, 9902852 | Bone-dri Femoral Surgical Wick, Used To Control And Wick Fluids From The Femoral Canal During Surgery | Manufacturer | Howmedica Osteonics Corporation, San Jose, California | February 17, 1999 | The Sterility Of The Device Has Been Compromised Due To A Lack Of Adequate Sterilization | 178 units were distributed | Nationwide
1999-7-21 | Devices | II | z-1077-9 | King Systems Brand Universal F2 Breathing Circuits With Co-axial Filter | Manufacturer | King Systems Corporation, Noblesville, Indiana | February 23, 1999 | Excessive Flash In The Filter Housing May Significantly Increase Resistance To Flow In The Expiratory Side Of The Unit | 4,531 cases (101,580 breathing circuits) were distributed | Nationwide And International
1999-7-21 | Devices | II | z-1078/1079-9 | Cryovalve Allograft (heart Valve): A) Model Av00; B) Pv00 | Manufacturer | Cryolife, Inc | June 21, 1999 | Donors Do Not Meet Current Guidelines Regarding Serodilution Of Plasma Because Of The Amount Of Transfused/infused Fluids Administered | 2 units | Canada
1999-7-21 | Devices | II | z-1080-9 | Cryovalve Allograft (heart Valve) Model Pv00 | Manufacturer | Cryolife, Inc | June 21, 1999 | Donors Do Not Meet Current Guidelines Regarding Serodilution Of Plasma Because Of The Amount Of Transfused/infused Fluids Administered | 1 unit | Oklahoma
1999-7-21 | Devices | II | z-1081-9 | Cryovalve Allograft (heart Valve), Model Av00 | Manufacturer | Cryolife, Inc | June 18, 1999 | Donors Do Not Meet Current Guidelines Regarding Serodilution Of Plasma Because Of The Amount Of Transfused/infused Fluids Administered | 1 unit | Idaho
1999-7-21 | Devices | III | z-1066/1067-9 | Connecting Screw And Compression Screw For Titanium Solid Humeral Nails, Part Numbers: 358 | Synthes Usa | Synthes (usa), West Chester, Pennsylvania | June 16, 1999 | Product Drawing Contained An Interference Issue Which Created A Potential For The Connecting Screw Not To Fit Into Or Bind Within The Insertion Handle | 339 units were distributed | Nationwide And Canada
1999-7-21 | Devices | III | z-1082/1083-9 | Depuy Self-centering Hip Cups: A) Size 22 | Manufacturer | Depuy Orthopaedics, Inc | March 24, 1999 | Labeling Mix-up -- A 28 Mm Cup Was Found In A Carton Labeled As A 22 | 2 lots of 10 units each were distributed | Missouri, New Jersey, Pennsylvania, Canada, England, Japan
1999-7-21 | Devices | III | z-1084-9 | Bivona Fome-cuf Pediatric Tracheostomy Tube With Stomaseal, Catalog No | Manufacturer | Bivona Medical Tech | June 15, 1999 | The Tube's Outer Shaft Diameter Printed On The Neckflange Of The Tube Differed From That On The Label | 21 units were distributed | Arizona, Florida, Michigan, New Hampshire, Texas, Virginia, Australia