## Report-1999-8-25
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1999-8-25 | Drugs | II | d-310-9 | Naproxen Tablets, Usp, 500 Mg, Rx In 500 Tablet Bottles | Manufacturer | Geneva Pharmaceuticals, Inc | June 16, 1999 | Metal Wire/particle Contamination | 3,440 bottles were distributed | Nationwide
1999-8-25 | Drugs | II | d-311/403-9 | 1. Antiliriumæ Injection (physostigmine Salicylate) | Manufacturer | Steris Laboratories, Phoenix, Arizona | February 19, 1999 | Lack Of Sufficient Data From An Adequately Validated Laboratory Test Method To Assure Products Meet All Regulatory Requirments; Including But Not Limited To: Methods Validation And Potency | number of vials or units distributed: 1) 230,412 vials; 2) 35,012 vials; 3) 389,970 15-ml bottles and 34,337 30-ml bottles; 4) 159,381 vials; 5) 66,529 bottles; 6) 131,795 vials; 7) 78,126 vials; 8) 32,374 vials; 9) 13,450 vials; 10) 29,990 vials; 11) 1,244,548 10-ml vials and 1,088,261 30-ml vials; 12) 64,210 1-ml and 363,968 5-ml vials; 13) 1,118,536 vials; 14) 97 | Nationwide And International
1999-8-25 | Drugs | III | d-309-9 | Allegra-dæ Extended Release Tablets (fexofenadine Hcl 60 Mg And Pseudoephedrine Hcl 120 Mg), In Physician (6ís) Samples, 30 And 100 Tablet Bottles/blister Strips, Rx, For The Relief Of Symptoms Associated With Seasonal Allergic Rhinitis | Manufacturer | Hoechst Marion Roussel, Inc | May 17, 1999 | Dissolution Rate Failure. | the firm has distributed the following amounts of product: 100-tablet blister strip boxes - 5,326 boxes between 3/5/98-12/22/98 30-tablet bottles (physician samples) - 62,514 bottles between 2/13/98-11/3/98 physician blister samples - 129,264 boxes containing 8/3-day starter boxes between 4/3/98-5/27/98 100-tablet bottles - 90,676 bottles between 4/27/98-6/22/98 | Nationwide
1999-8-25 | Devices | II | z-1116/1119-9 | Angiocomm Workstation (previously Statview) 1 | Manufacturer | Quinton Instrument Company, Bothell, Washington | June 28, 1999 | Under Certain Specific Circumstances, Sequences Of A Single Plane Study May Overlap Sequences Of Bi-plane Study When Viewing Both On The Angiocomm Single Sequence Review Station Or The Single Sequence Network Interface Station (nis) | 11 review stations and 7 sequence nis stations were distributed | Alabama, New York, Texas, West Virginia, Washington State
1999-8-25 | Devices | II | z-1146-9 | Light Handle Covers, Single Use Cover For Or Light Handles To Maintain Sterility During Or Procedures, Sold In Single And Multi-packs And As A Component In Surgical Trays | Deroyal Surgical | Atlanta Thermoplastics, Tucker, Georgia | June 25, 1999 | Surgical Device Cover On Handle May Come Off And Compromise Sterility During Surgery | 631,000 covers were distributed | Nationwide
1999-8-25 | Devices | II | z-1147/1153-9 | Hoyer Power Lifter Actuators, A 12 Volt Dc Electromechanical Device Marketed As A Component Of Several Patient Lifting Devices, Part Of A Retrofit Kit For Unpowered Patient Lifting Devices Or As A Stand Alone Component: A) Model No | Sunrise Medical Home Healthcare Group |  | May 14, 1999 | A Short Circuit In The System Will Cause The Batteries To Discharge, Resulting In The Generation Of Heat Which May Cause Fire, Fumes, Smoke Or Loss Of Power | 1,803 units, representing the actuators, were shipped | Nationwide, Puerto Rico, Thailand
1999-8-25 | Devices | II | z-1209-9 | Bennett Contour2, Stereotactic Ready Mammography Machine, An X- Ray Device | Manufacturer | Trex Medical Corporation, Copaigue, New York | August 29, 1997 | The Subtray Mandrels (pins) Used To Attach The Mammography Bucky Tray Or The Optional Cytoguide To The Vertical C-arm Of The Mammography Machine Can, Overtime, Become Loose Or Bend And Break | 154 units were distributed | Nationwide And International
1999-8-25 | Devices | II | z-1210-9 | Apligraft (graftskin), Indicated For Use With Standard Therapeutic Compression For The Treatment Of Non-infected Partial And Full Thickness Skin Ulcers Due To Venous Insufficiency Of Greater Than 1-month Duration Which Has Not Adequately Responded To Conventional Therapy | Manufacturer | Organigenesis, Inc | July 1, 1999 | Burkholderia Cepacia Contamination | 16 units were distributed for commercial use | Alabama, Arizona, Florida, Massachusetts, Minnesota, Washington State, Texas
1999-8-25 | Devices | II | z-1211-9 | Iti Extender System Octa Abutment (also Referred To As The Bone Graft Octa Abutment, H 2 | The Straumann Company | Institut Sraumann Ag, Waldenbrug, Switzerland | July 7, 1999 | Potential For Abutment To Fracture Due To Error On The Tolerance Value For The Depth Of The Hole On The Modified Engineering Drawing | 27 units were distributed | Connecticut, Iowa, Florida, Minnesota
1999-8-25 | Devices | II | z-1213/1214-9/ code lot numbers: a) m80233000 through m86559000, m88059000 & m88080000; b) m85013000 through m86544000, m88053000, m88054000, m88055000, m88058000, m88073000, m88074000, m88049000, & m88293000 | Shiley Adult Tracheostomy Tubes, Intended For Use In Providing Tracheal Access For Airway Management: A) Catalog Nos | Manufacturer | Mallinckrodt, Inc | July 6, 1999 | The Lug Pin, Which Hold The Soft Swivel Flange To The Cannula May Break, Causing Displacement Of The Flange | 263,246 tubes were distributed | Nationwide And International
1999-8-25 | Devices | II | z-1216-9 | Synchron Systems Digoxin Reagent, Catalog No | Beckman Coulter | Beckman Coulter, Carlsbad, California | June 4, 1999 | The Devices May Produce False Low Digoxin Results | 2,554, units of lot m810065, 1917 units of lot m904060 and 678 units of m901265 were distributed | Nationwide And International
1999-8-25 | Devices | II | z-1217-9 | Heart Valve Harvested From A Cadaveric Donor | Manufacturer | New York Organ Donor Network (nyodn), New York, New York | March 13, 1998 | The Specimen Collected From Donor Was Found To Be Repeatedly Reactive For Hbsag | 1 unit was distributed | Georgia
1999-8-25 | Devices | II | z-1218-9 | Sorin Blood Cardioplegia Console, Model Bcc-02, Part #r Dp48-0001-102, Designed For Use During Cardiopulmonary Bypass Procedures To Control The Introduction Of Blood And Crystaloid Delivery In The Management Of Cardioplegia Delivery | Sorin Biomedical | Seamed Corporation, Redmond, Washington | March 15, 1999 | The Device May Deliver The Blood/cardioplegia Solution At Uncontrolled High Speed (overspeed Pump Condition) | 80 units were distributed | Florida, Georgia, Illinois, Massachusetts, Maine, Michigan, Missouri, Nebraska, Pennsylvania, Rhode Island, Texas, Washington State, Canada, Italy, Japan
1999-8-25 | Devices | III | z-1182/1201-9 | Omega Plus Compression Hip Screw System With Varied Product Codes: A) Product Code 33630304; B) Product Code 33630305; C) Product Code 33630354; D) Product Code 33630355; E) Product Code 33630405; F) Product Code 33630454; G) Product Code 33630455; H) Product Code 33631002; I) Product Code 33631002; J) Product Code 33631004; K) Product Code 33631004; L) Product Code 33631005; M) Product Code 33631008; N) Product Code 33631102; O) Product Code 33631103; P) Product Code 33631106; Q) Product Code 33631108; R) Product Code 33631204; S) Product Code 33631306; T) Product Code 33631406 | Howmedica Osteonics Corporation | Pfizer Hospital Products Group, Howmedics, Inc | January 20, 1999 | The Inner Dimension Of The Sideplate Had Dimensions That Were Too Small, Resulting In The Sideplate Not Sliding Fully Into The Lag Screw | 1,218 were distributed | Korea, Ireland And Canada
1999-8-25 | Devices | III | z-1202-9 | Series 7000 Total Knee Modular Tibial Tray, A Component Of The Total Knee System, Implanted Into A Patient Along With Other Knee System Components As Part Of A Knee Replacement | Manufacturer | Howmedica Osteonics Corporation, Allendale, New Jersey | January 20, 1999 | The Tibial Tray Labeled As Catalog No | 6 devices were distributed | Florida, Massachusetts, Michigan, North Carolina, New York, England
1999-8-25 | Devices | III | z-1203-9 | Cryovalve Allograft (heart Valve) | Manufacturer | Cryolife, Inc | June 11, 1999 | Additional Information For The Organ Procurement Agency Concerning This Donor Revealed That The Donor Possessed Genital Condylomata (genital Warts) | 1 unit | Colorado
1999-8-25 | Devices | III | z-1204/1208-9 | Human Beta-2 Microglobulin Kits, Products Are In-vitro Diagnostic Kits And An Antiserum: A) Product Code No | The Binding Site | The Binding Site, Ltd | May 19, 1999 | We Are Classifying The Firm's Action As A Voluntary Recall | 87 kits and 75 vials were distributed | Alabama, California, Colorado, Florida, Oklahoma, Massachusetts, New Jersey, New York
1999-8-25 | Devices | III | z- 1212-9 | Architect Free T3 Reagent Kit, A Chemiluminescent Microparticle Immunoassay (cmia) For The Quantitative Determination Of Free Triiodothyronine(free T3) In Human Serum And Plasma | Manufacturer | Abbott Laboratories, Abbott Park, Illinois | August 4, 1999 | Low Recovery When Used With Multi-constituent Controls | 247 kits were distributed | Alabama, Florida, Illinois, Kansas, Maryland, Michigan, New Hampshire, New York, Ohio, Pennsylvania, Texas, California, Germany, Japan, And Canada
1999-8-25 | Devices | III | z-1215-9 | Kavo Intrasept 905, Intrasurg 500 Dental Operative Unit, An Ac Powered Drilling Device Intended To Supply Power To And Serve As A Base For Other Dental Devices Such As A Dental Handpiece During Dental And Maxillofacial Surgery | The Straumann Co. | Kavo Dental Gmbh, Biberach-riss, Germany | June 30, 1999 | Software Defect May Cause The Unit To Shutdown Prior To Reaching The Preset Torque Limit | 7 units were distributed | Arizona, California, Delaware, Massachusetts, Montana, Texas
1999-8-25 | Devices | III | z-1219-9 | Apligraf (graftskin), Indicated For Use With Standard Therapeutic Compression For The Treatment Of Non-infected Partial And Full Thickness Skin Ulcers Due To Venous Insufficiency Of Greater Than 1-month Duration Which Has Not Responded To Conventioanl Therapy | Manufacturer | Organogenesis, Inc | July 21, 1999 | The Ph Was Found To Be Out Of Specification Range | 58 units were distributed | Alabama, Arizona, California, Georgia, Illinois, Indiana, New York, Massachusetts, Maryland, Maine, Michigan, Missouri, North Carolina, Ohio, Pennsylvania, South Carolina, Texas