## Report-2000-04-05
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
2000-04-05 | Drugs | II |  | Rapid Clear Eye Wash, In 16-fluid Ounce Bottles, Rx For Flushing Or Irrigating The Eye | Manufacturer | H. L. Burton Company | March 6, 2000 | Misbranding - Product Contains Undeclared Preservative-chlorhexidine Gluconate | 206 bottles were distributed | Illinois
2000-04-05 | Drugs | II | d-258-0 | Oxygen, Usp, Compressed, In E And D Cylinders | Manufacturer | Family Healthcare Supply, Inc | December 7, 1999 | Good Manufacturing Deviations - Including But Not Limited To Purity And Strength Testing | 4 tanks | Florida
2000-04-05 | Drugs | III | d-255-0 | Cafergot(r) Suppositories (ergotamine Tartrate Usp | Manufacturer | Novartis Pharmaceuticals Corporation, East Hanover, New Jersey | February 9, 2000 | Subpotency - Ergotamine At 6-month Stability Testing | 4,942 cartons (12 blister packs per carton) were distributed; firm estimated that 5% or less remained on market at time of recall initiation | Nationwide
2000-04-05 | Drugs | III | d-257-0 | Calcium Gluconate Injection, Usp, 10%, In 50-ml Single Dose And In 200-ml Pharmacy Bulk Packages, Under The Following Labels: Fujisawa - Ndc #0469-0311-50 And 0469-0311-63; App - Ndc #63323-311-63 | Manufacturer | American Pharmaceutical Partners, Inc | March 10, 2000 | Particulate Matter In Some Vials | 106,875 50-ml vials and 77,000 200-ml vials were distributed; firm estimated that 25% of the product remained on market at time of recall initiation | Nationwide, Uruguay, Hong Kong, Israel, Singapore
2000-04-05 | Drugs | III | d-256-0 | Diltiazem Hydrochloride Tablets, Usp, In 60 Mg Bottles Of 100 And 500, Rx Indicated For The Management Of Chronic Stable Angina And Angina Due To Coronary Artery Spasm | Manufacturer | Copley Pharmaceutical, Inc | March 13, 2000 | Dissolution Failure (stability) | 2,576 100-tablet bottles and 903 500-tablet bottles were distributed | Nationwide
2000-04-05 | Devices | II | z-423-0 | Tomoscan Sr4000, For Use In Ct Radiology | Manufacturer. Fda Approved The Firm's Corrective Action Plan On March 17 | Philips Medical Systems, Shelton, Connecticut | March 17, 2000 | Units Are Defective Under 21 Cfr 1003 | 15 units were distributed | Nationwide
2000-04-05 | Devices | II | z-424/425-0 | Tomoscan M/eg Ct Scanner With Phase I-table Controllers And Phase-ii Table Controllers, For Use In Ct Radiology | Philips Medical Systems | Analogic Corporatioin, Peabody, Massachusetts | March 17, 2000 | Units Are Defective Under 21 Cfr 1003 | 44 units were distributed | Nationwide And International
2000-04-05 | Devices | II | z-471-0 | Endo Cannulated Bone Or Interference Screw, 7 | Manufacturer | Endo Surgical Concepts, Inc | March 17, 2000 | Device May Not Be Sterile | 95 units | Arkansas And Pennsylvania
2000-04-05 | Devices | II | z-472-0 | Iti O | The Straumann Company | Institut Straumann Ag, Waldenburg, Switzerland | March 25, 2000 | Mislabeled - Package Incorrectly States Diameter As 4 | 138 units | Nationwide
2000-04-05 | Devices | II | z-473-0 | I-125 Seeds, Therapeutic For Interstitial Brachytherapy, Model 6711 | Manufacturer | Medi-physics, Inc | January 5, 2000 | Seeds Have A Higher Radioactivity Than Stated On The Label | 111 seeds were distributed | California
2000-04-05 | Devices | II | z-474/477-0 | Theraport Vascular Access System, Model 1001, 1002, 1601, 1602 | Manufacturer | Biocontrol Technology, Inc | March 8, 2000 | Possible Leakage Of The Portal Assembly Due To Cracks In The Outlet Tube-to-port Weld | 197 units were distributed | Illinois, Pennsylvania, Virginia, Turkey
2000-04-05 | Devices | II | z-478-0 | Allograft Heart Valve, Model Avoo | Manufacturer | Cryolife, Inc | March 9, 2000 | Donor Did Not Meet Current Guidelines Regarding Serodilution Of Plasma | 1 valve | California
2000-04-05 | Devices | III | z-479-0 | Sterile 3 | Manufacturer | Acumed, Inc | February 29, 2000 | Package Labeling On The Sterile Version Of This Part Incorrectly States That The Cortical Screw Belongs To The Polarus Humeral Fixation System Family | 14 units were distributed | Florida And The United Kingdom
2000-04-05 | Devices | III | z-488-0 | Aeroset Assay Disks, V3 | Abbott Laboratories | Abbott Laboratories, Inc | February 24, 2000 | The Disks Are Improperly Duplicated And Contain Software That Will Install System International (si) Units, Rather Than Conventional Units As Labeled | 97 units were distributed | Nationwide And Brazil
2000-04-05 | Devices | III | z-489-0 | Aeroset Analyzer, Used For In-vitro Diagnostic Tests | Manufacturer | Abbott Laboratories, Inc | February 21, 2000 | Under Certain Washing Conditions, Software Error Causes Erratic Urine Creatinine Results | 176 analyzers were distributed | Nationwide And International