## Report-2000-04-12
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
2000-04-12 | Drugs | II | d-261-0 | Nasacort(r) Aq, Nasal Spray (triamcinolone Acetonide-16 | Aventis (formerly Rhone Poulenc Rorer) | Rhone Poulenc Rorer, Puerto Rico, Inc | February 22, 2000 | Super-potency (stability). | 45,900 units were distributed; firm estimates none remains on the market | Nationwide And Thailand
2000-04-12 | Drugs | III | d-259/260-0 | Isoxsuprine Hcl Tablets, 10 Mg And 20 Mg, Usp, In 100 And 1,000 Tablet Bottles, Rx Indicated For The Relief Of Symptoms Associated With Cerebral Vascular Insufficiency | Manufacturer | Eon Labs Manufacturing, Inc | November 19, 1999 | Dissolution Failure (42 Month Stability) | 10 mg bottles of 100s, eon label: 42,009 units major label: 3,180 units 10 mg bottles of 1000s, eon label: 901 units major label: 0 units 20 mg bottles of 100s, eon label: 27,911 units major label: 1,707 units 20 mg bottles of 1000s, eon label: 6,291 units major label: 2,169 units | Nationwide
2000-04-12 | Drugs | III | d-262-0 | Cis-sulfur Colloid(tm) Kit (technetium Tc 99m Sulfur Colloid Injection), Used In Adults And Children As An Agent For Imaging Areas Of Functioning Reticuloendothelial Cells In The Liver, Spleen And Bone Marrow | Manufacturer | Cis-us, Inc | February 23, 2000 | Misbranding - Solution B Vial Has Reversed The Strength (mg/ml) Of The Two Ingredients On Its Immediate Vial Label | 11,548 kits | Nationwide, New Zealand, Panama, Puerto Rico, Guam
2000-04-12 | Drugs | III | d-263-0 | Combipatch(tm) Transdermal System, (estradiol-0 | Aventis (formerly Rhone Poulenc Rorer) | Noven Pharmaceuticals, Inc | February 18, 2000 | Dissolution And Appearance Specification Failure (excess Crystals) | 41,810 boxes of lot 8f0308e1 and 23,350 boxes of lot 9d2703e1c1 were distributed | Nationwide, Bermuda, Puerto Rico
2000-04-12 | Devices | II | z-442-0 | Lifepak 500 Automated External Defibrillator (aed), Designed To Be Used By First Responders To Cardiac Emergencies | Manufacturer | Medtronic Physio-control Corporation, Redmond, Washington | June 3, 1998 | Potential Damage/failure Of Resistor R4 Could Result In Unusable Unit Next Use | 8,031 units were distributed | Nationwide And International
2000-04-12 | Devices | II | z-490/491-0 | Irrigation Administration Sets, Used To Provide Irrigating Solution To The Surgical Field As Well As Other Various Uses: A) Bss And Bss Plus Sterile Irrigation Solution Administration Set, Catalog No | Manufacturer | Alcon Laboratories, Inc | January 28, 2000 | An Unauthorized Change In The Filter Paper Of The Filtered-drip Chamber That Caused The Device To Have A Decreased Flow Rate | 33,825 units were distributed from 9/00 to 1/00 | Nationwide And International
2000-04-12 | Devices | II | z-492-0 | Model No | Manufacturer | Cyberonics, Inc | August 12, 1998 | The Software Contains A Flaw That Reports An Inaccurate Amount Of Remaining Battery Life For The Pulse Generator | 402 units were distributed; firm estimates none remains on the market | Nationwide, South Africa, Belgium
2000-04-12 | Devices | II | z-281/282-0 | Bio-laser System, Used For Biostimulation: A) Model 1000; B) Model 2000 | Manufacturer. Fda Approved The Firm's Corrective Action Plan December 14 | Bio-laser Response Corporation, Dr | December 14, 1999 | The Devices Were Distributed For Human Use Without A 510(k) Or Pma; And Failed To Comply With 21 Cfr 1040 |  | Nationwide
2000-04-12 | Devices | III | z-493-0 | Cofield 2 Humeral Stem, 12 Mm Diameter Stem 145 Mm Length, Catalog #71259012, In Sterile Packages, For Use By An Orthopedic Surgeon In The Treatment Of Proximal Humerus Fractures | Manufacturer | Smith And Nephew, Inc | March 13, 2000 | The Device Does Not Have Suture Holes In The Lateral Fin | 97 units were distributed; firm estimated that 75 units remained on market at time of recall initiation | Nationwide, France, Australia, And United Kingdom
2000-04-12 | Devices | III |  | Alycon Sample Syringe, 50ul Used On Alcyon Analyzers 300 And 300i, For In Vitro Diagnostic Tests | Manufacturer | Abbott Laboratories, Diagnostics Division, Irving, Texas | December 22, 1999 | Packages Labeled And Distributed As Containing Alycon Sample Syringe, 50ul Contained Alycon Reagent Syringe, 500ul Instead | 22 units were distributed | Nationwide And Hong Kong
2000-04-12 | Devices | III |  | Roche Reagent For Ast [aspartate Aminotransferace], In Vitro Diagnostic Reagent System For Use On The Cobas Mira And Cobas Fara Chemistry Systems For The Quantitative Determination Of The Ast | Roche Diagnostics Corporation | Roche Diagnostics Gmbh, Mannheim, Germany | March 16, 2000 | Lots Do Not Meet The Stability Claim For The Working Reagent | approximately 6,000 kits were distributed | Nationwide Quantity Approximately 6,000 Kits Were Distributed
2000-04-12 | Devices | III | z-503-0 | Total Bilirubin Reagent, Catalog #0737488, For Use On The Cobas Integra 400 And 700 Chemistry Systems For The Quantitative Determination Of The Total Bilirubin Concentration In Blood And Plasma | Roche Diagnostics Corporation | Roche Diagnostics Gmbh, Mannheim, Germany | February 10, 2000 | Inadequate Filling Of R1 Reagent May Cause Reporting Of Falsely Lowered Total Bilirubin Results Without Warning Of Incorrect Values | 1,500 kits | Nationwide
2000-04-12 | Devices | III | z-504-0 | Setpoint T Uptake Reference Set For Bayer Immuno 1 System, Catalog #t03-3076-01, A T-uptake Calibrator | Bayer Corporation | Bayer Corporation, Business Group Diagnostics, Middletown Manufacturing Plant, Middletown, Virginia | March 10, 2000 | Product Found To Be Unstable When Shipped Or Stored Per Label Instructions | 758 kits were distributed | Nationwide, Belgium, Canada, France, Germany, Sweden And Switzerland