## Report-2000-09-20
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
2000-09-20 | Drugs | II | d-453/455-0 | A) Digoxin Injection Usp 0 | Manufacturer | Wyeth Ayerst Laboratories, Marietta, Pennsylvania | July 17, 2000 | Tubex(r) Cartridges May Be Cracked Or Chipped | a) 40,470 tubexes; b) 70,370 tubexes; c) 40,900 tubexes were distributed | Nationwide And Puerto Rico
2000-09-20 | Drugs | II | d-460-0 | Cephradine Capsules, Usp, 500 Mg, In 100-count Bottles, Rx Indicated In The Treatment Of Respiratory Tract Infections, Otitis Media, Skin And Skin- Structure Infections, And Urinary Tract Infections | Teva Pharmaceuticals Usa | Teva Pharmaceuticals Usa, Fairfield, New Jersey | August 30, 2000 | Subpotency (stability) | 10,244 units of lot 057450 and 1,755 units of lot 057988 were distributed; firm estimated that 5 percent of product remained on market at time of recall initiation | Nationwide
2000-09-20 | Drugs | II | d-461-0 | Nitroglycerin Sublingual Tablets, 0 | Manufacturer | Konec Limited Liability Company, Tucson, Arizona | February 13, 2000 | Metal Particle Contamination | n419r1: 8,891 bottles of 25 tablets each n419w1: 16,726 bottles of 25 tablets each n459w1: 4,719 bottles of 100 tablets each | Pennsylvania
2000-09-20 | Drugs | II | d-462-0 | Target Non-aspirin Pain Reliever Tablets, In 500-count Bottles, Otc Pain Reliever | Lenier Health Products | Leiner Health Products, Inc | August 10, 2000 | Product Mix-up - Presence Of Buffered Aspirin (325 Mg) In Some Bottles | 400 cases (6 bottles per case) were distributed; firm estimates none remains on the market | Minnesota, Arizona, California, Colorado, Georgia, Wisconsin, Oregon, Indiana, Virginia, Texas
2000-09-20 | Drugs | II | d-465-0 | Augmentin(r) Oral Suspension (amoxicillin 400mg/clavulanate Potassium 57 Mg), 400 Mg/5ml, In 100 Ml Multi-dose Bottles | Smithkline Beecham Pharmaceuticals | Smithkline Beecham Pharmaceuticals, Bristol, Tennessee | August 22, 2000 | Subpotency Of Clavulanic Acid (9 Month Stability Station) | 59,940 units were distributed | Nationwide
2000-09-20 | Drugs | II | d-467-0 | Leucovorin Calcium Injection, Usp, 500mg/50ml Single Dose Vial, Rx Drug Product In An Amber Glass Vial |  | Gensia Sicor Pharmaceuticals, Inc | N/a | Particulates (stability) | 13,132 vials were distributed | Alabama, Florida, Georgia, Illinois, Kentucky, Massachusetts, Maryland, Maine, Michigan, Missouri, Mississippi, North Carolina, New Hampshire, New Jersey, New York, Ohio, Pennsylvania, South Carolina, Tennessee, Wisconsin, West Virginia, District Of Columbia
2000-09-20 | Drugs | III | d-456-0 | Vicodin(r) Tablets (hydrocodone Bitartrate 5 Mg And Acetaminophen 500 Mg), In 500 Count Bottles, Rx Indicated For The Relief Of Moderate To Moderately Severe Pain | Knoll Pharmaceutical Company | Knoll Pharmaceutical Company, Whippany, New Jersey | August 11, 2000 | Dissolution Failure | 8,222 bottles were distributed; firm estimates none remains on the market | Nationwide
2000-09-20 | Drugs | III | d-458-0 | Tri-nasal (triamcinolone Acetonide, Usp) Nasal Spray, 50 Mcg, 15 Ml, 120 Metered Sprays, Rx Indicated For The Treatment Of Nasal Symptoms Of Seasonal And Perennial Allergic Rhinitis In Adults And Children Older Than 12 Years Of Age | Manufacturer | Muro Pharmaceutical, Inc | August 29, 2000 | Leaking Containers | 134,138 units were distributed | Nationwide
2000-09-20 | Drugs | III | d-459-0 | Leukeran(r) (chlorambucil) Tablets, 2 Mg, In 50-count Bottles, Rx | Manufacturer | Glaxo Wellcome, Inc | August 21, 2000 | Impurity Specification Failure (stability) | 36,463 units were distributed | Nationwide And Canada
2000-09-20 | Drugs | III | d-464-0 | Levsinex(tm) Capsules (hyoscyamine Sulfate, Usp), 0/375 Mg, Timecap Extended Release, Rx For Use As Adjunctive Therapy In The Treatment Of Peptic Ulcer | Med-pro | Schwarz Pharma, Seymour, Indiana | August 11, 2000 | Insert Incorrectly States Product Has A Clear Capsule Body And Contains Beadlets, Product Actually Has A White Capsule Body And Contains A Tablet ________ Product Methocarbamol, Usp, Bulk Active Ingredient Powder, Rx Formulated To Produce A Muscle Relaxant | 299 bottles were distributed | New York
2000-09-20 | Drugs | III |  | Was Distributed |  |  | N/a | Contamination With Polypropylene Fibers
2000-09-20 | Drugs | III | d-463-0 | Desowen(r) Cream (desonide Cream), 0 | Galderma Laboratories Lp | Dpt Laboratories, Inc | August 9, 2000 | Mislabeling - Shipping Cases Were Incorrectly Labeled As Containing Ointment Not Cream Form Of Product | 4,920 units in 410 shipping containers were distributed | Nationwide
2000-09-20 | Drugs | III | d-468-0 | Aluminum Hydroxide Gel, Usp, Antacid, 320 Mg/5ml, Mint Flavor, In 12 And 16-fluid Ounce Bottles | Manufacturer | Pharmaceutical Associates, Inc | February 28, 2000 | Resuspension Problems | 6,000 16-ounce and 8,359 12-ounce bottles were distributed | Nationwide
2000-09-20 | Biologics | II | b-164/177-0 | A) Whole Blood; B) Red Blood Cells; C) Red Blood Cells Leukocytes Reduced; D) E) Platelets; F) Platelets Pheresis; G) Plasma; H) Plasma Pheresis; I) Cryoprecipitated Ahf; J) Platelets For Manufacturing Non-injectable Products; K) Red Blood Cells For Manufacturing Non-injectables; L) Source Leukocytes; M) Recovered Plasma For Manufacturing Non- Injectables; N) Red Blood Cells For Manufacturing; O) Recovered Plasma | Manufacturer | American National Red Cross, Philadelphia, Pennsylvania | March 16, 1999 | Blood Products Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 (hiv-1), But Were Collected From Donors Who Previously Tested Repeatedly Reactive For The Antibody, Western Blot Indeterminate | a) 15 units; b) 307 units; c) 10 units; d) 186 units; e) 18 units; f) 122 units; g) 15 units; h) 35 units; i) 15 units; j) 8 units; k) 6 units; l) 7 units; m) 19 units; n) 217 units were distributed | Illinois, Michigan, New Jersey, Ohio, Pennsylvania, California, Switzerland
2000-09-20 | Biologics | II | b-1170/1171-0 | A) Red Blood Cells; B) Platelets | Manufacturer | American Red Cross, Dedham, Massachusetts | January 19, 2000 | Blood Products Were Collected From A Donor Who Had Traveled To A Malarial Endemic Area | 1 unit of each component was distributed | Massachusetts And Puerto Rico
2000-09-20 | Biologics | II | b-1174/1175-0 | A) Red Blood Cells; B) Recovered Plasma | Manufacturer | American Red Cross, Fort Wayne, Indiana | September 1, 1999 | Blood Products Were Collected From A Donor Who Had Viral Hepatitis After Age Eleven | 1 unit of each component was distributed | Indiana And New York
2000-09-20 | Biologics | II | b-1176-0 | Platelets | Manufacturer | American Red Cross, Fort Wayne, Indiana | October 1, 1999 | Blood Product Was Collected From A Donor In Which Arm Preparation Was Not Performed Or Was Performed Inappropriately | 1 unit was distributed | Indiana
2000-09-20 | Devices | II | z-912-0 | Cleaning Brush (bw-9y) For The Olympus Sif-q140 Video Enteroscope, Used For Cleaning The Endoscope's Distal End When Inserted Through The Suction Channel (s-cylinder) | Olympus America | Olympus Opto-electronics, Ltd | October 12, 1999 | Manufacturing Defect - Cleaning Brush Too Short | 5 units were distributed | Florida, Oregon, Pennsylvania, Louisiana, New York
2000-09-20 | Devices | II | z-915/916-0 | A) 6 French Disposable Angiographic Catheters; B) 6 French Special Catheters | Manufacturer | Millar Instruments, Inc | April 28, 2000 | Presence Of Small Fibers That May Shed During Use | pc-464d: 1072 units, spc-464e: 379 units, spc-464f: 76 units, ssd-694: 3 units, ssd-937: 1 unit, ssd-790: 0 (none) | Nationwide, France, United Kingdom, Switzerland, Japan, Norway, Germany
2000-09-20 | Devices | II | z-918-0 | Punctur-gard Revolution Safety Needle Holder, Used In Conjunction With The Punctur-guard Blood Collection Needle | Manufacturer | Bio-plexus, Vernon, Connecticut | May 24, 2000 | Holder May Fail To Activate Needle Safety Mechanism | 14,750 units were distributed | Memphis And Tennessee
2000-09-20 | Devices | II | z-919-0 | Medtronic 6f Siteseer Agiographic Catheter, Used To Record Intracardiac Pressures, To Sample Blood, And To Introduce Substances Into The Heart And Vessel | Medtrtonics Interventional Vascular | Medtronic Ave, Inc | May 16, 2000 | Sterility Of The Device Is Compromised Due To An Improperly Sealed Pouch | 320 units were distributed | Germany, United Kingdom, Italy, China
2000-09-20 | Devices | II | z-920-0 | Testosterone Reagent Pack, 100 Test Units Per Pack, For In-vitro Diagnostic Use Only, Intended For The In-vitro Quantitative Measurement Of Testosterone In Human Serum And Plasma | Ortho-clinical Diagnostics | Ortho-clinical Diagnostics, Inc | May 26, 1999 | Test Results May Be Identified As Ng/ml When Results Are For Ng/dl | 182 packs were distributed | California, Florida, Indiana, Kentucky, Michigan, New York, Ohio, Oklahoma, Pennsylvania, Tennessee, Australia, Canada, Puerto Rico, Panama, Singapore, England, France, Germany, Italy, Spain
2000-09-20 | Devices | II | z-942/943-0 | Maxxum Ptca Dilation Catheters (balloon Catheters) Catalog #h74914497300 (20 Mm( And Catalog #h74914496300 (13mm), Percutaneous Transluminal Coronary Angioplasty Catheters Used To Dilate Coronary Artery Stenoses Or Previously Placed Stents | Manufacturer | Boston Scientific Scimed, Inc | June 22, 2000 | Balloon Ptca Catheters Were Mislabeled As To Length | 8 catheters were distributed | Florida, Indiana, Oklahoma
2000-09-20 | Devices | II | z-945-0 | Be-148-4 Cuff Pressure Monitor | Manufacturer | Instrumentation Industries, Inc | June 20, 2000 | There Is A Tight Fit Between Small Port And Mating Part (pilot Line Check Valve) Which Precludes A Connection | 103 units were distributed | California, Florida, Louisiana, Maryland, Minnesota, North Carolina, North Dakota, Ohio, Pennsylvania, Tennessee, Texas, West Virginia, Canada
2000-09-20 | Devices | II | z-946/947-0 | Incubator 8000 Nc/sc/ic (neotatal Incubator) And Radiant Heater Rh600 (infant Radiant Heater) | North American Drager | Drager Medizintechnik Gmbh (dmt) Lubeck, Germany | July 2, 2000 | The Skin Temperature Sensor For The Incubator 8000 Is Not Working Properly | 487 units were distributed | Nationwide And Canada
2000-09-20 | Devices | II | z-948-0 | Radiolucent Threaded Cannula (5mm X 10mm), An Endoscopic Device That Provides Access To The Patient's Peritoneal Cavity And Allows Insertion Of Endoscopic Instruments And The Removal Of Specimens | Aesculap | Applied Medical Resources, Laguna Hills, California | May 16, 2000 | The Device Has The Potential To Crack In The Shaft Of The Cannula Over Time | 68 units were distributed | Nationwide And Canada
2000-09-20 | Devices | III | z-917-0 | Tsh Reagent Pack, Catalog #191 2997, Intended For The In Vitro Quantitative Measurement Of Thyroid Stimulating Hormone In Human Serum And Plasma To Aid In The Differential Diagnosis Of Thyroid Disease | Ortho-clinical Diagnostics | Ortho-clinical Diagnostics, Inc | February 23, 2000 | Reagent Instability Caused Negative Bias With Control And/or Patient Samples | 1,186 packs were distributed | Alaska, Alabama, Florida, Indiana, Kentucky, North Dakota, Nebraska, Texas, Washington State
2000-09-20 | Devices | III | z-938-0 | Tigertail Flexible Tip Ureteral Catheter Labeled To Contain 6 Fr | C. R. Bard | C. R. Bard | February 9, 2000 | Package Labeled As 6 Fr | 89 units were distributed | Arizona, Colorado, Illinois, Missouri, New York, Utah, North Carolina, New Jersey
2000-09-20 | Devices | III | z-944-0 | Utah Medical Products, Deltran Iv-plus Pressure Monitoring Kit, Catalog No | Manufacturer | Utah Medical Products, Inc | July 6, 2000 | Kits Were Mislabeled As An Obstetric Vacuum Kit | 185 units were distributed | California, Michigan, Montana, West Virginia
2000-09-20 | Devices | III | z-950-0 | Abbott Axsym Estradiol Reagent Pack, List 7a63-20, 10- Test Kit; An In- Vitro Diagnostic Microparticle Enzyme Immunoassay (meia) For The Quantitative Determination Of Estradiol In Human Serum On The Axsym System | Abbott Laboratories | Abbott Health Products, Inc | July 9, 2000 | Depressed Estradiol Results When Using The Undiluted Protocol | 13,675 kits were distributed | Nationwide, New Zealand, England, Australia, Dominican Republic, Mexico, Japan, Guatemala, Argentina, Singapore, Bermuda, Peru, Brazil, Korea, Hong Kong, Colombia, Taiwan, Canada, Thailand, Costa Rica, Chile, Pakistan, El Salvador, Curaco, Paraguay, India
2000-09-20 | Devices | III | z-951-0 | Imx Estradiol Reagent Pack, List 2215-22, 100-test Kit; An In-vitro Diagnostic Microparticle Immunoassay (meia) For The Quantitative Determination Of Estradiol In Human Serum Or Plasma On The Imx Analyzer | Manufacturer | Abbott Laboratories, Inc | July 9, 2000 | Depressed Estradiol Results When Using The Undiluted Protocol | 3,345 kits were distributed | Nationwide, British West Indies, England, Australia, Dominican Republic, Mexico, Japan, Guatemala, Argentina, Singapore, Bermuda, Peru, Brazil, Korea, Hong Kong, Colombia, Taiwan, Canada, Thailand, Chile, Pakistan, Jamaica, Venezuela, Panama, Uruguay, Paraguay, West Indies, Antigua, Ecuador, Nicaragua, Turk And Caicos Islands, Bahamas, Honduras, Surinam, Germany, Italy, India
2000-09-20 | Devices | III | z-952-0 | Vitros Immunodiagnostic - Tsh Reagent Pack, 100 Tests Per Pack, For The In Vitro Quantitative Measurement Of Thyroid Stimulating Hormone In Human Serum And Plasma | Ortho-clinical Diagnostics | Ortho-clinical Diagnostics, Inc | June 28, 2000 | Some Tsh Reagent Packs May Contain Incorrectly Labeled Reagent Bottles | domestic - 208 packs (includes 10 to ocd); international 373 packs were distributed | Nationwide, Canada, Australia, India, Japan, Singapore, England, France, Germany, Italy, Spain
2000-09-20 | Devices | III | z-979/980-0 | Medtronic Sigma Sdr303 And Ss303 Implantable Pulse Generators, Used For The Restoration Of Heart Rhythm | Medtronic | S Medtronic Med Rel, Inc | June 12, 2000 | Final Device Programming Does Not Match The Label Identification | 3 units were distributed | Puerto Rico, United Kingdom, And Germany
2000-09-20 | Devices | III | z-986-0 | Acumatch C-series Cemented Femoral Component, Size 6 (originally Named The Exactech Aura Hip System Femoral Component But Has Been Renamed Acumatch C-series), Hip Implant, Femoral Component-these Stems Are Intended To Be Used With Bone Cement For The Treatment Of Skeletally Mature Individuals Undergoing Primary Surgery For Total Hip Replacement | Manufacturer | Exactech, Inc | May 25, 2000 | Products Were Mislabeled With The Incorrect Stem Length | 43 units were distributed | Florida, South Carolina, Alabama, New York, Louisiana, Pennsylvania, Minnesota, Ohio, New Jersey, Nebraska, Washington State, California, Connecticut, Michigan
2000-09-20 | Devices | III | z-1012-0 | Datascope 9 | Manufacturer | Datascope Corporation, Fairfield, New Jersey | July 28, 2000 | The Outside User Label On The Product Describes The Insertion Kit As Containing A 10 Fr | 169 units were distributed | Illinois, Michigan, Connecticut, California, Maryland, Arizona
2000-09-20 | Devices | III | z-1013-0 | Zimmer Zmr Hip System Implant Assembly Guide, Catalog #00-9975-043-00, Used To Record The Orientation Of The Proximal Body And Distal Stem Implant Provisionals For Later Assembly Of The Final Implant Components | Manufacturer | Zimmer, Inc | August 15, 2000 | The Product Was Found Adulterated And Misbranded, In That The Alignment Arrow Was Oriented Incorrectly On The Component | 177 units were distributed between march and june 2000 | Nationwide, Australia, Canada, Germany, Italy, Singapore And United Kingdom