## Report-2000-11-22
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
2000-11-22 | Drugs | II | d-015-1 | Heparin Sodium Injection, Usp, 5000 Usp Units Per 0 | Amerisource Health Services Corporation | Wyeth-ayerst Laboratories, Philadelphia, Pennsylvania (responsible Firm) | September 26, 2000 | Lack Of Assurance Of Sterility | 60 bags (1,500 vials) were distributed | Ohio, New Jersey, Tennessee, Florida, Minnesota, Kentucky
2000-11-22 | Drugs | II | d-016-1 | Zagam(r) Tablets (sparfloxacin), 200 Mg, In 55-count Bottles, Rx Broad Spectrum Antimicrobial Agent | Bertek Pharmaceuticals | Aventis Pharma Ltd | June 1, 2000 | Dissolution Failure (6 Months Stability Station Testing) | 105 bottles were distributed; firm estimates none remains on the market | Nationwide
2000-11-22 | Drugs | II | d-018/019-1 | A) Meperidine Hcl Injection, Usp, 75 Mg Per Ml, 1 Ml Fill In 2 Ml Size, Used For The Relief Of Moderate To Severe Pain, Preoperative Medication, Support Of Anesthesia, And Obstetrical Analgesia | Manufacturer | Wyeth Ayerst Laboratories, West Chester, Pennsylvania | September 18, 2000 | Current Good Manufacturing Practice Deviations (lack Of Assurance Of Sterility) | a) 350,490 tubexes; b) 186,390 tubexes were distributed | Nationwide
2000-11-22 | Drugs | III | d-010-1 | Allegra(r) Tablets (fexofenadine Hcl), 60 Mg, Physician Sample Units, Rx For The Releif Of Symptoms Associated With Seasonal Allergic Rhinitis In Adults And Children 6 Years Of Age And Older, And For The Treatment Of Uncomplicated Skin Manifestations Of Chronic Idiopathic Urticaria In Adults And Children 6 Years Of Age And Older | Manufacturer | Aventis Pharmaceuticals, Inc | June 28, 2000 | Mislabeling - The Label Bears Unapproved Dosage Instructions For Patients Other Than Adults | 207,878/30 2-tablet card boxes were distributed | Nationwide
2000-11-22 | Drugs | III | d-014-1 | Estratab(r) Tablets (esterified Estrogens Tablets, Usp), 2 | Solvay Pharmaceuticals | Solvay Pharmaceuticals, Baudette, Minnesota | August 23, 2000 | Firm Withdrawal Of Application (stability Data) | 16,418 units were distributed | Nationwide
2000-11-22 | Drugs | III | d-017-1 | Nortriptyline Hydrochloride Capsules, Usp 25 Mg, In 500-count Bottles, Rx | Manufacturer | Danbury Pharmacal Of Puerto Rico, Inc | September 12, 2000 | Dissolution Failure (stability) | 6,756 bottles were distributed | Nationwide
2000-11-22 | Drugs | III | d-020/022-1 | Pipracil, Rx Indicated For The Treatment Of Serious Infections Caused By Susceptible Strains Of Designated Organisms; Zosyn 3 Gram/0 | Wyeth-ayerst Laboratories | Lederle Piperacillin, Inc | October 13, 2000 | Vial Breakag | approximately 21,422 units were distributed between july 1999 - september 2000 | Nationwide
2000-11-22 | Drugs | III | d-023-1 | Pueblo Xtra Brand Isopropyl Alcohol, 70% Rubbing Alcohol, In 16-fluid Ounce Bottles | Manufacturer | Omega, Inc | October 3, 2000 | Mislabeling - Product Bears Both The Correct Label Strength Of 70% And An Incorrect Label Declaration Of 50% | 7,200 units were distributed | Puerto Rico
2000-11-22 | Drugs | III | d-024/025-1 | A) Duphalac(r) (lactulose Solution, Usp), 10 G/15ml, In 8, 16, And 32- Fluid Ounce Units; B) Duphalac(r) (lactulose Solution, Usp), 20 G/30ml, In 30ml Unit Dose Cups | Solvay Pharmaceuticals | Solvay Pharmaceuticals, Inc | August 23, 2000 | Firm Withdrawal Of Application (stability Data) | 1,814,103 units were distributed | Nationwide
2000-11-22 | Biologics | III | b-220-1 | Source Plasma | Community Bio-resources | Community Bio-resources, Inc | December 22, 1998 | Blood Product Was Collected From A Donor Who Had A Hepatitis B Immunization One Day Prior To The Date Of Donation | 1 unit was distributed | Austria
2000-11-22 | Biologics | III | b-293/294-1 | A) Platelets; B) Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services, Detroit, Michigan | July 23, 1998 | A Unit Of Red Blood Cells Implicated In A Transfusion Reaction Was Found To Be Contaminated With Gram Positive Cocci | 1 unit of each component was distributed | Michigan
2000-11-22 | Biologics | III | b-298-1 | S Were Distributed | Manufacturer | Immucor, Inc | May 12, 2000 | Reactive Control Serum Exhibit Loss Of Reactivity | 585 test kits were distributed | Nationwide, Italy, Spain, Republic Of Georgia
2000-11-22 | Biologics | III | b-300-1 | Reagent Red Blood Cells, Panocell-10, Ficin Treated | Manufacturer | Immucor, Inc | July 29, 1998 | Ficin Solution Have A Shorter Expiration Date Than The Accompanying Reagent Red Blood Cells | 197 sets were distributed | Nationwide, Canada, Italy, Germany
2000-11-22 | Devices | II | z-001-1 | Hydrajust Iv Urological Table | Mallinckrodt | Mallinckrodt, Inc | June 12, 2000 | A Mechanical Failure May Allow The Table And Tube Arm To Freely Rotate Downward And Injure A Patient | 450 units were distributed | Nationwide And International
2000-11-22 | Devices | II | z-027-1 | Steri-oss Brand, Non-hexed Cylindrical Implants (endosseous Implants), Ha Coated, 3 | Manufacturer | Nobel Biocare Usa, Inc | August 16, 2000 | Some Of The Inner Vial Labels Were Incorrectly Placed On The 3 | 59 units were distributed | California, Florida, Kentucky, Louisiana, Ohio, New Jersey, New York, Utah
2000-11-22 | Devices | II | z-028/029-1 | Ecg Electrodes Intended For Use During Electrocardiographic Procedures: A) Invisatrace 1680, Radiotranslucent Clear Tape Ecg Electrode, Sold As Follows: Catatalog #1680-001, 1 Per Pouch, 30 Per Box, 600 Per Case Catatalog #1680-005, 5 Per Pouch, 50 Per Box, 600 Per Case, Cat | Conmed Corporation | Conmed Corporation, Rome, New York | September 20, 2000 | Some Electrodes In These Lots May Exhibit A Separation Of The Sensing Element From The Body Of The Electrode, Causing The Electrode Not To Function | a) 737 cases; b) 1,911 cases | Nationwide, Australia, Canada, Germany, Japan, The Netherlands, Spain, Taiwan
2000-11-22 | Devices | II | z-030-1 | Escort E300 Series Patient Monitor, Intended Use Is As An Electrocardiograph And Respiration Monitor | Manufacturer | Medical Data Electronics, Arleta, Georgia | July 7, 2000 | It Is Possible For The High Breath Rate Alarm To Function Incorrectly Under Certain Conditions | 483 units were distributed | Nationwide, Belgium, Canada, Czech Republic, England, Finland, France, Greece, Hong Kong, India, Italy, Korea, Kuwait, Netherlands, Norway, Russia, South Africa, Sweden, Switzerland, Taiwan, Roc, Turkey, United Arab Emirates, United Kingdom
2000-11-22 | Devices | II | z-031/035-1 | Pulse Generators, Intended For The Treatment Of Bradycarcdia: A) Meta Ddr, Model No | St. Jude Medical | Teletronics Pacing Systems, Miami Lakes, Florida | N/a | Dendritic Growth At The Battery/hybrid Connection Could Cause A Short Circuit, Which In Turn Could Result In Premature Battery Depletion | 10,345 devices were distributed | Nationwide And International
2000-11-22 | Devices | II | z-038-1 | Thoracentesis/paracentesis Kits (sterile), Catalog #tpk1001, Intended Use Is To Perform Thoracemtesis And Paracemtesis Procedures Using A Needle To Remove Thoracic Fluid | Manufacturer | Allegiance Healthcare Corporation, El Paso, Texas | September 8, 2000 | Unsterilized Kits Labeled As Sterile | 156 kits were distributed | Nationwide
2000-11-22 | Devices | II | z- 039/040-1 | Cryovalve Allograft, Human Heart Valve Replacement Implant | Manufacturer | Cryolife, Inc | July 21, 2000 | Donors Did Not Meet Current Guidelines Regarding Serodilution Of Plasma Because Of The Amount Of Transfused/infused Fluids | 5 valves were distributed | Pennsylvania, Texas, Maryland, California, Kentucky
2000-11-22 | Devices | II | z-041- 1 | Custom Procedure Trays, For Use In Cardiopumonary Bypass | Manufacturer | Edwards Life Science L | July 19, 2000 | The Sterility Of The Product Cannot Be Assured Due To Reports Of Some Open Seals | firm estimates none remains on the market | Alabama, Arkansas, Arizona, California, Colorado, Connecticut, Florida, Illinois, Indiana, Kentucky, Maryland Michigan, Missouri, North Carolina, New York, Ohio, Pennsylvania, Tennessee, Texas, Washington State, District Of Columbia
2000-11-22 | Devices | II | z- 048/049-1 | A) Sdl-fl-10/20 Series Fiber Laser; B) Sdl-fd-25 Fiber Coupled Laser Systems, Diode Laser Systems Used As Laser Marking Systems | Manufacturer. Fda Approved The Firm's Corrective Action Plan On November 2 | Sdl Inc | November 2, 2000 | The Laser Product Failed To Comply With The Federal Laser Product Performance Standard, 21 Cfr 10 40 | a) 293 units; b) 40 units were distributed | Nationwide And International
2000-11-22 | Devices | II | z-050/058-1 | Various Models Of Sscor Powered Suction Pumps Used Exclusively By Professional Personnel Trained In The Techniques Of Constant Suctioning To Clear The Airway By Removing Bodily Fluids And Particulate Matter: A) Suction Unit, Model No | Manufacturer | Sscor, Inc | June 28, 2000 | Presence Of Hairline Cracks In The Plastic Fuse Holders Which House A Fuse Required To Recharge The Suction Unit | 6,354 units were distributed | Nationwide, Mexico, Canada, Philippines, Chili
2000-11-22 | Devices | III | z-037-1 | Cardiac T Rapid Assay, Catalog #5740200, Intended For Use In The Qualitative Determination Of Cardiac Troponin T In Anticoagulated Venous Or Arterial Whole Blood | Roche Diagnostics Corporation |  | September 29, 2000 | Sodium Fluoride Interferes With The Assay And Results In Falsely Low Values | undetermined | Nationwide
2000-11-22 | Devices | III | z-042/043-1 | A) Cardiac M Assay, Catalog #1893840, Intended For Use With The Cardiac Reader Analyzer To Provide Rapid And Quantitative Measurements Of Cardiac Troponin T; B) Cardiac T Quantitative Assay, Catalog #1894307, For Use With The Cardiac Reader Analyzer To Provide Rapid And Quantitative Measurements Of Cardiac Troponin T | Roche Diagnostics Corporation | Roche Diagnostics, Gmbh, Mannheim, Germany | September 29, 2000 | The Use Of Blood Collection Devices Containing Sodium Fluoride Cause Falsely Low Results | undetermined | Massachusetts
2000-11-22 | Devices | III | z-044/046-1 | A) Precical, Catalog Nos | Manufacturer | Roche Diagnostics Corporation, Indianapolis, Indiana | May 15, 2000 | A Negative Bias Was Observed When Using The Calcium Setpoint Associated With These Lots Of Calibrators | 58,086 precial and 878,692 precitrol a and n | Nationwide