## Report-2000-11-29
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
2000-11-29 | Drugs | III | d-031/035-1 | Touro Brand Rx (cough And Cold; Allergy), In Unit Dose Packages Of Physician Samples As Follows: A) Touro Allergy Capsule, (brompheniramine Maleate 5 | Darthmouth Pharmaceuticals | Pharmafab, Grand Prairie, Texas | October 18, 2000 | Lack Of Data To Support Labeled Expiration Date | the amount of product in commerce is approximately as follows: touro allergy 966 boxes of 30 udps; touro cc 1004 boxes of 30 udps; touro dm 888 boxes of 30 udps; touro ex 546 boxes of 30 udps; touro la 670 boxes of 30 udps | Connecticut, Massachusetts, Rhode Island
2000-11-29 | Drugs | III | d-036-1 | Allerx(tm) Tablets, Pseudoephedrine Hcl 120 Mg, Methscopolamine Nitrate 2 | Manufacturer | Adams Laboratories, Inc | October 10, 2000 | Tablets In Reverse Order For Am And Pm Dispensing | 7,678 individual units were distributed; firm estimated that less than 5 percent of product remained on market at time of recall initiation | Nationwide And Puerto Rico
2000-11-29 | Biologics | II | b-314-1 | Plasma, Cryo Poor | Blood Systems | United Blood Services, Albuquerque, New Mexico | January 28, 1999 | Blood Products Were Incorrectly Tested For Unexpected Antibodies | 38 units were distributed | New Mexico
2000-11-29 | Biologics | II | b-319-1 | Red Blood Cells, Pheresis | Manufacturer | Mid-south Regional Blood Center, Memphis, Tennessee | December 15, 1997 | Blood Product Was Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 1 unit was distributed | Tennessee
2000-11-29 | Biologics | II | b-322-1 | Red Blood Cells | Manufacturer | Poudre Valley Health Systems Blood Bank, Fort Collins, Colorado | January 20, 1999 | Blood Product Was Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 1 unit was distributed | Colorado
2000-11-29 | Biologics | II | b-327-1 | Platelets, Pooled | Manufacturer | The Blood Center Of Southeastern Wisconsin, Inc | August 11, 2000 | Blood Product Was Collected From A Donor Who Had Experienced A Life- Threatening Allergic Reaction To A Medication | 1 unit was distributed | Wisconsin
2000-11-29 | Biologics | III | b-315-1 | Red Blood Cells | Blood Systems | Blood Systems, Inc | April 20, 1999 | Blood Product Was Labeled With An Extended Expiration Date. | 1 unit was distributed | Mississippi
2000-11-29 | Devices | II | z-005/006-1 | Mobile Digital Imaging Systems, C-arm Fluoroscopic X-rays: A) Series 7700; B) Compact 7700 | Manufacturer. Fda Approved The Firm's Corrective Action Plan Letter On October 26 | Ge Oec Medical Systems, Inc | October 26, 2000 | The Diagnostic X-ray Devices Were Found Defective Under 21 Cfr 1003 | 218 units were distributed | Nationwide And International
2000-11-29 | Devices | II | z-007-1 | Radiation That Is Unnecessary To The Accomplishment Of Its Primary Purpose And Which Creates A Risk Of Injury To The Operator And Patient | Manufacturer. Fda Approved The Firm's Corrective Action Plan Letter On October 26 | Ge Oec Medical Systems, Inc | October 26, 2000 | The Diagnostic X-ray Devices Were Found Defective Under 21 Cfr 1003 | 795 units were distributed | Nationwide And International
2000-11-29 | Devices | II | z-018/019-1 | Radiation That Is Unnecessary To The Accomplishment Of Its Primary Purpose And Which Creates A Risk Of Injury To The Operator And Patient | Manufacturer | Ortho-clinical Diagnostics, Inc | November 13, 1998 | The Vitros Calibration Diskette Drv 5285 Contained Revised Parameters That Affected The Time During Which Readings Were Taken By The Instrument To Calculate Reaction Rates | 1,643 diskettes, affecting over 1,902 digoxin gen 48 packs | Nationwide, England, France, Germany, Italy
2000-11-29 | Devices | II | z-026-1 | Steri-oss Brand Hl Cylindrical Implants (endosseous Implants), Tps Coated, 3 | Manufacturer | Nobel Biocare Usa, Inc | August 16, 2000 | The Inner Vial Label And The Vial Cap Were Mislabeled As 12 Mm And Not 14 Mm | 59 units were distributed | Arizona, California, Connecticut, Georgia, Kentucky, Massachusetts, New York, Oregon, Texas, Israel, Japan
2000-11-29 | Devices | II | z-036-1 | Meta Pulse Generators | St. Jude Medical | Teletronics Pacing Systems, Miami Lakes, Florida | June 6, 2000 | These Devices Have Shown An Increased Risk Of Failure Of The Pacer Processing Integrated Circuits (ic) That Controls The Pulse Generator | 1,848 were implanted | Nationwide And International
2000-11-29 | Devices | II | z-047-1 | Gemstar Ambulatory Pca Infusion Pump | Manufacturer | Abbott Laboratories, San Diego, California | September 6, 2000 | The Devices Have A Dimensional Problem In The Latch Retaining Pin For The Battery Door That Can Work Its Way Out Of The Door And Then The Door Cannot Be Closed | approximately 500 units were distributed | Nationwide And International
2000-11-29 | Devices | II | z-066-1 | Accu-chek Voicemate System, Catalog #2030802, Designed For Testing Glucose In Whole Blood By Visually Impaired Persons With Diabetes | Roche Diagnostics Corporation | Sci Systems, Inc | October 18, 2000 | The Advantage Blood Glucose Meter Placed In One System Reports Results In Mmol/l Instead Of Mg/dl, Which May Result In An 18-fold Difference In The Numbers Reported Out To The Patient Over The Voice Readout Of The Device | 200 units were distributed | Nationwide
2000-11-29 | Devices | II | z-067-1 | Esprit Ventilator With 10 | Manufacturer | Respironics, Inc | September 21, 2000 | There Is A Design Deficiency And The Backlight Inverter Pcb Needs To Be Insulated | 53 units were distributed | Nationwide And Japan
2000-11-29 | Devices | II | z-075-1 | Belisle Brand Advanced Facial Muscular Therapy, An Electrical Muscle Stimulator System | Manufacturer | Belisle Systems, Inc | July 19, 2000 | Device Was Marketed Without A 510(k) Or Pma | 30 units | Texas, New York, California, Kansas, Oklahoma, Georgia, Virginia, Oklahoma, Florida, North Dakota, Louisiana
2000-11-29 | Devices | III | z-059/060-1 | A) Ventrix(r) Brand Of Ventricular Tunneling Pressure Monitoring Kit, Model Nl950-v; B) Complete Ventricular Tunneling Kit, Model #nl950-c | Manufacturer | Integra Neurosciences, San Deigo, California | August 15, 2000 | Some Kits Were Packaged With An Incorrect Trocar/sheath Assembly | 84 units were distributed | Alabama, Arkansas, California, Illinois, Massachusetts, North Carolina, New Jersey, New York, Ohio, Oregon, Pennsylvania, Texas, Virginia, Venezuela
2000-11-29 | Devices | III |  | Roche Control Serum N (human), Catalog #0737119, Intended As An Assayed Quality Control Material To Monitor The Accuracy And Precision At Normal Concentration Levels In Quantitative Clinical Chemistry Assays | Manufacturer | Roche Diagnostics Corporation, Indianapolis, Indiana | September 18, 2000 | The Normal Control Show A Significant Decrease In Recovery Of Direct Bilirubin | 750 kits with 20 vials each were distributed | Nationwide
2000-11-29 | Devices | III | z-062-1 | Roche Creatinine Enzymatic Reagent, Cobas Integra 400 And 700 Analyzer Operators, Catalog #0763144, Reagent Intended For Use On The Cobas Integra Analyzer For The Kinetic Quantitative Determination Of Creatinine Concentration In Serum, Plasma Or Urine | Roche Diagnostics | Roche Diagnostics, Mannheim, Germany | September 19, 2000 | Device May Give Falsely Negative Results Due To Hemoglobin Interference | 2,010 units were distributed | Nationwide
2000-11-29 | Devices | III | z-063-1 | Elecys Estradiol Assay, Catalog #1776002, An In-vitro Quantitative Determination Of Estradiol In Human Serum And Plasma | Roche Diagnostics Corporation | Roche Diagnostics, Gmbh, Mannheim, Germany | April 12, 2000 | A Shift In Recovery Was Identified For This Lot In Comparison To The Previous Lot Manufactured | 2,636 kits were distributed | Nationwide
2000-11-29 | Devices | III | z-064/065-1 | Tina-quant Crp, For The Quantitative Measure Of C-reactive Protein (crp) In Serum And Plasma On Automated Clinical Chemistry Analyzers: A) Catalog #1551922; B) Catalog #1299859 | Roche Diagnostics Corporation | Nissui Pharmaceutical Company, Ltd | May 00, 2000 | Neonatal Specimens May Initially Produce Falsely Elevated Crp Results | 3,042 kits were distributed | Nationwide And Canada