## Report-2000-12-13
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
2000-12-13 | Drugs | II | d-053/054-1 | A) Synthroid(r) Tablets (levothyroxine Sodium Tablets, Usp) 112 Mcg (0 | Knoll Pharmaceutical Company |  | November 16, 2000 | Mis-packaging - 100 Mcg Product Was Packaged Into 200 Mcg Card. | a) 17,476 (boxes of 4 cards); b) 12,998 (boxes of 4 cards) were distributed | Undetermined
2000-12-13 | Drugs | G | d-052-1 | Skin Guardian, In 2-ounce Aerosol Cans, Otc Topical Skin Protectant | Manufacturer | , By Telephone On October 17, 2000 | October 17, 2000 | Product Is An Unapproved New Drug | 110 cases (24 units per case) were distributed | Oklahoma
2000-12-13 | Drugs | ) | d- 055-1 | Ibuprofen Tablets, Usp, 400 Mg, In Blister Packs 10 X 10 Tablets, Rx Oral Non-steroidal Anti-inflammatory Agent | Watson Pharmaceutical |  | November 2, 2000 | Dissolution Failure (3-month Stability) | 5,809 cartons were distributed; firm estimated that less than 5 percent of product remained on market at time of recall initiation | Nationwide
2000-12-13 | Drugs | ) | d-056-1 | Triaminic(r) Vapor Patch(tm) Menthol Scent, Cough Suppressant, (camphor 4 | Novartis Consumer Health |  | December 4, 2000 | Pouch Seal Failures (opening Along Top, Sides And/or Bottom) | approximately 56,544 cartons of lot le505342; 50,040 cartons of lot le505483; 53,928 cartons of lot le505503, 42,720 cartons of lot le505536; 5,856 cartons of lot le505588; 14,328 cartons of lot le505680 were distributed | Nationwide
2000-12-13 | Biologics | S | b-317-1 | Platelets, Pheresis | Manfacturer |  | July 27, 2000 | Blood Products Were Processed In A Manner That May Have Compromised The Sterility Of The Units | 9 units were distributed | Ohio And Arizona
2000-12-13 | Biologics | E | b-330/332-1 | A) Red Blood Cells; B) Platelets; C) Plasma | Manufacturer | , By Fax On May 19, 2000, And By Letter Dated June 1, 2000 | May 19, 2000 | Blood Products Were Collected From Donors Whose Arms Had Not Been Adequately Prepared Prior To Venipuncture | a) 221 units; b) 22 units; c) 72 units were distributed | Maryland, Virginia, Pennsylvania, District Of Columbia
2000-12-13 | Biologics | ) | b-350-1 | Corneas | Heartland Lions Eye Banks |  | November 3, 2000 | Corneas Were Collected From A Donor Who Tested Repeatedly Reactive For The Antibody To The Hepatitis B Core Antigen (anti-hbc) | 2 units were distributed | Kansas And Ohio
2000-12-13 | Biologics | N | b-351-1 | Corneas | Heartland Lions Eye Banks |  | October 25, 2000 | Cornea Was Collected From A Donor Who Tested Repeatedly Reactive For The Antibody To The Hepatitis C Virus And The Hepatitis B Core Antigen | 1 unit was distributed | Illinois
2000-12-13 | Devices | II | z-096-1 | Sterichek Total Chlorine Reagent Strips, 100-test Strips, Product #811904, Designed To Measure Low Levels Of Total Chlorine In Feed Water Used To Prepare Solutions For Kidney Dialysis | Manufacturer | , By Letter Dated June 30, 2000 | June 30, 2000 | The Test Strips Which Are Intended To Measure Very Low Chlorine Levels In Water Used For Dialysis Are Ineffective When Used To Measure High Levels Of Chlorine | approximately 1,025 bottles | Nationwide And Japan
2000-12-13 | Devices | II |  | Model Smoothlase Alexandrite Laser System, Used In Dermatology | Manufacturer. Fda Approved The Firm's Corrective Action Plan On December 1 | . Fda Approved The Firm's Corrective Action Plan On December 1 | December 1, 2000 | Device Failed To Comply With 21 Cfr 1010 | 9 units were distributed | Nationwide
2000-12-13 | Devices | II |  | Lacked Certain Required Labels And Operator's Manual Lacked Calibration Procedures And Labels | Manufacturer | , By Letter On October 3, 2000 | October 3, 2000 | Device Was Incorrectly Labeled As Sterile When It Was Not Properly Sterilized | 22 units were distributed | California, Florida, Germany, Korea, United Kingdom, Canada, Peru
2000-12-13 | Devices | II | z-110/111-1 | Vip Gold Ventilator; B) Vip Sterling Ventilator | Manufacturer | , By Letter October 6, 2000 | October 6, 2000 | There Is A Failure To Cycle And To Alarm During Deliberate Disconnect | 298 units were distributed | Nationwide And International
2000-12-13 | Devices | III | z-081/082-1 | Electronic Video Colonoscope, A Gastrointestinal Video System: A) Model Ec-200lr, For The Lower Gastrointestinal Tracts; B) Model No | Fujinon |  | August 30, 2000 | The Video Colnonoscope Bending Sections Cannot Be Properly Manipulated | 36 units | Nationwide And Canada
2000-12-13 | Devices | III | z-094-1 | Vitros C-reactive Protein (crp) Slides Gen 18, Quantitatively Measure C- Reactive Protein Concentration In Serum And Plasma | Manufacturer | , By Memorandum Dated March 15, 1999 | March 15, 1999 | Slides Contained Cartridges From Two Different Generations That Were Mixed | 291 packs were distributed | Germany And Sweden
2000-12-13 | Devices | III | z-095-1 | Immulite Brand Of Cmv Igg Test Kit, Model L2kcv2, An In-vitro Diagnostic Device | Manufacturer | , By Letter Dated September 12, 2000 | September 12, 2000 | The Barcode Used To Label The Adjustor Kit Component Had An Error That Caused The System To Reject It | 7 kits were distributed | Kansas, New Jersey, India, The Netherlands
2000-12-13 | Devices | III | z-105-1 | Acn Biopsy Needle, Part #(model) Acn1410mf, Used For Obtaining Multiple Core Samples From Soft Tissue Such As The Liver, Kidney, Prostate, Breast And Various Other Soft Tissue Lesions | Manufacturer | , By Letter On October 23, 2000 | October 23, 2000 | Needle Did Not Operate Smoothly In Gun, Potentially Affecting Quantity Of Sample | 2,374 units were distributed | Nationwide And International
2000-12-13 | Devices | III | z-108/109-1 | A) Osteonics C-taper Head 26 Mm, + 0, Catalog No | Manufacturer | , By Letter On September 22, 2000 | September 22, 2000 | Packages Labeled Catalog No | 32 units were distributed | Nationwide And Australia
2000-12-13 | Devices | III | z-112-1 | Immulite 2000 Pap Ivd Test Kit, For The Chemiluminescent Enzyme Immunometric Assay For The Quantitative Measurement Of Prostatic Acid Phosphatase | Manufacturer | , By Technical Bulletins Faxed On November 3 And 6, 2000, Followed By Telephone On November 6, 2000 Firm-initiated Recall Ongoing | November 3, 2000 | The Second Full Reagent Wedge Of The Same Lot On The System Will Erroneously Be Recognized As Being Empty, No Further Processing Will Take Place And Test Results Will Not Be Possible To Obtain | 17 kits were distributed | Arizona, California, Missouri, New Jersey, Texas, Utah, Australia, Brazil, Germany, Italy, Spain, Sweden, Switzerland, Turkey, United Kingdom
2000-12-13 | Devices | III | z-113-1 | Roche C | Roche Diagnostics Corp. |  | October 31, 2000 | The Setpoints Of The Master Lot And Customer Lot Produce Small Bias That May Produce Calcium Results Too High | approximately 10,000 kits were distributed | Nationwide And Puerto Rico
2000-12-13 | Devices | III | z-114-1 | Abbott Multiconstituent Calibrator, For Use With The Alcyon Analyzer And Aeroset System For The Calibration Of Albumin, Calcium, Cholesterol, Creatinine, Glucose, Phosphorus, Total Protein, Triglycerides, Urea Nitrogen, And Uric Acid | Abbott Laboratories |  | June 14, 2000 | The Stability Failure Of The Multiconstituent Calibrator (mcc) | 1,733 kits were distributed | Nationwide, Mexico, Venezuela, Colombia, Dominican Republic, Canada, Germany, Hong Kong, Singapore, Australia, New Zealand, Curaco