## Report-1995-01-25
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1995-01-25 | Drugs | II | d-050-5 | Alupent (metaproterenol Sulfate Usp) Inhalation Complete With Mouthpiece, 200 Metered Doses, Rx Used In The Treatment Of Asthma | Boehringer-ingelheim Pharmaceuticals | 3-m Pharmaceuticals, Inc | January 9, 1995 | Product Does Not Meet Particle Size Specifications. -2- | 75,034 units of lot 930181a, 71,566 units of lot 930183a, 59,048 units of lot 930184b, 7,845 units of lot 930184c, 12,128 units of lot 930732b were distributed | Nationwide
1995-01-25 | Drugs | III | d-046-5 | Anacin Coated Analgesic Tablets, Otc, In 2 And 12 Count Tins | Manufacturer | Whitehall Robins, Hammonton, New Jersey | April 4, 1994 | Product Does Not Meet Content Uniformity Specification For Caffeine Ingredient | 113,400 tablets were distributed | Nationwide
1995-01-25 | Drugs | III | d-047-5 | Momentum Muscular Backache Formula Caplets, Otc Analgesic, In Bottles Of 24 | Manufacturer | Whitehall Robins, Division Of American Home Products Corporation, Hammonton, New Jersey | April 4, 1994 | Product Does Not Meet Stability Specification For Disintegration | 212,688 tablets were distributed; firm estimates none remains on market | Nationwide
1995-01-25 | Drugs | III | d-048-5 | Dristan 12-hour Nasal Spray, In 1/2 Fluid Ounce Bottles, Otc Nasal Spray | Whitehall-robins | Whitehall Robins, Inc | November 2, 1993 | Warning Statement On Immediate Container Label Did Not Appear On Unit Carton | 36,496 dozen bottles were distributed; firm estimates none remains on market | Nationwide
1995-01-25 | Drugs | III |  | Preparation H Hemorrhoidal Suppositories, Otc Rectal Vasoconstrictor Suppository, In 12, 24, 36 And 48 Count Cartons | Manufacturer | Whitehall Robins, Division Of American Home Products Corporation, Hammonton, New Jersey | April 4, 1994 | Preservative Ingredient Is Marginally Subpotent | firm estimates none remains on the market | Nationwide
1995-01-25 | Drugs | III | d-051-5 | Amantadine Hydrochloride Capsules, Usp, 100 Mg, Rx Oral Drug For The Prevention Or Chemoprophylaxis Of And The Treatment Of Respiratory Tract Illness | Udl Laboratories | Chase Laboratories, Newark, New Jersey | January 12, 1995 | Product Does Not Meet Usp Content Uniformity Specifications | 5,262 cartons of 100 unit dose capsules were distributed; firm estimated that 50% of the product remained on market at time of recall initiation | Nationwide
1995-01-25 | Drugs | III | d-052-5 | Regular Strength Acetaminophen Tablets, 325 Mg, Packaged In 100 And 1000 Tablet Bottles, Then Repackaged Under The Goldline And Kerr Labels | Manufacturer | Granutec, Inc | December 21, 1994 | Presence Of Metallic Particles In The Product | 6 | Florida, North Carolina, Ohio
1995-01-25 | Devices | II | z-254-5 | Siemens Conventional Mevatron Linear Accelerator System, Used To Provide Teletherapy X-ray Beams For The Treatment Of Cancer | Manufacturer | Siemens Medical Systems, Inc | June 14, 1994 | A Design Defect In The Software Allows The Entry, And Acceptance Of Erroneous Treatment Parameters When Using The Mevatron Linac System | approximately 800 units | Nationwide And International
1995-01-25 | Devices | II | z-258-5 | Rms-2000 Radiation Management System | Manufacturer | Varian Associates, Inc | February 19, 1993 | A Bug In The System's Novelle Netware (ver 3 | 50 units | Nationwide And International
1995-01-25 | Devices | II | z-259/263-5 | Clinac Medical Linear Accelerators: (a) Model Cl 12-8; (b) Model Cl-12-10; (c) Model Cl 18-20; (d) Model Cl 1800; (e) Model Cl 2100 C | Manufacturer | Varian Associates, Inc | April 21, 1992 | A Carousel Misalignment Caused Several Incidences Of Random Transverse Beam Asymmetry | approximately 400 units | Nationwide And International
1995-01-25 | Devices | II | z-252/253-5 | Medrad Disposable Syringes, Fluid Delivery Products, Packaged As (a) Ct Tri-paks; (b) 200 Ml Fasturn Syringes | Medrad | Medrad, Inc | March 22, 1994 | The Sterility Of The Device Has Been Compromised By A Loss Of Package Integrity, I | 96 packaged devices | California, Colorado, Florida, Kentucky, Tennessee, Utah, Virginia
1995-01-25 | Devices | II | z-299-5 | Image Receptor Support Device (irsd), Model 4512-590-12681, Used To Provide Breast Cancer Screening And/or Diagnosis Through Radiography Of The Breast | Manufacturer. Fda Approved The Firm's Corrective Action Plan December 21 | Lorad Corporation, Danbury, Connecticut | December 21, 1994 | The Fourth Position Of The Automatic Exposure Control (aec) Detector In The Irsd Was Insufficiently Leaded And Transmission Limit Exceeded 0 | 24 units | Nationwide
1995-01-25 | Devices | II | z-301-5 | S. _______________ product Auto Suture Premium Ceea Disposable Stapler | Manufacturer | United States Surgical Corporation, Norwalk, Connecticut | October 7, 1994 | The Low Profile Anvil Head Can Come Off During Firing | 11,010 units | Nationwide And International
1995-01-25 | Devices | III | z-270/274-5 | Allergan "resolve/gp" Daily Cleanser For Cleaning Rigid Gas Permeable And Hard Contact Lenses: (a) Resolve/gp Daily Cleaner In 30 Ml Bottles, Part #515; (b) Resolve/gp Daily Cleaner In 5 Ml Bottles; (c) Wet-n-soak Kit, Part #6635 (contains 5 Ml Bottle); (d) Wet-n-soak Kit, Part #180kt (contains 5 Ml Bottle); (e) Wet-n-soak Kit, Part #854 (contains 5 Ml Bottle) | Allergan | Allergan America, Hormigueros, Puerto Rico | November 9, 1994 | : The Resolve/gp Daily Cleaner Was Misformulated To Contain Less Than The Required Amount Of One Of Its Surfactant Ingredients And Does Not Meet Its Physical Appearance Specifications | approximately 293,960 bottles were distributed; firm estimated that 50,000 bottles remained at time of recall initiation | Nationwide And Russia
1995-01-25 | Devices | III | z-275/277-5 | Elisa Serology Test Kits: (a) Herpes Simplex Virus 1 Igm Elisa Serology Test Kit, Catalog #2305450, For The Detection Of Igm Antibodies To Herpes Simplex Virus 1 Antigen In Human Serum; (b) Chlamydia Trachomatis Igg Elisa Serology Test Kits, Catalog #2306200, For The Detection Of Igg Antibodies To Chlamydia Trachomatis Antigen In Human Serum; (c) Mumps Igg Elisa Serology Test Kits, Catalog #2305900 For The Detection Of Igg Antibodies To Mumps Antigen In Human Serum, For Vitro Diagnostic Use | Manufacturer | Clark Laboratories, Inc | September 19, 1994 | The Absorbance Values For Controls And Specimens Are Lower Than Expected | (a) 608 units; (b) 98 units; (c) 214 units were distributed | Maryland, Florida, Greece, Turkey, Chile, Mexico, Israel, Australia, Portugal, Spain
1995-01-25 | Devices | III | z-278-5 | Spottest Voges-proskauer Reagent A, In-vitro Diagnostic Kit Used For Determining The Ability Of Bacteria To Produce Acetylmethyl Carbinol As An End Product Of Glucose Metabolism | Repacker | Difco Laboratories, Mausten, Wisconsin (repacker) | October 20, 1994 | The Label On The Product Incorrectly States The Device Is Spottest Voges-proskauer Reagent B | 88 boxes | Kentucky, Texas, New Jersey, Georgia, Florida, Illinois, Michigan, Ireland, Finland, Greece, Taiwan
1995-01-25 | Devices | III | z-279/280-5 | Qbc Centrifuge Power Supply, 120/220 Volt, Supplied With The Qbc Centrifuge: (a) Qbc Centrifuge, Catalog #424740; (b) Qbc Centrifuge Power Supply Supplied As A Replacement Part, Catalog #42474004 | Manufacturer | Becton Dickinson, Primary Care Diagnostics, Sparks, Maryland | October 10, 1994 | A Defective Component In The Power Supply May Produce A Visual Flash And Smoke | 1,034 units were distributed | Nationwide
1995-01-25 | Devices | III | z-281/282-5 | Precise Hcg Test Kit Used In The Detection Of Human Chorionic Gonadotropin (hcg) In Urine Specimens For The Early Detection Of Pregnancy: (a) Catalog #496220, 200 And 40 Test Kits; (b) Catalog #496240, 200 And 40 Test Kits | Manufacturer | Becton Dickinson Advanced Diagnostics, Sparks, Maryland | September 26, 1994 | False Positive Results In Excess Of Expected Specificity Levels Of 99 | 2,971 units were distributed | Nationwide
1995-01-25 | Devices | III | z-309-5 | Peptostreptococuss Anaerobius Atcc 27337, Bacti Disk, An In- Vitro Diagnostic Product Recommended For Use In Laboratory Quality Assurance Procedures | Manufacturer | Remel Limited Partnership, Lenexa, Kansas | July 28, 1994 | An Additional Colony Type (peptostreptococcus Spp) Was Present Upon Rehydration | firm estimates none remains on the market | Nationwide, Australia, Canada
1995-01-25 | Devices | III | z-310-5 | Loefflers Medium Slant Tubes, An In-vitro Diagnostic Used In The Cultivation Of Corynebacterium Diphtheriae | Manufacturer | Remel Limited Partnership, Lenexa, Kansas | August 1, 1994 | The Medium Is A Broth Instead Of A Slant | 140 tubes were distributed; firm estimates none remains on the market | California, Texas, Missouri, Oklahoma
1995-01-25 | Devices | III | z-311-5 | Edms Anaerocult C-mini Set, Mini Sachets And Incubation Bags, An In-vitro Diagnostic Product Packed 25 Sachets And Incubation Bags Per Box | Remel Limited Partnership | Em Diagnostic Systems, Gibbstown, New Jersey | May 9, 1994 | The Actual Expiration Date Was 6/30/94 And Was Correct On The Outside Box, But The Individual Product Was Relabeled With An Expiration Date Of 11/30/94 | 50 units were distributed | Maryland, Massachusetts, Delaware, Michigan, Virginia, North Carolina, California, Kansas
1995-01-25 | Devices | III | z-315/316-5 | Fibrinogen Reagents And Veronal Buffer, Used For Quantitative Determination Of Fibrinogen In Human Serum For Coagulation Studies: (a) Dade Owren's Veronal Buffer, Catalog B4234-25; (b) Dade Data-f Fibrinogen Determination Reagents, Catalog #b4233-15 | Baxter Diagnostic | Baxter Diagnostic Of Puerto Rico, Inc | June 19, 1994 | When Either Of The Two Lots Of Buffer Were Used As A Diluent In The Fibrinogen Determination, The Control Values Were Out Of Range When Read Against A Calibration Curve Constructed With Another Lot Number Of Buffer | (a) 64,629 vials; (b) 5,908 packages were distributed | Nationwide And International