## Report-1995-02-01
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1995-02-01 | Drugs | III | d-053-5 | pseudoephedrine 60 Mg/guaifenesin (maxifed-g), 500 Mg tablets, Rx Decongestant, In Bottles Of 100 | american Pharmaceuticals | Mikart, Inc | November 2, 1994 | a Bottle Was Found To Contain A Foreign Tablet (pyrazinamide 500 Mg) | 2,488 bottles were distributed | georgia, Alabama, Tennessee, Louisiana, Pennsylvania, North carolina, Mississippi, Virginia, South Carolina, Florida, illinois
1995-02-01 | Drugs | III | d-054-5 | isocom Capsules, Rx, Used For The Treatment For Relief Of vascular And Tension Headaches, In Bottles Of 50, 100, And 250 | manufacturer | nutripharm Laboratories, Inc | August 31, 1994 | insufficient Stability Data To Support Expiration Date | firm estimates few bottles remain on market | nationwide
1995-02-01 | Drugs | III |  | century Pharmaceuticals Brand Potassium Chloride 20% solution In Pint Bottles, Rx Source Of Potassium | manufacturer | century Pharmaceuticals, Inc | January 14, 1994 | presence Of Mold In Product | 932 pints were distributed | maryland, Mississippi, Arizona, South Dakota, Nebraska, minnesota, Wyoming, New Mexico
1995-02-01 | Biologics | II= | b-152-5 | all Products Distributed From Units Collected Between March 23, 1994, And March 27, 1994 | manufacturer | the American National Red Cross, Charlotte, North Carolina | March 29, 1994 | blood Products, Incorrectly Tested For Antibodies To Human immunodeficiency Virus Types 1 And 2 (anti-hiv-1/2), Were distributed | undetermined | undetermined
1995-02-01 | Biologics | II= | b-153-5 | red Blood Cells, Leukocytes Removed | manufacturer | united Blood Services Blood Systems, Inc | February 2, 1994 | blood Products, In Which Filtration And The Addition Of additive Solution Occurred More Than Eight Hours After collection, Was Distributed | 2 units | texas
1995-02-01 | Devices | II= | z-145/146-5 | motorized Three-wheeled Vehicle, A Battery Powered Device intended For Medical Purposes That Is Used For Outside transportation By Disabled Persons: (a) Legend Model #sc300; (b) Sunrunner Model Sc400 | manufacturer | pride Health Care, Inc | April 5, 1993 | the Base Of The Seat Component Of The Device Was Not Welded properly, Which Could Cause The Seat Component To Break Off the Device | firm estimates there are no uncorrected scooters in commerce | arkansas, California, Colorado, Florida, Connecticut, illinois, Iowa, Minnesota, New York, North Carolina, nebraska, Ohio, Pennsylvania, Texas, Wisconsin, Louisiana, kentucky, Washington State, Oregon, Canada
1995-02-01 | Devices | II= | z-314-5 | stryker Thermaltek 300 Portable Patient Warmer | manufacturer | stryker Patient Handling, Kalamazoo, Michigan | September 27, 1994 | when The Warming Device Is Set On "high", The Device Does not Automatically Cool Down After A Period Of Time, resulting In Patient Burns | 293 units were distributed | nationwide And International
1995-02-01 | Devices | II= | z-331/332-5 | vector Mti Ambulatory Infusion Pumps: (a) Model 102040; (b) Model 102045 | manufacturer | infusion Technology, Inc | November 7, 1994 | when The Infusion Pump Is Set To The Total Parenteral nutrition Mode, The Pump Allows The Potential For An incorrect Infusion Rate, But Will Not Over-infuse | 88 units were distributed | nationwide
1995-02-01 | Devices | II= | z-147/148-5 | c-taper Head/modular Femoral Bearing Head: (a) 26 Mm, catalog #06-2605; (b) 28 Mm, Catalog #06-2805 | manufacturer | osteonics, Inc | March 1, 1994 | packaging Mix-up -- The 26 Mm Labeled Package May Contain the 28 Mm Unit, Or Vice Versa | 80 units were distributed | nationwide And Japan
1995-02-01 | Devices | II= | z-300-5 | aldetect Formaldehyde Test Reagent For In-vitro Diagnostic use, Product Is Sold As 0 | dewallace Technical Sales | pochemco, Inc | June 13, 1994 | product Exhibits Discoloration | 44 cases of lot 5240, 46 case of lot 5241, 45 cases of 5242 were distributed; firm estimates none of these lots remain on the market | Nationwide
1995-02-01 | Devices | II= | z-305-5 | abbott Vision Glycated Hb Calibrator Kit, Used For calibrating The Abbott Vision Glycated Hb Test On The Abbott vision System To Generate A Calibration Curve Used To determine The Percent Hemoglobin A1c In A Specimen | manufacturer | abbott Laboratories, Diagnostics Division, Abbott Park, illinois | May 9, 1994 | this Lot Of The Calibrator Kit Had A Higher Value Than assigned | 2,567 sets were distributed | nationwide, Canada, Brazil, Italy, Japan, Singapore, Taiwan, Australia, Germany
1995-02-01 | Devices | II= | z-306-5 | blood Agar (tsa With Sheep Blood), An In-vitro Diagnostic plated Media Used As A General Purpose Medium For The Growth of A Wide Variety Of Microorganisms | manufacturer | remel Limited Partnership, Lenexa, Kansas | June 13, 1994 | the Plates Had Bacterial Contamination | firm estimated that none of lot 2042 remained on the market | florida, Nebraska, Missouri, Texas, Illinois, Wisconsin, michigan, Minnesota, Alabama, South Carolina, Georgia, North carolina, Indiana, Ohio, Pennsylvania, Oklahoma, Iowa
1995-02-01 | Devices | II= | z-307-5 code catalog #06-2412 | phenol Red Broth With 1% Sorbitol, An In-vitro Diagnostic recommended For Use In Qualitative Procedures For The determination Of Fermentation Reactions Of Micoroganisms | manufacturer | remel Limited Partnership, Lenexa, Kansas | June 9, 1994 | the Box Labeled As Phenol Red Broth W 1% Sorbitol Contained the Product Cta Dextrose | 640 tubes were distributed; firm estimates none remains on the market | wisconsin, California, Texas, Georgia, Ohio, Connecticut, missouri, New York, Virginia
1995-02-01 | Devices | II= | z-308-5 | bordetella Pertussis Atcc 9340 Bacti Disk, An In-vitro diagnostic Product Recommended For Use In Laboratory Quality assurance Procedures | manufacturer | remel Limited Partnership, Lenexa, Kansas | April 1, 1994 | the Bacti Disk Labeled As Bordetella Pertussis Atc 9340 actually Contained The Organism Bordetella Parapertussis | 17 vials were distributed; firm estimates none remains on the market | iowa, Florida, California, Ohio, Indiana, Michigan, New york, Illinois, Arkansas, Maryland, Kansas
1995-02-01 | Devices | II= | z-312/313-5 | penile Implants: (a) Ultrex Plus 18 Cm Infrapubic Implant, part #72401467; (b) Ultrex Plus 18 Cm Penile Scrotal implant, Part #72401466 | manufacturer | american Medical Systems, Inc | October 5, 1994 | the Tubing Between The Cylinders And The Pump Is Too Short in Lot Aj767 And Too Long In Lot Aj766 | firm reported that as of 11/17/94 8 of the 10 penile scrotal implants (the other two had been implanted) and 9 of 9 infrapubic implants had been returned to ams | texas, North Carolina, California
1995-02-01 | Devices | II= | z-317/318-5 | ultracast Non-convertible Buccal Tubes, Used With Dental braces To Translate Torque And Rotational Forces From The band To The Teeth: (a) Maxillary Double Tube With Mesial hook, Catalog Numbers 003-291cr, 003-291cl, 003-293cr, 003- 293cl; (b) Mandibular Double Tube With Ball Hook, Catalog numbers 004-213cr, 004-213cl, 004-214cr, 004-214cl | manufacturer | American Orthodontics corporation, Sheboygan, Wisconsin | March 19, 1993 | tubes Are Made Of Stainless Steel With A High Carbon Content which Causes Them To Be Brittle | approximately 5,400 tubes were distributed; firm estimates none remains on the market | nationwide
1995-02-01 | Devices | II= | z-327-5 | abbott Vision Crp (c-reactive Protein) Reagent, Used With the Abbott Vision System For The Quantitative Determination of C-reactive Protein In Anticoagulated Whole Blood, Plasma, or Serum | manufacturer | abbott Laboratories, Abbott Park, Illinois | December 19, 1994 | this Lot Of The Abbott Vision C-reactive Protein Reagents the Calibrator A Has A Higher Value Than Assigned | 1,572 10-packs were distributed | alabama, Arkansas, California, Florida, Georgia, Illinois, Indiana, Iowa, Michigan, Montana, New York, North Carolina, Oklahoma, Pennsylvania, Tennessee, Texas
1995-02-01 | Devices | II= |  | digiflator Digital Inflation Devices: (a) Mansfield, Product Number 1520, 20 Cc, Angioplasty (b) Microvasive, Product Number 5050, 60 Cc, gastrointestinal (c) Microvasive, Product Number 5055, Alimentary Tract Use (d) Microvasive, Product Number 705-108, 20 Cc, Urological; (e) Microvasive, Product Number 705-109, 20 Cc, Urological, 12/box; (f) Medi-tech, Product Number 15-150, 20 Cc, Percutaneous angioplasty; (g) Medi-tech, Product Number 15-151, 20 Cc, Percutaneous angioplasty |  | south East Instruments Medical, Inc | unknown recall date | loss Of Electronic Display And Accuracy Of Pressure Display | firm estimated that 2,386 units remain on market | nationwide And International