## Report-1995-02-08
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1995-02-08 | Drugs | II | d-057-5 | Hydroxyzine Hcl Syrup For Oral Administration, In 16 Fluid Ounce And In 1 Gallon Bottles, Indicated For The Symptomatic Relief Of Anxiety And Tension | Manufacturer | Barre-national, Inc | January 11, 1995 | Subpotenc | 33,032 16-fluid ounce bottles and 598 64-fluid ounce bottles were distributed | Nationwide
1995-02-08 | Drugs | II | d-056-5 | Xescan (xenon In Oxygen Usp) Contrast Enhancement Agent In 605 | Manufacturer | Praxair, Inc | November 19, 1993 | Cylinder Valve Was Not Secure | 1 cylinder | Pennsylvania
1995-02-08 | Drugs | II | d-058-5 | Kol-spans/sina-spans, And All Other Private Label Brands Of The Firm's Timed Release Medicines For Relief Of Cold Discomforts, Distributed In 15, 30, And 1000 Caplet Bottles | The Reese Chemical Company | Wildflower Vitamin Corporation, Mineola, New York | January 16, 1995 | Label Declares "timed Release | approximately 500,000 tablets were distributed | Nationwide
1995-02-08 | Biologics | II | b-155-5 | Red Blood Cells, Leukocytes Removed | Manufacturer | United Blood Services, Chicago, Illinois | May 6, 1994 | Blood Products Were Distributed For Transfusion Labeled With Incorrect Expiration Date. | 2 units | Illinois
1995-02-08 | Biologics | III | b-154-5 | Red Blood Cells | Manufacturer | American Red Cross Blood Services, Peoria, Illinois | October 20, 1994 | Blood Products Which Were Labeled With Incorrect Expiration Dates Were Distributed | 2 units | Illinois
1995-02-08 | Biologics | III | b-156-5 | Red Blood Cells | Manufacturer | Blood Center Of Southeast Texas, Inc | July 5, 1994 | Blood Products Labeled With Incorrect Expiration Dates Were Distributed | 2 units | Texas
1995-02-08 | Devices | II | z-302/304-5 | Pleasure Plus Brand Condoms: (a) Product #40349, 3 Pack; (b) Product #40449, 6 Pack; (c) Product #40549, 12 Pack And Bulk Pack Of 144 Pieces | Reddy Distributors | Suretex Ltd | September 22, 1994 | Water Leak Testing Of Both Lots Of Condoms Revealed That They Exceeded The 0 | firm estimated that 16,500 condoms remained on market at time of recall initiation | Nationwide, Canada, Australia
1995-02-08 | Devices | II | z-326-5 | All Physio-control Disposable Defibrillation Electrode Cables Used With Lifepak Defibrillation Units And Adaptors, And Fast-patch Adaptors | Manufacturer | Physio Control Corporation, Redmond, Washington | July 19, 1994 | The Connector Configuration Was Incorrectly Designed And Improper Materials Were Used | approximately 40,000 to 50,000 cables were distributed | Nationwide And International
1995-02-08 | Devices | II | z-328/330-5 | (a) Sarns Brand Model 9000 Perfusion System With Delphin Ii Control Module (centrifugal Pump), Part #98-0702-0548-3; (b) Sarns Modified Delphin I Units, Part #78-8067-5418-6; (c) Sarns Trial Units, Part #78-8067-5151-3 | Manufacturer | Sarns 3m Health Care, Ann Arbor, Michigan | December 13, 1993 | Products Are Susceptible To Electrical Noise In The Operating Room Which Can Adversely Effect The Air Detection System And The Delphin Ii Module | 32 units were distributed | California, Delaware, Florida, Kentucky, Massachusetts, Michigan, New Hampshire, New Jersey, New York, Oregon, Wisconsin, Washington, Dc, Germany quantity 32 Units Were Distributed
1995-02-08 | Devices | II | z-333/334-5 | 4 And 5 Fr Groshong Picc Full Procedural Trays: (a) Product Code 7715407; (b) Product Code 7725507 | Manufacturer | Bard Access Systems, Inc | July 15, 1994 | The Packaging Has Large Seal Voids Which Occurred During Sterilization | 158 units were distributed | Arkansas, New York, Minnesota, California, Wisconsin, Oklahoma, Pennsylvania, Illinois, Massachusetts, Florida
1995-02-08 | Devices | II | z-343/344-5 | Sterilco Brand Custom Packed Surgical Trays Containing Coated Vicryl (polyglactin 910) Absorbable, Sterile Sutures: (a) Total Hip A & B Pack, Catalog #sch00033; (b) Total Knee Pack, Catalog #sch00018 | Manufacturer | Sterile Design Southwest (sds), Formerly Southwest Medical Packaging, Division Of Maxxim Medical, Stafford, Texas | September 20, 1994 | The Sterility Of The Sutures Cannot Be Assured Because Of Possible Microorganism Contamination During Aseptic Processing, Following Sterilization | 13 hip packs and 18 knee packs were distributed; firm estimates none remains on the market | Texas
1995-02-08 | Devices | II | z-348/363-5 | Deltran Abc Monitoring Kits, Arterial Blood Collection System | Manufacturer | Utah Medical Products, Inc | December 20, 1994 | The Sterility Is Compromised Due To The Position Of The Stopcock Handle During Sterilization | approximately 3,705 units were distributed | Nationwide, South Africa, Sweden, Turkey, Canada, Germany, Italy
1995-02-08 | Devices | II | z-365-5 | Gamma Camera Universal Table Used With The Cirrus And Argus Imaging Systems | Manufacturer | Adac Laboratories, Milpitas, California | unknown recall date | The Patient Table Would Drift During Patient Imaging For Therapy Planning Due To Faulty Hydraulic Cylinders, Thus Causing Artifacts In The Study, Which Could Result In Misdiagnosis And Mistreatment | 90 cirrus imaging units and 76 argus imaging units were distributed | Nationwide