## Report-1995-03-22
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1995-03-22 | Drugs | II | d-086-5 | Liquid Oxygen For Respiratory Therapy, In Size C, D, And E Cylinders | Manufacturer | Texas Air Supply Home Medical Equipment, Inc | November 10, 1994 | Current Good Manufacturing Practice Deficiencies | 500 cylinders were distributed; firm estimates none remains on the market | Texas
1995-03-22 | Drugs | II | d-087-5 | Medical Oxygen Cylinders, Sizes A, B, D, E, H, & M | Manufacturer | Metrolina Welders Supply, Inc | February 15, 1995 | Current Good Manufacturing Practice Deficiencies | 12 lots were distributed | North Carolina, South Carolina
1995-03-22 | Drugs | II | d-088-5 | Oxygen Compressed Usp, Compressed Medical Gas In Cylinders | Manufacturer | Valley Welding Supply Company, Greensburg, Pennsylvania | March 1, 1995 | Current Good Manufacturing Practice Deficiencies | 131 units were distributed | Pennsylvania
1995-03-22 | Drugs | III | d-085-5 | Indocyanine Green Usp, A Prescription Bulk Pharmaceutical Chemical | Manufacturer | Eastman Kodak Company, Rochester, New York | October 18, 1993 | Subpotenc | approximately 7,000 grams were distributed | Maryland, New Mexico
1995-03-22 | Drugs | III | d-089-5 | Guaipax Pse Tablets (pseudophedrine Hcl 120 Mg And Guaifenesin 600 Mg), Sustained Release, 100 Tablets, Rx, Indicated For The Relief Of Nasal Congestion | Manufacturer | Eon Laboratories Manufacturing, Inc | March 7, 1995 | Product Does Not Meet Dissolution Specifications For The Guaifenesin Ingredient | 2,286 units of 100 tablets were distributed; firm estimates very little of the product remains on the market | Alabama, California, Connecticut, Florida, Georgia, Hawaii, Iowa, Illinois, Minnesota, Missouri, Mississippi, North Carolina, Nebraska, New Jersey, New York, Oklahoma, Ohio, Oregon, South Carolina, Texas, Puerto Rico
1995-03-22 | Drugs | III | d-090-5 | Triple Sulfa Vaginal Cream, Usp Administered Intravaginally, Used In The Treatment Of Vaginal Infection, In 2 | Manufacturer | Clay Park Laboratories, Inc | February 1, 1995 | Product Does Not Meet Ph Specifications | 698,338 tubes were distributed | Nationwide, The Virgin Islands, West Indies, The Bahamas, Bulgaria
1995-03-22 | Drugs | III | d-091-5 | Nystatin/triamcinolone Acetonide Cream Usp, 120 G (4 Ounce) And 1 Pound Plastic Jars, Used For The Treatment Of Topical Yeast Infection, Under The Clay Park And Url Labels | Manufacturer | Clay Park Laboratories, Inc | February 21, 1995 | Superpotenc | approximately 7,312 4-ounce jars and 901 1-pound jars were distributed | Nationwide
1995-03-22 | Drugs | III | d-092\093-5 | (a) Fluocinolone Acetonide Cream 0 | Manufacturer | Clay Park Laboratories, Inc | March 8, 1995 | Potency Not Assured Through Expiration Date | (a) approximately 11,666 tubes; (b) 21,800 tubes were distributed | (a) Nationwide, St
1995-03-22 | Biologics | III | b-197-5 | Red Blood Cells | Manufacturer | North Jersey Blood Center, East Orange, New Jersey | July 26, 1994 | Blood Product, Which Was Exposed To Unacceptable Shipping Temperatures, Was Distributed. | 1 unit | New Jersey
1995-03-22 | Devices | II | z-397/402-5 | Baxter Pharmaseal Spinal And Saddle Block Anaesthesia Trays Containing 5 Cc Glass Syringes (b-d Glaspak #5293) With Metal Hub Spinal Needles, Sterile, Single Use Only: -7- (a) Spinal Anesthesia Tray With Spinal Anesthetic And Spinal Needle, 22 Ga, Catalog #4500c; (b) Spinal Anesthesia Tray With Spinal Anesthetic And Spinal Needle, 25 Ga, Catalog #4510c; (c) Spinal Anesthesia Tray With Spinal Anesthetic, Epinephrine,and Spinal Needle 25 Ga, Catalog #4511c; (d) Saddle Block Anesthesia Tray With Spinal Anesthetic, Ephedrine Sulfate, And Spinal Needle, 25 Ga, Catalog #4518c; (e) Custom Spinal Anesthesia Tray With Spinal Anesthetic, And Spinal Needle, 22 Ga, Catalog #514504072; (f) Custom Anesthesia Tray With Spinal Anesthetic And Spinal Needle, 25 Ga, Catalog #6845141200 | : Baxter Healthcare Corporation | Becton-dickinson, Franklin Lakes, New Jersey (syringe) | October 3, 1994 | There Is A Potential For Leaking To Occur At The Connection Between The 5cc Glass Syringe (b-d Glaspak #5293) And The Metal Hub Spinal Needles | 16,493 trays were distributed; firm estimated that 30% of the product remained on market at time of recall initiation | Nationwide And International
1995-03-22 | Devices | II | z-438/439-5 | Glutaraldehyde Disinfectant/sterilization Solution, In 1 Gallon Containers: (a) Baxter Omnicide 14 N | Manufacturer | Cottrell, Ltd | August 16, 1994 | A Quantity Of Glutaraldehyde Product Containing A Surfactant Was Inadvertently Pumped Into The Mixing Tank Dedicated To The Production Of The Subject Products, Which Are Non- Surfactant Glutaraldehyde Products | 5,876 gallons were distributed; firm estimated that 5,200 remained on market at time of recall initiation | Illinois, Pennsylvania, Virginia, Nebraska, Indiana
1995-03-22 | Devices | II | z-454-5 | Sechrist Model 2200b Ventilator, Indicated For The Delivery Of Medical Grade Air And Oxygen To Adult/pediatric Patients | Manufacturer | Sechrist Industries, Inc | March 1, 1994 | Due To A Defective Voltage Monitor, The Product May Cease Ventilation Without Audible And Visual Alarms | 357 units were distributed | Nationwide And International
1995-03-22 | Devices | II | z-496-5 | Sechrist Ventilator, Model 2200b, A Microprocessor Controlled Ventilator, Indicated For The Delivery Of Medical Grade Air And Oxygen To Adult/pediatric Patients | Manufacturer | Sechrist Industries, Inc | February 23, 1994 | Leakage Caused By A Defective Refill Valve Results In An Inaccurate Delivery Of Gas Volume And Pressure | 79 units were distributed | Idaho And International
1995-03-22 | Devices | II | z-498/501-5 | Respironics Brand Bipap 30 Ventilatory Support Systems, A Non-continuous Ventilator For Non-life Support Applications: (a) Model 552006 Bipap S/t-d30; (b) Model 552045 Bipap S/t-d30; (c) Model 552049 Bipap S/t-d30; (d) Model 552052 Bipap S/t-d30 | Manufacturer | Respironics, Inc | January 9, 1995 | Under Certain Conditions, The Interaction Between The Spontaneous/times Mode And The Breaths Per Minute Control Of The Affected Bipap S/t-d30 And S/t 30 Devices Results In The Devices Operating Outside The Product Specifications | 189 units were distributed | Nationwide, Taiwan, Spain, Netherlands, Kowloon, France, Canada, The United Kingdom
1995-03-22 | Devices | II | z-497-5 | High Frequency Oscillatory Neonatal Ventilator, Model 3100a, Indicated For Ventilatory Support And Treatment Of Respiratory Failure And Barotrauma In Neonates | Manufacturer | Sensormedics Corporation, Yorba Linda, California | November 22, 1994 | A Wire Next To The Metal Amplifier Bracket May Abrade, Due To Vibration, Causing A Potential Electrical Shock Hazard | 625 units were distributed | Nationwide, Australia, Canada, Hong Kong, Korea, Mexico, Netherlands, Philippines, Singapore, Taiwan
1995-03-22 | Devices | II | z-510-5 | Sharpe Endo Assist Endoscopic Knot Pusher, Product #87000, Product Size 10 Mm, A Reusable Laparoscopic Device Used For The Extracorporeal Tying Of Suture Knots | Manufacturer | Sharpe Endosurgical Corporation, St | February 6, 1995 | Plastic Pieces Of The Sheath (plastic Tube), That Covers The Laparoscopic Mechanism Of The Device, Have Broken Off The Distal End Of The Tube Which Enters The Patient's Body, Potentially Allowing Pieces To Fall Into A Patient's Body Cavity | 62 units were distributed | Nationwide, Canada, England, France, Ireland, Japan
1995-03-22 | Devices | II | z-511/515-5 | All Intervascular Inc | Manufacturer | Intervascular, Inc | July 19, 1994 | The Manufacturer Is Marketing The Device Without An Approved Premarket Notification Submission (510k) | 48 units | California, Illinois, Pennsylvania, Louisiana, Tennessee, Mississippi, Florida, And International
1995-03-22 | Devices | II | z-521/533-5 | Adult Expandable Breathing Circuits And All Products, Including Various Anesthesia Kits As Components | Manufacturer | Vital Signs, Totowa, New Jersey | February 2, 1994 | Exposure To Extremely Cold Temperatures May Cause The Expandable Tubing To Crack When Flexed | 2,225 units were distributed | Alabama, California, Georgia, Illinois, Kansas, Kentucky, North Carolina, Nebraska, New York, Texas, Washington State, Wyoming