## Report-1995-04-05
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1995-04-05 | Drugs | II | d-094-5 | Preparation H Hemorrhoidal Ointment, In 1 Ounce Tubes | Manufacturer | Whitehall Laboratories, Madison, New Jersey | May 16, 1994 | Presence Of Mold | 3,596 dozen 1-ounce tubes were distributed; firm estimates none remains on the market | Nationwide
1995-04-05 | Drugs | II | d-105-5 | Searle Calan Tablets, Verapamil Hydrochloride 40 Mg, In 100 Tablet Bottles, An Immediate Action Rx Oral Calcium Slow- Channel Blocker For The Treatment Of Angina, Arrhythmias And Essential Hypertension | G. d. Searle & Company | G | March 22, 1995 | Product Does Not Meet Dissolution Specifications | 147,698 bottles were distributed; firm estimated that 20% of the product remained on market at time of recall initiation | Nationwide
1995-04-05 | Drugs | III | d-095/097-5 | Claforan (cefotaxime Sodium) Sterile Powder For Injection (im/iv), Rx Broad Spectrum Cephalosporin Antibiotic: (a) 500 Mg Vials; (b) 1 | Hoechst Roussel Pharmaceuticals | Hoechst Aktiengesellschaft, Federal Republic Of Germany Or Roussel Uclaf Plant 4, Romainville, France | February 20, 1995 | Subpotency/stability Problems | firm estimated that 740,000 vials remained on the market at time of recall initiation | Nationwide
1995-04-05 | Drugs | III | d-098-5 | Hydrocortisone Spray, 0 | Manufacturer | Clay Park Laboratories, Inc | March 16, 1995 | Product Does Not Meet Ph Specifications | approximately 2,841 45ml-units were distributed | Florida
1995-04-05 | Drugs | III | d-099-5 | Facial Soap (liquid Scrub), In 8 Ounce Plastic Bottles, Otc, Used For The Control Of Acne | Manufacturer | Clay Park Laboratories, Inc | March 10, 1995 | Subpotenc | approximately 2,199 bottles were distributed | California And Tennessee
1995-04-05 | Drugs | III | d-100-5 | Benzoyl Peroxide 5% Gel, 45 Grams (1 | Manufacturer | Clay Park Laboratories, Inc | March 14, 1995 | Product Separation | approximately 37,998 units were distributed | California, Ohio, Georgia, New York, Kentucky, Florida, Michigan, Maine, Maryland, Alabama, Pennsylvania, West Indies
1995-04-05 | Drugs | III | d-101-5 | Medadyne Liquid, In 0 | Manufacturer | Clay Park Laboratories, Inc | March 16, 1995 | Superpotenc | 29,456 bottles were distributed | New York
1995-04-05 | Drugs | III | d-102/103-5 | (a) Qualitest Brand Promethazine With Codeine Cough Syrup, In 4 Fluid Ounce Bottles, Indicated For The Temporary Relief Of Coughs And Upper Respiratory Symptoms Associated With Allergy Or The Common Cold; (b) Qualitest Brand Promethazine Vc With Codeine Cough Syrup, In 4 Fluid Ounce Bottles, Indicated For The Temporary Relief Of Coughs And Upper Respiratory Symptoms | Manufacturer | Barre National, Inc | March 1, 1995 | Label Does Not Bear Name And Address Of Manufacturer Or Distributor | 12,024 bottles of lot ra5051, and 2,340 bottles of lot ra5048 | Alabama
1995-04-05 | Drugs | III | d-104-5 | Selenium Sulfide Lotion/shampoo, Usp 2 | Manufacturer | Clay Park Laboratories, Inc | April 17, 1995 | Use Of An Unapproved Raw Material Source | approximately 1,151 bottles were distributed | New York, Texas, Florida, Iowa, Ohio, Mississippi, Nebraska, New Jersey, Tennessee, California
1995-04-05 | Devices | II | z-519-5 | Lifestyles Assorted Color Condoms With Spermicidal Lubricant | Manufacturer | Ansell, Inc | December 2, 1994 | The Subject Lots Had Been Recorded As Passing The Accelerated Aging Tests For Tensile Strength, When, In Fact They Had Failed This Testing | 189,000 condoms were distributed | Florida
1995-04-05 | Devices | II | z-553-5 | Does Not Have The Shelf Life Which Is Claimed On Its Labeling | Manufacturer | Althin Medical, Inc | June 19, 1994 | The Cpvc May Swell And Impede The Flow Of Liquid Through The System | 2,865 units are subject to field correction | Nationwide And International
1995-04-05 | Devices | II | z-556-5 | Drake Willock Systems 1000 Single Patient Delivery System Fir Single Patient Hemodialysis | Manufacturer | Althin Medical, Inc | June 19, 1994 | The Pump Head Is Cutting Or Abrading The Blood Tubing Causing Blood Leaks | 2,428 units are subject to field correction | Nationwide And International
1995-04-05 | Devices | II | z-566/568-5 | Laser Sensing Devices: (a) Autosense Vehicle Sensors; (b) Miles Ats-101 Aerial Target System; (c) Ocean Wave Laser System (owls) | Manufacturer. Fda Approved The Firm's Corrective Action Plan February 24 | Schwartz Electro-optics, Inc | February 24, 1995 | Units Exceeded The Class I Accessible Emission Limits | (a) 9 units; (b) 2 units; (c) 25 units | Nationwide
1995-04-05 | Devices | II | z-570/571-5 | Storz +4 | Manufacturer | Storz Ophthalmics, Inc | January 3, 1995 | Devices May Be Labeled With The Incorrect Diopter | 47 lenses were distributed | Arizona, Florida, New York, Colorado, Wisconsin, Kansas, Maryland, South Dakota, California, Texas, Ohio, Pennsylvania, Missouri, Arizona, Massachusetts, Tennessee, Iowa, Utah, Puerto Rico, Canada, Taiwan
1995-04-05 | Devices | II | z-572-5 | Oxford Medilog Sleep And Respiration Interface (sri) Which Monitors Respiration | Oxford Instruments Medical Systems | Oxford Medilog Systems, Abingdon, England | October 7, 1993 | If The Electrodes Are Plugged Into The Sri Incorrectly, Excessive Current May Be Transmitted To The Patient Causing A Tingling Sensation | 41 units were distributed | Florida, Alabama, Georgia, Utah, Missouri, Massachusetts, Pennsylvania, Washington State, Louisiana, Virginia, Puerto Rico, Canada, Mexico, Brazil
1995-04-05 | Devices | II | z-573/591-5 | 1. Intermate Sv 50 Ml/hr | Manufacturer | I | December 6, 1994 | The Adhesive Which Bonds The Flow Restricting Stainless Steel Cannula To The Acrylic Stress Member Fails And Allows Fluid To Bypass The Flow Restricting Cannula And Can Result In Solution Infusion Rates Higher Than Intended | 621,072 units were distributed; fda estimated that 150,000 units remained on market at time of recall initiation | Nationwide And International
1995-04-05 | Devices | II | z-593-5 | Bear-1000 Ventilator, Catalog #50-0850-00, Indicated For The Delivery Of Medical Gases To Pediatric And Adult Patients | Manufacturer | Bear Medical Systems, Inc | November 4, 1994 | The Ventilator Does Not Deliver The Lower Tidal Volumes In Increments Of 1 Ml As Described In The Labeling Due To Defective Software | 115 units were distributed | California, Delaware, Florida, Kansas, Louisiana, Maine, Michigan, North Carolina, New Jersey, New York, Pennsylvania, South Dakota, Tennessee, Utah, Virginia, And Internationally