## Report-1995-04-26
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1995-04-26 | Drugs | III | d-117-5 | Isoniazid Tablets, Usp, 100 Mg, Unit Dose Packaged, 100 Tablets Per Box, Rx Oral Drug For The Treatment Of Tuberculosis | Udl Laboratories | Barr Laboratories, Inc | April 12, 1995 | Product Does Not Meet Dissolution Specifications At The 48 And 60 Month Test Intervals | 3,931 cartons of 100 unit dose tablets were distributed; firm estimated that 35 percent of product remained on market at time of recall initiation | Nationwide
1995-04-26 | Drugs | III | d-123/124-5 | Isoniazid Tablets, Usp (a) 100 Mg, In Bottles Of 100 And 1,000; (b) 300 Mg, In Bottles Of 30, 100, And 1,000, Rx Oral Drug For The Treatment Of Tuberculosis, Under The Following Labels: Barr, Aligen, Goldline, Udl | Manufacturer | Barr Laboratories, Inc | April 6, 1995 | Product Does Not Meet Dissolution Specifications At The 48 And 60 Month Test Intervals | 745,264 30-tablet bottles (300 mg only); 352,414 100-tablet bottles (100 and 300 mg); 52,514 1000-tablet bottles (100 and 300 mg) were distributed; firm estimates little product remains on the market | Nationwide, Puerto Rico, Virgin Islands, Guam
1995-04-26 | Drugs | III | d-125-5 | Ultra Strength Muscle Rub, In 3 Ounce Metal Tubes; Otc Topical Rub Used To Relieve Pain From Sore Muscles, Under The Following Labels: Pathmark, Brite-life, Good Neighbor, Treasury, Thrifty | Manufacturer | Clay Park Laboratories, Inc | April 17, 1995 | Premature Product Separation | approximately 175,678 tubes were distributed | New York, New Jersey, Rhode Island, Pennsylvania, Michigan, Illinois, California, Alabama, Florida, Arkansas
1995-04-26 | Drugs | III | d-126-5 | Hydrocortisone Lotion Usp, 0 | Manufacturer | Clay Park Laboratories, Inc | April 7, 1995 | Subpotenc | 167,405 2-ounce and 18,386 4-ounce bottles were distributed | Nationwide And Puerto Rico
1995-04-26 | Biologics | II | b-240-5 | Platelets, Pheresis | Manufacturer | Central California Blood Center, Fresno, California | June 20, 1994 | Blood Product Which Tested Initially Reactive To The Hepatitis C Virus Encoded Antigen (anti-hcv) But Tested Negative For Anti-hcv On A Single Repeat Test, Was Distributed | 2 units | California
1995-04-26 | Biologics | II | b-234/235-5 | (a) Red Blood Cells; (b) Platelets | Manufacturer | American National Red Cross, Detroit, Michigan | June 14, 1993 | Blood Products, Which Tested Initially Reactive For Syphilis And Were Not Retested In Accordance With The Manufacturer's Test Kit Instructions, Were Distributed | 1 unit of each component | Michigan
1995-04-26 | Biologics | II | b-236/239-5 | (a) Whole Blood Cpda-1; (b) Red Blood Cells; (c) Platelets; (d) Fresh Frozen Plasma | Manufacturer | American National Red Cross, Detroit, Michigan | June 14, 1993 | Blood Products Which Were Improperly Tested For Syphilis Were Distributed | (a) 1 unit; (b) 3 units; (c) 3 units; (d) 3 units | Michigan
1995-04-26 | Biologics | III | b-241/244-5 | (a) Whole Blood Cpda-1; (b) Red Blood Cells; (c) Platelets, Pheresis; (d) Recovered Plasma | Manufacturer | Central California Blood Center, Fresno, California | June 20, 1994 | Blood Products Were Improperly Tested For Anti-hcv, Were Distributed. | (a) 1 unit; (b) 6 units; (c) 11 units; (d) 6 units | California
1995-04-26 | Devices | II | z-642-5 | Mini 22 Channel Cochlear Implant System, Model C122m | Cochlear Corporation | Cochlear Pty Ltd (cpl), Sydney, Australia | December 19, 1994 | The Power Supply Capacitors Were Installed Incorrectly Causing Premature Failure Of The Device | 24 units were distributed | Alabama, Arkansas, California, Florida, Georgia, Pennsylvania, Tennessee, Texas, France, Spain, Australia
1995-04-26 | Devices | II | z-680/681-5 | Imed Volumetric Infusion Pumps With Software Versions 4 | Manufacturer | Imed Corporation, San Diego, California | November 8, 1994 | A Software Defect May Allow The Device To "lock Up" And Over-infuse Fluids Or Air, Without Triggering An Alarm | 3,000 units were distributed | Nationwide And International
1995-04-26 | Devices | II | z-682/683-5 | Digital Spotfilm System (dss), Used In Fluoroscopy: (a) 3 | Picker International | Infimed, Liverpool, New York | June 33, 1994 | A Software Bug In Version 3 | 98 units were distributed | Nationwide, Canada, France, Germany
1995-04-26 | Devices | II | z-689-5 | Model 8400sti Volume Ventilators, With Pressure Control And Volume Assured Pressure Support Features | Manufacturer | Bird Products Corporation, Palm Springs, California | January 13, 1995 | A Software Defect Results In A False Error Code Indicating That A Breath Was Not Properly Delivered, When In Fact The Breath Was Delivered | 529 units were distributed | Nationwide And International
1995-04-26 | Devices | II | z-693-5 | Custom Surgical Kits | Manufacturer | Baxter Custom Sterile, Charlotte, North Carolina | January 30, 1995 | Devices Were Packaged In The Wrong Type Of Pouches For Gas Sterilization And That, Due To This Packaging Error, The Firm Is Unable To Assure That The Devices Were Sterilized Properly | 20 kits were distributed; firm estimates none remains on the market | Alabama
1995-04-26 | Devices | II | z-695/696-5 | Endopath Endoscopic Reloadable Linear Cutter With Safety Lock-out: (a) Product Code Ez35b; (b) Product Code Ez35w | Manufacturer | Ethicon Endosurgery, Cincinnati, Ohio | September 23, 1994 | A Component Within The Handle Of The Instrument That Was Incorrectly Molded, May Cause The Instrument To Malfunction | 5,000 units were distributed | Nationwide
1995-04-26 | Devices | III | z-684/685-5 | In-vitro Diagnostic Test Kits, Indicated For The Detection Of Infectious Mononucleosis Igm Heterophile Antibodies In Serum, Plasma, Or Whole Blood: (a) Cards O | Manufacturer | Pacific Biotech, Inc | January 17, 1995 | Due To A Defective Raw Material, False Negative Test Results Are Obtained. | 23,754 kits were distributed | Nationwide And International