## Report-1995-06-14
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1995-06-14 | Drugs | II | d-187-5 | Morphine Sulfate Suppositories, 20 Mg, Rx Analgesic, In Boxes Of 12 | Manufacturer | Paddock Laboratories, Inc | May 23, 1995 | Potency Is Incorrectly Declared As 10 Mg On The Back Panel Of The Carton. The Principal Panel And A Side Panel Are Correctly Labeled As 20 Mg. | 1,506 boxes were distributed | Nationwide
1995-06-14 | Drugs | III | d-186-5 | Sinucon Syrup, An Otc Antihistamine/decongestant, Under The Following Labels: Luchem Pharmaceuticals/sinucon Syrup, In 1 Pint And 1 Gallon Bottles, Major Pharmaceuticals/nalgest Syrup, In 1 Pint Bottles | Manufacturer | H | April 12, 1995 | Potential For Crystal Formation When Product Is Exposed To Low Temperatures | 1,463 1-pint bottles (luchem label), 88 1-gallon bottles (luchem label), 712 1-pint bottles (major label) were distributed | Nationwide
1995-06-14 | Drugs | III | d-188-5 | Physostigmine Sulfate Ophthalmic Ointment (eserine Sulfate 1/4%), 1/4 Ounce, Usp, In 1/8 Ounce (3 | Manufacturer | Altana, Inc | June 2, 1995 | Potency Not Assured Through Expiration Date | 9,360 tubes were distributed | Nationwide
1995-06-14 | Biologics | II | b-365/367-5 | (a) Red Blood Cells; (b) Platelets; (c) Recovered Plasma | Manufacturer | Blood Systems, Inc | January 16, 1995 | Blood Products, Which Tested Negative For The Antibody To Immunodeficiency Virus Type 1 (anti-hiv-1), But Were Collected From A Donor Who Previously Tested Repeatedly For Anti-hiv-1, Were Distributed | 1 unit of each component | Texas, Florida
1995-06-14 | Biologics | II | b-369/374-5 | (a) Red Blood Cells; (b) Red Blood Cells, For Further Manufacture; (c) Platelets; (d) Platelets, For Further Manufacture; (e) Fresh Frozen Plasma; (f) Recovered Plasma | Manufacturer | The Blood Center For Southeast Louisiana, New Orleans, Louisiana | June 14, 1994 | Blood Products, Which Tested Negative For Hepatitis B Surface Antigen (hbsag), But Were Collected From Donors Who Previously Tested Repeatedly Reactive For Hbsag, Were Distributed | 73 units | Louisiana, New York, California, Florida, North Carolina
1995-06-14 | Biologics | III | b-381-5 | Recovered Plasma | Blood Systems | Blood Systems, Inc | October 6, 1992 | Blood Product, Associated With A Unit Of Red Blood Cells Which Was Contaminated With Propionibacterium Acnes, Was Distributed | 1 unit | North Carolina
1995-06-14 | Biologics | III | b-382-5 | Reagent Red Blood Cells Resolve(tm) Panel A | Manufacturer | Ortho Diagnostic Systems, Inc | July 18, 1994 | Reagent Red Blood Cell Panels Which Contained Errors On The Extended Antigen Profile, Were Distributed | 648 packages | Nationwide
1995-06-14 | Biologics | III | b-383-5 | Reagent Red Blood Cells, Resolve(tm) Panel A | Manufacturer | Ortho Diagnostic Systems, Inc | December 29, 1994 | Lea Positive Reagent Red Blood Cells, Incorrectly Labeled As Lea Negative, Were Distributed | 802 packages | Nationwide And International
1995-06-14 | Devices | II | z-821-5 | Transformer Used With Ultrasonic Scaler Used For Cleaning Teeth, Model Turbo 25/30 | Parkell Products | Woet Tsern Electronic Company, Ltd | August 12, 1994 | The Transformer Was Manufactured Incorrectly Which May Lead To Lack Of Grounding Which Could Cause The Device To Short Out | 326 units were distributed; firm estimates none remains on market | Nationwide
1995-06-14 | Devices | II | z-822-5 | Single Lumen Femoral Catheters Under The Acuflex And Neostar Label | Manufacturer | Neostar Medical Technologies, Inc | April 27, 1994 | A | 6,089 units (kits and single catheters) were distributed; firm estimates none remains on the market reason a | New York, West Virginia, Missouri, Colorado, England, Egypt, India, Germany, Malaysia, Pakistan
1995-06-14 | Devices | II | z-831/835-5 | Baxter Arterial And Venous Bloodlines: (a) Baxter Arterial Blood Tubing Set For Hemodialysis, Product Code 5m4253m; (b) Baxter Arterial Blood Tubing Set For Hemodialysis With Male Luer Rotating Lock, Product Code 5m4262m; (c) Baxter Arterial Blood Tubing Set For Hemodialysis With Male Luer Rotating Lock And Pressure Pillow Tubing, Product Code 5m4283m; (d) Baxter Venous Blood Tubing Set For Hemodialysis With Two Lengths Of Tubing, Product Code 5m4491m; (e) Baxter Venous Blood Tubing Set For Hemodialysis With Four Lengths Of Tubing, Product Code 5m4484m | Baxter Healthcare Corporation | Productos Urologos De Mexico S | May 16, 1995 | Blood Tubing Might Not Completely Set In The Dialyzer Connector Resulting In A Potential For Blood Leakage | 121,000 sets were distributed; firm estimated that 25 percent of product remained on market at time of recall initiation | Nationwide, Brazil, Venezuela
1995-06-14 | Devices | III | z-779-5 | 2991 Triple Processing Set, Tubing Set Used In Bone Marrow Procedures | Manufacturer | Cobe Bct, Inc | October 17, 1994 | A Misassembly Error Resulted In The Set Containing An Incorrect Tubing Size Than Intended | 216 units were distributed; firm estimates none remains on the market | Massachusetts, Colorado, New York, Nebraska, Tennessee, Texas, Belgium, France, Spain, England, Israel
1995-06-14 | Devices | III | z-828-5 | Preference 4-pack, Bc 8 | Manufacturer | Coopervision, Inc | April 7, 1995 | The Lenses Are Labeled With The Wrong Power | 23 4-packs were distributed | Arkansas, California, Florida, Georgia, Illinois, Massachusetts, Missouri, North Carolina, New Jersey, New York, Oklahoma, Oregon, Pennsylvania, Tennessee, Texas, Wisconsin, West Virginia
1995-06-14 | Devices | III | z-829-5 | Cooperclear, Bc 8 | Manufacturer | Coopervision, Inc | April 21, 1995 | The Lenses Are Labeled With The Wrong Power | 26 lenses were distributed | Arkansas, California, Florida, Georgia, Illinois, Massachusetts, Missouri, North Carolina, New Jersey, New York, Oklahoma, Oregon, Pennsylvania, Tennessee, Texas, Wisconsin, West Virginia
1995-06-14 | Devices | III | z-836-5 | Diamedix Brand Anti-dna Microassay, Catalog #783-200, 96 Test Set, For In-vitro Diagnostic Use | Manufacturer | Diamedix Corporation, Miami, Florida | February 10, 1995 | Some Of The Wells In Anti-dna Microassay, May Not Have Been Coated With Antigen During The Manufacturing Process | 459 kits were distributed | Nationwide And International
1995-06-14 | Devices | III | z-837/839-5 | First Choice Reagent Strips For Use With Glucometer Ii (gii), Glucometer Ii With Memory, And Glucometer M Blood Glucose Meters: (a) Catalog No | Manufacturer | Polymer Technology International (pti), Issaquah, Washington | March 5, 1995 | The Blood Glucose Strips Exceeded Their Specifications Which Could Provide Inaccurate Patient Results | 103,327 packages were distributed | Nationwide, Belgium, Taiwan, Poland, Japan, Pakistan, Lebanon