## Report-1995-07-19
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1995-07-19 | Drugs | II | d-210-5 | Dilantin Kapseals 100 Mg (extended Phenytoin Sodium Capsules, Usp) In Bottles Of 100, An Anti-epileptic | Parke Davis | Warner Lambert Company, Fajardo, Puerto Rico | June 23, 1995 | Product Does Not Meet Dissolution Specifications | 39,510 bottles were distributed | Nationwide
1995-07-19 | Drugs | II | d-211-5 | Quinidine Sulfate, 200 Mg, Immediate Release Tablets, In Bottles Of 100, Typically Prescribed For Initial Loading Dosage Of Quinidine Prior To Maintenance Therapy With Quinidine Gluconate | Manufacturer | Mutual Pharmaceutical Company, Philadelphia, Pennsylvania | June 19, 1995 | Product Does Not Meet Content Uniformity Specifications | 1,961 bottles wee distributed | Nationwide
1995-07-19 | Drugs | II | d-212-5 | Palgic D Tablets In Plastic Bottles Of 100 With Screw On Plastic Caps, An Antihistamine/decongestant | Manufacturer | Sage Pharmaceuticals, Inc | June 26, 1995 | Product Does Not Meet Time Release Specifications For Pseudoephedrine, Hcl Ingredient | 887,400 tablets were distributed | Louisiana
1995-07-19 | Drugs | III | d-209-5 | Histenol Forte Tablet, An Otc Multisymptom Cold Product, Distributed In Bulk Containers, And Repacked Into Individual 2 Tablet Packets | Manufacturer | J | May 26, 1995 | Presence Of Small Amounts Of Ephedrine Hcl In The Pseudoephedrine Hcl Raw Material. -2- | firm estimated that 200,000 tablets remained on market at time of recall initiation | Nationwide
1995-07-19 | Biologics | II | b-199/200-5 | (a) Red Blood Cells; (b) Recovered Plasma | Manufacturer | Carter Blood Center, Fort Worth, Texas | September 3, 1993 | Corresponding Blood Product Was Contaminated With Bacillus Species _______________ product (a) Red Blood Cells; (b) Recovered Plasma | 5 units of each component | Texas, Missouri
1995-07-19 | Biologics | II | 468-5 | S For Which Initial Reactive Test Results For Antibody To Human Immunodeficiency Virus Type 1 (anti-hiv-1) Were Not Repeated In Duplicate, Were Distributed | Manufacturer | American Red Cross Blood Services, Omaha, Nebraska | July 11, 1994 | Blood Product, Corresponding To A Unit Of Platelets Contaminated With Coagulase Negative Staphylococcus, Was Distributed | 1 unit | Iowa
1995-07-19 | Biologics | II |  |  |  |  | unknown recall date
1995-07-19 | Biologics | III | b-461-5 | Red Blood Cells | Manufacturer | American Red Cross Blood Services, Detroit, Michigan | February 8, 1995 | Blood Components, Which Were Collected In Expired Blood Collection Bags, Were Distributed | 4 units | Michigan
1995-07-19 | Biologics | III | b-464/465-5 | (a) Red Blood Cells; (b) Platelets | Manufacturer | W | July 26, 1994 | Blood Products, Which Tested Reactive For Syphilis By The Rapid Plasma Reagin Assay (rpr), Were Distributed | (a) 4 units; (b) 1 unit | Texas
1995-07-19 | Biologics | III | b-466-5 | Platelets | Manufacturer | W | September 16, 1994 | Blood Product, Which Tested Initially Reactive For The Antibody To The Hepatitis B Core Antigen (anti-hbc), Were Distributed | 1 unit | Texas
1995-07-19 | Biologics | III | b-467-5 | Anti-lewisa Blood Grouping Reagent | Organon Teknika Corporation | Organon Teknika Corporation, West Chester, Pennsylvania | February 6, 1995 | Anti-lewisa (anti-lea) Blood Grouping Reagent, Which Was Packaged With A Product Insert Containing An Incorrect Procedure For Use, Was Distributed | 340 units of lot 2347, 1,390 units of lot 2348, 408 units of lot 2349 were distributed | Nationwide And International
1995-07-19 | Devices | II | z-759-5 | Devices Labeled As Selector Catheters, 100 Cm, 5 French, Left Coronary Bypass, Catalog #445 | Namic U. s. a. Corporation | Namic Caribe, Inc | April 18, 1995 | Mislabele | 118 units were distributed -4- reason mislabele | California, Florida, Iowa, Illinois, Maryland, Missouri, Michigan Nebraska, New York, Washington State, Ireland
1995-07-19 | Devices | II | z-848-5 | Baxter Flow-through Injectable Housing, Sterile, Model 93- 505, When Used In Conjunction With A Baxter Temperature Probe, Is A Flow-through Housing Which Allows Direct Temperature Measurement Of The Thermal Indicator At The Proximal Lumen Infusion Site | Baxter Healthcare Corporation | Baxter Healthcare Corporation Of Puerto Rico, Anasco, Puerto Rico | March 16, 1995 | The Lots Were Found To Have Inadequate Package Seals Which May Compromise The Sterility Of The Device | 3,072 units were distributed | Arkansas, California, Colorado, Florida, Hawaii, Idaho, Kansas, Massachusetts, Maryland, Minnesota, North Carolina, North Dakota, New York, Pennsylvania, Virginia, Wisconsin, And International
1995-07-19 | Devices | II | z-857-5 | Usci 5f Envision Angiographic Catheters, Intravascular Diagnostic Catheters Used To Record Intracardiac Pressures To Sample Blood And To Introduce Substances Into The Heart And Vessels | Usci Division | Usci Manufacturing Facility, Billerica, Massachusetts | January 6, 1995 | The Tip Segment Separates From The Proximal Shaft | 15,020 units were distributed | Nationwide And International
1995-07-19 | Devices | II | z-858-5 | Usci 5f Envision Angiographic Catheters, Intravascular Diagnostic Catheters Used To Record Intracardiac Pressures To Sample Blood And To Introduce Substances Into The Heart And Vessels | Usci Division | Usci Manufacturing Facility, Billerica, Massachusetts | May 23, 1995 | Pinhole Defects Were Found In The Pigtail Catheters | 7,140 units were distributed | Nationwide And International
1995-07-19 | Devices | II | z-868/869-5 | Orthodontic Wire Distal-end Mini Cutter Used By Dentists/orthodontists, To Cut Different Sizes Of Dental Braces Wire Material Inside The Patient's Mouth: (a) Model Aez Part #803-0510, Ezcurra Distal Cutter With Hold Long Handle; (b) Model Aez Part 803-0511, Ezcurra Distal End Cutter With Hold Short Handle | Manufacturer | Ormco Corporation, Glendora, California | May 5, 1995 | The Device's Tip Could Break In Patient's Mouth | approximately 5,700 cutters were distributed | Nationwide And International
1995-07-19 | Devices | II | z-939/942-5 | Nuclear Imaging Systems: (a) Model 1000s; (b) Model 2000s; (c) Model 1000xp; (d) Mode 2000xp | Manufacturer | Ohio Imaging Nuclear Medicine Division, Picker International, Bedford Heights, Ohio | February 1, 1995 | The Camera's Detector Head May Drift Beyond Acceptable Limits Which Will Result In A High Force Being Placed Against The Patient's Head Or Body | 252 units were distributed | Nationwide And International
1995-07-19 | Devices | II | z-958/959-5 | Endoscope Reprocessor (ultrasonic Washer): (a) System 83; (b) System 83 Plus | Manufacturer | Custom Ultrasonics, Inc | April 7, 1994 | Device Failed To Adequately Clean The Inner Channels Of The Reprocessed Endoscope, Resulting In Contaminated Endoscopes | approximately 1,200 units were distributed | Nationwide And International
1995-07-19 | Devices | II | z-960/962-5 | Sterile Non-latex Surgical Gloves, Indicated For Use By Surgeons As Infection Barriers During Surgical Procedures: (a) Tactyl 1, Catalog #41070; (b) Tactyl 2, Catalog #51070; (c) Tactylon, Catalog #51175 | Manufacturer | Tactyl Technologies, Inc | March 21, 1995 | The Gloves Did Not Receive The Full Irradiation Dose, Thereby Compromising The Sterility Of The Gloves | 292 shipping cases were distributed; firm estimated that on april 14, 1995 35 shipping cases remained on the market | Arizona, France, Sweden
1995-07-19 | Devices | II | z-963-5 | Green Maxon Absorbable Sutures, Size 01 (sterile), Indicated For Use In All Types Of Soft Tissue Approximation, But Not In Cardiovascular, Ophthalmic Or Microsurgery And Not In Neural Tissue | Davis & Geck | Davis & Geck, Manati, Puerto Rico | June 8, 1995 | The Sutures Exhibit Low Out Of Package Tensile Strength | 183 boxes (24 units per box) were distributed; firm estimates none remains on the market | Nationwide, Canada
1995-07-19 | Devices | II | z-964-5 | Davis & Geck Lapro-clip Ligating Clip Remover (non-sterile) | Davis & Geck | Mediscope Manufacturing, Inc | June 2, 1995 | The Grasping Hook Of The Device May Break And Become Detached From The Device | 26 units were distributed; firm estimated that 20 devices remained in the field at time of recall initiation | California, Georgia, Illinois, North Carolina, Louisiana, Massachusetts
1995-07-19 | Devices | II | z-987-5 | Philips Medical Systems Sl Series Multi Energy Radiotherapy Systems | Philips Medical Systems North America Company | Philips Medical Systems Radiotherapy, West Sussex, England | February 19, 1994 | There Is A Potential For A 10 Second Delay In The "no Dose Interlock" Mode If The Ion Chamber -300 Volt Supply Fails, Which Could Continue Radiation For An Extra 10 Seconds | 82 systems were distributed | Nationwide
1995-07-19 | Devices | III | z-965-5 | Lithium Serum Flame Standard For Flame Photometer | Radiometer America | Radiometer Copenhagen, Copenhagen, Denmark | December 7, 1993 | The Standard Has A Lithium Content That Is Lower Than The Specified Nominal Value | 8 bottles were distributed | Maine, Illinois, Oregon
1995-07-19 | Devices | III | z-966-5 | Qualicheck 3 Quality Control Material For Abl-520, Control System Designed To Monitor The Accuracy Of Ph, Blood Gas, And Oximetry Measurements In The Analyzer | Radiometer America | Radiometer A/s Emdruppvj 72, Copenhagen Nv, Denmark | October 28, 1993 | The Methb (methemoglobin) Value For The Material Was Outside The Stated Control Range | 156 boxes were distributed; firm estimates none remains on the market | Nationwide
1995-07-19 | Devices | III | z-967-5 | Qualicheck 4 Material For Abl-505, A Quality Control Standard For Ph, Blood Gases, And Electrolytes | Radiometer America | Radiometer A/s Emdruppvej 72, Copenhagen Nv, Denmark | August 6, 1993 | The Potassium Value Is Lower Than Labeled | 13 boxes were distributed; firm estimates none remains on the market | California And Texas
1995-07-19 | Devices | III | z-968/973-5 | Dader Thromboplastin-is (tps), In-vitro Diagnostic Product For Use In Prothrombin Time (pt) Determination And Prothrombin Time Based Assays | Dade International | Dade International Of Puerto Rico, Aguada, Puerto Rico | May 19, 1995 | The Device Fails To Meet The Labeled Stability Claim After Reconstitution When Incubated | 44,161 packages | Nationwide And International
1995-07-19 | Devices | III | z-974/979-5 | Dade Thromboplastin-is (tps), In-vitro Diagnostic Product For Use In Prothrombin Time (pt) Determination And Prothrombin Time Based Assays | Dade International | Dade International Of Puerto Rico, Aguada, Puerto Rico | June 19, 1995 | The Device Fails To Meet The Labeled Stability Claim After Reconstitution When Incubated | 23,576 packages were distributed | Nationwide, Canada, Mexico, Costa Rica, Chile, Colombia, Japan
1995-07-19 | Devices | III | z-988/989-5 | Olympic Evis Video Endoscopes, Used For Endoscopic Diagnosis And Treatment Within The Lower Digestive Tract (colon And Rectum): (a) Model Pcf-130i; (b) Model Pcf-130l | Olympus America | Olympus Optical Company, Ltd | May 24, 1995 | The Video Endoscopes Are More Susceptible To Surges Of Electrical Current Due To A Manufacturing Defect In The Charged Coupled Device (ccd) Chip Which Will Cause The Video Endoscopes To Lose Their Images | 37 were distributed | Nationwide And Puerto Rico