## Report-1995-08-23
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1995-08-23 | Drugs | II | d-236-5 | Tegretol 200 Mg (carbamazepine Usp), Packaged In 100 And 1000 Tablet Bottles, An Rx Drug, Used As An Anticonvulsant For Patients With Epilepsy, And In The Treatment Of Pain Associated With Trigeminal Neuralgia, Recall #d-236-5 | Manufacturer | Ciba Pharmaceuticals Division, Suffern, New York | July 21, 1995 | Product Does Not Meet Dissolution Specifications. | 86,130 units were distributed | Nationwide
1995-08-23 | Drugs | III |  | Lescol (fluvastatin Sodium) Capsules, 20 Mg Bottles/100/30 Tablets And 40 Mg Bottles/100/30 Tablets, An Rx Drug, Recall #d-233/234-5 | Manufacturer | Sandoz Pharmaceuticals Corporation, East Hanover, New Jersey | May 24, 1995 | Product Does Not Meet Dissolution Specifications | firm estimates none remain on market | Nationwide, Hawaii, Alaska, Puerto Rico
1995-08-23 | Drugs | III | d-235-5 | Sterile Cefazolin Usp, Packaged In 100 Ml Glass Vials, Recall #d-235-5 | Manufacturer | Marsam Pharmaceuticals, Inc | August 1, 1994 | A Small Number Of Vials Were Mis-packaged In 10-pack Trays Labeled 10 Grams | 10,368 vials were distributed | Ohio, Tennessee, Kentucky, New Jersey, California, New York, Massachusetts, Alabama, Oklahoma, Pennsylvania, Illinois, Minnesota, Wisconsin
1995-08-23 | Drugs | III | d-237-5 | Thorazine Concentrate (brand Of Chlorpromazine Hydrochloride), 100 Mg/ml, In 8 Fluid Ounce Bottles, An Tranquilizer, Recall #d-237-5 | Manufacturer | Smithkline Beecham Pharmaceuticals, Cidra, Puerto Rico | July 21, 1995 | Incorrect Dosage Information On Primary Carton | 2,010 bottles were distributed | Nationwide
1995-08-23 | Biologics | II | b-550-5 | Source Plasma, Recall #b-550-5 | Community Bio-resources | Community Bio-resources, Inc | August 11, 1994 | Blood Products Which: 1) Tested Negative For Antibody To The Human Immunodeficiency Virus Type 1 (anti-hiv), But Were Collected From Donors Who Previously Tested Repeatedly Reactive For Anti-hiv-1; 2) Tested Negative For Hepatitis B Surface Antigen (hbsag), But Were Collected From Donors Who Previously Tested Repeatedly Reactive For Hbsag Or Had A History Of Hepatitis; Or 3) Were Collected From Donors With A History Of Intravenous (iv) Drug Use/high Risk Behavior | 582 units were distributed | Michigan, New Jersey, Austria
1995-08-23 | Biologics | II | b-551-5 | Source Plasma, Recall #b-551-5 | Manufacturer | Community Bio-resources, Inc | August 11, 1994 | Blood Product, Which Tested Negative For The Hepatitis B Surface Antigen (hbsag) But Was Collected From A Donor Who Previously Tested Repeatedly Reactive For Hbsag, Was Distributed | 1 unit was distributed | Austria
1995-08-23 | Biologics | II | b- 544/545-5 | Platelet Concentrate; Platelets, Pheresis, Recall #b- 544/545-5 | Manufacturer | American Red Cross Blood Service, Madison, Wisconsin | November 9, 1994 | Blood Products, For Which Syphillis Test Results Were Misinterpreted As Negative, Were Distributed | 29 units were distributed | Wisconsin
1995-08-23 | Devices | II | z-1028/1030-5 | Fluoricon 300 Generators, Recall #z-1028/1030-5 | Manufacturer | General Electric Medical Systems, Milwaukee, Wisconsin | February 22, 1995 | The Diagnostic X-ray Device Was Found To Be In Noncompliance With 21 Cfr 1020 | 140 units were distributed | Nationwide
1995-08-23 | Devices | II | z- 1077/1085-5 | Centrysystem 3 Cartridge Blood Tubing Sets, Recall #z- 1077/1085-5 | Cobe Renal Care | Cobe Renal Care, Inc | June 16, 1995 | The Saline Administration Line Could Have An Occlusion Due To Plastic Molding Flashing Which May Not Be Detected During The Prime Or Recirculation Modes | 31,000 units were distributed | Nationwide, (except Washington, D
1995-08-23 | Devices | II | z-1091/1094 | Guardian Sharps Collectors: (a) Preassembled Side Entry, Catalog #300475, 305425; (b) Preassembled Horizontal Entry, Catalog #300476, 305428, 305427, 305426; (c) Nestable Side Entry, Catalog #5449, 300559, 305444, 305443, 300482; (d) Nestable Horizontal Entry, Catalog #305450, 305452, 305446, 305445, Recall #z-1091/1094 | Becton Dickinson | Medsafe, Oceanside, California recalled By Becton Dickinson, Franklin Lakes, New Jersey By Letter July 14 And 17, 1995 | July 14, 1995 | The Wall Thickness Fell Below The Specification Level | 659,232 units were distributed | Nationwide, Canada, Sinapore, Europe, Australia, New Zealand
1995-08-23 | Devices | II | z-1109-5 | 3m Administration Sets, Model Numbers 4236, 4270, 8c195, 8c201, 8c220, 8c230, 8c230-us, 8c290, 8c390, 8c630, 8c1230, 8c1630, 8c2012, 8c4201, 8c4209, 8c4220, 8c4220-us, 8c4222, 8c4240, 8c4292, Ac2029, Ac2308, Aj2304, Cc1201, Cc1301, Cc1501, Cc2102, Cc2204, Cc2308, Cc3217, Cc4203, Cf4203, Cj1301, Cj3316, Cj3323, Cj4028, Cj4303, Ck2304, Ck4207, And Ck4303, Recall #z-1109-5 | 3m Infusion Therapy | Thai Kawasumi, Bangkok, Thailand | July 3, 1995 | Some Roller Clamps Of The Iv Administration Allow Leakage Of Fluid Within The Sets | 762,840 sets were distributed | Nationwide quantity 762,840 Sets Were Distributed
1995-08-23 | Devices | II | z-1110-5 | Microscan Dried Gram-negative Urine Combo Type 6 Panels, Recall #z-1110-5 | Manufacturer | Dade International Microscan, Inc | June 14, 1995 | "out-of-range Quality Control Results" Had Been Obtained And That An "unusual" Color Had Been Observed In Some Of The Wells In The Identification Part Of The Panel | 674 boxes were distributed | Arizona, California, Colorado, Georgia, Idaho, Illinois, Kentucky, Michigan, New York, South Carolina, Tennessee, Wisconsin
1995-08-23 | Devices | II | z- 1111-5, an in-vitro diagnostic for the determination of theophylline in human serum | Innofluor Theophylline Assay System Reagents, Recall #z- 1111-5, An In-vitro Diagnostic For The Determination Of Theophylline In Human Serum | Manufacturer | Oxis International, Inc | unknown recall date | Device Was Subject To Decrease In Net P Values, Potentially Due To Trace Instability | 591 kits were distributed | Connecticut, California, New York, Nebraska, Missouri, Virginia, Oklahoma, North Carolina, Alabama, Belgium, France, Canada, Hong Kong, Germany, Poland, Australia, India, Switzerland, United Kingdom
1995-08-23 | Devices | II | z-1115-5 | Abbott Vision Phenytoin, List Number 1448-10, An In-vitro Diagnostic Test, For The Quantititive Measurement Of Phenytoin In Anticoagulated Whole Blood, Plasma Or Serum, Phenytoin Measurements Used In The Diagnosis And Treatment Of Phenytoin Overdose Or In Monitoring Levels Of Phenytoin To Ensure Appropriate Therapy; Recall #z-1115-5 | Manufacturer | Abbott Laboratories, Diagnostic Division, Abbott Park, Illinois | August 4, 1995 | Device Is Subject To Calibration And/or Control Failures | 497/10 packs were distributed | South Dakato, Kansas, Germany
1995-08-23 | Devices | III | z-1076-5 code style #76530320 | Claiborne Branded Sunglasses (plano), Recall #z-1076-5 code Style #76530320 | Outlook Eyewear Company | Houkushin Corporation, Osaka, Japan | July 17, 1995 | The Products Are Labelled "intended For General Use", But The Lt (luminous Transmittance) Value Is Well Below Ansi Standards | 15,407 units were distributed | Nationwide, International
1995-08-23 | Devices | III | z-1103-5 | Innofluor Vancomycin Calibrators, An In-vitro Diagnostic Intended For Use In The Calibration Of The Innofluor Vancomycin Assay System, Recall #z-1103-5 | Manufacturer | Oxis International, Inc | August 19, 1993 | Post Release Quality Control Real Time Testing Of Vancomycin Calibrators At Four Weeks Refrigerated Storage Indicated The Device Was Subject To Degradation Which Is Noted By An Upward Shift In Control Values | 308 sets were distributed | Nationwide, Belgium, Canada, France, Poland, United Kingdom
1995-08-23 | Devices | III | z-1112-5 | Innofluor Theophylline Assay System Reagents, An In-vitro Diagnostic For The Determination Of Theophylline In Human Serum, Recall #z-1112-5 | Manufacturer | Oxis International, Inc | January 4, 1994 | Device Is Subject To Stability Problems | 980 kits were distributed | Nationwide, International
1995-08-23 | Devices | III | z-1113/1114-5 | (a) Abbott Vision Cholesterol Test Pack, List No | Manufacturer | Abbott Laboratories Diagnostic Division, Abbott Park, Illinois | July 31, 1995 | Test Results Have Not Been Able To Be Obtained With Some Test Packs And An Error Code "endpoint Not Reached" Provided Instead | 10,923 packs were distributed | Nationwide, Italy, Japan, Hong Kong, Taiwan, Germany, Brazil, Dominican Republic, Singapore