## Report-1995-10-18
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1995-10-18 | Drugs | II | d-004-6 | Nutralab Oral Chelate Tablets, In 300 Tablet Bottles, And Promotional Booklets | Nutralab Company | Nature's Products, Inc | September 29, 1995 | Product Marketed With Unapproved Therapeutic Claims. | 150 bottles with booklets were distributed | Nationwide
1995-10-18 | Drugs | III | d-005-6 | Dilantin Brand Phenytoin Sodium Injection, 100 Mg, In 2 Ml Vials | The Parke-davis Division Of Warner Lambert Company | Warner Lambert Company, Park-davis Sterile Products Division, Rochester, Michigan | August 11, 1995 | Product Discoloration Resulting From Use Of Incorrect Stopper. | 15,416 packages were distributed | Nationwide And Virgin Islands, Trinidad, Jamaica
1995-10-18 | Biologics | II | b-012-6 | Platelets | Manufacturer | American Red Cross Blood Services, Peoria, Illinois | May 1, 1995 | Blood Product, Which Tested Initially Reactive For The Antibody To The Immunodeficiency Virus Type 1 (anti-hiv-1), And Was Not Retested In Duplicate, Was Distributed. | 1 unit | Illinois
1995-10-18 | Devices | II | z-1064/1068-5 | Femoral Stems: (a) Mallory Head Interlok W/nts Femoral Stems Part No | Manufacturer | Biomet, Inc | November 12, 1992 | Complaints Of Hip Stem Fractures | 10,044 stems were produced | Nationwide And International
1995-10-18 | Devices | II | z-1140-5 | Micro-lite Phototherapy Unit, Model Ptl-68, Used For Treatment Or Prevention Of Hyperbilirubinemia In Neonates | Manufacturer | Air Shields, Inc | September 4, 1995 | Device Has The Potential To Cause Overheating Of The Infant | 597 units were distributed | Nationwide And International
1995-10-18 | Devices | II | z-1141/1144-5 | Inflation Handle Subassembly In K05 Custom Kits: (a) Catalog #k05-00633;(b) Catalog #k05-60251; (c) Catalog #k05-00503a; (d) Catalog #k05-00543 | Manufacturer | Merit Medical Systems, Inc | February 8, 1995 | The Inflation Handle Subassembly Had An Inadequate Amount Of Adhesive, Which Could Result In Handle Separation During Clinical Use | 435 units were distributed; firm estimates none remains on the market | Arkansas, Arizona, Florida, Georgia, Kentucky, Texas, Virginia
1995-10-18 | Devices | II | z-1152/1154-5 | Liquid Bicarbonate Dialysate Concentrate, In 1 Gallon Plastic Containers: (a) Formula Bc-101 Dial Medical Supply; (b) Formula Bc-102 Dial Medical Supply; (c) Formula Bc 103 Dial Medical Supply | Manufacturer | Dial Medical Of Florida, Division Of Cobe Renal Care, Inc | July 21, 1995 | Possible Bacterial Contamination | firm estimated that 3,000 cases remained in commerce at time of recall initiation | Nationwide
1995-10-18 | Devices | II | z-1155/1156-5 | Johnson And Johnson Medical Observed Central Station Which Constantly Monitors A Patients' Various Vital Signs At A Central Station At Another Location From The Patient's Room: (a) Model #8775; (b) Model #8776 | Johnson And Johnson Medical | Pacific Communications, Santa Ana, California | April 5, 1995 | Incorrect Message May Be Displayed At Central Station | 36 units were distributed | Nationwide And International
1995-10-18 | Devices | II | z-005/006-6 | Medic 5 Defibrillators And Dc200 Defibrillators: (a) Medic 5 Defibrillators, Serial Nos | Manufacturer | Burdick, Inc | August 14, 1995 | The Devices Contain A Diode Which Might Fail During The Charging Of Energy At The Higher Joule Selections Causing The Device Not To Charge The Selected Defibrillation Energy | (a) 35 units; (b) 12 units were distributed | (a) Alaska, Florida, Georgia, Indiana, Michigan, Missouri, North Carolina, New Jersey, New York, Ohio, Tennessee, Virginia, Washington State, Italy, Korea, India, Pakistan, Germany; (b) California, Florida, Indiana, Kentucky, Louisiana, North Carolina, New York, Pennsylvania, Texas
1995-10-18 | Devices | II | z-007-6 | Cardioplegia Stainless Steel Cooling Coil, Used For Cardiopulmonary Surgery To Reduce The Temperature Of The Heart | Bentley Division | Baxter Healthcare Corporation Of Puerto Rico, Anasco, Puerto Rico | April 20, 1995 | Metal Particulate Matter Has Been Observed Within The Tubing Sets During Priming | 1,546 units were distributed | Nationwide And International
1995-10-18 | Devices | II | z-008-6 | Vivalink Defibrillator Electrode, Model 9010 | Survivalink Corporation | Katecho, Des Moines, Iowa | August 31, 1995 | The Electrode May Tear During Removal From Plastic Liner Packaging | 750 units were distributed | Nationwide And International
1995-10-18 | Devices | II | z-010-6 | 3m Red Dot Neonatal Monitoring Electrode, Catalog #2269t, A Disposable Silver/silver Chloride Electrode For Ecg Monitoring | 3m Company | 3m Company Valley Plant, Valley, Nebraska | September 3, 1995 | There May Be Difficulty In, Or Inability To, Obtain Ecg Trace And Respiration Signal | 112,500 electrodes were distributed | Nationwide And International
1995-10-18 | Devices | II | z-011-6 | 0. 025" Stiff Shaft Guidewire | St. Jude Medical | Lake Region Manufacturing, Inc | July 25, 1995 | The Guidewire May Break If Blockage Or Excessive Resistance Is Met, Which May Require Surgical Intervention | approximately 9,400 units were distributed | Nationwide And International
1995-10-18 | Devices | II | z-012/015-6 | Welch Allyn Microtymp Ii Printer/charger, For Use With The Microtymp 2 Portable Tympanometric Handle Component, For The Diagnoses Of Otitis Media: (a) Model 71170; (b) Model 71171; (c) Model 71172; (d) Model 71174 | Manufacturer | Welch Allyn, Inc | September 1, 1995 | Product Contain A Potentially Defective Electrical Component Which Could Result In A Potentially Hazardous Malfunction In The Device's Operation And May Cause The Device To Catch On Fire | 1,603 units were distributed | Nationwide And International
1995-10-18 | Devices | II | z-017/018-6 | Mentor Leaf-valve Saline Breast Implants: (a) Saline-filled (smooth Surface Shell) Mammary Prosthesis With Mentor Leaf Valve; (b) Siltex Saline-filled (textured Surface Shell) Mammary Prosthesis With Mentor Leaf Valve | Manufacturer | Mentor H/s, Inc | September 1, 1995 | The Valve Channels May Open And The Implant Deflate When Autoclaved Prior To Surgery As Previously Instructed | 9,997 units were distributed; firm estimated that 10 percent of implants remained on market at time of recall initiation | Nationwide And International
1995-10-18 | Devices | II | z-019-6 | Iolab Intraocular Lenses, Model Li41iu | Manufacturer | Iolab Corporation, Claremont, California | March 24, 1995 | The 1 | 18 lenses were distributed | Alabama, Arizona, Iowa, Illinois, Michigan, Missouri, North Carolina, New York, Oklahoma, Pennsylvania, Tennessee, Texas
1995-10-18 | Devices | II | z-022/037-6 | Ipi Single Use Ventilator Circuits With Swivel Elbow Component: (a) Product Code 1578, Vent-flex 4" Flex Tube (15mm I | Manufacturer | Ipi Medical Products, Division Of Inhalation Plastics, Inc | August 16, 1995 | The Swivel Elbow Component Can Crack Under Stress, Thereby Rendering The Device Unusable | 59,430 units were distributed | Nationwide And International
1995-10-18 | Devices | III | z-009-6 | Model 2680 Rev 11 | Manufacturer | Cardiac Pacemakers, Inc | August 24, 1995 | The Stat Shock And Stat Pace Functions Were Inadvertently Reassigned To Other Locations On The Keyboard By The New Disk, Revision 11 | 157 units were distributed | Nationwide And International
1995-10-18 | Devices | III | z-016-6 | Dobbhoff Peg Kit (percutaneous Endoscopic Gastrostomy) "pull" Style | Sherwood Medical Company | Biosearch Medical Products, Inc | September 14, 1995 | Some Packages Contained A Guide Wire Instead Of A Looping Wire | 54 kits were distributed | South Carolina, Florida, Australia
1995-10-18 | Devices | III | z-020-6 | Arrow Intra Aortic Balloons | Arrow International | Arrow International, Inc | August 18, 1995 | The Product's Outer Catheter Body May Be Oblique Or Flattened In Shape Possibly Causing Excess Bleeding Between The Catheter And The Hemostasis Sheath Introducer As Well As Between The Catheter And The Cuff Seal | 1,136 units were distributed; firm estimated that 568 units remained on market at time of recall initiation | Nationwide And International
1995-10-18 | Devices | III | z-021-6 | Usci Super 7 (7 Fr) Ptca Guiding Catheter Multipurpose Curve, Used To Provide A Pathway Through Which Coronary Dilatation Systems Are Introduced | Manufacturer | Usci Division, C | August 15, 1995 | The Label Identifies The Product As A Super 7 With Multipurpose Curve; However, The Product Enclosed In The Packages Is A Femoral Left Curve | 12 units were distributed | Georgia, Nebraska, Alabama, Pennsylvania